## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000383230 THE OKONITE COMPANY ( US - HOUSTON ) | 5000382149 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002790902 07584C745F BARTEC US CORPORATION ( US - TULSA ) | 5000383028 1765 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000365003 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001274387 HB4LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000364896 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002117921 710CCS COMMSCOPE BIMETALS INCORPORATE ( US - STATESVILLE ) | 5002557754 522424 RS COMPONENTS LTD ( GB - CORBY ) | 5000385014 PRYSMIAN POWERLINK SRL ( IT - MILAN ) | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000343617 S6450 CHANCE / HUBBELL ( US - CENTRALIA ) | AE Utd.Arab Emir. | 5002735491 HRS2016 HYDRO BOND ENGINEERING ( GB - BRIDGE OF DON ) | 5000383133 THE OKONITE COMPANY ( US - HOUSTON ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5001893747 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001274386 DB2LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5000383130 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893551 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001893730 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000364898 62004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5002613061 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000385015 2762 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000377320 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5001598990 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AF Afghanistan |  | 5001893745 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation |  | 5001416336 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  | 5001893744 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5002332610 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5000364899 THE OKONITE COMPANY ( US - HOUSTON ) |  |  | 5000385016 M2763 MANHATTAN-CDT ( US - HOUSTON ) | 5000377321 THE OKONITE COMPANY ( US - HOUSTON ) | 5001604256 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | AG Antigua/Barbuda |  |  | We are currently at full capacity
|  | POE - Port of Export |  | 5001416337 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  |  |  | 5002612721 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000365000 10675701 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  |  | 5001893778 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001427180 DA6LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002612645 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AI Anguilla |  |  | Missing information / not enough information provided
|  |  |  | 5001893728 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  |  |  |  | 5000365001 LS CABLE & SYSTEM LTD ( KR - GUMI, GYEONGBUK ) |  |  |  | 5001437334 0102R10306 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | AB Abu Dhabi |  |  | Other
|  |  |  | 5002332608 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  |  |  |  | 5000365002 SUMITOMO ELECTRIC INDUSTRIES L ( JP - MINATO-KU, TOKYO ) |  |  |  | 5001893657 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | AL Albania
|  |  |  | 5002612720 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  |  | 5001893550 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  |  |  | 5002243981 GENERAL CABLE ( US - MARION ) |  | AM Armenia
[9 empty] | 5002528044 BST7S4 SERVICE WIRE COMPANY ( US - HOUSTON ) |  |  |  | 5002332554 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | AN Dutch Antilles
AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Bundle or Tier Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Bundle or Tier Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  |  | 2023-04-20 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Bundle or Tier Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  |  | TDS and Note 19.02.2023.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Bundle or Tier Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  |  | scan_20230219134122.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Bundle or Tier Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | HS Code | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
|  | For example, My Alternative 1 | For example, My Bundle 1
6.1 | CABLE; ELECTRICAL; 1 CONDUCTOR; 67.43 |  |  | CABLE ELECTRICAL; 1 CONDUCTO;67.43 SQ MM (2/0 AWG) CONDUCTO;STRANDED CONDUCTO;GROUNDING TYPE;17.8 MM (0.700 IN) CABLE OD;COPPER TYPE;COPPER CONDUCTO;BARE INSUL;TR -18 DEG C (0 DEG F) MINIMUM;BARE JACKET;CLEAR;ASTM;FOR TEMPORARY PROTECTIVE GROUNDING;812 KG/KM (546 LBS PER 1000 FT) LG;ASTM;HEAVY DUTY; FINE STRANDED MARKED WITH AWG SIZE APPROX EVERY 4 FT; EXTRA FLEXIBLE; 1323 STRANDS FOR INSTALLATION ON DE-ENERGIZED APPARATUS; CONFORMS TO ASTM F 855. | No | Discontinued Item | SAR | Feet | 1000395461 |  |  | 500 |  |  | 2023-01-31 02:55 | 5000343617 S6450 CHANCE / HUBBELL ( US - CENTRALIA ) | [7 empty] | No |  | No |  |  |  | No | E - Exempt
6.2 | CABLE ELECTRICAL; 230 VAC; 2; 1.3 MM2; |  |  | CABLE ELECTRICAL; 230 VAC SUPPLY;2 CONDUCTO;1.3 MM2 CONDUCTO;POWER TYPE;SELF LIMITING TYPE;FOR HEATING;HTSB45W/M; AC230V; WITH COPPER BRAID; WITH FLUOROPOLYMER SHEATH. POWER TYPE; SELF LIMITING. 800 METER PER DRUM. | No | Discontinued Item | SAR | Meter | 1001085207 |  |  | 100 |  |  | 2023-01-31 02:55 | 5002790902 07584C745F BARTEC US CORPORATION ( US - TULSA ) | [7 empty] | No |  | No |  |  |  | No | E - Exempt
6.3 | CABLE ELECTRICAL ASSEMBLY; 10; 1.5 SQ MM |  |  | CABLE ELECTRICAL ASSEMBLY; 10 CONDUCTO;1.5 SQ MM CONDUCTO;300 FT LG;14 A SUPPLY KIT COMPONENTS ITM QTY DESCRIPTION REFERENCE 1 1 1 OFF HRS 206-10SS/SS/L CABLE MOUNT CONNECTOR WITH 10 FMEALE SOCKETS MODLDED INLINE TO 300FT OFF CS 2318 KIT COMPONENTS ITM QTY DESCRIPTION REFERENCE 1 1 1 OFF HRS 206-10SS/SS/L CABLE MOUNT CONNECTOR WITH 10 FMEALE SOCKETS MODLDED INLINE TO 300FT OFF CS 2318 | No | Discontinued Item | SAR | each | 1001060529 |  |  | 2 |  |  | 2023-01-31 02:55 | 5002735491 HRS2016 HYDRO BOND ENGINEERING ( GB - BRIDGE OF DON ) | [7 empty] | No |  | No |  |  |  | No | E - Exempt
6.4 | CABLE ELECTRICAL; 300/500V; 16A; 12 X 1. |  |  | CABLE ELECTRICAL; 300/500V; 16A SUPPLY;12 X 1.5 MM² CONDUCTO;STRANDED CONDUCTO;CONTROL CABLE TYPE;14.3 MM CABLE OD;STEEL WIRE ARMOURED TYPE;COPPER CONDUCTO;PVC INSUL;TRANSPERANT JACKET;PVC;BLACK X11; YELLOW/GREEN;GALVANISED STEEL ARMOR;(50 METER PER COIL). | Yes |  | SAR | Meter | 1001001836 |  | 16.14 | 1 | 84 |  | 2023-01-31 02:55 | 5002557754 522424 RS COMPONENTS LTD ( GB - CORBY ) | BCC |  | NA |  | SA Saudi Arabia |  |  | No |  | No |  |  |  | No | E - Exempt |  |  |  |  | Quoted as per our minimum order quantity 2000m |  | NA
6.5 | CORD; ELECTRICAL; 3 CONDUCTOR; 70 SQ M |  |  | CORD ELECTRICAL; 3 CONDUCTO;70 SQ MM CONDUCTO;19 STRANDS CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;XLPE; POWER AND CONTROL;27.3 MM (1.874 IN) OD;BLACK;PVC JACKET;XLPE INSUL;TR 90 DEG C;2260 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC332; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER MARKINGS; VOTAGE; TYPE SIZE; NUMBER OF CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; ST2 IEC 502; INSULATION THICKNESS; 1.1 MM (0.043 IN); CONDUCTOR MATERIAL SPEC; IEC 228; CLASS 2; INSULATION MATERIAL SPEC; ICEA 502; PACKAGING; CARTON OR FULLY PROTECTED REEL | Yes |  | SAR | Meter | 1000417881 |  | 82.15 | 2,000 | 84 |  | 2023-01-31 02:55 | 5001274387 HB4LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | BCC |  | NA |  | SA Saudi Arabia |  |  | No |  | No |  |  |  | No | E - Exempt |  |  |  |  | Quoted as per our minimum order quantity 2000m |  | NA
6.6 | CABLE; ELECTRICAL; 230 A; 1 |  |  | CABLE ELECTRICAL; 230 A SUPPLY;1 CONDUCTO;53.44 SQ MM (1/0 AWG) CONDUCTO;2625 OR 2646 STRANDS (34 AWG) CONDUCTO;POWER TYPE;17.1 MM (0.673 IN) CABLE OD;PCP (POLYCHLOROPENE) TYPE;COPPER CONDUCTO;4.0 MM (0.157 IN) INSUL TH;PCP (POLYCHLOROPENE) OR CROSS-LINKED (THERMOSET) CHLORINATED POLYETHYLENE INSUL;TR 90 DEG C MAX;X LINKED CHLORINATED POLYETHYLENE JACKET;BLACK OR ORANGE;ASTM B3 (COPPER); ASTM-B-172 (STRANDED);ASTM D4247; ICEA S-68-516;TYPE; SIZE OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;CARTON OR FULLY PROTECTED REEL;FOR WELDING;ICEA S-19-81; NEMA WC3;HEAVY DUTY; CLASS M WITH PAPER SEPARATOR OVER STRANDS; EXTRA FLEXIBLE; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO ICEA-S-19-81/NEMA-WC3; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | Discontinued Item | SAR | Feet | 1000418050 |  |  | 1,400 |  |  | 2023-01-31 02:55 | 5000383230 THE OKONITE COMPANY ( US - HOUSTON ) | [7 empty] | No |  | No |  |  |  | No | E - Exempt
6.7 | CORD; ELECTRICAL; 3 CONDUCTOR; 3.31 |  |  | CORD ELECTRICAL; 3 CONDUCTO;3.31 SQ MM (12 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;9.9 MM (0.390 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;164 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;UL-1569;CLASS B; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; INSULATION THICKNESS; 0.80 MM(0.0315 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; INSULATION MATERIAL SPEC; ICEA S-66-524; PACKAGING; CARTON OR FULLY PROTECTED REEL | No | Discontinued Item | SAR | Feet | 1000416479 |  |  | 11,000 |  |  | 2023-01-31 02:55 | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [7 empty] | No |  | No |  |  |  | No | E - Exempt
6.8 | CABLE; 21.15 MM2 (4 AWG); 7 STRANDS; B |  |  | CABLE; 21.15 MM2 (4 AWG) DIA;7 STRANDS;BARE COPPER;ASTM B8;MEDIUM HARD-DRAWN; UNCOATED; CLASS A CONCENTRIC-LAY-STRANDED; 5.9 MM (0.232 IN); 191.0 KG/KM (128.9 LBS PER 1000 FT) NET; 220 LB COIL 2.0 MM (0.0772 IN) DIA EACH | No | Discontinued Item | SAR | Feet | 1000412140 |  |  | 350 |  |  | 2023-01-31 02:55 | 5000364896 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | [7 empty] | No |  | No |  |  |  | No | E - Exempt
6.9 | CORD;ELECT;3C;600V;14AWG STRANDED |  |  | CORD ELECTRICAL; 3 CONDUCTO;2.08 MM2 (14 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;SO;14.2 MM (9/16 IN) OD;BLACK;RUBBER JACKET;THERMOSET INSUL;TR 90 DEG C;277 KG/KM (186 LBS/1000 FT) LG;FOR PENDANT OR PORTABLE;UL-62;FOR EXTRA HARD USE IN DAMP LOCATIONS; OIL-RESISTANT THERMOSET COVERING; CARTON OR FULLY PROTECTED REEL; HARD SERVICE CORD; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME AND YEAR OF MANUFACTURE; BLACK WHITE AND GREEN CONDUCTORS; MIN 41 MAX 165 STRANDS; 18 A AT 30 DEG C; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 62; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | Discontinued Item | SAR | Feet | 1000418826 |  |  | 4,000 |  |  | 2023-01-31 02:55 | 5000385014 PRYSMIAN POWERLINK SRL ( IT - MILAN ) | [7 empty] | No |  | No |  |  |  | No | E - Exempt
6.10 | CABLE; 33.63 MM2 (2 AWG); 7 STRANDS; |  |  | CABLE; 33.63 MM2 (2 AWG) DIA;7 STRANDS;BARE COPPER;ASTM B8;MEDIUM HARD-DRAWN; UNCOATED; 2.5 MM (0.0974 IN) DIA EACH STRAND; CLASS A CONCENTRIC-LAY-STRANDED; 7.4 MM (0.292 IN) 303 KG/KM (204.9 LBS PER 1000 FT) NET; REEL NO C-17; 220 LBS COIL | No | Discontinued Item | SAR | Feet | 1000412145 |  |  | 10,000 |  |  | 2023-01-31 02:55 | 5000365003 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | [7 empty] | No |  | No |  |  |  | No | E - Exempt
6.11 | CORD; ELECTRICAL; 3 CONDUCTOR; 35 SQ |  |  | CORD ELECTRICAL; 3 CONDUCTO;35 SQ MM CONDUCTO;7 STRANDS CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;21.0 MM (0.826 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C;1215 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT MARKED WITH; ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER MARKINGS; VOTAGE; TYPE SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; ST2 IEC 502; INSULATION THICKNESS; 0.9 MM (0.035 IN); CONDUCTOR MATERIAL SPEC; IEC 228; CLASS 2; INSULATION MATERIAL SPEC; ICEA 502; PACKAGING; CARTON OR FULLY PROTECTED REEL | Yes |  | SAR | Meter | 1000417862 |  | 44.8 | 500 | 84 |  | 2023-01-31 02:55 | 5000382149 SAUDI CABLE COMPANY ( SA - JEDDAH ) | BCC |  | NA |  | SA Saudi Arabia |  |  | No |  | No |  |  |  | No | E - Exempt |  |  |  |  | Quoted as per our minimum order quantity 1000M |  | NA
6.12 | CORD; ELECTRICAL; 3 CONDUCTOR; 3.31 |  |  | CORD ELECTRICAL; 3 CONDUCTO;3.31 SQ MM (12 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;9.9 MM (0.390 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;164 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;UL-1569;CLASS B; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; INSULATION THICKNESS; 0.80 MM(0.0315 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; INSULATION MATERIAL SPEC; ICEA S-66-524; PACKAGING; CARTON OR FULLY PROTECTED REEL | No | Discontinued Item | SAR | Feet | 1000416479 |  |  | 500 |  |  | 2023-01-31 02:55 | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [7 empty] | No |  | No |  |  |  | No | E - Exempt
6.13 | CABLE; ELECTRICAL; 35 A; 7 CONDUCTOR; 5 |  |  | CABLE ELECTRICAL; 35 A SUPPLY;1 (SINGLE CORE) CONDUCTO;5.26 SQ MM (10 AWG) CONDUCTO;STRANDED (7 STRANDS) CONDUCTO;OVERHEAD GROUND WIRE TYPE;7.8 MM (0.306 IN) NOM CABLE OD;BARE COPPERWELD WIRE TYPE;AA COPPER CLADDING BONDED TO CONDUCTO;ASTM B228;1000 FT/REEL;FOR AERIAL;AA 303 KG/KM (203.7 LBS PER LG;ASTM B8;WIRE; NONRUSTING; | No | Discontinued Item | SAR | Feet | 1000413991 |  |  | 2,750 |  |  | 2023-01-31 02:55 | 5002117921 710CCS COMMSCOPE BIMETALS INCORPORATE ( US - STATESVILLE ) | [7 empty] | No |  | No |  |  |  | No | E - Exempt
6.14 | CABLE; ELECTRICAL; 1 CONDUCTOR; 42.41 |  |  | CABLE ELECTRICAL; 1 CONDUCTO;42.41 SQ MM (1 AWG) CONDUCTO;WELDING; 2107 STRANDS (34 AWG) WIRE CONDUCTO;15.6 MM (0.614 IN) CABLE OD;PCP (POLYCHLOROPENE) TYPE;COPPER CONDUCTO;******* INSUL TH;PCP (POLYCHLOROPENE) OR CROSS-LINKED (THERMOSET) CHLORINATED POLYETHYLENE INSUL;X LINKED CHLORINATED POLYETHYLENE JACKET;BLACK OR ORANGE;ASTM B3 (COPPER); ASTM B-172 (STRANDED);ASTM D4247; ICEA S-68-516;TYPE; SIZE OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;CARTON OR FULLY PROTECTED REEL;FOR WELDING;CLASS M; ICEA S-19-81; NEMA WC3;HEAVY DUTY; PAPER SEPARATOR OVER STRANDS; EXTRA FLEXIBLE; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO ICEA-S-19-81/ NEMA-WC3; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | Discontinued Item | SAR | Feet | 1000417994 |  |  | 1,000 |  |  | 2023-01-31 02:55 | 5000383028 1765 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | [7 empty] | No |  | No |  |  |  | No | E - Exempt
6.15 | CABLE; WELDING; |  |  | CABLE ELECTRICAL; 1 CONDUCTO;33.63 SQ MM (2 AWG) CONDUCTO;1660 OR 1650 STRANDS (34 AWG) CONDUCTO;POWER TYPE;14.1 MM CABLE OD;PCP (POLYCHLOROPENE) TYPE;COPPER CONDUCTO;2.8 MM INSUL TH;PCP (POLYCHLOROPENE) OR CROSS-LINKED (THERMOSET) CHLORINATED POLYETHYLENE INSUL;BLACK OR ORANGE;ASTM B3;ASTM D4247; ICEA S-68-516;TYPE; SIZE OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;CARTON OR FULLY PROTECTED REEL;FOR WELDING;475 KG/KM LG;ICEA S-19-81; NEMA WC3;HEAVY DUTY; STRANDED PER ASTM B-172 CLASS M WITH PAPER SEPARATOR OVER STRANDS; EXTRA FLEXIBLE; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO ICEA-S-19-81/ NEMA-WC3; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | Discontinued Item | SAR | Feet | 1000417996 |  |  | 300 |  |  | 2023-01-31 02:55 | 5000383133 THE OKONITE COMPANY ( US - HOUSTON ) | [7 empty] | No |  | No |  |  |  | No | E - Exempt
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL19: Answer Type: Text (multiple lines) Acceptable Values: Any Value