## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000389301 75140 GENERAL CABLE ( US ) | 5000381526 761402C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5000381732 761402C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5000381627 761402C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5000391021 711101C07000U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5000382257 ** NEXANS HELLAS S.A. ( GR ) | 5000368142 DUBAI CABLE COMPANY (PRIVATE) ( AE ) | 5000390696 711101C05000U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | AE Utd.Arab Emir. | 5000381620 761402C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000389302 26410 GENERAL CABLE ( US ) | 5000381527 SAUDI CABLE COMPANY ( SA ) | 5000381733 SAUDI CABLE COMPANY ( SA ) | 5000381628 SAUDI CABLE COMPANY ( SA ) | 5000391022 SAUDI CABLE COMPANY ( SA ) | 5000382258 THE OKONITE COMPANY ( US ) | 5000368143 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5000390697 SAUDI CABLE COMPANY ( SA ) | AF Afghanistan | 5000381621 SAUDI CABLE COMPANY ( SA ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000389303 M2822 MANHATTAN-CDT ( US ) | 5000381528 THE OKONITE COMPANY ( US ) | 5000381734 THE OKONITE COMPANY ( US ) | 5000381629 THE OKONITE COMPANY ( US ) | 5000391023 RS COMPONENTS LTD ( GB ) | 5001274388 HB6LU03BG JEDDAH CABLE COMPANY LIMITED ( SA ) | 5000368144 SAUDI CABLE COMPANY ( SA ) | 5000390698 THE OKONITE COMPANY ( US ) | AG Antigua/Barbuda | 5000381622 THE OKONITE COMPANY ( US ) | We are currently at full capacity
|  | POE - Port of Export | 5000389304 AMERICAN INSULATED WIRE CORPOR ( US ) | 5001277336 DA5LU02BEG JEDDAH CABLE COMPANY LIMITED ( SA ) | 5001327951 DA9LU02BG JEDDAH CABLE COMPANY LIMITED ( SA ) | 5001327950 DA8LU02BG JEDDAH CABLE COMPANY LIMITED ( SA ) | 5001277364 HB4DU01GG JEDDAH CABLE COMPANY LIMITED ( SA ) | 5001893731 EGYTECH CABLES EL SEWEDY ( EG ) | 5000368145 234124 RS COMPONENTS LTD ( GB ) | 5001277362 HB3DU01GG JEDDAH CABLE COMPANY LIMITED ( SA ) | AI Anguilla | 5001277337 DA6LU02BEG JEDDAH CABLE COMPANY LIMITED ( SA ) | Missing information / not enough information provided
|  |  | 5000389305 116671371 THE OKONITE COMPANY ( US ) | 5001893712 EGYTECH CABLES EL SEWEDY ( EG ) | 5001893716 EGYTECH CABLES EL SEWEDY ( EG ) | 5001893715 EGYTECH CABLES EL SEWEDY ( EG ) | 5001775661 ALFANAR ELECTRICAL SYSTEMS ( SA ) | 5002143873 C446XA10300MBK04IMR ALFANAR ELECTRICAL SYSTEMS ( SA ) | 5002157825 19900840 BAHRA ADVANCED CABLES MANUFACT ( SA ) | 5001775658 ALFANAR ELECTRICAL SYSTEMS ( SA ) | AB Abu Dhabi | 5001893713 EGYTECH CABLES EL SEWEDY ( EG ) | Other
|  |  | 5000389306 SOUTHWIRE COMPANY INCORPORATED ( US ) | 5002143858 C210XA10200SBK01IMR ALFANAR ELECTRICAL SYSTEMS ( SA ) | 5002143845 C315XA10200SBK01IMR ALFANAR ELECTRICAL SYSTEMS ( SA ) | 5002143870 C314XA10200SBK01IMR ALFANAR ELECTRICAL SYSTEMS ( SA ) | 5002158124 12154220 BAHRA ADVANCED CABLES MANUFACT ( SA ) | 5002157873 14535255 BAHRA ADVANCED CABLES MANUFACT ( SA ) |  | 5002158121 12154210 BAHRA ADVANCED CABLES MANUFACT ( SA ) | AL Albania | 5002143859 C212XA10200SBK01IMR ALFANAR ELECTRICAL SYSTEMS ( SA )
|  |  | 5002412976 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5002157857 14515103 BAHRA ADVANCED CABLES MANUFACT ( SA ) | 5002157860 14515109 BAHRA ADVANCED CABLES MANUFACT ( SA ) | 5002157859 14515108 BAHRA ADVANCED CABLES MANUFACT ( SA ) |  |  |  |  | AM Armenia | 5002157858 14515105 BAHRA ADVANCED CABLES MANUFACT ( SA )
|  |  | 5002612732 BAHRA ADVANCED CABLES MANUFACT ( SA ) |  | 5002332598 ELSEWEDY CABLES COMPANY LTD. ( SA ) | 5002332597 ELSEWEDY CABLES COMPANY LTD. ( SA ) |  |  |  |  | AN Dutch Antilles | 5002332595 ELSEWEDY CABLES COMPANY LTD. ( SA )
AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | CABLE; ELECTRICAL; LOW VOLTAGE; POWER | CABLE ELECTRICAL LOW VOLTAGE; POWER & CONTROL TYPE;7 STRANDS CONDUCTO;TC TYPE;4 SQ MM CONDUCTO;600-1000 V SUPPLY;2 CONDUCTO;14.0 MM (0.550 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;225 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; STE TO IEC 502;0.7 MM (0.027 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY & WET LOCATIONS; RESISTANT TO A BRASION; WATER; ACID; OIL AND SUNLI GHT. FLAME RETARDENT. Manufacturer Part Number Text : 5000381620 10013206 MIDDLE EAST SPECIALIZED CABLES SA COMPANY LIMITED REFERENCE NUMBER 7614-02C-00400-U0 BK8 5000381621 10013724 SAUDI CABLE COMPANY SA 5000381622 10020512 THE OKONITE COMPANY US 5002332595 10046468 ELSEWEDY CABLES COMPANY LTD. SA 5001277337 10013002 JEDDAH CABLE COMPANY LIMITED SA PART NUMBER DA6LU02BEG CODE NUMBER DA6LU02BEG 5001893713 10037887 EGYTECH CABLES EL SEWEDY EG 5002143859 10012569 ALFANAR ELECTRICAL SYSTEMS SA CODE NUMBER C212XA10200SBK01IMR 5002157858 10044083 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. PART NUMBER 14515105 SUPERSEDED NUMBER 14510105 | No |  | USD | Meter | 1000417652 |  |  | 500 |  |  | 2020-02-25 02:55 | 5000381620 761402C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | [5 empty] | Urgent | X | No |  |  | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT
6.2 | WIRE; 750V NYA 1/C 70MM2 (2/0 AWG) STR C | WIRE ELECTRICAL; 70 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;14.5 MM OD;690 KG/KM LG;TR 85 DEG C MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332 CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CABLE PACKAGING IN CARTON OR FULLY PROTECTED REEL DURABLY MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER SIZE OF CONDUCTORS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING Manufacturer Part Number Text : 5000391021 10013206 MIDDLE EAST SPECIALIZED CABLES SA COMPANY LIMITED REFERENCE NUMBER 7111 - 01C - 07000 - U0 GN-8 5000391022 10013724 SAUDI CABLE COMPANY SA 5000391023 10001382 RS COMPONENTS LTD GB 5001277364 10013002 JEDDAH CABLE COMPANY LIMITED SA CODE NUMBER HB4DU01GG 5001775661 10012569 ALFANAR ELECTRICAL SYSTEMS SA 5002158124 10044083 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. PART NUMBER 12154220 SUPERSEDED NUMBER 12151220 | No |  | USD | Meter | 1000420088 |  |  | 1,000 |  |  | 2020-02-28 02:55 | 5000391021 711101C07000U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | [5 empty] | Urgent | X | No |  |  | 831402 | 831408 |  | No | D - Dutible | 0- | SS-Sun Shelter(covered) | M007-S532 UTHMANIYAH STORES | 04 BOAT
6.3 | WIRE; ELECTRICAL; 107.2 MM2 (4/0 A | WIRE ELECTRICAL; 107.2 MM2 (4/0 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;16.51 MM (0.650 IN) OD;1070 KG/KM (719 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING Manufacturer Part Number Text : 5000389301 10016871 GENERAL CABLE US BICC GENERAL NUMBER 75140 5000389302 10016872 GENERAL CABLE US NUMBER 26410 SUPERSEDED NUMBER TP AP-06201 5000389303 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M2822 5000389304 10019733 AMERICAN INSULATED WIRE CORPORATION US LEVITON MANUFACTURING COMPANY 5000389305 10020512 THE OKONITE COMPANY US NUMBER 116-67-1371 5000389306 10021675 SOUTHWIRE COMPANY INCORPORATED US 5002412976 10013206 MIDDLE EAST SPECIALIZED CABLES SA COMPANY LIMITED 5002612732 10044083 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. NUMBER - | No |  | USD | Feet | 1000419555 |  |  | 2,000 |  |  | 2020-02-25 02:55 | 5000389301 75140 GENERAL CABLE ( US ) | [5 empty] | Urgent | X | No |  |  | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT
6.4 | WIRE; 750V NYA 1/C 70MM2 (2/0 AWG) STR C | WIRE ELECTRICAL; 70 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;14.5 MM OD;690 KG/KM LG;TR 85 DEG C MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332 CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CABLE PACKAGING IN CARTON OR FULLY PROTECTED REEL DURABLY MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER SIZE OF CONDUCTORS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING Manufacturer Part Number Text : 5000391021 10013206 MIDDLE EAST SPECIALIZED CABLES SA COMPANY LIMITED REFERENCE NUMBER 7111 - 01C - 07000 - U0 GN-8 5000391022 10013724 SAUDI CABLE COMPANY SA 5000391023 10001382 RS COMPONENTS LTD GB 5001277364 10013002 JEDDAH CABLE COMPANY LIMITED SA CODE NUMBER HB4DU01GG 5001775661 10012569 ALFANAR ELECTRICAL SYSTEMS SA 5002158124 10044083 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. PART NUMBER 12154220 SUPERSEDED NUMBER 12151220 | No |  | USD | Meter | 1000420088 |  |  | 2,000 |  |  | 2020-02-28 02:55 | 5000391021 711101C07000U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | [5 empty] | Urgent | X | No |  |  | 831402 | 831408 |  | No | D - Dutible | 0- | SS-Sun Shelter(covered) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT
6.5 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;2 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;165 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC 228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED Manufacturer Part Number Text : 5000381526 10013206 MIDDLE EAST SPECIALIZED CABLES SA COMPANY LIMITED REFERENCE NUMBER 7614-02C-00250-U0 BK8 5000381527 10013724 SAUDI CABLE COMPANY SA 5000381528 10020512 THE OKONITE COMPANY US 5001277336 10013002 JEDDAH CABLE COMPANY LIMITED SA CODE NUMBER DA5LU02BEG 5001893712 10037887 EGYTECH CABLES EL SEWEDY EG 5002143858 10012569 ALFANAR ELECTRICAL SYSTEMS SA CODE NUMBER C210XA10200SBK01IMR 5002157857 10044083 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. PART NUMBER 14515103 SUPERSEDED NUMBER 14510103 | No |  | USD | Meter | 1000417609 |  |  | 1,500 |  |  | 2020-02-25 02:55 | 5000381526 761402C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | [5 empty] | Urgent | X | No |  |  | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT
6.6 | CABLE POWER AND CONTROL 600V-1000V; | CORD ELECTRICAL; 3 CONDUCTO;120 SQ MM CONDUCTO;37 STRANDES CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;XLPE; POWER & CONTROL;33.9 MM (1.335 IN) OD;BLACK;PVC JACKET;XLPE INSUL;TR 90 DEG C;3820 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT;ICE 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC332; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER MARKINGS; VOLTAGE; TYPE CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; ST2 IEC 502; INSULATION THICKNESS; 1.2 MM (0.0472 IN); CONDUCTOR MATERIAL SPEC; IEC 228; INSULATION MATERIAL SPEC; IEC 502; PACKAGING; CARTON OR FULLY PROTECTED REEL Manufacturer Part Number Text : 5000382257 10003546 ** NEXANS HELLAS S.A. GR 5000382258 10020512 THE OKONITE COMPANY US 5001274388 10013002 JEDDAH CABLE COMPANY LIMITED SA CODE NUMBER HB6LU03BG 5001893731 10037887 EGYTECH CABLES EL SEWEDY EG 5002143873 10012569 ALFANAR ELECTRICAL SYSTEMS SA CODE NUMBER C446XA10300MBK04IMR SUPERSEDED NUMBER C446XA10300SBK04CMR 5002157873 10044083 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. PART NUMBER 14535255 SUPERSEDED NUMBER 14510215 14515215 | No |  | USD | Meter | 1000417884 |  |  | 1,000 |  |  | 2020-02-28 02:55 | 5000382257 ** NEXANS HELLAS S.A. ( GR ) | [5 empty] | Urgent | X | No |  |  | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT
6.7 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; XLPE/PVC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;2 CONDUCTO;18.4 MM (0.7244 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;580 KG/KM APPROX LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; RESISTANT TO ABRASION; WATER; ACID; OIL;& SUNLI GHT. ORIGINAL EQPT REFS FLAME RETARDANT TO IEC-332 MANF REFS TD051501 MITSUBISHI CABLE NO KPL-97003 DS310001 SAUDI CABLE CO DM374101 MIDDLE EAST CABLES CO REF# 7614-02C-01600-U0 BK8 Manufacturer Part Number Text : 5000381732 10013206 MIDDLE EAST SPECIALIZED CABLES SA COMPANY LIMITED REFERENCE NUMBER 7614-02C-01600-U0 BK8 5000381733 10013724 SAUDI CABLE COMPANY SA 5000381734 10020512 THE OKONITE COMPANY US 5002332598 10046468 ELSEWEDY CABLES COMPANY LTD. SA 5001327951 10013002 JEDDAH CABLE COMPANY LIMITED SA PART NUMBER DA9LU02BG 5001893716 10037887 EGYTECH CABLES EL SEWEDY EG 5002143845 10012569 ALFANAR ELECTRICAL SYSTEMS SA CODE NUMBER C315XA10200SBK01IMR 5002157860 10044083 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. PART NUMBER 14515109 SUPERSEDED NUMBER 14510109 | No |  | USD | Meter | 1000417684 |  |  | 3,500 |  |  | 2020-02-26 02:55 | 5000381732 761402C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | [5 empty] | Urgent | X | No |  |  | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT
6.8 | WIRE; ELECTRICAL; 2.5 MM2; 3 | WIRE ELECTRICAL; 2.5 MM2 CONDUCTO;3 CONDUCTO;RED; GREEN; BLACK;0.6/1 KV SUPPLY;15 MM OD;STRANDED;PVC; BLACK INSUL;COPPER CONDUCTO;CONTROL TYPE;UNARMOURED; CU/PVC/PVC; KV FLEXIBLE Manufacturer Part Number Text : 5000368142 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000368143 10013206 MIDDLE EAST SPECIALIZED CABLES SA COMPANY LIMITED 5000368144 10013724 SAUDI CABLE COMPANY SA 5000368145 10001382 RS COMPONENTS LTD GB PART NUMBER 234-124 5002157825 10044083 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. PART NUMBER 19900840 SUPERSEDED NUMBER 13023005 | No |  | USD | Meter | 1000413150 |  |  | 100 |  |  | 2020-03-01 02:55 | 5000368142 DUBAI CABLE COMPANY (PRIVATE) ( AE ) | [5 empty] | Urgent | X | No |  |  | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT
6.9 | CABLE; ELECTRICAL; LOW VOLTAGE; POWER | CABLE ELECTRICAL LOW VOLTAGE; POWER AND CONTROL TYPE;7 STRANDS CONDUCTO;XLPE TYPE;10 SQ MM CONDUCTO;600 - 1000 V SUPPLY;2 CONDUCTO;16.3 MM (0.640 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;410 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;ICE 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502/540;DRY & WET LOCATIONS; RESISTANT TO A BRASION; WATER; ACID; OIL AND SUNLI GHT. FLAME RETARDENT IEC 332. ORIGINAL EQPT REFS UL OR EQUIVALENT APPROVED MANF REFS FURUKAWA ELECTRIC MANF REFS SAUDI CABLE CO MANF REFS OKONITE COMPANY MANF REFS MITSUBISHI CABLE NO KPL-97003 MANF REFS MIDDLE EAST CABLES CO REF# 7614-02C-01000-U0 BK8 Manufacturer Part Number Text : 5000381627 10013206 MIDDLE EAST SPECIALIZED CABLES SA COMPANY LIMITED REFERENCE NUMBER 7614-02C-01000-U0 BK8 5000381628 10013724 SAUDI CABLE COMPANY SA 5000381629 10020512 THE OKONITE COMPANY US 5002332597 10046468 ELSEWEDY CABLES COMPANY LTD. SA 5001327950 10013002 JEDDAH CABLE COMPANY LIMITED SA PART NUMBER DA8LU02BG 5001893715 10037887 EGYTECH CABLES EL SEWEDY EG 5002143870 10012569 ALFANAR ELECTRICAL SYSTEMS SA CODE NUMBER C314XA10200SBK01IMR 5002157859 10044083 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. PART NUMBER 14515108 SUPERSEDED NUMBER 14510108 | No |  | USD | Meter | 1000417681 |  |  | 4,000 |  |  | 2020-03-01 02:55 | 5000381627 761402C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | [5 empty] | Urgent | X | No |  |  | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT
6.10 | WIRE; BUILDING; 450-750V; | WIRE ELECTRICAL; 50 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;12.5 MM OD;490 KG/KM LG;TR 85 DEG C MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING Manufacturer Part Number Text : 5000390696 10013206 MIDDLE EAST SPECIALIZED CABLES SA COMPANY LIMITED REFERENCE NUMBER 7111 - 01C - 05000 - U0 GN-8 5000390698 10020512 THE OKONITE COMPANY US 5001277362 10013002 JEDDAH CABLE COMPANY LIMITED SA CODE NUMBER HB3DU01GG 5001775658 10012569 ALFANAR ELECTRICAL SYSTEMS SA 5000390697 10013724 SAUDI CABLE COMPANY SA 5002158121 10044083 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. PART NUMBER 12154210 SUPERSEDED NUMBER 12151210 | No |  | USD | Meter | 1000420052 |  |  | 5,000 |  |  | 2020-03-03 02:55 | 5000390696 711101C05000U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | [5 empty] | Urgent | X | No |  |  | 831402 | 831408 |  | No | D - Dutible | 0- | SS-Sun Shelter(covered) | M005-S300 RASTANURA STORES | 04 BOAT
Note on M5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AJ5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on M6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AJ6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on M7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AJ7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on M8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AJ8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on M9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AJ9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on M10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AJ10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on M11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AJ11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on M12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AJ12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on M13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AJ13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on M14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AJ14: Answer Type: Text (multiple lines) Acceptable Values: Any Value