## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE ) | 5000382037 761403C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5002222133 61A601C10AWGU0BL800 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5000388641 MIDDLE EAST SPECIALIZED CABLES ( SA ) | AE Utd.Arab Emir. | 5000390163 DUBAI CABLE COMPANY (PRIVATE) ( AE ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000390368 711101C02500U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5000382038 SAUDI CABLE COMPANY ( SA ) | 5002613071 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | 5000388644 GENERAL CABLE ( US ) | AF Afghanistan | 5000390164 711101C01000U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000390369 SAUDI CABLE COMPANY ( SA ) | 5000382039 THE OKONITE COMPANY ( US ) | 5002222133 61A601C10AWGU0BL800 ALMOUSA SPECIALIZED CABLES EST ( SA ) | 5000388645 25002132 GENERAL CABLE ( US ) | AG Antigua/Barbuda | 5000390165 SAUDI CABLE COMPANY ( SA ) | We are currently at full capacity
|  | POE - Port of Export | 5000390480 THE OKONITE COMPANY ( US ) | 5001327955 DA8LU03BG JEDDAH CABLE COMPANY LIMITED ( SA ) | 5002613071 ELECTRIC HOUSE ESTABLISHMENT F ( SA ) | 5000388646 SOUTHWIRE COMPANY INCORPORATED ( US ) | AI Anguilla | 5000390166 THE OKONITE COMPANY ( US ) | Missing information / not enough information provided
|  |  | 5001277360 DB1DU01GG JEDDAH CABLE COMPANY LIMITED ( SA ) | 5001893725 EGYTECH CABLES EL SEWEDY ( EG ) |  | 5002612726 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | AB Abu Dhabi | 5001277358 DA8DU01GG JEDDAH CABLE COMPANY LIMITED ( SA ) | Other
|  |  | 5001775652 C316HB101000YG000MR ALFANAR ELECTRICAL SYSTEMS BRA ( SA ) | 5002143914 C314XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA ) |  | 5000388641 ALMOUSA SPECIALIZED CABLES EST ( SA ) | AL Albania | 5001775646 ALFANAR ELECTRICAL SYSTEMS BRA ( SA )
|  |  | 5002158115 12154190 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | 5002157869 14515208 BAHRA ADVANCED CABLE MANUFACTU ( SA ) |  | 5000388644 SAUDI CONTRACTORS SUPPLY CO. L ( SA ) | AM Armenia | 5002158099 12153170 BAHRA ADVANCED CABLE MANUFACTU ( SA )
|  |  | 5000390367 EBRAHIM AL-JUFFALI AND BROTHE ( SA ) | 5002332606 ELSEWEDY CABLES COMPANY LTD. ( SA ) |  | 5000388644 SAUDI ELECTRIC SUPPLY COMPANY ( SA ) | AN Dutch Antilles | 5000390163 EBRAHIM AL-JUFFALI AND BROTHE ( SA )
|  |  | 5000390367 MOHAMMED GHURM ABDULLA ( SA ) | 5000382037 761403C01000U0BK8 ALMOUSA SPECIALIZED CABLES EST ( SA ) |  | 5000388644 SAUDI ELECTRIC SUPPLY COMPANY ( SA ) | AO Angola | 5000390163 MOHAMMED GHURM ABDULLA ( SA )
|  |  | 5000390367 RAWABI OIL AND GAS COMPANY ( SA ) | 5000382038 ELECTRIC HOUSE ESTABLISHMENT F ( SA ) |  | 5000388644 SAUDI ELECTRIC SUPPLY COMPANY ( SA ) | AQ Antarctica | 5000390163 RAWABI OIL AND GAS COMPANY ( SA )
|  |  | 5000390367 SAUDI ELECTRIC SUPPLY COMPANY ( SA ) | 5000382038 ABDULLATIF AND MOHAMMED ALFOZA ( SA ) |  | 5000388644 SAUDI ELECTRIC SUPPLY COMPANY ( SA ) | AR Argentina | 5000390163 SAUDI ELECTRIC SUPPLY COMPANY ( SA )
|  |  | 5000390367 SAUDI ELECTRIC SUPPLY COMPANY ( SA ) | 5000382038 MAZEN MOHAMMED AL-SAEED TRADIN ( SA ) |  | 5000388646 BRANCH OF ALI ZAID AL-QURAISHI ( SA ) | AS Samoa,American | 5000390163 SAUDI ELECTRIC SUPPLY COMPANY ( SA )
|  |  | 5000390367 SAUDI ELECTRIC SUPPLY COMPANY ( SA ) | 5000382039 AL-MUHAIZEE TRADING SERVICES C ( SA ) |  | 5000388646 ALREZIZA TRADING & CONTRACTING ( SA ) | AT Austria | 5000390163 SAUDI ELECTRIC SUPPLY COMPANY ( SA )
|  |  | 5000390367 SAUDI ELECTRIC SUPPLY COMPANY ( SA ) | 5000382039 BRANCH OF ALI ZAID AL-QURAISHI ( SA ) |  | 5000388646 SAADOOUN AL SAADOUN EST FOR TR ( SA ) | AU Australia | 5000390163 SAUDI ELECTRIC SUPPLY COMPANY ( SA )
|  |  | 5000390368 711101C02500U0GN8 ALMOUSA SPECIALIZED CABLES EST ( SA ) | 5000382039 FRONT END LIMITED COMPANY ( SA ) |  | 5002612726 ELECTRIC HOUSE ESTABLISHMENT F ( SA ) | AW Aruba | 5000390164 711101C01000U0GN1 ALMOUSA SPECIALIZED CABLES EST ( SA )
|  |  | 5000390369 ELECTRIC HOUSE ESTABLISHMENT F ( SA ) | 5001893725 ALRUQEE INDUSTRIAL MARKETING ( SA ) |  |  | AZ Azerbaijan | 5000390165 ELECTRIC HOUSE ESTABLISHMENT F ( SA )
|  |  | 5000390369 ABDULLATIF AND MOHAMMED ALFOZA ( SA ) | 5002143914 C314XA10300SBK04IMR ALFANAR COMPANY ( SA ) |  |  | BA Bosnia-Herz. | 5000390165 ABDULLATIF AND MOHAMMED ALFOZA ( SA )
|  |  | 5000390369 MAZEN MOHAMMED AL-SAEED TRADIN ( SA ) | 5002157869 14515208 ELECTRIC HOUSE ESTABLISHMENT F ( SA ) |  |  | BB Barbados | 5000390165 MAZEN MOHAMMED AL-SAEED TRADIN ( SA )
|  |  | 5000390480 AL-MUHAIZEE TRADING SERVICES C ( SA ) |  |  |  | BD Bangladesh | 5000390166 AL-MUHAIZEE TRADING SERVICES C ( SA )
|  |  | 5000390480 BRANCH OF ALI ZAID AL-QURAISHI ( SA ) |  |  |  | BE Belgium | 5000390166 BRANCH OF ALI ZAID AL-QURAISHI ( SA )
|  |  | 5000390480 FRONT END LIMITED COMPANY ( SA ) |  |  |  | BF Burkina-Faso | 5000390166 FRONT END LIMITED COMPANY ( SA )
|  |  | 5001775652 C316HB101000YG000MR ALFANAR COMPANY ( SA ) |  |  |  | BG Bulgaria | 5001775646 ALFANAR COMPANY ( SA )
|  |  | 5002158115 12154190 ELECTRIC HOUSE ESTABLISHMENT F ( SA ) |  |  |  | BH Bahrain | 5002158099 12153170 ELECTRIC HOUSE ESTABLISHMENT F ( SA )
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
2.1 | Do you accept the bidding instructions & conditions in this section? |  |  |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  |  |  | 2020-09-01 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  |  |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  |  |  | Technical Datasheets with Technical Note.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  |  |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  |  |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  |  |  | BCC Quotation.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | * HS Code
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
6.1 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;17.2 MM (0.677 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFAC TURE MARKINGS;506 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. Manufacturer Part Number Text : 5000382037 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-03C-01000-U0 BK8 5000382038 10013724 SAUDI CABLE COMPANY SA 5000382039 10020512 THE OKONITE COMPANY US 5002332606 10046468 ELSEWEDY CABLES COMPANY LTD. SA 5001327955 10013002 JEDDAH CABLE COMPANY LIMITED SA PART NUMBER DA8LU03BG 5001893725 10037887 EGYTECH CABLES EL SEWEDY EG 5002143914 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C314XA10300SBK04IMR 5002157869 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515208 SUPERSEDED NUMBER 14510208 | Yes |  | SAR | Meter | 1000417764 |  | 12.24 | 3,000 | 80 |  | 2020-10-27 03:55 | 5000382037 761403C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | Bahra Advanced Cable Manufacturer Co. Ltd. |  | 19916521 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT | Please review the technical note attached with our technical datasheet. If we will get the order for this item, we would like to request Aramco to confirm/approve our technical datasheet in order to proceed for the production |  | N/A
6.2 | WIRE; 750V NYA 1/C 10MM2 (8 AWG) STR CU |  |  |  | WIRE ELECTRICAL; 10 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;5.56 MM (0.21875 IN) OD;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; Manufacturer Part Number Text : 5000390163 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000390164 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 01000 - U0 GN-1 5000390165 10013724 SAUDI CABLE COMPANY SA 5000390166 10020512 THE OKONITE COMPANY US 5001277358 10013002 JEDDAH CABLE COMPANY LIMITED SA CODE NUMBER DA8DU01GG 5001775646 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002158099 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12153170 SUPERSEDED NUMBER 12150170 | Yes |  | SAR | Meter | 1000419808 |  | 3.3 | 2,116 | 80 |  | 2020-10-20 03:55 | 5000390163 DUBAI CABLE COMPANY (PRIVATE) ( AE ) | Bahra Advanced Cable Manufacturer Co. Ltd. |  | 12154170 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | Please review the technical note attached with our technical datasheet. If we will get the order for this item, we would like to request Aramco to confirm/approve our technical datasheet in order to proceed for the production |  | N/A
6.3 | WIRE; 750V NYA 1/C 25MM2 (4 AWG) STR CU |  |  |  | WIRE ELECTRICAL; 25 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;9.3 MM OD;270 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING Manufacturer Part Number Text : 5000390367 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000390368 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 02500 - U0 GN-8 5000390369 10013724 SAUDI CABLE COMPANY SA 5000390480 10020512 THE OKONITE COMPANY US 5001277360 10013002 JEDDAH CABLE COMPANY LIMITED SA CODE NUMBER DB1DU01GG 5001775652 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY ITEM NUMBER C316HB101000YG000MR 5002158115 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12154190 SUPERSEDED NUMBER 12150190 | Yes |  | SAR | Meter | 1000419988 |  | 7.19 | 3,000 | 80 |  | 2020-10-22 03:55 | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE ) | Bahra Advanced Cable Manufacturer Co. Ltd. |  | 12154190 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT | Please review the technical note attached with our technical datasheet. If we will get the order for this item, we would like to request Aramco to confirm/approve our technical datasheet in order to proceed for the production |  | N/A
6.4 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  |  |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT) Manufacturer Part Number Text : 5002613071 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5002222133 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 61A6-01C10AWG-U0BL8-00 | Yes |  | SAR | Meter | 1000836395 |  | 1.83 | 305 | 80 |  | 2020-10-29 03:55 | 5002222133 61A601C10AWGU0BL800 MIDDLE EAST SPECIALIZED CABLES ( SA ) | Bahra Advanced Cable Manufacturer Co. Ltd. |  | 11121245 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | F001-C321 JUAYMAH STORES | 04 BOAT | Our Minimum Order Quantity for this item is 15,200 meters Please review the technical note attached with our technical datasheet. If we will get the order for this item, we would like to request Aramco to confirm/approve our technical datasheet in order to proceed for the production |  | N/A
6.5 | WIRE; BUILDING; 600V; |  |  |  | WIRE ELECTRICAL; 33.63 MM2 (2 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;9.91 MM (0.390 IN) OD;351.2 KG/KM (236 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING Manufacturer Part Number Text : 5000388641 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000388644 10016871 GENERAL CABLE US BICC GENERAL 5000388645 10016872 GENERAL CABLE US NUMBER 25002-132 SUPERSEDED NUMBER TP AP-06201 5000388646 10021675 SOUTHWIRE COMPANY INCORPORATED US 5002612726 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - | Yes |  | SAR | Feet | 1000419474 |  | 3.7 | 2,000 | 80 |  | 2020-11-03 02:55 | 5000388641 MIDDLE EAST SPECIALIZED CABLES ( SA ) | Bahra Advanced Cable Manufacturer Co. Ltd. |  | 11131095 |  |  | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Our Minimum Order Quantity for this item is 50,000 feet Please review the technical note attached with our technical datasheet. If we will get the order for this item, we would like to request Aramco to confirm/approve our technical datasheet in order to proceed for the production |  | N/A
Note on P5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on V5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AM5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on P6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on V6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AM6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on P7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on V7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AM7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on P8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on V8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AM8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on P9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on V9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AM9: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  |  |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf