## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000372965 3XE16STJ DEKORON WIRE AND CABLE ( US ) | 5000392528 PHELPS DODGE WIRE AND CABLE ( US ) | 5000381943 DUBAI CABLE COMPANY (PRIVATE) ( AE ) | 5000389301 75140 GENERAL CABLE ( US ) | 5000380900 DUBAI CABLE COMPANY (PRIVATE) ( AE ) | 5000382352 DUBAI CABLE COMPANY (PRIVATE) ( AE ) | 5002743705 1020605000843 SAUDI CABLE COMPANY ( SA ) | 5000382033 761403C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5000391021 711101C07000U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5000382502 DUBAI CABLE COMPANY (PRIVATE) ( AE ) | AE Utd.Arab Emir. | 5000373176 02CA03C14AWGU0BK706 MIDDLE EAST SPECIALIZED CABLES ( SA ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5001470601 83337E BELDEN WIRE AND CABLE COMPANY ( US ) | 5001346008 ALFANAR TECHNICAL SERVICES COM ( SA ) | 5000381944 761403C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5000389302 26410 GENERAL CABLE ( US ) | 5000380901 761401C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5000382353 761404C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) |  | 5000382034 SAUDI CABLE COMPANY ( SA ) | 5000391022 SAUDI CABLE COMPANY ( SA ) | 5000382503 761404C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA ) | AF Afghanistan | 5000373177 M33943 MANHATTAN-CDT ( US ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5001470821 WATLOW ELECTRIC MANUFACTURING ( US ) |  | 5000381945 SAUDI CABLE COMPANY ( SA ) | 5000389303 M2822 MANHATTAN-CDT ( US ) | 5000380902 SAUDI CABLE COMPANY ( SA ) | 5000382354 SAUDI CABLE COMPANY ( SA ) |  | 5000382035 THE OKONITE COMPANY ( US ) | 5000391023 RS COMPONENTS LTD ( GB ) | 5000382504 SAUDI CABLE COMPANY ( SA ) | AG Antigua/Barbuda | 5000373178 AMERICAN INSULATED WIRE CORPOR ( US ) | We are currently at full capacity
|  | POE - Port of Export | 5001470894 THE OKONITE COMPANY ( US ) |  | 5000381946 THE OKONITE COMPANY ( US ) | 5000389304 AMERICAN INSULATED WIRE CORPOR ( US ) | 5000380903 THE OKONITE COMPANY ( US ) | 5000382355 THE OKONITE COMPANY ( US ) |  | 5001274383 DA7LU03BEG JEDDAH CABLE COMPANY LIMITED ( SA ) | 5001277364 HB4DU01GG JEDDAH CABLE COMPANY LIMITED ( SA ) | 5000382505 THE OKONITE COMPANY ( US ) | AI Anguilla | 5000373179 3X60486100 DEKORON WIRE AND CABLE ( US ) | Missing information / not enough information provided
|  |  | 5001471049 HEXATRONIC CABLES AND INTERCON ( SE ) |  | 5001274381 DA5LU03BEG JEDDAH CABLE COMPANY LIMITED ( SA ) | 5000389305 116671371 THE OKONITE COMPANY ( US ) | 5001893700 EGYTECH CABLES EL SEWEDY ( EG ) | 5001277340 DA5LU04BEG JEDDAH CABLE COMPANY LIMITED ( SA ) |  | 5001893724 EGYTECH CABLES EL SEWEDY ( EG ) | 5001775661 ALFANAR ELECTRICAL SYSTEMS BRA ( SA ) | 5001277342 DA7LU04BEG JEDDAH CABLE COMPANY LIMITED ( SA ) | AB Abu Dhabi | 5001470602 BELDEN WIRE AND CABLE COMPANY ( US ) | Other
|  |  | 5001471144 PRYSMIAN POWERLINK SRL ( IT ) |  | 5001893722 EGYTECH CABLES EL SEWEDY ( EG ) | 5000389306 SOUTHWIRE COMPANY INCORPORATED ( US ) | 5002157846 14015010 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | 5001893733 EGYTECH CABLES EL SEWEDY ( EG ) |  | 5002143913 C213XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA ) | 5002158124 12154220 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | 5001893735 EGYTECH CABLES EL SEWEDY ( EG ) | AL Albania | 5001470698 OKAZAKI MANUFACTURING COMPANY ( JP )
|  |  | 5001893626 EGYTECH CABLES EL SEWEDY ( EG ) |  | 5002143911 C210XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA ) | 5002412976 MIDDLE EAST SPECIALIZED CABLES ( SA ) | 5002332585 ELSEWEDY CABLES COMPANY LTD. ( SA ) | 5002143875 C210XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA ) |  | 5002157868 14515207 BAHRA ADVANCED CABLE MANUFACTU ( SA ) |  | 5002143877 C213XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA ) | AM Armenia | 5001470785 HITACHI METALS LTD ( JP )
[5 empty] | 5002157866 14515203 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | 5002612732 BAHRA ADVANCED CABLE MANUFACTU ( SA ) |  | 5002157875 14515303 BAHRA ADVANCED CABLE MANUFACTU ( SA ) |  | 5002332605 ELSEWEDY CABLES COMPANY LTD. ( SA ) |  | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | AN Dutch Antilles | 5001470786 SUMITOMO ELECTRIC INDUSTRIES L ( JP )
[5 empty] | 5002332603 ELSEWEDY CABLES COMPANY LTD. ( SA ) | [6 empty] | 5002332613 ELSEWEDY CABLES COMPANY LTD. ( SA ) | AO Angola | 5001470825 WATLOW ELECTRIC MANUFACTURING ( US )
[13 empty] | AQ Antarctica | 5001470902 THE OKONITE COMPANY ( US )
[13 empty] | AR Argentina | 5001471053 HEXATRONIC CABLES AND INTERCON ( SE )
[13 empty] | AS Samoa,American | 5001471148 PRYSMIAN POWERLINK SRL ( IT )
[13 empty] | AT Austria | 5001893629 EGYTECH CABLES EL SEWEDY ( EG )
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
2.1 | Do you accept the bidding instructions & conditions in this section? |  |  |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  |  |  | 2020-10-15 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  |  |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  |  |  | Technical Datasheets with Technical Note.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  |  |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  |  |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  |  |  | BCC Quotation.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
6.1 | CABLE; 600-1KV XLPE/PVC 4/C 2.5MM2 (14 A |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;13.4 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;0.7 MM (0.028 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED Manufacturer Part Number Text : 5000382352 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000382353 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-04C-00250-U0 BK8 5000382355 10020512 THE OKONITE COMPANY US 5001277340 10013002 JEDDAH CABLE COMPANY LIMITED SA CODE NUMBER DA5LU04BEG 5001893733 10037887 EGYTECH CABLES EL SEWEDY EG 5000382354 10013724 SAUDI CABLE COMPANY SA 5002143875 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C210XA10400SBK08IMR 5002157875 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515303 SUPERSEDED NUMBER 14510303 | No |  | SAR | Meter | 1000417888 |  |  | 100 |  |  |  | 2020-12-02 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT
6.2 | CABLE; ELECTRICAL; 600V; |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;2.08 SQ MM (14 AWG) CONDUCTO;600 V SUPPLY;3 CONDUCTO;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;NEC;0.51 MM (0.020 IN) INSUL TH;NEC;ALUM POLYESTER TAPE SHIELDIN;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;NEC 725;REEL; 300 M/COIL (1000 FT/COIL);TR 90 DEG C DRY; 75 DEG C WET;XLPE INSUL;COPPER CONDUCTO;UL-44;UL-1277 ICEA;S-66-524;CLASS C; COLOR CODED BLUE; BLACK; RED; DRAIN WIRE; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME; SUNLIGHT RESISTANT; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO ICEA UL 44 AND 1277 AND ICEA S-66-524; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; Manufacturer Part Number Text : 5000373176 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 02CA-03C14AWG-U0BK7-06 SUPERSEDED NUMBER 0214-03C14AWG-U0BK8 5000373177 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M33943 5000373178 10019733 AMERICAN INSULATED WIRE CORPORATION US LEVITON MANUFACTURING COMPANY 5000373179 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER 3X60-48610-0 SUPERSEDED NUMBER 1X35-40362-0 5001470602 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED 5001470698 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH 5001470785 10000788 HITACHI METALS LTD JP CABLE MATERIAL COMPANY 5001470786 10026424 SUMITOMO ELECTRIC INDUSTRIES LTD JP HITAKA/MINATO WORKS 5001470902 10020512 THE OKONITE COMPANY US 5001471053 10003885 HEXATRONIC CABLES AND INTERCONNE SE SYSTEMS AB 5001471148 10024590 PRYSMIAN POWERLINK SRL IT 5001470825 10023035 WATLOW ELECTRIC MANUFACTURING US 5001893629 10037887 EGYTECH CABLES EL SEWEDY EG | No |  | SAR | Feet | 1000415173 |  |  | 1,000 |  |  |  | 2020-12-08 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B01A-C531 SHEDGUM B-3013; STORES UNIT | 04 BOAT
6.3 | CABLE; 1KV XLPE/PVC 3/C 6MM2 (10 AWG) PV |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;15.8 MM (0.622 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFAC TURE MARKINGS;350 KG/KM (235 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0276 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. Manufacturer Part Number Text : 5000382033 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-03C-00600-U0 BK8 5000382034 10013724 SAUDI CABLE COMPANY SA 5000382035 10020512 THE OKONITE COMPANY US 5002332605 10046468 ELSEWEDY CABLES COMPANY LTD. SA 5001274383 10013002 JEDDAH CABLE COMPANY LIMITED SA PART NUMBER DA7LU03BEG CODE NUMBER DA7LU03BEG 5001893724 10037887 EGYTECH CABLES EL SEWEDY EG 5002143913 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C213XA10300SBK04IMR 5002157868 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515207 SUPERSEDED NUMBER 14510207 | Yes |  | SAR | Meter | 1000417760 |  | 8.09 | 500 | N/A | 80 |  | 2020-11-29 02:55 | 5002157868 14515207 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | Bahra Advanced Cable Manufacture Co. Ltd. |  | 19916520 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M006-S953 RIYADH STORES | 04 BOAT | Please review the technical note attached with our Technical Datasheets. We would like to request Aramco to approve our Technical Datasheet if we got PO in future. This item is quoted as per our Minimum Order Quantity (MOQ) that is 1,000m.
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;17.1 MM (0.6732 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;425 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. Manufacturer Part Number Text : 5000382502 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000382503 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-04C-00600-U0 BK8 5000382504 10013724 SAUDI CABLE COMPANY SA 5000382505 10020512 THE OKONITE COMPANY US 5002332613 10046468 ELSEWEDY CABLES COMPANY LTD. SA 5001277342 10013002 JEDDAH CABLE COMPANY LIMITED SA CODE NUMBER DA7LU04BEG 5001893735 10037887 EGYTECH CABLES EL SEWEDY EG 5002143877 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C213XA10400SBK08IMR 5002157877 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515307 SUPERSEDED NUMBER 14510307 | Yes |  | SAR | Meter | 1000417914 |  | 9.81 | 4,000 | N/A | 80 |  | 2020-12-13 02:55 | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | Bahra Advanced Cable Manufacture Co. Ltd. |  | 19916740 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT | Please review the technical note attached with our Technical Datasheets. We would like to request Aramco to approve our Technical Datasheet if we got PO in future.
6.5 | WIRE; ELECTRICAL; 107.2 MM2 (4/0 A |  |  |  | WIRE ELECTRICAL; 107.2 MM2 (4/0 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;16.51 MM (0.650 IN) OD;1070 KG/KM (719 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING Manufacturer Part Number Text : 5000389301 10016871 GENERAL CABLE US BICC GENERAL NUMBER 75140 5000389302 10016872 GENERAL CABLE US NUMBER 26410 SUPERSEDED NUMBER TP AP-06201 5000389303 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M2822 5000389304 10019733 AMERICAN INSULATED WIRE CORPORATION US LEVITON MANUFACTURING COMPANY 5000389305 10020512 THE OKONITE COMPANY US NUMBER 116-67-1371 5000389306 10021675 SOUTHWIRE COMPANY INCORPORATED US 5002412976 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002612732 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - | Yes |  | SAR | Feet | 1000419555 |  | 10.1 | 1,970 | N/A | 80 |  | 2020-12-10 02:55 | 5002612732 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | Bahra Advanced Cable Manufacture Co. Ltd. |  | 11131146 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | Please review the technical note attached with our Technical Datasheets. We would like to request Aramco to approve our Technical Datasheet if we got PO in future. This item is quoted as per our Minimum Order Quantity (MOQ) that is 3,000m or 9,840feet.
6.6 | CABLE; ELECTRICAL; MEDIUM VOLTAGE |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;8.9 MM (0.3503 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;146 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC-228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;PVC INSUL;COPPER CONDUCTO;15-SAMSS-502; IEC 502; UL;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED Manufacturer Part Number Text : 5000380900 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000380901 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-01C-01000-U0 BK8 5000380902 10013724 SAUDI CABLE COMPANY SA 5000380903 10020512 THE OKONITE COMPANY US 5002332585 10046468 ELSEWEDY CABLES COMPANY LTD. SA 5001893700 10037887 EGYTECH CABLES EL SEWEDY EG 5002157846 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14015010 SUPERSEDED NUMBER 14010010 | Yes |  | SAR | Meter | 1000417459 |  | 5.36 | 500 | N/A | 80 |  | 2020-12-08 02:55 | 5002157846 14015010 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | Bahra Advanced Cable Manufacture Co. Ltd. |  | 19916517 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | B005-C322 TANAJIB B-10; STORE STOCK | 04 BOAT | Please review the technical note attached with our Technical Datasheets. We would like to request Aramco to approve our Technical Datasheet if we got PO in future. This item is quoted as per our Minimum Order Quantity (MOQ) that is 2,000m. |  |  | 15SAMSS502052020205018706041000101.pdf
6.7 | CABLE; 600V TC 3/C 2.5MM2 (14 AWG) PVC X |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;175 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. Manufacturer Part Number Text : 5000381943 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000381944 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-03C-00250-U0 BK8 5000381945 10013724 SAUDI CABLE COMPANY SA 5000381946 10020512 THE OKONITE COMPANY US 5002332603 10046468 ELSEWEDY CABLES COMPANY LTD. SA 5001274381 10013002 JEDDAH CABLE COMPANY LIMITED SA PART NUMBER DA5LU03BEG CODE NUMBER DA5LU03BEG 5001893722 10037887 EGYTECH CABLES EL SEWEDY EG 5002143911 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C210XA10300SBK04IMR 5002157866 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515203 SUPERSEDED NUMBER 14510203 | No |  | SAR | Meter | 1000417735 |  |  | 200 |  |  |  | 2020-12-08 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT
6.8 | CABLE; 600-1KV XLPE/PVC 4/C 2.5MM2 (14 A |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;13.4 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;0.7 MM (0.028 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED Manufacturer Part Number Text : 5000382352 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000382353 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-04C-00250-U0 BK8 5000382355 10020512 THE OKONITE COMPANY US 5001277340 10013002 JEDDAH CABLE COMPANY LIMITED SA CODE NUMBER DA5LU04BEG 5001893733 10037887 EGYTECH CABLES EL SEWEDY EG 5000382354 10013724 SAUDI CABLE COMPANY SA 5002143875 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C210XA10400SBK08IMR 5002157875 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515303 SUPERSEDED NUMBER 14510303 | No |  | SAR | Meter | 1000417888 |  |  | 200 |  |  |  | 2020-12-08 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT
6.9 | CABLE; 600V TC 3/C 2.5MM2 (14 AWG) PVC X |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;175 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. Manufacturer Part Number Text : 5000381943 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000381944 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-03C-00250-U0 BK8 5000381945 10013724 SAUDI CABLE COMPANY SA 5000381946 10020512 THE OKONITE COMPANY US 5002332603 10046468 ELSEWEDY CABLES COMPANY LTD. SA 5001274381 10013002 JEDDAH CABLE COMPANY LIMITED SA PART NUMBER DA5LU03BEG CODE NUMBER DA5LU03BEG 5001893722 10037887 EGYTECH CABLES EL SEWEDY EG 5002143911 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C210XA10300SBK04IMR 5002157866 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515203 SUPERSEDED NUMBER 14510203 | Yes |  | SAR | Meter | 1000417735 |  | 4.9 | 1,000 | N/A | 80 |  | 2020-12-13 02:55 | 5002157866 14515203 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | Bahra Advanced Cable Manufacture Co. Ltd. |  | 19919392 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT | Please review the technical note attached with our Technical Datasheets. We would like to request Aramco to approve our Technical Datasheet if we got PO in future. This item is quoted as per our Minimum Order Quantity (MOQ) that is 3,000m.
6.10 | CABLE; ELECTRICAL; MEDIUM VOLTAGE |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;8.9 MM (0.3503 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;146 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC-228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;PVC INSUL;COPPER CONDUCTO;15-SAMSS-502; IEC 502; UL;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED Manufacturer Part Number Text : 5000380900 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000380901 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-01C-01000-U0 BK8 5000380902 10013724 SAUDI CABLE COMPANY SA 5000380903 10020512 THE OKONITE COMPANY US 5002332585 10046468 ELSEWEDY CABLES COMPANY LTD. SA 5001893700 10037887 EGYTECH CABLES EL SEWEDY EG 5002157846 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14015010 SUPERSEDED NUMBER 14010010 | No |  | SAR | Meter | 1000417459 |  |  | 50 |  |  |  | 2020-12-15 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | C003-C953 RIYADH STORES | 04 BOAT |  |  |  | 15SAMSS502052020205018716520000101.pdf
6.11 | WIRE; 750V NYA 1/C 70MM2 (2/0 AWG) STR C |  |  |  | WIRE ELECTRICAL; 70 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;14.5 MM OD;690 KG/KM LG;TR 85 DEG C MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332 CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CABLE PACKAGING IN CARTON OR FULLY PROTECTED REEL DURABLY MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER SIZE OF CONDUCTORS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING Manufacturer Part Number Text : 5000391021 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 07000 - U0 GN-8 5000391022 10013724 SAUDI CABLE COMPANY SA 5000391023 10001382 RS COMPONENTS LTD GB 5001277364 10013002 JEDDAH CABLE COMPANY LIMITED SA CODE NUMBER HB4DU01GG 5001775661 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002158124 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12154220 SUPERSEDED NUMBER 12151220 | Yes |  | SAR | Meter | 1000420088 |  | 17.95 | 3,000 | N/A | 80 |  | 2021-03-21 03:55 | 5002158124 12154220 BAHRA ADVANCED CABLE MANUFACTU ( SA ) | Bahra Advanced Cable Manufacture Co. Ltd. |  | 12154220 |  | SA Saudi Arabia | Urgent | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | Z012-C811 TANAJIB STAGING YARD | 04 BOAT | Please review the technical note attached with our Technical Datasheets. We would like to request Aramco to approve our Technical Datasheet if we got PO in future.
6.12 | CABLE ELECTRICAL LOW VOLTAGE; GROUNDING; |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; GROUNDING TYPE;CIRCULAR CONDUCTO;35 MM2 CONDUCTO;450/750V SUPPLY;1 CONDUCTO;10.9 CABLE OD;1 X 35 MM2; CU/PCV 450/750V MARKINGS;350 KG PER KM LG;1.2 MM INSUL TH;WOODEN DRUM;TR 90 DEG C;HR-PVC T13 INSUL;COPPER CONDUCTO;BS EN 50525-2-31; IEC 60332-1;6 STRANDS; COLOR CODE (GREEN); MOISTURE; HEAT; OIL;GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT Manufacturer Part Number Text : 5002743705 10013724 SAUDI CABLE COMPANY SA PART NUMBER 0001020605-000843 | Yes |  | SAR | Meter | 1001055906 |  | 9.4 | 2,000 | N/A | 80 |  | 2020-12-14 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture Co. Ltd. |  | 12154200 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | B009-C500 ABQAIQ B-1061; STORES | 04 BOAT | Please review the technical note attached with our Technical Datasheets. We would like to request Aramco to approve our Technical Datasheet if we got PO in future.
6.13 | WIRE; MAGNET; 1.31 MM2 (16 AWG); 1 |  |  |  | WIRE MAGNET; 1.31 MM2 (16 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; SPOOL OR CARTON TO BE TAGGED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; NET 11.8 KG/KM (7.96 LBS PER 1000 FT); APPROX 36.3 KG (80 LBS) PER SPOOL; MATERIAL UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING Manufacturer Part Number Text : 5000392528 10020760 PHELPS DODGE WIRE AND CABLE US PHELPS DODGE CORPORATION 5001346008 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA | No |  | SAR | US pound | 1000420619 |  |  | 1,540 |  |  |  | 2021-03-08 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT
6.14 | CABLE; CONTROL; 600V; |  |  |  | CORD ELECTRICAL; 3 CONDUCTO;1.31 SQ MM (16 AWG) CONDUCTO;19 X 29 STRANDS CONDUCTO;600 V SUPPLY;SILVER PLATED COPPER CONDUCTO;TFE OR PFA;5.5 MM (0.218 IN) OD;WHITE;TFE OR PFA TEFLON TAPE JACKET;TEFLON; BARIDED COPPER SHIELD INSUL;TR 200 DEG C;79 KG/KM (53.3 LBS PER 1000 FT) LG;FOR HIGH TEMPERATURE; CABLE TRAY; CONDUIT; DUCT;UL-83;OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; MIN OF 152 M (500 FT) UNCUT LG PER REEL; BLACK; RED; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO ICEA UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; OUTER MARKINGS; VOLTAGE; NUMBER; SIZE OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURED; INSULATION THICKNESS; 0.28 MM (0.011 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; INSULATION MATERIAL SPEC; -65 TO 200 DEG C; PACKAGING; CARTON OR FULLY PROTECTED REEL Manufacturer Part Number Text : 5000372965 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER 3XE 16 STJ 5001470601 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED PART NUMBER 83337E 5001470821 10023035 WATLOW ELECTRIC MANUFACTURING US 5001470894 10020512 THE OKONITE COMPANY US 5001471049 10003885 HEXATRONIC CABLES AND INTERCONNE SE SYSTEMS AB 5001471144 10024590 PRYSMIAN POWERLINK SRL IT 5001893626 10037887 EGYTECH CABLES EL SEWEDY EG | No |  | SAR | Feet | 1000415117 |  |  | 3,000 |  |  |  | 2021-03-07 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT
Note on Q5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN18: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  |  |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf