## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | AE Utd.Arab Emir. | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000381943 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002347432 00705GAPZULC7 CROMPTON INSTRUMENT ( US - KENNESAW ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | AF Afghanistan | 5000390368 711101C02500U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000381944 761403C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002347433 00705GAPZULC7 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | AG Antigua/Barbuda | 5000390369 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381945 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | We are currently at full capacity
|  | POE - Port of Export | AI Anguilla | 5000390480 THE OKONITE COMPANY ( US - HOUSTON ) | 5000381946 THE OKONITE COMPANY ( US - HOUSTON ) |  | Missing information / not enough information provided
|  |  | AB Abu Dhabi | 5001277360 DB1DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001274381 DA5LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | Other
|  |  | AL Albania | 5001775652 C316HB101000YG000MR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893722 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
|  |  | AM Armenia | 5002158115 12154190 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002143911 C210XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | AN Dutch Antilles |  | 5002157866 14515203 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  | AO Angola |  | 5002332603 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2020-12-29 02:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | Technical Datasheet with Technical Note.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | BCC Quotation.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | METER ELECTRICAL; VOLTAGE; 0 - 5250 VAC; |  | METER ELECTRICAL; VOLTAGE TYPE;0 - 5250 VAC RANGE;ANALOG<br />READOUT;SQUARE SHAPE;PANEL DOOR MTG;50/60 HZ;31% ACCURACY;ANSI;<br />UL LISTED;0/150 VAC INPUT; TRANSFORMER RATED<br /> | No |  | SAR | each | 1000906922 |  |  | 3 |  |  |  | 2020-12-25 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | Z02A-C500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : SWITCHGEAR METAL CLAD; VACUUM BREAKER;4.16 KV;1200 A MAIN BUS;NEMA 1; DIMENSION; 2387.8 MM DP X 7315.2 MM WD X 2413 MM HT; FINISH; ANSI 61 ENCLOSUR;3 PH PHASE;60 HZ;16-SAMSS-502;RATED MAXIMUM VOLTAGE; 4.76 KV; RATED POWER FREQUENCY VOLTAGE; 19 KV; RATED LIGHTNING IMPULSE VOLTAGE (PEAK); 60 KV; RATED PERMISSIBLE TRIPPING DELAY; 2 SECONDS; RATED SHORT CIRCUIT CURRENT; 40 KA; DC POWER SUPPLY; 125 VDC; AMBIENT TEMPERATURE; 40 DEG. C ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME ALFANAR ELECTRICAL SYSTEMS MODEL NUMBER PVAC-E SERIAL NUMBER PVAC/XX/X.2012/XXX DRAWING NUMBER MCA90069 SBP4-NA4200-AES-200057 SBP4-NA4200-AES-200156 SBP4-NA4200-AES-200157 SBP4-NA4200-AES-200158 SBP4-NA4200-AES-200159 REFERENCE NUMBER MVCE-OG-2011-07-010 TAG NUMBER B24-051-SG-202 MANUFACTURER REFERENCES; 5002347432 10016448 CROMPTON INSTRUMENT US INCORPORATED TYCO ELECTRONICS PART NUMBER 007-05GA-PZUL-C7 5002347433 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY PART NUMBER 007-05GA-PZUL-C7
6.2 | WIRE; 750V NYA 1/C 25MM2 (4 AWG) STR CU |  | WIRE ELECTRICAL; 25 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V<br />SUPPLY;NYA WIRE;9.3 MM OD;270 KG/KM LG;TR 85 DEG C MAXIMUM;7<br />STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5;<br />SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228<br />CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL<br />RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE<br />RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF<br />MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH;<br />ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF<br />CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING<br /> | Yes |  | SAR | Meter | 1000419988 |  | 8.5 | 2,000 | N/A | 60 |  | 2021-03-14 03:55 | 5002158115 12154190 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | Bahra Advanced Cable Manufacture Co. Ltd. |  | 12154190 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | Please review the technical note attached with our Technical Datasheet. We would like to request Aramco to approve our Technical Datasheet if we got PO in future. |  | Manufacturer Part Number Text : 5000390367 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000390368 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 02500 - U0 GN-8 5000390369 10013724 SAUDI CABLE COMPANY SA 5000390480 10020512 THE OKONITE COMPANY US 5001277360 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DB1DU01GG 5001775652 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY ITEM NUMBER C316HB101000YG000MR 5002158115 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12154190 SUPERSEDED NUMBER 12150190
6.3 | CABLE; 600V TC 3/C 2.5MM2 (14 AWG) PVC X |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL<br />TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;13.0 MM<br />(0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M<br />ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;175 KG/KM LG;PVC<br />JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL<br />TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE<br />TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE<br />INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS;<br />COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS<br />ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME<br />RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER;<br />STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; &<br />TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING<br />OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED<br />LABELED OR LISTED REQUIRED.<br /> | No |  | SAR | Meter | 1000417735 |  |  | 1,000 |  |  |  | 2021-03-01 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000381943 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000381944 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-03C-00250-U0 BK8 5000381945 10013724 SAUDI CABLE COMPANY SA 5000381946 10020512 THE OKONITE COMPANY US 5002332603 10046468 ELSEWEDY CABLES COMPANY LTD. SA 5001274381 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA5LU03BEG CODE NUMBER DA5LU03BEG 5001893722 10037887 EGYTECH CABLES EL SEWEDY EG 5002143911 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C210XA10300SBK04IMR 5002157866 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515203 SUPERSEDED NUMBER 14510203
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value