## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000385724 611101C12AWGU0WT5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000365981 CNL306A3152 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000385419 61A601C12AWGU0GN500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000383321 761407C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382507 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000387338 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000385726 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001304027 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000385521 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383322 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382508 761404C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387430 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AF Afghanistan | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000385727 23012232 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001893571 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000385522 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383323 THE OKONITE COMPANY ( US - HOUSTON ) | 5000382509 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387431 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AG Antigua/Barbuda | We are currently at full capacity
|  | POE - Port of Export | 5000385728 THE OKONITE COMPANY ( US - HOUSTON ) | 5002143822 C212XA1030WMBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000385523 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277350 DA5LU07BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382710 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387432 116671103 THE OKONITE COMPANY ( US - HOUSTON ) | AI Anguilla | Missing information / not enough information provided
|  |  | 5000385830 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002157794 14530132 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000385525 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893749 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001277343 DA8LU04BGMO JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387433 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | AB Abu Dhabi | Other
|  |  | 5001429820 DW2WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5001429793 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002143925 C210XA10700SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893736 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001429838 DW2WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AL Albania
|  |  | 5001437356 0D06551210 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  | 5001437353 0D06551204 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002157886 13515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157878 14515308 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437373 0D06551205 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | AM Armenia
|  |  | 5001775605 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001775602 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002332620 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | 5002332614 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | 5001775622 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AN Dutch Antilles
[6 empty] | 5002700291 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002700290 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002158071 11100030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2021-03-22 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | Technical Datasheets.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | BCC Quotation.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | CABLE; 1KV XLPE/PVC 7/C 2.5MM2 (14 AWG) |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL<br />TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;7 CONDUCTO;15.6 MM<br />CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS;<br />MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;IEC<br />228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY<br />PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 332.3;<br />IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 7.<br />ORIGINAL EQPT REFS ABRASION; MOISTURE ACID; OIL & SUNLGHT<br />RESISTANT. FLAME RETARDANT PER IEC 332.3. REEL MARKED WITH<br />ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF<br />CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING;<br />MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540;<br />UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED<br /><br /> | Yes |  | SAR | Meter | 1000418072 |  | 9.26 | 4,000 | N/A | 70 |  | 2021-06-01 03:55 | 5002157886 13515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | Bahra Advanced Cable Manufacture Co. Ltd. |  | 13515207 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M006-S953 RIYADH STORES | 04 BOAT |  |  | <br /><br /><Strong>Manufacturer Part Number Text :</Strong><br />5000383321 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA<br />MESC )<br />MAT TYPE 7614 - 07C - 00250 - U0 BK8<br />5000383322 10013724 SAUDI CABLE COMPANY SA<br />5000383323 10020512 THE OK
6.2 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;WHITE;600<br />V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS<br />PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC<br />INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR<br />RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL<br />RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL;<br />CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF<br />CONDUCTORS; MANUFACTURER NAME; CARTON OR FULL PROTECTED REEL;<br />REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING<br />LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND<br />VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO<br />UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED<br /><br /> | Yes |  | SAR | Feet | 1000418919 |  | 0.51 | 10,500 | N/A | 70 |  | 2021-06-01 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture Co. Ltd. |  | 11171035 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <br /><br /><Strong>Manufacturer Part Number Text :</Strong><br />5001429820 10013002 JEDDAH CABLES COMPANY LTD SA<br />CODE NUMBER DW2WU01W<br />5000385724 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA<br />MESC )<br />REFERENCE NUMBER 6111-01C-12AWG-U0 W
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED<br />CONDUCTO;POWER TYPE;4 MM2 CONDUCTO;0.6/1 KV SUPPLY;3<br />CONDUCTO;BLACK;3 X 4 MM2; CU/XLPE/SWA/PVC 0.6/1 KV MARKINGS;PVC<br />JACKET;IEC-60502;0.7 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE<br />INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA<br /><br /> | Yes |  | SAR | Meter | 1000412459 |  | 8.48 | 2,000 | N/A | 70 |  | 2021-06-01 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture Co. Ltd. |  | 14535102 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 05 AIR |  |  | <br /><br /><Strong>Manufacturer Part Number Text :</Strong><br />5000365981 10013724 SAUDI CABLE COMPANY SA<br />NUMBER CNL3-06A-3152<br />5001304027 10013827 SAUDI MODERN COMPANY FOR SA<br />SPECIALIZED WIRES AND CABLES<br />5001893571 10037887 EGYTECH
6.4 | CABLE; LOW VOL; 7 STR; 600-1000 V |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER &<br />CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;19.2<br />MM (0.756 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND<br />UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;623<br />KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.028 IN) INSUL<br />TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE<br />TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE<br />INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS;<br />COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS<br />ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME<br />RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER;<br />STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; &<br />TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING<br />OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED<br />LABELED OR LISTED REQUIRED.<br /><br /> | Yes |  | SAR | Meter | 1000417918 |  | 17.59 | 1,000 | N/A | 70 |  | 2021-06-01 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture Co. Ltd. |  | 14515308 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <br /><br /><Strong>Manufacturer Part Number Text :</Strong><br />5000382508 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA<br />MESC )<br />REFERENCE NUMBER 7614-04C-01000-U0 BK8<br />5000382509 10013724 SAUDI CABLE COMPANY SA<br />5000382710 10020512 THE
6.5 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GREEN;600<br />V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS<br />PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC<br />INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR<br />RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL<br />RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL CABLE<br />MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS;<br />MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED<br />WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE<br />OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING;<br />MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR<br />EQUIVALENT APPROVED LABELED OR LISTED REQUIRED<br /><br /> | No | We don't supply at the requested quantity | SAR | Feet | 1000418910 |  |  | 6,000 |  |  |  | 2021-06-09 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <br /><br /><Strong>Manufacturer Part Number Text :</Strong><br />5000385521 10016871 GENERAL CABLE US<br />BICC GENERAL<br />5000385522 10016872 GENERAL CABLE US<br />NUMBER 24012<br />5000385523 10020512 THE OKONITE COMPANY US<br />5001437353 10013827 S
6.6 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;WHITE;600<br />V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS<br />PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC<br />INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR<br />RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL<br />RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL;<br />CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF<br />CONDUCTORS; MANUFACTURER NAME; CARTON OR FULL PROTECTED REEL;<br />REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING<br />LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND<br />VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO<br />UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED<br /><br /> | Yes |  | SAR | Feet | 1000418919 |  | 0.51 | 3,500 | N/A | 70 |  | 2021-04-01 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture Co. Ltd. |  | 11171035 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 05 AIR |  |  | <br /><br /><Strong>Manufacturer Part Number Text :</Strong><br />5001429820 10013002 JEDDAH CABLES COMPANY LTD SA<br />CODE NUMBER DW2WU01W<br />5000385724 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA<br />MESC )<br />REFERENCE NUMBER 6111-01C-12AWG-U0 W
6.7 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V<br />SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS<br />PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET<br />MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM<br />B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL<br />RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL<br />MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING<br />LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND<br />VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM<br />TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED;<br /><br /> | No | We don't supply at the requested quantity | SAR | Feet | 1000419193 |  |  | 90 |  |  |  | 2021-06-13 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J03A-C742 UDHAILIYAH MATERIAL YARD | 04 BOAT |  |  | <br /><br /><Strong>Manufacturer Part Number Text :</Strong><br />5001437373 10013827 SAUDI MODERN COMPANY FOR SA<br />SPECIALIZED WIRES AND CABLES<br />CODE NUMBER 0D06551205<br />5001429838 10013002 JEDDAH CABLES COMPANY LTD SA<br />CODE NUMBER DW2WU01R
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf