## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000365981 CNL306A3152 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AE Utd.Arab Emir. | 5001597481 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000381112 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387658 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382357 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5001599026 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382257 ** NEXANS HELLAS S.A. ( GR - ATHENS ) | 5000386467 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000383021 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381000 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5001304027 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | AF Afghanistan | 5001604312 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000381113 761401C05000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387761 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390368 711101C02500U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382358 761404C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  | 5001274388 HB6LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000386469 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383022 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000381001 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5001893571 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AG Antigua/Barbuda | 5002301250 571313316 THE OKONITE COMPANY ( US - HOUSTON ) | 5000381114 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387762 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390369 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382359 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | 5001893731 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000386580 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383023 THE OKONITE COMPANY ( US - HOUSTON ) | 5000381002 761401C02500U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We are currently at full capacity
|  | POE - Port of Export | 5002143822 C212XA1030WMBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AI Anguilla |  | 5000381115 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387763 116671132 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277360 DB1DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382500 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5002143873 C446XA10300MBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000386581 116671074 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277349 CB6LU04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000381003 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Missing information / not enough information provided
|  |  | 5002157794 14530132 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AB Abu Dhabi |  | 5001301500 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000387764 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001775652 C316HB101000YG000MR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001277341 DA6LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5002157873 14535255 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000386582 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893742 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000381004 THE OKONITE COMPANY ( US - HOUSTON ) | Other
|  |  |  | AL Albania |  | 5001893704 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001429853 DW3WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002158115 12154190 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001893734 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5002785949 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001429828 DW1WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002143923 C446XA10400SBK08CMF ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001301497 SAUDI MODERN COMPANY FOR ( SA - KHOBAR )
|  |  |  | AM Armenia |  | 5002143814 C318XA10100SBK52IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001437377 0D06551010 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  | 5002143876 C212XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | 5001437363 0D06551404 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002157884 14515315 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001893702 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
|  |  |  | AN Dutch Antilles |  | 5002157850 14515013 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001775626 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002157876 14515305 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | 5001775612 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002143812 C316XA10100SBK52IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  |  | AO Angola |  | 5002332589 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | 5002158076 11170040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002332612 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) |  |  | 5002158061 11150020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002157848 14515011 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  |  | AQ Antarctica | [9 empty] | 5002332587 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf
2.4 | ################################ Please note that any offers with minimum order QTY will be disqualified. Please provide us with the required QTY for each line item. Otherwise, please do not send us your offer. ################################

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | WIRE; 600V THHN/THWN 1/C 10 AWG (6MM2) S | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419271 |  |  | 2,000 |  |  |  | 2021-08-12 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001429853 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER DW3WU01W5000387658 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387761 10016871 GENERAL CABLE USBICC GENERAL5000387762 10016872 GEN
6.2 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419050 |  |  | 2,500 |  |  |  | 2021-08-13 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001429828 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER DW1WU01G5001437363 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLESCODE NUMBER 0D065514045000386467 10013206 MIDDLE EAST SPEC
6.3 | WIRE; ELECTRICAL; 16 AWG; 1 | WIRE ELECTRICAL; 16 AWG CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;MW WIRE;2.4 MM OD;TR 80 DEG C MAX;PVC INSUL;STRANDED TINNED COPPER CONDUCTO;HOOK-UP TYPE;MIL-W-76B; UL; CSA; NEC;HEAT AND OIL RESISTANT | No |  | USD | Feet | 1000439728 |  |  | 3,233 |  |  |  | 2021-07-27 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001599026 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;4 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 4 MM2; CU/XLPE/SWA/PVC 0.6/1 KV MARKINGS;PVC JACKET;IEC-60502;0.7 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412459 |  |  | 4,000 |  |  |  | 2021-08-01 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000365981 10013724 SAUDI CABLE COMPANY SANUMBER CNL3-06A-31525001304027 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001893571 10037887 EGYTECH CABLES EL SEWEDY EG5002143822 100125
6.5 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;25 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;9.9 MM (0.39 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTUER MARKINGS;210 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; IEC 502;0.9 MM (0.0354 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417495 |  |  | 1,500 |  |  |  | 2021-10-26 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381000 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000381001 10013002 JEDDAH CABLES COMPANY LTD SA5000381002 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-01C-02500-U
6.6 | CABLE; 1KV XLPE/PVC 1/C 50MM2 (1/0 AWG) | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;POWER & CONTROL TYPE;50 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;14.5 MM (0.571 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;525 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.0 MM (0.0393 IN) INSUL TH;IEC-228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417520 |  |  | 2,000 |  |  |  | 2021-10-26 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381112 10013002 JEDDAH CABLES COMPANY LTD SA5000381113 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-01C-05000-U0 BK85000381115 10020512 THE OKONITE COMPANY US5002332589 1
6.7 | CABLE; ELECTRICAL; LOW VOLTAGE; MC; | CABLE ELECTRICAL LOW VOLTAGE; MC TYPE;STRANDED CONDUCTO;POWER TYPE;240 MM2 (500 MCM) CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;2.53 IN CABLE OD;BLACK;RATING; SIZE & NUMBER OF CONDUCTORS MARKINGS;14802 KG/KM (9947 LBS/1000 FT) LG;PVC JACKET;ASTM D1047-83;1.7 MM (0.065 IN) INSUL TH;ASTM B3;FOR CABLE TRAY; CONDUIT;D2655-83;REEL;TR 90 DEG C DRY & 60 DEG C WET;XLPE INSUL;ROPE LAY COPPER CONDUCTO;STEEL WIRE ARMOR;UL LISTED;FOR ELECTRICAL; POWER TO PORTA CABI N AT SECURITY BLDG. | No |  | USD | Meter | 1000438664 |  |  | 500 |  |  |  | 2021-10-26 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002301250 10020512 THE OKONITE COMPANY USCATALOG NUMBER 571-31-33165001597481 10013002 JEDDAH CABLES COMPANY LTD SA5001604312 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES
6.8 | CABLE; ELECTRICAL; LOW VOLTAGE; X | CABLE ELECTRICAL LOW VOLTAGE; XLPE/PVC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;4 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;15.7 MM (0.618 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;400 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.275 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED BLACK; YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417911 |  |  | 5,000 |  |  |  | 2021-10-31 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382357 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382358 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-04C-00400-U0 BK85000382359 10013724 SAUDI CABLE COMPANY SA
6.9 | WIRE; 750V NYA 1/C 25MM2 (4 AWG) STR CU | WIRE ELECTRICAL; 25 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;9.3 MM OD;270 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | No |  | USD | Meter | 1000419988 |  |  | 3,200 |  |  |  | 2021-10-31 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390367 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390368 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 02500 - U0 GN-85000390369 10013724 SAUDI CABLE COMP
6.10 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;37 STRANDS CONDUCTO;POWER & CONTROL TYPE;120 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;49.2 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION.\ ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417987 |  |  | 3,000 |  |  |  | 2021-10-31 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000383021 10013724 SAUDI CABLE COMPANY SA5000383022 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000383023 10020512 THE OKONITE COMPANY US5001277349 10013002 JEDDAH CABLES COMPANY L
6.11 | CABLE POWER AND CONTROL 600V-1000V; | CORD ELECTRICAL; 3 CONDUCTO;120 SQ MM CONDUCTO;37 STRANDES CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;XLPE; POWER & CONTROL;33.9 MM (1.335 IN) OD;BLACK;PVC JACKET;XLPE INSUL;TR 90 DEG C;3820 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT;ICE 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC332; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER MARKINGS; VOLTAGE; TYPE CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; ST2 IEC 502; INSULATION THICKNESS; 1.2 MM (0.0472 IN); CONDUCTOR MATERIAL SPEC; IEC 228; INSULATION MATERIAL SPEC; IEC 502; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Meter | 1000417884 |  |  | 2,000 |  |  |  | 2021-08-15 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382257 10003546 ** NEXANS HELLAS S.A. GR5001274388 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER HB6LU03BG5001893731 10037887 EGYTECH CABLES EL SEWEDY EG5002785949 10013827 SAUDI MODERN COMPANY F
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value