## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000387658 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386374 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000388322 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000382257 ** NEXANS HELLAS S.A. ( GR - ATHENS ) | 5000385419 61A601C12AWGU0GN500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387766 61A601C08AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002743121 379154 RS COMPONENTS LTD ( GB - CORBY ) | 5000385724 611101C12AWGU0WT5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387989 61A601C06AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5000378562 761407C10AWGUOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382915 761404C07000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386683 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382793 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000368582 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382352 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000389720 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000387761 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386376 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388324 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001274388 HB6LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000385521 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387769 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000385726 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388100 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | AF Afghanistan | 5000378563 3625 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5000382916 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386685 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382794 761404C03500UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000368584 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382353 761404C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000389721 711101C00250U0RD1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000387762 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386377 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388325 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001893731 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000385522 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387870 35008 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000385727 23012232 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388102 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AG Antigua/Barbuda | 5000378564 M27187 MANHATTAN-CDT ( US - HOUSTON ) | 5000382917 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000386686 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382795 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000368585 RS COMPONENTS LTD ( GB - CORBY ) | 5000382354 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000389722 SAUDI CABLE COMPANY ( SA - JEDDAH ) | We are currently at full capacity
|  | POE - Port of Export | 5000387763 116671132 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386379 116671071 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388326 M2816 MANHATTAN-CDT ( US - HOUSTON ) | 5002143873 C446XA10300MBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000385523 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387871 116671191 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5000385728 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388103 25006 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AI Anguilla | 5000378565 202313707 THE OKONITE COMPANY ( US - HOUSTON ) | 5000382918 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386687 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000382796 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001303955 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382355 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | 5000389723 THE OKONITE COMPANY ( US - HOUSTON ) | Missing information / not enough information provided
|  |  | 5000387764 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000386460 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000388327 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) | 5002157873 14535255 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000385525 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001429855 DW4WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5000385830 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000388104 116671221 THE OKONITE COMPANY ( US - HOUSTON ) | AB Abu Dhabi | 5001429767 DA7LU07BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001277348 CB4LU04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429830 DW1WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382797 THE OKONITE COMPANY ( US - HOUSTON ) | 5001304140 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001277340 DA5LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001299955 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | Other
|  |  | 5001429853 DW3WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429825 DW1WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000388328 116671251 THE OKONITE COMPANY ( US - HOUSTON ) | 5002785949 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001429793 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001437378 0D06550803 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  | 5001429820 DW2WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000388105 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | AL Albania | 5001437340 0802R10077 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001893741 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001437365 0D06551405 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001277346 DB2LU04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001775593 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893733 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001775635 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | 5001437377 0D06551010 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001437361 0D06551403 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001594742 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5001437353 0D06551204 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001775627 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001437356 0D06551210 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001775630 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AM Armenia | 5001893666 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002143922 C419XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775614 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893739 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002157830 12160060 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002143875 C210XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002158088 12103140 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  | 5001775626 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775610 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001594743 61A601C04AWGU0BK700 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  | 5001775602 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002158077 11130050 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001775605 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | AN Dutch Antilles | 5002332558 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002143920 C417XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002157875 14515303 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | 5002158076 11170040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157639 11130020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001594744 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  |  | 5002523544 CPTN01UG82900 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) |  |  |  | AO Angola |  | 5002332618 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) |  | 5002157881 14515311 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
[5 empty] | 5002612723 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [6 empty] | AQ Antarctica |  |  |  | 5002332616 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
6.1 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;35 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;25.2 MM (0.990 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;1590 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.9 MM (0.0354 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED; BLUE AND BLACK INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417938 |  |  | 2,500 |  |  |  | 2022-01-02 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382793 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382794 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )NUMBER 7614-04C03500-UOKB85000382795 10013724 SAUDI CABLE COMPANY SA5000382796 1
6.2 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  |  |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000419033 |  |  | 1,500 |  |  |  | 2021-08-22 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001429825 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER DW1WU01B5001437361 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLESCODE NUMBER 0D065514035000386374 10013206 MIDDLE EAST SPEC
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; 19 S |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; 19 STRANDS CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;29.7 MM MINIMUM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION. ORIGINAL EQPT REFS ABRASION;MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417984 |  |  | 1,000 |  |  |  | 2021-08-22 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382915 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )NUMBER 7614-04C07000-UOKB85000382916 10013724 SAUDI CABLE COMPANY SA5000382917 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CAB
6.4 | CABLE; 600-1KV XLPE/PVC 4/C 2.5MM2 (14 A |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;13.4 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;0.7 MM (0.028 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417888 |  |  | 7,000 |  |  |  | 2021-08-22 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382352 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382353 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-04C-00250-U0 BK85000382355 10020512 THE OKONITE COMPANY US
6.5 | WIRE; 600V THHN/THWN 1/C 10 AWG (6MM2) S |  |  |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419271 |  |  | 5,500 |  |  |  | 2021-08-20 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001429853 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER DW3WU01W5000387658 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387761 10016871 GENERAL CABLE USBICC GENERAL5000387762 10016872 GEN
6.6 | WIRE; ELECTRICAL; 2.08 MM2 (14 AWG); 1 |  |  |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419059 |  |  | 4,000 |  |  |  | 2021-08-22 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001437365 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLESCODE NUMBER 0D065514055001429830 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER DW1WU01R5000386683 10013206 MIDDLE EAST SPEC
6.7 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  |  |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419217 |  |  | 500 |  |  |  | 2021-08-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001437376 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLESCODE NUMBER 0D065510035001429851 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER DW3WU01B5000387653 10016871 GENERAL CABLE US
6.8 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  |  |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000419033 |  |  | 19,500 |  |  |  | 2021-08-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001429825 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER DW1WU01B5001437361 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLESCODE NUMBER 0D065514035000386374 10013206 MIDDLE EAST SPEC
6.9 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  |  |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000419033 |  |  | 1,500 |  |  |  | 2021-08-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001429825 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER DW1WU01B5001437361 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLESCODE NUMBER 0D065514035000386374 10013206 MIDDLE EAST SPEC
6.10 | WIRE; ELECTRICAL; 4 MM2; 1 CONDUCTOR; |  |  |  | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;GREEN/YELLOW;0.48 KV SUPPLY;4 MM OD;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;UNARMOURED; FOR LIGHTING | No |  | USD | Meter | 1000413291 |  |  | 1,000 |  |  |  | 2021-08-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000368582 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000368584 10013724 SAUDI CABLE COMPANY SA5000368585 10001382 RS COMPONENTS LTD GB5001303955 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC
6.11 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  |  |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419212 |  |  | 4,000 |  |  |  | 2021-08-20 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001429850 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER DW2WU01G5001437375 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLESCODE NUMBER 0D065510045000387553 10013206 MIDDLE EAST SPEC
6.12 | WIRE; BUILDING; 600V; |  |  |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;229.2 KG/KM (154 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419422 |  |  | 1,000 |  |  |  | 2021-08-20 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388322 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000388324 10016871 GENERAL CABLE USBICC GENERAL5000388325 10016872 GENERAL CABLE USNUMBER 25004SUPERSEDED NUMBER TP AP-06201
6.13 | WIRE; BUILDING; 600V; 8 AWG BLACK |  |  |  | WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419275 |  |  | 500 |  |  |  | 2021-08-22 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | SS-Sun Shelter(covered) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001429855 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER DW4WU01B5000387766 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61A6-01C08AWG-U0BK5-005000387769 10016871 GENERAL CABLE USB
6.14 | WIRE; 750V NYA 1/C 2.5MM2 (14 AWG) STR C |  |  |  | WIRE ELECTRICAL; 2.5 MM2 CONDUCTO;1 CONDUCTO;RED;450-750 V SUPPLY;NYA WIRE;3.5 MM OD;30.1 KG/KM LG;TR 85 DEG C MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419599 |  |  | 4,000 |  |  |  | 2021-08-21 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389720 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000389721 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00250 - U0 RD-15000389722 10013724 SAUDI CABLE COMP
6.15 | CABLE POWER AND CONTROL 600V-1000V; |  |  |  | CORD ELECTRICAL; 3 CONDUCTO;120 SQ MM CONDUCTO;37 STRANDES CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;XLPE; POWER & CONTROL;33.9 MM (1.335 IN) OD;BLACK;PVC JACKET;XLPE INSUL;TR 90 DEG C;3820 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT;ICE 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC332; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER MARKINGS; VOLTAGE; TYPE CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; ST2 IEC 502; INSULATION THICKNESS; 1.2 MM (0.0472 IN); CONDUCTOR MATERIAL SPEC; IEC 228; INSULATION MATERIAL SPEC; IEC 502; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Meter | 1000417884 |  |  | 1,000 |  |  |  | 2021-08-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382257 10003546 ** NEXANS HELLAS S.A. GR5001274388 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER HB6LU03BG5001893731 10037887 EGYTECH CABLES EL SEWEDY EG5002785949 10013827 SAUDI MODERN COMPANY F
6.16 | CABLE ELECTRICAL ASSEMBLY; 3; 2.5 MM2; 5 |  |  |  | CABLE ELECTRICAL ASSEMBLY; 3 CONDUCTO;2.5 MM2 CONDUCTO;50 M LG;PVC COVERING; GALVANISED STEEL TYPE;400 V SUPPLY;10.6 MM OA OD;COPPER CONDUCTO;15 A | No |  | USD | each | 1001064410 |  |  | 2 |  |  |  | 2021-08-22 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | K03C-C322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002743121 10001382 RS COMPONENTS LTD GBPART NUMBER 379-154SUPERSEDED NUMBER 522610MAT TYPE SYSE03.0050 (BELDEN)
6.17 | WIRE; 600V THHN/THWN 1/C 6 AWG (16MM2) N |  |  |  | WIRE ELECTRICAL; 13.3 MM2 (6 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;6.60 MM (0.260 IN) OD;142.9 KG/KM (96 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419333 |  |  | 500 |  |  |  | 2021-08-22 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387989 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61A6-01C06AWG-U0BK5-00SUPERSEDED NUMBER 61AF-01C06AWG-U0BK75000388100 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND
6.18 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  |  |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418910 |  |  | 15,000 |  |  |  | 2021-08-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385521 10016871 GENERAL CABLE USBICC GENERAL5000385522 10016872 GENERAL CABLE USNUMBER 240125000385523 10020512 THE OKONITE COMPANY US5001437353 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIR
6.19 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  |  |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULL PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418919 |  |  | 20,500 |  |  |  | 2021-08-20 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001429820 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER DW2WU01W5000385724 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 6111-01C-12AWG-U0 WT-55000385726 10016871 GENERAL CABLE
6.20 | CABLE; POWER AND CONTROL; 600V; |  |  |  | CORD ELECTRICAL; 7 CONDUCTO;5.04 SQ MM (10 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C WET;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; AERIAL;UL-1569;MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI; AND SUNLIGHT RESISTANT; FLAME RETARDNT; UL OR APPROVED EQUIVALENT LABELED; MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION; VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 & 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NAME OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; CONDUCTOR MATERIAL SPEC.; ASTM B8; CLASSB; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Feet | 1000416763 |  |  | 200 |  |  |  | 2021-08-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001429767 10013002 JEDDAH CABLES COMPANY LTD SACODE NUMBER DA7LU07BEG5001437340 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLESCODE NUMBER 0802R100775000378562 10013206 MIDDLE EAST SP
Note on Q5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN24: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  |  |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf