## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000370408 HG399 CABLE USA INCORPORATED ( US - NAPLES ) | 5000390265 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000388108 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000392319 GPMR200 ESSEX GROUP INCORPORATED ( US - FORT WAYNE ) | 5000383325 761407C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000391021 711101C07000U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000365983 CNL406A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000370510 H100101 ROCKBESTOS-SURPRENANT CABLE ( US - CLINTON ) | 5000386683 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000391136 7C1101C12000U0GN800 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000392318 PHELPS DODGE WIRE AND CABLE ( US - FORT WAYNE ) | 5000387766 61A601C08AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5001346043 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | 5000372965 3XE16STJ DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | 5000386586 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000388641 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001346360 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | 5000389404 27500 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387338 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000388322 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000373171 M1254 MANHATTAN-CDT ( US - HOUSTON ) | 5000386790 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub |  | 5000390266 711101C01600U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000388210 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001346042 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | 5000383326 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000391022 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001304028 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  | 5000386685 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000391137 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001346041 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | 5000387769 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AF Afghanistan |  | 5001470601 83337E BELDEN WIRE AND CABLE COMPANY ( US - SOUTH RICHMOND ) | 5000386588 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388644 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000389405 M2827 MANHATTAN-CDT ( US - HOUSTON ) | 5000387430 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388324 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000373172 4XE16STJ DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | 5000386792 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation |  | 5000390267 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000388211 25006 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000383327 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000391023 RS COMPONENTS LTD ( GB - CORBY ) | 5001327908 DA6LA04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5000386686 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001301537 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  | 5000387870 35008 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AG Antigua/Barbuda |  | 5001470821 WATLOW ELECTRIC MANUFACTURING ( US - SAINT LOUIS ) | 5000386589 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388645 25002132 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000389406 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000387431 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388325 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001470696 OKAZAKI MANUFACTURING COMPANY ( JP - CHUO-KU, TOKYO ) | 5000386793 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | We are currently at full capacity
|  | POE - Port of Export |  | 5000390268 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388212 116671222 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5001277351 DA6LU07BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277364 HB4DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001893572 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5000386687 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002158127 12154240 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5000387871 116671191 THE OKONITE COMPANY ( US - HOUSTON ) | AI Anguilla |  | 5001470894 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386680 116671075 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388646 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5001604305 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000387432 116671103 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388326 M2816 MANHATTAN-CDT ( US - HOUSTON ) | 5001470781 HITACHI METALS LTD ( JP - MINATO-KU, TOKYO ) | 5000386794 116671072 THE OKONITE COMPANY ( US - HOUSTON ) | Missing information / not enough information provided
|  |  |  | 5001277359 DA9DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000388213 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5001893750 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001775661 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002143823 C212XA1040WMBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001429830 DW1WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  |  | 5001429855 DW4WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AB Abu Dhabi |  | 5001471049 HEXATRONIC CABLES AND INTERCON ( SE - HUDIKSVALL ) | 5000386681 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002612726 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | 5000387433 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000388327 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) | 5001470782 SUMITOMO ELECTRIC INDUSTRIES L ( JP - HITACHI-SHI, IBARAKI-KEN ) | 5000386795 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | Other
|  |  |  | 5001775649 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775631 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002143816 C212XA10700SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002158124 12154220 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157795 14530302 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001437365 0D06551405 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  |  | 5001437378 0D06550803 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | AL Albania |  | 5001471144 PRYSMIAN POWERLINK SRL ( IT - MILAN ) | 5001429829 DW1WU01O JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  |  |  | 5001429838 DW2WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000388328 116671251 THE OKONITE COMPANY ( US - HOUSTON ) | 5001470823 WATLOW ELECTRIC MANUFACTURING ( US - SAINT LOUIS ) | 5001429831 DW1WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH )
|  |  |  | 5002158112 12153180 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | 5002157887 13515407 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  | 5002332531 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5001775614 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | 5001775627 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AM Armenia |  | 5001893626 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001437364 0D06551409 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  |  |  | 5001437373 0D06551205 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001594742 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001470898 THE OKONITE COMPANY ( US - HOUSTON ) | 5001437366 0D06551410 SAUDI MODERN COMPANY FOR ( SA - KHOBAR )
[7 empty] | 5002332621 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  |  | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | 5002158077 11130050 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AN Dutch Antilles |  |  | 5001775613 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  |  | 5001775622 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001594743 61A601C04AWGU0BK700 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001471051 HEXATRONIC CABLES AND INTERCON ( SE - HUDIKSVALL ) | 5001775615 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
[7 empty] | 5002700292 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [6 empty] | 5002523544 CPTN01UG82900 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | AO Angola |  |  | 5002158062 11190020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  | 5002158071 11100030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001594744 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001471146 PRYSMIAN POWERLINK SRL ( IT - MILAN ) | 5002158064 11170020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
[16 empty] | AQ Antarctica | [7 empty] | 5002612723 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001893628 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2021-07-05 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | Technical Datasheets.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419212 |  |  | 500 |  |  |  | 2021-09-02 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001429850 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01G 5001437375 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551004 5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387555 10016871 GENERAL CABLE US BICC GENERAL 5000387556 10016872 GENERAL CABLE US NUMBER 24010 SUPERSEDED NUMBER TP AP-06201 5000387557 10020512 THE OKONITE COMPANY US NUMBER 116-67-1134 5000387558 10021675 SOUTHWIRE COMPANY INCORPORATED US MAT TYPE THHN 5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002158073 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11151040 SUPERSEDED NUMBER 11150040
6.2 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419083 |  |  | 3,280 |  |  |  | 2021-09-02 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001429831 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW1WU01W 5000386790 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000386792 10016871 GENERAL CABLE US BICC GENERAL 5000386793 10016872 GENERAL CABLE US NUMBER 24014 SUPERSEDED NUMBER TP AP-06201 5000386794 10020512 THE OKONITE COMPANY US NUMBER 116-67-1072 5000386795 10021675 SOUTHWIRE COMPANY INCORPORATED US 5001437366 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551410 5001775615 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002158064 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11170020 SUPERSEDED NUMBER 11171020
6.3 | WIRE; BUILDING; 600V; (14 AWG) ORANGE |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;ORANGE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419055 |  |  | 1,500 |  |  |  | 2021-09-02 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001429829 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW1WU01O 5001437364 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551409 5000386586 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000386588 10016871 GENERAL CABLE US BICC GENERAL 5000386589 10016872 GENERAL CABLE US NUMBER 24014 SUPERSEDED NUMBER TP AP-06201 5000386680 10020512 THE OKONITE COMPANY US NUMBER 116-67-1075 5000386681 10021675 SOUTHWIRE COMPANY INCORPORATED US 5001775613 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002158062 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11190020 SUPERSEDED NUMBER 11191020
6.4 | WIRE; ELECTRICAL; 2.08 MM2 (14 AWG); 1 |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419059 |  |  | 3,280 |  |  |  | 2021-08-28 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001437365 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551405 5001429830 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW1WU01R 5000386683 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000386685 10016871 GENERAL CABLE US BICC GENERAL 5000386686 10016872 GENERAL CABLE US NUMBER 24014 5000386687 10021675 SOUTHWIRE COMPANY INCORPORATED US 5001775614 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002158063 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11100020 SUPERSEDED NUMBER 11101020
6.5 | WIRE; 750V NYA 1/C 16MM2 (6 AWG) STR CU |  | WIRE ELECTRICAL; 16 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;7.5 MM OD;171 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419939 |  | 6.62 | 1,500 | N/A | 90 |  | 2021-08-29 03:55 | 5002158112 12153180 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | Bahra Advanced Cable Manufacture Co. Ltd. |  | 12154180 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  Cables are offered as per Aramco specs (SAES-P-104) Rev.2010(cables rated 1 KV are flame retardant as per IEC 60332-3.24 CAT C)  Cables rated 1 KV are offered with all layers’ thickness as per IEC 60502-1  Wires and cables are offered with standard marking as per our normal practice “please refer to submitted data sheets” |  | Manufacturer Part Number Text : 5000390265 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000390266 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 01600 - U0 GN-1 5000390267 10013724 SAUDI CABLE COMPANY SA 5000390268 10020512 THE OKONITE COMPANY US 5001277359 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DA9DU01GG 5001775649 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002158112 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12153180 SUPERSEDED NUMBER 12150180
6.6 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419193 |  |  | 1,500 |  |  |  | 2021-09-02 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001437373 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551205 5001429838 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01R 5000387430 10016871 GENERAL CABLE US BICC GENERAL 5000387431 10016872 GENERAL CABLE US NUMBER 24012 SUPERSEDED NUMBER TP AP-06201 5000387432 10020512 THE OKONITE COMPANY US NUMBER 116-67-1103 5000387433 10021675 SOUTHWIRE COMPANY INCORPORATED US 5001775622 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000387338 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002158071 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11100030 SUPERSEDED NUMBER 11101030
6.7 | WIRE; BUILDING; 600V; 8 AWG BLACK |  | WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419275 |  |  | 3,000 |  |  |  | 2021-09-03 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | SS-Sun Shelter(covered) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001429855 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW4WU01B 5000387766 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 61A6-01C08AWG-U0BK5-00 5000387769 10016871 GENERAL CABLE US BICC GENERAL 5000387870 10016872 GENERAL CABLE US NUMBER 35008 SUPERSEDED NUMBER TP AP-06201 5000387871 10020512 THE OKONITE COMPANY US NUMBER 116-67-1191 5001437378 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06550803 5002523544 10046468 ELSEWEDY CABLES COMPANY SA CODE NUMBER CP!-TN01-UG8-29-00 5001775627 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002158077 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11130050 11131050
6.8 | WIRE; 750V NYA 1/C 70MM2 (2/0 AWG) STR C |  | WIRE ELECTRICAL; 70 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;14.5 MM OD;690 KG/KM LG;TR 85 DEG C MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332 CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CABLE PACKAGING IN CARTON OR FULLY PROTECTED REEL DURABLY MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER SIZE OF CONDUCTORS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING | Yes |  | SAR | Meter | 1000420088 |  | 26.08 | 5,541 | N/A | 90 |  | 2021-09-06 03:55 | 5002158124 12154220 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | Bahra Advanced Cable Manufacture Co. Ltd. |  | 12154220 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | SS-Sun Shelter(covered) | M005-S300 RASTANURA STORES | 04 BOAT |  Cables are offered as per Aramco specs (SAES-P-104) Rev.2010(cables rated 1 KV are flame retardant as per IEC 60332-3.24 CAT C)  Cables rated 1 KV are offered with all layers’ thickness as per IEC 60502-1  Wires and cables are offered with standard marking as per our normal practice “please refer to submitted data sheets” |  | Manufacturer Part Number Text : 5000391021 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 07000 - U0 GN-8 5000391022 10013724 SAUDI CABLE COMPANY SA 5000391023 10001382 RS COMPONENTS LTD GB 5001277364 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER HB4DU01GG 5001775661 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002158124 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12154220 SUPERSEDED NUMBER 12151220
6.9 | WIRE; 750V NYA 1/C 120MM2 (4/0 AWG) STR |  | WIRE ELECTRICAL; 120 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;18.5 MM OD;1180 KG/KM LG;TR 85 DEG C MAXIMUM;37 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | Yes |  | SAR | Meter | 1000420129 |  | 45.66 | 1,000 | N/A | 90 |  | 2021-09-06 03:55 | 5002158127 12154240 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | Bahra Advanced Cable Manufacture Co. Ltd. |  | 12154240 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  Cables are offered as per Aramco specs (SAES-P-104) Rev.2010(cables rated 1 KV are flame retardant as per IEC 60332-3.24 CAT C)  Cables rated 1 KV are offered with all layers’ thickness as per IEC 60502-1  Wires and cables are offered with standard marking as per our normal practice “please refer to submitted data sheets” |  | Manufacturer Part Number Text : 5000391136 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7C11-01C12000-U0GN8-00 SUPERSEDED NUMBER 7111 - 01C - 12000 - U0 GN-8 5000391137 10013724 SAUDI CABLE COMPANY SA 5001301537 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002158127 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12154240 SUPERSEDED NUMBER 12151240
6.10 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; 7 |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;4 SQ MM CONDUCTO;600-1000 V SUPPLY;7 CONDUCTO;17.9 MM (0.7047 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 7. ORIGINAL EQPT REFS ABRASION; MOISTURE ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC 332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000418074 |  | 13.7 | 2,050 | N/A | 90 |  | 2021-09-06 03:55 | 5002157887 13515407 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | Bahra Advanced Cable Manufacture Co. Ltd. |  | 13515407 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  Cables are offered as per Aramco specs (SAES-P-104) Rev.2010(cables rated 1 KV are flame retardant as per IEC 60332-3.24 CAT C)  Cables rated 1 KV are offered with all layers’ thickness as per IEC 60502-1  Wires and cables are offered with standard marking as per our normal practice “please refer to submitted data sheets” |  | Manufacturer Part Number Text : 5000383325 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) MAT TYPE 7614 - 07C - 00400 - U0 BK8 5000383326 10013724 SAUDI CABLE COMPANY SA 5000383327 10020512 THE OKONITE COMPANY US 5002332621 10046468 ELSEWEDY CABLES COMPANY SA 5001277351 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA6LU07BEG CODE NUMBER DA6LU07BEG 5001893750 10037887 EGYTECH CABLES EL SEWEDY EG 5002700292 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002143816 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C212XA10700SBK21IMR 5002157887 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 13515407 SUPERSEDED NUMBER 13512135
6.11 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;229.2 KG/KM (154 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't carry a compatible part/material | SAR | Feet | 1000419422 |  |  | 200 |  |  |  | 2021-09-05 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000388322 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000388324 10016871 GENERAL CABLE US BICC GENERAL 5000388325 10016872 GENERAL CABLE US NUMBER 25004 SUPERSEDED NUMBER TP AP-06201 5000388326 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M2816 5000388327 10019733 AMERICAN INSULATED WIRE CORPORATION US LEVITON MANUFACTURING COMPANY 5000388328 10020512 THE OKONITE COMPANY US NUMBER 116-67-1251 5001594742 10013002 JEDDAH CABLES COMPANY LTD SA 5001594743 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 61A6-01C04AWG-U0BK7-00 5001594744 10013724 SAUDI CABLE COMPANY SA 5002612723 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -
6.12 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 33.63 MM2 (2 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;9.91 MM (0.390 IN) OD;351.2 KG/KM (236 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | No | We don't carry a compatible part/material | SAR | Feet | 1000419474 |  |  | 1,000 |  |  |  | 2021-09-05 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000388641 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000388644 10016871 GENERAL CABLE US BICC GENERAL 5000388645 10016872 GENERAL CABLE US NUMBER 25002-132 SUPERSEDED NUMBER TP AP-06201 5000388646 10021675 SOUTHWIRE COMPANY INCORPORATED US 5002612726 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -
6.13 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;4 MM2 CONDUCTO;0.6/1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 4 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No | We don't supply at the requested quantity | SAR | Meter | 1000412525 |  |  | 300 |  |  |  | 2021-09-06 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000365983 10013724 SAUDI CABLE COMPANY SA NUMBER CNL4-06A-3145 5002332531 10046468 ELSEWEDY CABLES COMPANY SA 5001304028 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5001327908 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA6LA04BG 5001893572 10037887 EGYTECH CABLES EL SEWEDY EG 5002143823 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY PART NUMBER C212XA1040WMBK08IMR SUPERSEDED NUMBER C212XA1040WSBK08IMR 5002157795 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14530302 SUPERSEDED NUMBER 14530201
6.14 | WIRE; BUILDING; 600V; 6 AWG) CONDUCTO |  | WIRE ELECTRICAL; 13.3 MM2 (6 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;6.60 MM (0.260 IN) OD;142.9 KG/KM (96 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419337 |  |  | 500 |  |  |  | 2021-09-03 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000388108 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000388210 10016871 GENERAL CABLE US BICC GENERAL 5000388211 10016872 GENERAL CABLE US NUMBER 25006 SUPERSEDED NUMBER TP AP-06201 5000388212 10020512 THE OKONITE COMPANY US NUMBER 116-67-1222 5000388213 10021675 SOUTHWIRE COMPANY INCORPORATED US 5001775631 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY
6.15 | WIRE; ELECTRICAL; 253 MM2 (500 MCM); |  | WIRE ELECTRICAL; 253 MM2 (500 MCM) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;24.13 MM (0.950 IN) OD;2473.4 KG/KM (1662 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;37 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | No | We don't carry a compatible part/material | SAR | Feet | 1000419583 |  |  | 200 |  |  |  | 2021-09-05 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | SS-Sun Shelter(covered) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000389404 10016872 GENERAL CABLE US NUMBER 27500 SUPERSEDED NUMBER TP AP-06201 5000389405 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M2827 5000389406 10021675 SOUTHWIRE COMPANY INCORPORATED US 5001604305 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.16 | WIRE; MAGNET; 0.200 MM2 (24 AWG); 1 |  | WIRE MAGNET; 0.200 MM2 (24 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; SPOOL OR CARTON TO BE TAGGED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; 1.2 KG/KM (0.793 LBS PER 1000 FT); APPROX 4.5 KG (10 LBS) SPOOL MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No | We don't carry a compatible part/material | SAR | US pound | 1000420529 |  |  | 10 |  |  |  | 2021-09-28 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | H01C-C104 YANBU STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001346043 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
6.17 | WIRE; MAGNET; 2.08 MM2 (14 AWG); 1 |  | WIRE MAGNET; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; NET 18.8 KG/KM (12.6 LBS PER 1000 FT); 36.3 KG (80 LBS) PER SPOOL MIN WEIGHT MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No | We don't carry a compatible part/material | SAR | US pound | 1000420635 |  |  | 20 |  |  |  | 2021-10-27 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | H01C-C104 YANBU STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001346360 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
6.18 | WIRE; MAGNET; 0.130 MM2 (26 AWG); 1 |  | WIRE MAGNET; 0.130 MM2 (26 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; 1.2 KG/KM (0.793 LBS PER 1000 FT); APPROX 4.5 KG (10 LBS) PER SPOOL SPOOL OR CARTON TO BE TAGGED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No | We don't carry a compatible part/material | SAR | US pound | 1000420521 |  |  | 10 |  |  |  | 2021-08-29 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | H01C-C104 YANBU STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000392318 10020760 PHELPS DODGE WIRE AND CABLE US PHELPS DODGE CORPORATION 5001346041 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
6.19 | WIRE; MAGNET; 0.162 MM2 (25 AWG); 1 |  | WIRE MAGNET; 0.162 MM2 (25 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; SPOOL OR CARTON TO BE TAGGED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; 1.2 KG/KM (0.793 LBS PER 1000 FT); APPROX 4.5 KG (10 LBS) SPOOL MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No | We don't carry a compatible part/material | SAR | US pound | 1000420525 |  |  | 10 |  |  |  | 2021-08-29 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | H01C-C104 YANBU STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000392319 10018123 ESSEX GROUP INCORPORATED US SUPERIOR ESSEX INCORPORATED NUMBER GP/MR-200 SUPERSEDED NUMBER H.GP/200 5001346042 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
6.20 | CABLE; CONTROL; 600V; |  | CORD ELECTRICAL; 4 CONDUCTO;1.3 SQ MM (16 AWG) CONDUCTO;19 X 29 STRANDS CONDUCTO;600 V SUPPLY;SILVER PLATED COPPER CONDUCTO;TFE OR PFA;6.0 MM (0.235 IN) OD;TFE OR PFA TEFLON TAPE JACKET;0.4 MM (0.014 IN); SILVER PLATED COPPER BRAID SHIELD INSUL;TR 200 DEG C;95 KG/KM (63.7 LBS PER 1000 FT) LG;FOR HIGH TEMPERATURE; CABLE TRAY; CONDUIT; DUCT;UL-83;BLACK; WHITE; RED; GREEN; 0.3 MM (0.011 IN) INSULATION TH; 0.4 MM (0.014 IN) OUTER JACKET TH; 6.0 MM (0.235 IN) CABLE OD; & REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO ICEA UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; MINIMUM OF 152 M (500 FT) UNCUT LENGTH PER REEL; OUTER MARKINGS; VOLTAGE; NUMBER; SIZE OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURED; INSULATION THICKNESS; 0.4 MM (0.014 IN); CONDUCTOR MATERIAL SPEC; ASTM B8 CLASS C; PACKAGING; CARTON OR FULLY PROTECTED REEL | No | We don't carry a compatible part/material | SAR | Feet | 1000415136 |  |  | 2,480 |  |  |  | 2021-09-06 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000373171 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M1254 5000373172 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. PART NUMBER 4 XE 16 STJ 5001470696 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH 5001470781 10000788 HITACHI METALS LTD JP CABLE MATERIAL COMPANY 5001470782 10026424 SUMITOMO ELECTRIC INDUSTRIES LTD JP HITAKA/MINATO WORKS 5001470823 10023035 WATLOW ELECTRIC MANUFACTURING US 5001470898 10020512 THE OKONITE COMPANY US 5001471051 10003885 HEXATRONIC CABLES AND INTERCONNE SE SYSTEMS AB 5001471146 10024590 PRYSMIAN POWERLINK SRL IT 5001893628 10037887 EGYTECH CABLES EL SEWEDY EG
6.21 | CABLE; CONTROL; 600V; |  | CORD ELECTRICAL; 3 CONDUCTO;1.31 SQ MM (16 AWG) CONDUCTO;19 X 29 STRANDS CONDUCTO;600 V SUPPLY;SILVER PLATED COPPER CONDUCTO;TFE OR PFA;5.5 MM (0.218 IN) OD;WHITE;TFE OR PFA TEFLON TAPE JACKET;TEFLON; BARIDED COPPER SHIELD INSUL;TR 200 DEG C;79 KG/KM (53.3 LBS PER 1000 FT) LG;FOR HIGH TEMPERATURE; CABLE TRAY; CONDUIT; DUCT;UL-83;OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; MIN OF 152 M (500 FT) UNCUT LG PER REEL; BLACK; RED; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO ICEA UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; OUTER MARKINGS; VOLTAGE; NUMBER; SIZE OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURED; INSULATION THICKNESS; 0.28 MM (0.011 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; INSULATION MATERIAL SPEC; -65 TO 200 DEG C; PACKAGING; CARTON OR FULLY PROTECTED REEL | No | We don't carry a compatible part/material | SAR | Feet | 1000415117 |  |  | 5,500 |  |  |  | 2022-01-13 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000372965 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER 3XE 16 STJ 5001470601 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED PART NUMBER 83337E 5001470821 10023035 WATLOW ELECTRIC MANUFACTURING US 5001470894 10020512 THE OKONITE COMPANY US 5001471049 10003885 HEXATRONIC CABLES AND INTERCONNE SE SYSTEMS AB 5001471144 10024590 PRYSMIAN POWERLINK SRL IT 5001893626 10037887 EGYTECH CABLES EL SEWEDY EG
6.22 | CABLE; ELECTRICAL; LOW VOLTAGE; TFE; |  | CABLE ELECTRICAL LOW VOLTAGE; TFE TYPE;1045 STRANDS CONDUCTO;POWER TYPE;53.48 SQ MM (1/0 AWG) CONDUCTO;600 V SUPPLY;1 CONDUCTO;13.1 MM (0.516 IN) CABLE OD;HEAVY GLASS BRAID SILICONE JACKET;0.79 MM (0.031 IN) INSUL TH;ASTM B160;FOR MOTOR & TRANSFORMER LEADS;CARTON OR FULLY PROTECTED REEL;TR 250 DEG C;WRAPPED TEFLON TAPE INSUL;HIGH TEMPERATURE NICKEL CLAD COPPER CONDUCTO;UL-83;APPARATUS; CLASS K STRANDED PER ASTM B177; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | We don't carry a compatible part/material | SAR | Feet | 1000414136 |  |  | 36 |  |  |  | 2021-08-28 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000370510 10019959 ROCKBESTOS-SURPRENANT CABLE US MARMON GROUP; THE NUMBER H10-0101
6.23 | CABLE; ELECTRICAL; LOW VOLTAGE; TFE; |  | CABLE ELECTRICAL LOW VOLTAGE; TFE TYPE;665 STRANDS CONDUCTO;POWER TYPE;33.63 SQ MM (2 AWG) CONDUCTO;600 V SUPPLY;1 CONDUCTO;10.5 MM (0.415 IN) CABLE OD;365 KG/KM (245 LBS PER 1000 FT) LG;HEAVY GLASS BRAID SILICONE JACKET;0.63 MM (0.025 IN) INSUL TH;ASTM B160;FOR MOTOR & TRANSFORMER LEADS;CARTON OR FULLY PROTECTED REEL;TR 250 DEG C;WRAPPED TEFLON TAPE INSUL;HIGH TEMPERATURE NICKEL CLAD COPPER CONDUCTO;UL-83;APPARATUS; CLASS K STRANDED PER ASTM B172; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | We don't carry a compatible part/material | SAR | Feet | 1000414131 |  |  | 36 |  |  |  | 2021-08-31 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000370408 10019968 CABLE USA INCORPORATED US MARMON GROUP MAT TYPE HG399
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL27: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf