## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5001363179 M. P. HUSKY ( US - GREENVILLE ) | AE Utd.Arab Emir. | 5001363202 M. P. HUSKY ( US - GREENVILLE ) | 5002640167 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5001821321 AL-ASHOURY FACTORY FOR CABLE ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5002108617 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | AF Afghanistan | 5002108640 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002640170 M. P. HUSKY ( US - GREENVILLE ) |  | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5002219278 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | AG Antigua/Barbuda | 5002219300 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5002640172 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) |  | We are currently at full capacity
|  | POE - Port of Export | 5002264209 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | AI Anguilla | 5002264232 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002640173 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) |  | Missing information / not enough information provided
|  |  | 5002338165 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | AB Abu Dhabi | 5002372526 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002640174 THOMAS AND BETTS SAUDI ARABIA ( SA - KHOBAR ) |  | Other
|  |  | 5002338167 THOMAS AND BETTS SAUDI ARABIA ( SA - KHOBAR ) | AL Albania | 5002372528 THOMAS AND BETTS SAUDI ARABIA ( SA - KHOBAR ) | 5002640175 BAAMER ELECTRIC FACTORY ( SA - JEDDAH )
|  |  | 5002521067 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | AM Armenia | 5002521090 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002640176 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA )
|  |  | 5002589066 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | AN Dutch Antilles | 5002589151 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002640177 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM )
|  |  | 5002589067 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | AO Angola | 5002589152 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002640178 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM )
|  |  | 5002589068 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | AQ Antarctica | 5002589153 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002640179 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH )
|  |  | 5002589069 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) | AR Argentina | 5002589154 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) | 5002640180 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH )
|  |  | 5002786798 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | AS Samoa,American | 5002786821 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5002786568 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam )
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2021-07-01 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | Drawing.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | Aramco Quotation.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | TRAY; CABLE; STRAIGHT; 3.66 M (12 FT) |  | TRAY CABLE STRAIGHT; 3.66 M (12 FT) LG;127.0 MM (5 IN) DP;152.4 MM (6 IN) WD;STYLE LADDER;ALUM;NEMA VE-1;SAES-P-104;228.6 MM (9 IN) RUNG SPACING; 13/16 IN FLANGE | Yes |  | SAR | each | 1000375565 |  | 294.36 | 1 | N/A | 25 |  | 2021-09-12 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture Co. Ltd. |  | N/A |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002264209 30005833 ABAHSAIN COPE S.A. CO. LTD SA 5000312751 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER 3B58-06SL-12-09 5002338421 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. PART NUMBER AL5D-6ST9-12 5002338422 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002338423 10043654 THOMAS AND BETTS SAUDI ARABIA SA 5002338165 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002338167 30005518 THOMAS AND BETTS SAUDI ARABIA SA 5002371366 10042327 MP HUSKY LLC US 5001363179 30003168 M. P. HUSKY US 5002521067 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER - 5002587308 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002589066 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002589067 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002589068 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002589069 30007981 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002587304 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002587305 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002587306 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002587307 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002786798 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-ST-A54A4-A-T 5002107952 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5002108617 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5002218771 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-ST-A54A4-A-T 5002219278 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA | MS831404112420085019210501000101.pdf
6.2 | COVER; CABLE TRAY; 304.8 MM (12 IN) |  | COVER CABLE TRAY; 304.8 MM (12 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; LADDER | Yes |  | SAR | each | 1000369038 |  | 176.28 | 8 | N/A | 25 |  | 2021-09-05 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture Co. Ltd. |  | N/A |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002640167 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002640172 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA PART NUMBER AL-ST-CVL-CC230-A 5002640173 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5002640174 30005518 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002640175 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002640176 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER NL68-12SL-12-1T SUPERSEDED NUMBER NL68-12SL-12 5002640177 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002640179 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002640180 30007981 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002640170 30003168 M. P. HUSKY US NUMBER - 5002608283 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002608281 10043654 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002608278 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002608285 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002608280 10042327 MP HUSKY LLC US NUMBER - 5002608282 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002608284 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002608279 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5002786568 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-ST-CVL-CC230-A 5002640178 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER CA3SLO-12-144 5001817702 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5000301171 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER NL68-12SL-12-1T SUPERSEDED NUMBER NL68-12SL-12 5000301172 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER CA3SLO-12-144 5002218597 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-ST-CVL-CC230-A 5001821061 10026839 AL-ASHOURY FACTORY FOR CABLE SA SPPORTS & BUILDING ACCESSORIES PART NUMBER 2003 10 12 12 45 | SAESP1045019212583000101.pdf
6.3 | TRAY; CABLE; STRAIGHT; AL 12" WD X 24' L |  | TRAY CABLE STRAIGHT; 7.32 M (24 FT) LG;152.4 MM (6 IN) DP;304.8 MM (12 IN) WD;STYLE LADDER;ALUM;NEMA VE-1;SAES-P-104;228.6 MM (9 IN) RUNG SPACING; 1-1/2 IN FLANGE | Yes |  | SAR | each | 1000375992 |  | 680.78 | 40 | N/A | 25 |  | 2021-09-06 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture Co. Ltd. |  | N/A |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831404 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5002264232 30005833 ABAHSAIN COPE S.A. CO. LTD SA 5000313071 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER 1E68-12SL-24-09 5002371432 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. 5002371433 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5002371434 10042327 MP HUSKY LLC US 5002371435 10043654 THOMAS AND BETTS SAUDI ARABIA SA 5002372526 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002372528 30005518 THOMAS AND BETTS SAUDI ARABIA SA 5001363202 30003168 M. P. HUSKY US 5002521090 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER - 5002587389 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002589151 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002589152 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002589153 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002589154 30007981 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002587391 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002587390 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002587393 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002587392 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002786821 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-ST-C65A8-A-T 5002107975 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5002108640 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC 5002218793 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-ST-C65A8-A-T 5002219300 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA | MS831404112420085019215726000101.pdf
6.4 | BOLT; CABLE TRAY; VINYL ESTER; |  | BOLT; CABLE TRAY TYPE;VINYL ESTER; FIBERGLASS;1/2 IN DIA;1-1/2 IN LG;NEMA FG-1; ASTM E-84;CABLE TRAY COMPONENTS | No | We don't carry a compatible part/material | SAR | each | 1000372603 |  |  | 60 |  |  |  | 2021-09-07 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | SS-Sun Shelter(covered) | B006-C322 TANAJIB B-10; STORE STOCK | 04 BOAT |  |  | Manufacturer Part Number Text : 5001821321 10026839 AL-ASHOURY FACTORY FOR CABLE SA SPPORTS & BUILDING ACCESSORIES
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value