## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | AE Utd.Arab Emir. | 5000387873 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002743121 379154 RS COMPONENTS LTD ( GB - CORBY ) | 5000382507 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387338 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000388525 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382915 761404C07000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382910 761404C05000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | AF Afghanistan | 5000387876 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000382508 761404C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387430 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388526 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382916 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382911 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | AG Antigua/Barbuda | 5000387877 25008232 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000382509 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387431 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388527 25002 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382917 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000382912 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | We are currently at full capacity
|  | POE - Port of Export | AI Anguilla | 5000387878 116671192 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5000382710 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387432 116671103 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388528 M2817 MANHATTAN-CDT ( US - HOUSTON ) | 5000382918 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277347 CB3LU04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | Missing information / not enough information provided
|  |  | AB Abu Dhabi | 5000387879 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5001277343 DA8LU04BGMO JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000387433 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000388529 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277348 CB4LU04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001893740 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | Other
|  |  | AL Albania | 5001429856 DW4WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5001893736 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429838 DW2WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000388640 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893741 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002143921 C418XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | AM Armenia | 5001437379 0D06550810 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  | 5002157878 14515308 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001437373 0D06551205 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002612725 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002143922 C419XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002157882 14515312 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  | AN Dutch Antilles | 5001775628 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002332614 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775622 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002332617 ELSEWEDY CABLES COMPANY ( SA - YANBU )
|  |  | AO Angola | 5002158078 11170050 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002700290 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002158071 11100030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002332618 ELSEWEDY CABLES COMPANY ( SA - YANBU )
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2021-11-06 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDs 10177873.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | No
4.3 | Deviations from Requirements Specify the Line Item Numbers. |  | 6.7 & 6.8

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | Quotation 10177873.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | CABLE; ELECTRICAL; LOW VOLTAGE; 19 S |  | CABLE ELECTRICAL LOW VOLTAGE; 19 STRANDS CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;29.7 MM MINIMUM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION. ORIGINAL EQPT REFS ABRASION;MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED CABLE ELECTRICAL LOW VOLTAGE; 19 STRANDS CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;29.7 MM MINIMUM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION. ORIGINAL EQPT REFS ABRASION;MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417984 |  | 107.62 | 1,000 | N/A | 77 |  | 2021-11-18 02:55 | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5000382916 10013724 SAUDI CABLE COMPANY SA 5000382917 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000382918 10020512 THE OKONITE COMPANY US 5001893741 10037887 EGYTECH CABLES EL SEWEDY EG 5002332618 10046468 ELSEWEDY CABLES COMPANY SA 5000382915 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) NUMBER 7614-04C07000-UOKB8 5002157883 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 19900488 SUPERSEDED NUMBER 14510313 5002143922 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C419XA10400SBK08IMR 5001277348 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER CB4LU04BG Manufacturer Part Number Text : 5000382916 10013724 SAUDI CABLE COMPANY SA 5000382917 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000382918 10020512 THE OKONITE COMPANY US 5001893741 10037887 EGYTECH CABLES EL SEWEDY EG 5002332618 10046468 ELSEWEDY CABLES COMPANY SA 5000382915 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) NUMBER 7614-04C07000-UOKB8 5002157883 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 19900488 SUPERSEDED NUMBER 14510313 5002143922 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C419XA10400SBK08IMR 5001277348 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER CB4LU04BG
6.2 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING. MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419193 |  | 0.51 | 2,563 | N/A | 77 |  | 2021-11-10 02:55 | 5002158071 11100030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5000387430 10016871 GENERAL CABLE US BICC GENERAL 5000387433 10021675 SOUTHWIRE COMPANY INCORPORATED US 5000387338 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5001775622 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000387431 10016872 GENERAL CABLE US NUMBER 24012 SUPERSEDED NUMBER TP AP-06201 5000387432 10020512 THE OKONITE COMPANY US NUMBER 116-67-1103 5001429838 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01R 5002158071 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11100030 SUPERSEDED NUMBER 11101030 5001437373 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551205 Manufacturer Part Number Text : 5000387430 10016871 GENERAL CABLE US BICC GENERAL 5000387433 10021675 SOUTHWIRE COMPANY INCORPORATED US 5000387338 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5001775622 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000387431 10016872 GENERAL CABLE US NUMBER 24012 SUPERSEDED NUMBER TP AP-06201 5000387432 10020512 THE OKONITE COMPANY US NUMBER 116-67-1103 5001429838 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01R 5002158071 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11100030 SUPERSEDED NUMBER 11101030 5001437373 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551205
6.3 | WIRE; BUILDING; 600V; 8 AWG WHITE |  | WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING. MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419279 |  | 1.33 | 5,000 | N/A | 77 |  | 2021-12-08 02:55 | 5002158078 11170050 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT | Quoted as per our minimum order quantity (50) Spool. |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5000387873 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387876 10016871 GENERAL CABLE US BICC GENERAL 5000387879 10021675 SOUTHWIRE COMPANY INCORPORATED US 5001775628 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000387877 10016872 GENERAL CABLE US PART NUMBER 25008-2-32 SUPERSEDED NUMBER 35008 5000387878 10020512 THE OKONITE COMPANY US NUMBER 116-67-1192 5001429856 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW4WU01W 5002158078 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11170050 SUPERSEDED NUMBER 11171050 5001437379 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06550810 Manufacturer Part Number Text : 5000387873 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387876 10016871 GENERAL CABLE US BICC GENERAL 5000387879 10021675 SOUTHWIRE COMPANY INCORPORATED US 5001775628 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000387877 10016872 GENERAL CABLE US PART NUMBER 25008-2-32 SUPERSEDED NUMBER 35008 5000387878 10020512 THE OKONITE COMPANY US NUMBER 116-67-1192 5001429856 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW4WU01W 5002158078 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11170050 SUPERSEDED NUMBER 11171050 5001437379 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06550810
6.4 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING. MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419212 |  | 1.26 | 800 | N/A | 77 |  | 2021-09-12 03:55 | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A013-C321 JUAYMAH STORES | 04 BOAT | Quoted as per our minimum order quantity (50) Spool. |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387555 10016871 GENERAL CABLE US BICC GENERAL 5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000387556 10016872 GENERAL CABLE US NUMBER 24010 SUPERSEDED NUMBER TP AP-06201 5000387557 10020512 THE OKONITE COMPANY US NUMBER 116-67-1134 5000387558 10021675 SOUTHWIRE COMPANY INCORPORATED US MAT TYPE THHN 5001429850 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01G 5002158073 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11151040 SUPERSEDED NUMBER 11150040 5001437375 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551004 Manufacturer Part Number Text : 5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387555 10016871 GENERAL CABLE US BICC GENERAL 5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000387556 10016872 GENERAL CABLE US NUMBER 24010 SUPERSEDED NUMBER TP AP-06201 5000387557 10020512 THE OKONITE COMPANY US NUMBER 116-67-1134 5000387558 10021675 SOUTHWIRE COMPANY INCORPORATED US MAT TYPE THHN 5001429850 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01G 5002158073 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11151040 SUPERSEDED NUMBER 11150040 5001437375 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551004
6.5 | CABLE; POWER; 600V-1000V; |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;POWER TYPE;50 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;27.3 MM (1.075 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;3162 KG/KM (2125 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.0 MM (0.040 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;POWER TYPE;50 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;27.3 MM (1.075 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;3162 KG/KM (2125 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.0 MM (0.040 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417981 |  | 74.5 | 1,000 | N/A | 77 |  | 2021-11-16 02:55 | 5002157882 14515312 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5000382911 10013724 SAUDI CABLE COMPANY SA 5000382912 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5001893740 10037887 EGYTECH CABLES EL SEWEDY EG 5002332617 10046468 ELSEWEDY CABLES COMPANY SA 5000382910 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) NUMBER 7614-04C05000-UOKB8 5002157882 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515312 SUPERSEDED NUMBER 14510312 5002143921 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C418XA10400SBK08IMR 5001277347 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER CB3LU04BG Manufacturer Part Number Text : 5000382911 10013724 SAUDI CABLE COMPANY SA 5000382912 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5001893740 10037887 EGYTECH CABLES EL SEWEDY EG 5002332617 10046468 ELSEWEDY CABLES COMPANY SA 5000382910 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) NUMBER 7614-04C05000-UOKB8 5002157882 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515312 SUPERSEDED NUMBER 14510312 5002143921 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C418XA10400SBK08IMR 5001277347 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER CB3LU04BG
6.6 | CABLE; LOW VOL; 7 STR; 600-1000 V |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;19.2 MM (0.756 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;623 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.028 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;19.2 MM (0.756 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;623 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.028 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417918 |  | 18.78 | 7,000 | N/A | 77 |  | 2021-11-20 02:55 | 5002157878 14515308 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5000382509 10013724 SAUDI CABLE COMPANY SA 5000382710 10020512 THE OKONITE COMPANY US 5000382507 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5001893736 10037887 EGYTECH CABLES EL SEWEDY EG 5002332614 10046468 ELSEWEDY CABLES COMPANY SA 5002700290 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000382508 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-04C-01000-U0 BK8 5002157878 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515308 SUPERSEDED NUMBER 14510308 5001277343 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DA8LU04BGMO SUPERSEDED NUMBER DA8LU04BEG Manufacturer Part Number Text : 5000382509 10013724 SAUDI CABLE COMPANY SA 5000382710 10020512 THE OKONITE COMPANY US 5000382507 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5001893736 10037887 EGYTECH CABLES EL SEWEDY EG 5002332614 10046468 ELSEWEDY CABLES COMPANY SA 5002700290 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000382508 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-04C-01000-U0 BK8 5002157878 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515308 SUPERSEDED NUMBER 14510308 5001277343 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DA8LU04BGMO SUPERSEDED NUMBER DA8LU04BEG
6.7 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 33.63 MM2 (2 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;9.91 MM (0.390 IN) OD;357.2 KG/KM (240 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING WIRE ELECTRICAL; 33.63 MM2 (2 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;9.91 MM (0.390 IN) OD;357.2 KG/KM (240 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | Yes |  | SAR | Feet | 1000419470 |  | 0 | 2,000 |  | 0 |  | 2021-11-17 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT | OUT OF OUR PRODUCTION |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5000388525 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000388526 10016871 GENERAL CABLE US BICC GENERAL 5000388640 10021675 SOUTHWIRE COMPANY INCORPORATED US 5000388529 10020512 THE OKONITE COMPANY US 5002612725 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5000388528 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M2817 5000388527 10016872 GENERAL CABLE US NUMBER 25002 Manufacturer Part Number Text : 5000388525 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000388526 10016871 GENERAL CABLE US BICC GENERAL 5000388640 10021675 SOUTHWIRE COMPANY INCORPORATED US 5000388529 10020512 THE OKONITE COMPANY US 5002612725 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5000388528 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M2817 5000388527 10016872 GENERAL CABLE US NUMBER 25002
6.8 | CABLE ELECTRICAL ASSEMBLY; 3; 2.5 MM2; 5 |  | CABLE ELECTRICAL ASSEMBLY; 3 CONDUCTO;2.5 MM2 CONDUCTO;50 M LG;PVC COVERING; GALVANISED STEEL TYPE;400 V SUPPLY;10.6 MM OA OD;COPPER CONDUCTO;15 A CABLE ELECTRICAL ASSEMBLY; 3 CONDUCTO;2.5 MM2 CONDUCTO;50 M LG;PVC COVERING; GALVANISED STEEL TYPE;400 V SUPPLY;10.6 MM OA OD;COPPER CONDUCTO;15 A | Yes |  | SAR | each | 1001064410 |  | 0 | 3 |  | 0 |  | 2021-11-19 02:55 | 5002743121 379154 RS COMPONENTS LTD ( GB - CORBY ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | K003-C300 RASTANURA STORES | 04 BOAT | OUT OF OUR PRODUCTION |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002743121 10001382 RS COMPONENTS LTD GB PART NUMBER 379-154 SUPERSEDED NUMBER 522610 MAT TYPE SYSE03.0050 (BELDEN) Manufacturer Part Number Text : 5002743121 10001382 RS COMPONENTS LTD GB PART NUMBER 379-154 SUPERSEDED NUMBER 522610 MAT TYPE SYSE03.0050 (BELDEN)
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf