## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5002289565 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002314573 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002653879 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002332778 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5001560863 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002308499 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5002344351 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002314574 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | 5002653880 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002652167 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AF Afghanistan | 5001561031 THE OKONITE COMPANY ( US - ASHTON ) | 5002308580 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5002344353 BELDEN WIRE AND CABLE ( US - RICHMOND ) | 5002338617 BELDEN WIRE AND CABLE ( US - RICHMOND ) | 5002653882 BELDEN WIRE AND CABLE ( US - RICHMOND ) | 5002652168 BELDEN WIRE AND CABLE ( US - RICHMOND ) | AG Antigua/Barbuda | 5002338612 BELDEN WIRE AND CABLE ( US - RICHMOND ) | 5002308581 THE OKONITE COMPANY ( US - ASHTON ) | We are currently at full capacity
|  | POE - Port of Export | 5002344354 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | 5002486402 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002653883 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | 5002652169 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | AI Anguilla | 5002486384 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002338628 BELDEN WIRE AND CABLE ( US - RICHMOND ) | Missing information / not enough information provided
|  |  | 5002344355 THE OKONITE COMPANY ( US - ASHTON ) | 5002825862 THE OKONITE COMPANY ( US - ASHTON ) | 5002653885 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) | 5002652171 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE ) | AB Abu Dhabi | 5002647350 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) |  | Other
|  |  | 5002344357 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) |  | 5002653886 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) |  | AL Albania | 5002647351 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK )
|  |  | 5002344359 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) |  | 5002653887 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE ) |  | AM Armenia | 5002647352 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN )
|  |  | 5002651588 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE ) |  |  |  | AN Dutch Antilles | 5002647353 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE )
AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  |  |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
6.1 | CABLE; ELECTRICAL; LOW VOLTAGE; MC; UL |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; MC TYPE;TWISTED PAIR CONDUCTO;INSTRUMENTATION TYPE;16 AWG CONDUCTO;600 V SUPPLY;1-PAIR CONDUCTO;BLACK;ASTM B3 OR ASTM B33;XLPE (30 MILS) INSUL;COPPER CONDUCTO;ALUMINUM ARMOR;UL;7 STRANDS MINIMUM; WITH OVERALL SHIELD; DRAIN WIRE PER ASTM 33 IMPERVIOUS; CONTINUOUS; CORRUGATED ALUMINUM PROVIDES PROTECTION AGAINST OIL; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT. MARKING AND OTHER REQUIREMENTS PER 34-SAMSS-913 SECTION 6.3 (GROUP 2). INSPECTION AND TESTING REQUIREMENTS AS PER A-175 IR347600. CABLE ELECTRICAL LOW VOLTAGE; MC TYPE;TWISTED PAIR CONDUCTO;INSTRUMENTATION TYPE;16 AWG CONDUCTO;600 V SUPPLY;1-PAIR CONDUCTO;BLACK;ASTM B3 OR ASTM B33;XLPE (30 MILS) INSUL;COPPER CONDUCTO;ALUMINUM ARMOR;UL;7 STRANDS MINIMUM; WITH OVERALL SHIELD; DRAIN WIRE PER ASTM 33 IMPERVIOUS; CONTINUOUS; CORRUGATED ALUMINUM PROVIDES PROTECTION AGAINST OIL; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT. MARKING AND OTHER REQUIREMENTS PER 34-SAMSS-913 SECTION 6.3 (GROUP 2). INSPECTION AND TESTING REQUIREMENTS AS PER A-175 IR347600. | No |  | USD | Feet | 1000832882 |  |  | 1,400 |  |  |  | 2021-12-27 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C001-C300 RASTANURA STORES | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002486402 30000865 SAUDI CABLE COMPANY SA 5002486046 10013724 SAUDI CABLE COMPANY SA 5002314573 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01P16AWG-M0BK8-6T 5002314574 30001824 DEKORON WIRE AND CABLE US PART NUMBER (TINNED COPPER CONDUCTOR) 2X5W-68610200R1 SUPERSEDED NUMBER #2X5W-69610201R1 2X5W-68610201R1 5002338617 30001526 BELDEN WIRE AND CABLE US PART NUMBER 183090C 5002825862 30001857 THE OKONITE COMPANY US PART NUMBER 567-75-3541 5002215081 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01P16AWG-M0BK8-6T 5002215082 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED PART NUMBER 183090C 5002215083 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. PART NUMBER (TINNED COPPER CONDUCTOR) 2X5W-68610200R1 SUPERSEDED NUMBER #2X5W-69610201R1 2X5W-68610201R1 5002825248 10020512 THE OKONITE COMPANY US PART NUMBER 567-75-3541 <Strong>Manufacturer Part Number Text :</Strong> 5002486402 30000865 SAUDI CABLE COMPANY SA 5002486046 10013724 SAUDI CABLE COMPANY SA 5002314573 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01P16AWG-M0BK8-6T 5002314574 30001824 DEKORON WIRE AND CABLE US PART NUMBER (TINNED COPPER CONDUCTOR) 2X5W-68610200R1 SUPERSEDED NUMBER #2X5W-69610201R1 2X5W-68610201R1 5002338617 30001526 BELDEN WIRE AND CABLE US PART NUMBER 183090C 5002825862 30001857 THE OKONITE COMPANY US PART NUMBER 567-75-3541 5002215081 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01P16AWG-M0BK8-6T 5002215082 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED PART NUMBER 183090C 5002215083 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. PART NUMBER (TINNED COPPER CONDUCTOR) 2X5W-68610200R1 SUPERSEDED NUMBER #2X5W-69610201R1 2X5W-68610201R1 5002825248 10020512 THE OKONITE COMPANY US PART NUMBER 567-75-3541 | MS8314004SHTS050120055019396228000101.pdf
6.2 | CABLE; ELECTRICAL; LOW VOLTAGE; MC; UL |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; MC TYPE;TWISTED PAIR CONDUCTO;INSTRUMENTATION TYPE;16 AWG CONDUCTO;600 V SUPPLY;1-PAIR CONDUCTO;BLACK;ASTM B3 OR ASTM B33;XLPE (30 MILS) INSUL;COPPER CONDUCTO;ALUMINUM ARMOR;UL;7 STRANDS MINIMUM; WITH OVERALL SHIELD; DRAIN WIRE PER ASTM 33 IMPERVIOUS; CONTINUOUS; CORRUGATED ALUMINUM PROVIDES PROTECTION AGAINST OIL; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT. MARKING AND OTHER REQUIREMENTS PER 34-SAMSS-913 SECTION 6.3 (GROUP 2). INSPECTION AND TESTING REQUIREMENTS AS PER A-175 IR347600. CABLE ELECTRICAL LOW VOLTAGE; MC TYPE;TWISTED PAIR CONDUCTO;INSTRUMENTATION TYPE;16 AWG CONDUCTO;600 V SUPPLY;1-PAIR CONDUCTO;BLACK;ASTM B3 OR ASTM B33;XLPE (30 MILS) INSUL;COPPER CONDUCTO;ALUMINUM ARMOR;UL;7 STRANDS MINIMUM; WITH OVERALL SHIELD; DRAIN WIRE PER ASTM 33 IMPERVIOUS; CONTINUOUS; CORRUGATED ALUMINUM PROVIDES PROTECTION AGAINST OIL; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT. MARKING AND OTHER REQUIREMENTS PER 34-SAMSS-913 SECTION 6.3 (GROUP 2). INSPECTION AND TESTING REQUIREMENTS AS PER A-175 IR347600. | No |  | USD | Feet | 1000832882 |  |  | 4,000 |  |  |  | 2021-12-27 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B004-C321 JUAYMAH B-321; STORES | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002486402 30000865 SAUDI CABLE COMPANY SA 5002486046 10013724 SAUDI CABLE COMPANY SA 5002314573 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01P16AWG-M0BK8-6T 5002314574 30001824 DEKORON WIRE AND CABLE US PART NUMBER (TINNED COPPER CONDUCTOR) 2X5W-68610200R1 SUPERSEDED NUMBER #2X5W-69610201R1 2X5W-68610201R1 5002338617 30001526 BELDEN WIRE AND CABLE US PART NUMBER 183090C 5002825862 30001857 THE OKONITE COMPANY US PART NUMBER 567-75-3541 5002215081 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01P16AWG-M0BK8-6T 5002215082 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED PART NUMBER 183090C 5002215083 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. PART NUMBER (TINNED COPPER CONDUCTOR) 2X5W-68610200R1 SUPERSEDED NUMBER #2X5W-69610201R1 2X5W-68610201R1 5002825248 10020512 THE OKONITE COMPANY US PART NUMBER 567-75-3541 <Strong>Manufacturer Part Number Text :</Strong> 5002486402 30000865 SAUDI CABLE COMPANY SA 5002486046 10013724 SAUDI CABLE COMPANY SA 5002314573 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01P16AWG-M0BK8-6T 5002314574 30001824 DEKORON WIRE AND CABLE US PART NUMBER (TINNED COPPER CONDUCTOR) 2X5W-68610200R1 SUPERSEDED NUMBER #2X5W-69610201R1 2X5W-68610201R1 5002338617 30001526 BELDEN WIRE AND CABLE US PART NUMBER 183090C 5002825862 30001857 THE OKONITE COMPANY US PART NUMBER 567-75-3541 5002215081 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01P16AWG-M0BK8-6T 5002215082 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED PART NUMBER 183090C 5002215083 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. PART NUMBER (TINNED COPPER CONDUCTOR) 2X5W-68610200R1 SUPERSEDED NUMBER #2X5W-69610201R1 2X5W-68610201R1 5002825248 10020512 THE OKONITE COMPANY US PART NUMBER 567-75-3541 | MS8314004SHTS050120055019397597000101.pdf
6.3 | CABLE ELECTRICAL LOW VOLTAGE; TC; STRAND |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;STRANDED COPPER CONDUCTO;INSTRUMENTATION TYPE;16 AWG (1.5 SQ MM) CONDUCTO;300 V SUPPLY;1 TRIAD; TWISTED CONDUCTO;11.8 MM CABLE OD;BLACK;304 KG/KM LG;PVC JACKET;UL1277;0.38 MM INSUL TH;ALUM-MYLAR SHIELDIN;FOR FOUNDATION FIELDBUS; DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;TINNED COPPER CONDUCTO;GALVANIZED STEEL WIRE ARMOR;34-SAMSS-913;7 STRANDS X 0.488 MM DIA; FOUNDATION FIELDBUS CABLE; OVERALL SHIELDED; BLACK & RED WITH TRIPLE NUMBER ON WHITE CONDUCTOR; ACID ALKALI MOISTURE OILSUNLIGHTS RESISTANT;FLAME RETARDANT CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;STRANDED COPPER CONDUCTO;INSTRUMENTATION TYPE;16 AWG (1.5 SQ MM) CONDUCTO;300 V SUPPLY;1 TRIAD; TWISTED CONDUCTO;11.8 MM CABLE OD;BLACK;304 KG/KM LG;PVC JACKET;UL1277;0.38 MM INSUL TH;ALUM-MYLAR SHIELDIN;FOR FOUNDATION FIELDBUS; DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;TINNED COPPER CONDUCTO;GALVANIZED STEEL WIRE ARMOR;34-SAMSS-913;7 STRANDS X 0.488 MM DIA; FOUNDATION FIELDBUS CABLE; OVERALL SHIELDED; BLACK & RED WITH TRIPLE NUMBER ON WHITE CONDUCTOR; ACID ALKALI MOISTURE OILSUNLIGHTS RESISTANT;FLAME RETARDANT | No |  | USD | Meter | 1000903341 |  |  | 100 |  |  |  | 2021-12-28 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 1- | WH-Warehouse (Non-A/C) | A008-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002649897 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED NUMBER - 5002649896 10013724 SAUDI CABLE COMPANY SA NUMBER - 5002649898 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5002649899 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002652167 30000865 SAUDI CABLE COMPANY SA NUMBER - 5002652168 30001526 BELDEN WIRE AND CABLE US NUMBER - 5002652169 30001824 DEKORON WIRE AND CABLE US NUMBER - 5002652171 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002332778 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01T16AWG-W0BK8-03 SUPERSEDED NUMBER 021X-01T16AWG-W0BK8-PL 0224-01T16AWG-W0BK8-03 5002332682 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01T16AWG-W0BK8-03 SUPERSEDED NUMBER 021X-01T16AWG-W0BK8-PL 0224-01T16AWG-W0BK8-03 <Strong>Manufacturer Part Number Text :</Strong> 5002649897 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED NUMBER - 5002649896 10013724 SAUDI CABLE COMPANY SA NUMBER - 5002649898 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5002649899 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002652167 30000865 SAUDI CABLE COMPANY SA NUMBER - 5002652168 30001526 BELDEN WIRE AND CABLE US NUMBER - 5002652169 30001824 DEKORON WIRE AND CABLE US NUMBER - 5002652171 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002332778 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01T16AWG-W0BK8-03 SUPERSEDED NUMBER 021X-01T16AWG-W0BK8-PL 0224-01T16AWG-W0BK8-03 5002332682 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01T16AWG-W0BK8-03 SUPERSEDED NUMBER 021X-01T16AWG-W0BK8-PL 0224-01T16AWG-W0BK8-03 | 34SAMSS913072620205019401862000101.pdf
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; PVC |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;STRANDED COPPER CONDUCTO;INSTRUMENTATION TYPE;16 AWG (1.5 SQ MM) CONDUCTO;600 V SUPPLY;2 PAIRS; TWISTED CONDUCTO;13.0 MM CABLE OD;BLACK;PVC JACKET;UL1277;0.64 MM INSUL TH;FOR DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;COPPER CONDUCTO;34-SAMSS-913;OVERALL SHIELDED WHITE MOISTURE; FLAME AND D; ALKALI; SUNLIGHT RESISTANT TINNED COPPER DRAIN WIRE EXTRUDED OVER CONDUCTOR ASSEMBLY JACKET CK & H CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;STRANDED COPPER CONDUCTO;INSTRUMENTATION TYPE;16 AWG (1.5 SQ MM) CONDUCTO;600 V SUPPLY;2 PAIRS; TWISTED CONDUCTO;13.0 MM CABLE OD;BLACK;PVC JACKET;UL1277;0.64 MM INSUL TH;FOR DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;COPPER CONDUCTO;34-SAMSS-913;OVERALL SHIELDED WHITE MOISTURE; FLAME AND D; ALKALI; SUNLIGHT RESISTANT TINNED COPPER DRAIN WIRE EXTRUDED OVER CONDUCTOR ASSEMBLY JACKET CK & H | No |  | USD | Meter | 1000708613 |  |  | 1,000 |  |  |  | 2021-12-27 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002647350 30001824 DEKORON WIRE AND CABLE US NUMBER - 5002647351 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002647352 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5002647353 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002639129 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC NUMBER - 5002639127 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH NUMBER - 5002639128 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5002639130 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002486384 30000865 SAUDI CABLE COMPANY SA PART NUMBER T413674 5002338612 30001526 BELDEN WIRE AND CABLE US NUMBER - 5001560863 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-02P16AWG-U0BK8-06 SUPERSEDED NUMBER 0224-02P16AWG-U0BK8-06 0424-02P16AWG-U0BK8-6H 5001561031 30001857 THE OKONITE COMPANY US PART NUMBER 267-32-3402 5002486027 10013724 SAUDI CABLE COMPANY SA PART NUMBER T413674 5001463456 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED PART NUMBER 3043C 5001463457 10020512 THE OKONITE COMPANY US PART NUMBER 267-32-3402 5001463455 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-02P16AWG-U0BK8-06 SUPERSEDED NUMBER 0224-02P16AWG-U0BK8-06 0424-02P16AWG-U0BK8-6H <Strong>Manufacturer Part Number Text :</Strong> 5002647350 30001824 DEKORON WIRE AND CABLE US NUMBER - 5002647351 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002647352 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5002647353 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002639129 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC NUMBER - 5002639127 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH NUMBER - 5002639128 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5002639130 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002486384 30000865 SAUDI CABLE COMPANY SA PART NUMBER T413674 5002338612 30001526 BELDEN WIRE AND CABLE US NUMBER - 5001560863 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-02P16AWG-U0BK8-06 SUPERSEDED NUMBER 0224-02P16AWG-U0BK8-06 0424-02P16AWG-U0BK8-6H 5001561031 30001857 THE OKONITE COMPANY US PART NUMBER 267-32-3402 5002486027 10013724 SAUDI CABLE COMPANY SA PART NUMBER T413674 5001463456 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED PART NUMBER 3043C 5001463457 10020512 THE OKONITE COMPANY US PART NUMBER 267-32-3402 5001463455 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-02P16AWG-U0BK8-06 SUPERSEDED NUMBER 0224-02P16AWG-U0BK8-06 0424-02P16AWG-U0BK8-6H | 34SAMSS913072620205019404354000101.pdf
6.5 | CABLE ELECTRICAL LOW VOLTAGE; ITC; INSTR |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; ITC; INSTRUMENTATION TYPE;STRANDED CONDUCTO;INDIVIDUAL AND OVERALL SHIELDED TYPE;16 AWG (1.5 SQ MM) CONDUCTO;300 V SUPPLY;2 PAIR (4 CONDUCTORS); TWESTED CONDUCTO;BLACK;AS PER 34-SAMSS-913 MARKINGS;FLAME RETARDANT PVC JACKET;PER UL 2250;0.38 MM INSUL TH;ASTM B33 AND ASTM B3;MYLAR TAPE SHIELDIN;FOR DIRECT BURIED;FLAME RETARDANT;ALUMINIUM / POLYESTER;1000 M / REEL;TR 90 DEG. C;XLPE INSUL;TINNED COPPER CONDUCTO;ASTM B33 ASTM B8 UL-2250 34-SAMSS-913;OIL; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; MANUFACTURING AND TESTING PER SAUDI ARAMCO SPECIFICATION 34-SAMSS-913 (GROUP 4) AND E-ATTACHMENT-I; SHEET-001. CABLE ELECTRICAL LOW VOLTAGE; ITC; INSTRUMENTATION TYPE;STRANDED CONDUCTO;INDIVIDUAL AND OVERALL SHIELDED TYPE;16 AWG (1.5 SQ MM) CONDUCTO;300 V SUPPLY;2 PAIR (4 CONDUCTORS); TWESTED CONDUCTO;BLACK;AS PER 34-SAMSS-913 MARKINGS;FLAME RETARDANT PVC JACKET;PER UL 2250;0.38 MM INSUL TH;ASTM B33 AND ASTM B3;MYLAR TAPE SHIELDIN;FOR DIRECT BURIED;FLAME RETARDANT;ALUMINIUM / POLYESTER;1000 M / REEL;TR 90 DEG. C;XLPE INSUL;TINNED COPPER CONDUCTO;ASTM B33 ASTM B8 UL-2250 34-SAMSS-913;OIL; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; MANUFACTURING AND TESTING PER SAUDI ARAMCO SPECIFICATION 34-SAMSS-913 (GROUP 4) AND E-ATTACHMENT-I; SHEET-001. | No |  | USD | Meter | 1000889045 |  |  | 300 |  |  |  | 2021-12-27 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B003-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002308560 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED 5002338628 30001526 BELDEN WIRE AND CABLE US 5002308499 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0424-02P16AWG-U0BK8-IT SUPERSEDED NUMBER 041X-02P16AWG-U0BK8-IC 0424-02P16AWG-U0BK8-03 C2PC2-H-2XISYU-T405834 / 02X2X SUPERSEDED NUMBER CONT 1 16 AWG 5002308580 30000865 SAUDI CABLE COMPANY SA PART NUMBER 02PC2-H-2XISYUT405834 5002308581 30001857 THE OKONITE COMPANY US REFERENCE NUMBER 4503192560-0001 5002308557 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0424-02P16AWG-U0BK8-IT SUPERSEDED NUMBER 041X-02P16AWG-U0BK8-IC 0424-02P16AWG-U0BK8-03 C2PC2-H-2XISYU-T405834 / 02X2X SUPERSEDED NUMBER CONT 1 16 AWG 5002308558 10020512 THE OKONITE COMPANY US REFERENCE NUMBER 4503192560-0001 5002308559 10013724 SAUDI CABLE COMPANY SA PART NUMBER 02PC2-H-2XISYUT405834 <Strong>Manufacturer Part Number Text :</Strong> 5002308560 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED 5002338628 30001526 BELDEN WIRE AND CABLE US 5002308499 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0424-02P16AWG-U0BK8-IT SUPERSEDED NUMBER 041X-02P16AWG-U0BK8-IC 0424-02P16AWG-U0BK8-03 C2PC2-H-2XISYU-T405834 / 02X2X SUPERSEDED NUMBER CONT 1 16 AWG 5002308580 30000865 SAUDI CABLE COMPANY SA PART NUMBER 02PC2-H-2XISYUT405834 5002308581 30001857 THE OKONITE COMPANY US REFERENCE NUMBER 4503192560-0001 5002308557 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0424-02P16AWG-U0BK8-IT SUPERSEDED NUMBER 041X-02P16AWG-U0BK8-IC 0424-02P16AWG-U0BK8-03 C2PC2-H-2XISYU-T405834 / 02X2X SUPERSEDED NUMBER CONT 1 16 AWG 5002308558 10020512 THE OKONITE COMPANY US REFERENCE NUMBER 4503192560-0001 5002308559 10013724 SAUDI CABLE COMPANY SA PART NUMBER 02PC2-H-2XISYUT405834 | 34SAMSS913072620205019405567000101.pdf
6.6 | CABLE ELECTRICAL LOW VOLTAGE; TC; STRAND |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;STRANDED COPPER CONDUCTO;INSTRUMENTATION TYPE;16 AWG (1.5 SQ MM) CONDUCTO;300 V SUPPLY;1 TRIAD; TWISTED CONDUCTO;11.8 MM CABLE OD;BLACK;304 KG/KM LG;PVC JACKET;UL1277;0.38 MM INSUL TH;ALUM-MYLAR SHIELDIN;FOR FOUNDATION FIELDBUS; DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;TINNED COPPER CONDUCTO;GALVANIZED STEEL WIRE ARMOR;34-SAMSS-913;7 STRANDS X 0.488 MM DIA; FOUNDATION FIELDBUS CABLE; OVERALL SHIELDED; BLACK & RED WITH TRIPLE NUMBER ON WHITE CONDUCTOR; ACID ALKALI MOISTURE OILSUNLIGHTS RESISTANT;FLAME RETARDANT CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;STRANDED COPPER CONDUCTO;INSTRUMENTATION TYPE;16 AWG (1.5 SQ MM) CONDUCTO;300 V SUPPLY;1 TRIAD; TWISTED CONDUCTO;11.8 MM CABLE OD;BLACK;304 KG/KM LG;PVC JACKET;UL1277;0.38 MM INSUL TH;ALUM-MYLAR SHIELDIN;FOR FOUNDATION FIELDBUS; DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;TINNED COPPER CONDUCTO;GALVANIZED STEEL WIRE ARMOR;34-SAMSS-913;7 STRANDS X 0.488 MM DIA; FOUNDATION FIELDBUS CABLE; OVERALL SHIELDED; BLACK & RED WITH TRIPLE NUMBER ON WHITE CONDUCTOR; ACID ALKALI MOISTURE OILSUNLIGHTS RESISTANT;FLAME RETARDANT | No |  | USD | Meter | 1000903341 |  |  | 300 |  |  |  | 2021-12-28 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 1- | WH-Warehouse (Non-A/C) | B003-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002649897 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED NUMBER - 5002649896 10013724 SAUDI CABLE COMPANY SA NUMBER - 5002649898 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5002649899 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002652167 30000865 SAUDI CABLE COMPANY SA NUMBER - 5002652168 30001526 BELDEN WIRE AND CABLE US NUMBER - 5002652169 30001824 DEKORON WIRE AND CABLE US NUMBER - 5002652171 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002332778 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01T16AWG-W0BK8-03 SUPERSEDED NUMBER 021X-01T16AWG-W0BK8-PL 0224-01T16AWG-W0BK8-03 5002332682 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01T16AWG-W0BK8-03 SUPERSEDED NUMBER 021X-01T16AWG-W0BK8-PL 0224-01T16AWG-W0BK8-03 <Strong>Manufacturer Part Number Text :</Strong> 5002649897 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED NUMBER - 5002649896 10013724 SAUDI CABLE COMPANY SA NUMBER - 5002649898 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5002649899 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002652167 30000865 SAUDI CABLE COMPANY SA NUMBER - 5002652168 30001526 BELDEN WIRE AND CABLE US NUMBER - 5002652169 30001824 DEKORON WIRE AND CABLE US NUMBER - 5002652171 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002332778 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01T16AWG-W0BK8-03 SUPERSEDED NUMBER 021X-01T16AWG-W0BK8-PL 0224-01T16AWG-W0BK8-03 5002332682 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01T16AWG-W0BK8-03 SUPERSEDED NUMBER 021X-01T16AWG-W0BK8-PL 0224-01T16AWG-W0BK8-03 | 34SAMSS913072620205019405568000101.pdf
6.7 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; PVC |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; ITC TYPE;STRANDED COPPER CONDUCTO;INSTRUMENTATION TYPE;16 AWG (1.5 SQ MM) CONDUCTO;300 V SUPPLY;2 PAIRS; TWISTED CONDUCTO;11.3 MM CABLE OD;BLACK;PVC JACKET;UL1277;0.38 MM INSUL TH;UN-SHIELDED WITH OVERALL SHIELD SHIELDIN;FOR DIRECT BURIAL;TR TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;COPPER CONDUCTO;34-SAMSS-913;OIL; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT. CABLE ELECTRICAL LOW VOLTAGE; ITC TYPE;STRANDED COPPER CONDUCTO;INSTRUMENTATION TYPE;16 AWG (1.5 SQ MM) CONDUCTO;300 V SUPPLY;2 PAIRS; TWISTED CONDUCTO;11.3 MM CABLE OD;BLACK;PVC JACKET;UL1277;0.38 MM INSUL TH;UN-SHIELDED WITH OVERALL SHIELD SHIELDIN;FOR DIRECT BURIAL;TR TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;COPPER CONDUCTO;34-SAMSS-913;OIL; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT. | No |  | USD | Meter | 1000836396 |  |  | 532 |  |  |  | 2021-12-27 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A005-C532 UTHMANIYAH WAREHOUSE 532; STOR | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002649270 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002651588 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002344223 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED 5002344224 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. 5002344225 10020512 THE OKONITE COMPANY US 5002344226 10028102 ** CBI ELECTRIC ABERDARE ATC TELECO ZA 5002344227 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC 5002344220 10000947 ** LEONI KERPEN GMBH DE 5002344221 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH 5002344351 30000865 SAUDI CABLE COMPANY SA NUMBER - 5002344353 30001526 BELDEN WIRE AND CABLE US NUMBER - 5002344354 30001824 DEKORON WIRE AND CABLE US NUMBER - 5002344357 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002344359 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5002344355 30001857 THE OKONITE COMPANY US 5002289565 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 041Z-02P16AWG-U0BK8-IC SUPERSEDED NUMBER 0224-02P16AWG-U0BK8-3 5002344222 10013724 SAUDI CABLE COMPANY SA ITEM NUMBER T413309 PART NUMBER 02PT2-H-XFOSYU 5002222134 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 041Z-02P16AWG-U0BK8-IC SUPERSEDED NUMBER 0224-02P16AWG-U0BK8-3 <Strong>Manufacturer Part Number Text :</Strong> 5002649270 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002651588 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002344223 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED 5002344224 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. 5002344225 10020512 THE OKONITE COMPANY US 5002344226 10028102 ** CBI ELECTRIC ABERDARE ATC TELECO ZA 5002344227 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC 5002344220 10000947 ** LEONI KERPEN GMBH DE 5002344221 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH 5002344351 30000865 SAUDI CABLE COMPANY SA NUMBER - 5002344353 30001526 BELDEN WIRE AND CABLE US NUMBER - 5002344354 30001824 DEKORON WIRE AND CABLE US NUMBER - 5002344357 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002344359 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5002344355 30001857 THE OKONITE COMPANY US 5002289565 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 041Z-02P16AWG-U0BK8-IC SUPERSEDED NUMBER 0224-02P16AWG-U0BK8-3 5002344222 10013724 SAUDI CABLE COMPANY SA ITEM NUMBER T413309 PART NUMBER 02PT2-H-XFOSYU 5002222134 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 041Z-02P16AWG-U0BK8-IC SUPERSEDED NUMBER 0224-02P16AWG-U0BK8-3 | 34SAMSS913072620205019412647000101.pdf
6.8 | CABLE; ELECTRICAL; LOW VOLTAGE; CONTROL |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; CONTROL TYPE;TWISTED PAIR CONDUCTO;INSTRUMENTATION TYPE;18 AWG CONDUCTO;300 V SUPPLY;7 STRANDS CONDUCTO;ORANGE;PVC JACKET;0.38 MM INSUL TH;ASTM B33;ALUM-MYLAR SHIELDIN;FOR DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;TINNED COPPER CONDUCTO;34-SAMSS-913;FOUNDATION FIELDBUS( FF-H1); CABLE GROUP 4 CABLE ELECTRICAL LOW VOLTAGE; CONTROL TYPE;TWISTED PAIR CONDUCTO;INSTRUMENTATION TYPE;18 AWG CONDUCTO;300 V SUPPLY;7 STRANDS CONDUCTO;ORANGE;PVC JACKET;0.38 MM INSUL TH;ASTM B33;ALUM-MYLAR SHIELDIN;FOR DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;TINNED COPPER CONDUCTO;34-SAMSS-913;FOUNDATION FIELDBUS( FF-H1); CABLE GROUP 4 | No |  | USD | Feet | 1000828567 |  |  | 985 |  |  |  | 2021-12-28 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | B009-C500 ABQAIQ B-1061; STORES | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002636937 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5002636935 10013724 SAUDI CABLE COMPANY SA NUMBER - 5002636936 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED NUMBER - 5002636934 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH NUMBER - 5002636939 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC NUMBER - 5002636940 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002653885 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002653886 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5002653887 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002653879 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01P18AWG-U0OR8-PL-78 SUPERSEDED NUMBER 0224-01P18AWG-U0OR8-78 7295/12BFT.CL.T1 5002653880 30000865 SAUDI CABLE COMPANY SA NUMBER - 5002653882 30001526 BELDEN WIRE AND CABLE US NUMBER - 5002653883 30001824 DEKORON WIRE AND CABLE US NUMBER - 5002169984 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01P18AWG-U0OR8-PL-78 SUPERSEDED NUMBER 0224-01P18AWG-U0OR8-78 7295/12BFT.CL.T1 <Strong>Manufacturer Part Number Text :</Strong> 5002636937 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5002636935 10013724 SAUDI CABLE COMPANY SA NUMBER - 5002636936 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED NUMBER - 5002636934 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH NUMBER - 5002636939 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC NUMBER - 5002636940 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002653885 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002653886 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5002653887 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002653879 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01P18AWG-U0OR8-PL-78 SUPERSEDED NUMBER 0224-01P18AWG-U0OR8-78 7295/12BFT.CL.T1 5002653880 30000865 SAUDI CABLE COMPANY SA NUMBER - 5002653882 30001526 BELDEN WIRE AND CABLE US NUMBER - 5002653883 30001824 DEKORON WIRE AND CABLE US NUMBER - 5002169984 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01P18AWG-U0OR8-PL-78 SUPERSEDED NUMBER 0224-01P18AWG-U0OR8-78 7295/12BFT.CL.T1 | 34SAMSS913072620205019413591000101.pdf
6.9 | CABLE; ELECTRICAL; LOW VOLTAGE; CONTROL |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; CONTROL TYPE;TWISTED PAIR CONDUCTO;INSTRUMENTATION TYPE;18 AWG CONDUCTO;300 V SUPPLY;7 STRANDS CONDUCTO;ORANGE;PVC JACKET;0.38 MM INSUL TH;ASTM B33;ALUM-MYLAR SHIELDIN;FOR DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;TINNED COPPER CONDUCTO;34-SAMSS-913;FOUNDATION FIELDBUS( FF-H1); CABLE GROUP 4 CABLE ELECTRICAL LOW VOLTAGE; CONTROL TYPE;TWISTED PAIR CONDUCTO;INSTRUMENTATION TYPE;18 AWG CONDUCTO;300 V SUPPLY;7 STRANDS CONDUCTO;ORANGE;PVC JACKET;0.38 MM INSUL TH;ASTM B33;ALUM-MYLAR SHIELDIN;FOR DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;TINNED COPPER CONDUCTO;34-SAMSS-913;FOUNDATION FIELDBUS( FF-H1); CABLE GROUP 4 | No |  | USD | Feet | 1000828567 |  |  | 110 |  |  |  | 2021-12-28 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | B006-C322 TANAJIB B-10; STORE STOCK | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002636937 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5002636935 10013724 SAUDI CABLE COMPANY SA NUMBER - 5002636936 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED NUMBER - 5002636934 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH NUMBER - 5002636939 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC NUMBER - 5002636940 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002653885 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002653886 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5002653887 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002653879 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01P18AWG-U0OR8-PL-78 SUPERSEDED NUMBER 0224-01P18AWG-U0OR8-78 7295/12BFT.CL.T1 5002653880 30000865 SAUDI CABLE COMPANY SA NUMBER - 5002653882 30001526 BELDEN WIRE AND CABLE US NUMBER - 5002653883 30001824 DEKORON WIRE AND CABLE US NUMBER - 5002169984 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01P18AWG-U0OR8-PL-78 SUPERSEDED NUMBER 0224-01P18AWG-U0OR8-78 7295/12BFT.CL.T1 <Strong>Manufacturer Part Number Text :</Strong> 5002636937 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA. NUMBER - 5002636935 10013724 SAUDI CABLE COMPANY SA NUMBER - 5002636936 10016631 BELDEN WIRE AND CABLE COMPANY US INCORPORATED NUMBER - 5002636934 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH NUMBER - 5002636939 10032913 TE WIRE AND CABLE US R2 TECHNOLOGIES LLC NUMBER - 5002636940 10056746 BELDEN HIRSCHMANN NETWORKING CN SYSTEM TRADING (SHANGHAI) NUMBER - 5002653885 30003774 TE WIRE AND CABLE COMPANY US NUMBER - 5002653886 30006564 OKAZAKI MANUFACTURING COMPANY JP MAIN MANUFACTURING FACTORY NUMBER - 5002653887 30007517 BELDEN HIRSCHMANN INDUSTRIES CN (SUZHOU) LTD. NUMBER - 5002653879 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SA LIMITED PART NUMBER 0224-01P18AWG-U0OR8-PL-78 SUPERSEDED NUMBER 0224-01P18AWG-U0OR8-78 7295/12BFT.CL.T1 5002653880 30000865 SAUDI CABLE COMPANY SA NUMBER - 5002653882 30001526 BELDEN WIRE AND CABLE US NUMBER - 5002653883 30001824 DEKORON WIRE AND CABLE US NUMBER - 5002169984 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) PART NUMBER 0224-01P18AWG-U0OR8-PL-78 SUPERSEDED NUMBER 0224-01P18AWG-U0OR8-78 7295/12BFT.CL.T1 | 34SAMSS913072620205019413592000101.pdf
Note on Q5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN13: Answer Type: Text (multiple lines) Acceptable Values: Any Value