## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5002643377 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002688979 VB107BT FLOWSERVE PUMP DIVISION ( US - HOUSTON ) | 5002548490 25S050150 SAUDI CATHODIC PROTECTION ( SA - DAMMAM ) | AE Utd.Arab Emir. | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5002643380 M. P. HUSKY ( US - GREENVILLE ) | 5002745662 VB107BT FLOWSERVE ALRUSHAID CO. LTD ( SA - DAMMAM ) | 5002548491 150A50MV BEEMET ( IN - MUMBAI ) | AF Afghanistan | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5002643382 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) |  |  | AG Antigua/Barbuda | We are currently at full capacity
|  | POE - Port of Export | 5002643383 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) |  |  | AI Anguilla | Missing information / not enough information provided
|  |  | 5002643384 THOMAS AND BETTS SAUDI ARABIA ( SA - KHOBAR ) |  |  | AB Abu Dhabi | Other
|  |  | 5002643385 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) |  |  | AL Albania
|  |  | 5002643386 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) |  |  | AM Armenia
|  |  | 5002643387 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) |  |  | AN Dutch Antilles
|  |  | 5002643388 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) |  |  | AO Angola
|  |  | 5002643389 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  |  | AQ Antarctica
|  |  | 5002643390 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) |  |  | AR Argentina
|  |  | 5002786783 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  |  | AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | SHUNT; AMMETER; 50 MV; 150 A | SHUNT; AMMETER TYPE;50 MV DROP;150 A SHUNT; AMMETER TYPE;50 MV DROP;150 A SPARE PART FOR; RECTIFIER IMPRESSED CURRENT; CATHODIC PROTECTION OIL COOLED TRANSFORMER TYPE;480 VAC; 11.5 A; 9.3 KVA; 60 HZ; 3PH POWER;50 VDC; 120 ADC; 6 KW OUTPUT;STYLE FULL WAVE DIODE BRIDGE RECTIFIER;UNCLASSIFIED;17-SAMSS-004;FLOOR OR CONCRETE PAD MOUNTED 150A/50;MV TEMPERATURE; 55 DEG C ANSI COOLING CLASS; CLASS ONAN; OIL IMMERSED; NATURAL AIR CONVECTION IENT NT RATING; ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA CORRPRO ARABIA GROUND AB ELECTRODE MODEL NUMBER COYTD 50-120 QRTZ SERIAL NUMBER 16-0104-01 16-0104-02 DRAWING NUMBER V-2187-001-A-010 REFERENCE NUMBER 16-0104 TAG NUMBER J10-010-XFR-090 J14-014-XFR-090 | No |  | USD | each | 1000997275 |  |  | 3 |  |  |  | 2021-11-03 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 05 AIR |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002548490 10012769 SAUDI CATHODIC PROTECTION SA MANUFACTURING COMPANY LTD. PART NUMBER 25-S-050150 5002548491 10049817 BEEMET IN PART NUMBER 150A-50MV Manufacturer Part Number Text : 5002548490 10012769 SAUDI CATHODIC PROTECTION SA MANUFACTURING COMPANY LTD. PART NUMBER 25-S-050150 5002548491 10049817 BEEMET IN PART NUMBER 150A-50MV
6.2 | MODULE; BLUETOOTH MEMORY | MODULE; BLUETOOTH MEMORY TYPE MODULE; BLUETOOTH MEMORY TYPE SPARE PART FOR; UNIT; IPS BEACON 2 TYPE ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME FLOWSERVE PUMP DIVISION MODEL NUMBER VB-107 DRAWING NUMBER B2023 PART NUMBER VB-107VB-107 | No |  | USD | each | 1001041940 |  |  | 22 |  |  |  | 2022-02-27 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 48- | WH-Warehouse (Non-A/C) | B01A-C531 SHEDGUM B-3013; STORES UNIT | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002688979 10016493 FLOWSERVE PUMP DIVISION US FLOWSERVE CORPORATION MODEL NUMBER VB-107-BT 5002745662 10040697 FLOWSERVE ALRUSHAID CO. LTD SA PART NUMBER VB-107-BT Manufacturer Part Number Text : 5002688979 10016493 FLOWSERVE PUMP DIVISION US FLOWSERVE CORPORATION MODEL NUMBER VB-107-BT 5002745662 10040697 FLOWSERVE ALRUSHAID CO. LTD SA PART NUMBER VB-107-BT
6.3 | COVER; CABLE TRAY; 228.6 MM (9 IN) | COVER CABLE TRAY; 228.6 MM (9 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;38.1 MM (1-1/2 IN) FLANGE; LADDER COVER CABLE TRAY; 228.6 MM (9 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;38.1 MM (1-1/2 IN) FLANGE; LADDER | No |  | USD | each | 1000371901 |  |  | 40 |  |  |  | 2021-12-16 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831404 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A014-C350 TURAIF WAREHOUSE | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002643377 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002643382 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA PART NUMBER AL-ST-CVL-BB33-A 5002643383 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5002643384 30005518 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002643385 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002643386 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER NL58-09SL-12-1T SUPERSEDED NUMBER NL58-09SL-12 5002643387 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002643389 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002643380 30003168 M. P. HUSKY US NUMBER - 5002643390 30007981 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002610243 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002610248 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002610247 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002610250 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002610245 10042327 MP HUSKY LLC US NUMBER - 5002610249 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002610246 10043654 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002610242 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER - 5002610244 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5002786783 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-ST-CVL-BB33-A 5002643388 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER - 5001817925 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5000304940 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER NL58-09SL-12-1T SUPERSEDED NUMBER NL58-09SL-12 5002218758 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-ST-CVL-BB33-A 5001821284 10026839 AL-ASHOURY FACTORY FOR CABLE SA SPPORTS & BUILDING ACCESSORIES PART NUMBER 2003 10 12 09 38 Manufacturer Part Number Text : 5002643377 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002643382 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA PART NUMBER AL-ST-CVL-BB33-A 5002643383 30005404 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5002643384 30005518 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002643385 30005792 BAAMER ELECTRIC FACTORY SA NUMBER - 5002643386 30005833 ABAHSAIN COPE S.A. CO. LTD SA NUMBER NL58-09SL-12-1T SUPERSEDED NUMBER NL58-09SL-12 5002643387 30006571 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002643389 30007642 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002643380 30003168 M. P. HUSKY US NUMBER - 5002643390 30007981 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002610243 10024108 COOPER B-LINE INCORPORATED US COOPER INDUSTRIES INCORPORATED NUMBER - 5002610248 10057693 FACTORY OF MODERN METAL INDUSTRIES SA CO NUMBER - 5002610247 10056487 FAS ALJAZEERA UNITED FACTORY CO. SA NUMBER - 5002610250 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SA NUMBER - 5002610245 10042327 MP HUSKY LLC US NUMBER - 5002610249 10057911 BAAMER ELECTRIC FACTORY SA NUMBER - 5002610246 10043654 THOMAS AND BETTS SAUDI ARABIA SA NUMBER - 5002610242 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SA ARABIA LTD. NUMBER - 5002610244 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SA EAST LLC NUMBER - 5002786783 30008964 ADHWA AL-RAWAFID ELECTRIC SA INDUSTRIES PART NUMBER AL-ST-CVL-BB33-A 5002643388 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SA SAUDI ARABIA (WESCOSA) NUMBER - 5001817925 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SA COMPANY LTD. FACTORY 5000304940 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA NUMBER NL58-09SL-12-1T SUPERSEDED NUMBER NL58-09SL-12 5002218758 10041120 RAWAFID ADWAA FACTORY FOR SA ELECTRICAL INDUSTRIES PART NUMBER AL-ST-CVL-BB33-A 5001821284 10026839 AL-ASHOURY FACTORY FOR CABLE SA SPPORTS & BUILDING ACCESSORIES PART NUMBER 2003 10 12 09 38 | SAESP1045019401160000101.pdf
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value