## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | AE Utd.Arab Emir. | 5002222133 61A601C10AWGU0BL800 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000378885 761414AWGUOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000369651 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387110 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000388641 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000378675 761412C14AWGUOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382350 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000382141 761403C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387989 61A601C06AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | AF Afghanistan | 5002613071 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000377320 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5000378887 3625 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5000369652 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387112 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388644 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000378676 GENERAL CABLE ( US - MARION ) | 5000382351 THE OKONITE COMPANY ( US - HOUSTON ) | 5000382142 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000388100 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | AG Antigua/Barbuda |  | 5000377321 THE OKONITE COMPANY ( US - HOUSTON ) | 5000378888 M27142 MANHATTAN-CDT ( US - HOUSTON ) | 5001301469 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000387113 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388645 25002132 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000378678 TC216500 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5001274389 HB8LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382143 ** NEXANS HELLAS S.A. ( GR - ATHENS ) | 5000388102 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | We are currently at full capacity
|  | POE - Port of Export | AI Anguilla |  | 5001427180 DA6LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000378889 THE OKONITE COMPANY ( US - HOUSTON ) | 5001327917 CD7KA3AB JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387114 116671106 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388646 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000378679 M27137 MANHATTAN-CDT ( US - HOUSTON ) | 5001893732 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000382144 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388103 25006 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | Missing information / not enough information provided
|  |  | AB Abu Dhabi |  | 5001437334 0102R10306 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000378982 SUMITOMO ELECTRIC INDUSTRIES L ( JP - MINATO-KU, TOKYO ) | 5001893587 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000387115 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002612726 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000378770 THE OKONITE COMPANY ( US - HOUSTON ) | 5002143874 C448XA10300SBK04CMF ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001274384 DA9LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000388104 116671221 THE OKONITE COMPANY ( US - HOUSTON ) | Other
|  |  | AL Albania |  | 5001893657 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001429773 DA5LU19BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002143831 C44XA1040WSBK08IMF ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001429835 DW2WU01L JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5001429768 DA5LU12BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002157874 14515217 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001893726 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000388105 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON )
|  |  | AM Armenia |  | 5002243981 GENERAL CABLE ( US - MARION ) | 5001437343 0802R10195 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002157842 14033258 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437370 0D06551202 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5001437341 0802R10125 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002332611 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002143915 C315XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775630 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | AN Dutch Antilles |  | 5002332554 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001893670 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002332542 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001775619 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001893668 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5002157870 14515209 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  | AO Angola |  |  | 5002243993 GENERAL CABLE ( US - MARION ) |  | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002332560 ELSEWEDY CABLES COMPANY ( SA - YANBU )
|  |  | AQ Antarctica |  |  | 5002332562 ELSEWEDY CABLES COMPANY ( SA - YANBU )
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  |  |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
6.1 | WIRE; 600V THHN/THWN 1/C 6 AWG (16MM2) N |  |  |  | WIRE ELECTRICAL; 13.3 MM2 (6 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;6.60 MM (0.260 IN) OD;142.9 KG/KM (96 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419333 |  |  | 500 |  |  |  | 2022-02-10 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388105 10021675 SOUTHWIRE COMPANY INCORPORATED US5000388102 10016871 GENERAL CABLE USBICC GENERAL5000388100 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001775630 10012569 ALFAN
6.2 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  |  |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT) | No |  | USD | Meter | 1000836395 |  |  | 45.72 |  |  |  | 2022-02-17 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002613071 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002222133 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61A6-01C10AWG-U0BL8-00
6.3 | CORD; ELECTRICAL; 12 CONDUCTOR; 2.08 |  |  |  | CORD ELECTRICAL; 12 CONDUCTO;2.08 SQ MM (14 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;17.5 MM (0.690 IN) OD;BLACK;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C WET;432 KG/KM (290 LBS PER 1000 FT) LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; AERIAL;UL-1569;7 STRANDS; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI; AND SUNLIGHT RESISTANT; FLAME RETARDNT; UL OR APPROVED EQUIVALENT LABELED; MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION; VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 & 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NAME OF CONDUCTORS; MANUFACTURER NAME; YEAR ICEA S-66-524; INSULATION THICKNESS; 0.76 MM (0.030 IN); CONDUCTOR MATERIAL SPEC.; ASTM B8; CLASS B; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Feet | 1000416781 |  |  | 10,280 |  |  |  | 2022-02-17 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000378676 10016865 GENERAL CABLE USBICC CABLES CORPORATION5000378770 10020512 THE OKONITE COMPANY US5001893668 10037887 EGYTECH CABLES EL SEWEDY EG5002332560 10046468 ELSEWEDY CABLES COMPANY SA5000378
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;185/95 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;PVC JACKET;IEC502;FOR DIRECT BURIAL;OPEL COIL ON PALET;PVC INSUL;COPPER CONDUCTO;ARMOURED SWA | No |  | USD | Meter | 1000413679 |  |  | 400 |  |  |  | 2022-02-01 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000369651 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000369652 10013724 SAUDI CABLE COMPANY SA5001893587 10037887 EGYTECH CABLES EL SEWEDY EG5002332542 10046468 ELSEWEDY CABLES COMPANY SA50013
6.5 | CABLE; 1KV XLPE/PVC 3/C 185MM2 (365MCM) |  |  |  | CORD ELECTRICAL; 3 CONDUCTO;185 SQ MM CONDUCTO;37 STRANDS CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;XLPE; POWER AND CONTROL;53.6 MM (2.110 IN) OD;BLACK;PVC JACKET;XLPE INSUL;TR 90 DEG C;5880 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC332; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; INSULATION THICKNESS; 1.6 MM (0.063 IN); CONDUCTOR MATERIAL SPEC; IEC 228; INSULATION MATERIAL SPEC; IEC 502; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Meter | 1000417886 |  |  | 60 |  |  |  | 2022-02-01 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382350 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000382351 10020512 THE OKONITE COMPANY US5001893732 10037887 EGYTECH CABLES EL SEWEDY EG5002332611 10046468 ELSEWEDY CABLES CO
6.6 | CORD; ELECTRICAL; 3 CONDUCTOR; 3.31 |  |  |  | CORD ELECTRICAL; 3 CONDUCTO;3.31 SQ MM (12 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;9.9 MM (0.390 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;164 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;UL-1569;CLASS B; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; INSULATION THICKNESS; 0.80 MM(0.0315 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; INSULATION MATERIAL SPEC; ICEA S-66-524; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Feet | 1000416479 |  |  | 3,261 |  |  |  | 2022-03-08 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000377320 10017431 ROME CABLE CORPORATION US5000377321 10020512 THE OKONITE COMPANY US5001893657 10037887 EGYTECH CABLES EL SEWEDY EG5002332554 10046468 ELSEWEDY CABLES COMPANY SA5002243981 10016865 GE
6.7 | WIRE; BUILDING; 600V; |  |  |  | WIRE ELECTRICAL; 33.63 MM2 (2 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;9.91 MM (0.390 IN) OD;351.2 KG/KM (236 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | No |  | USD | Feet | 1000419474 |  |  | 200 |  |  |  | 2021-12-29 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388641 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000388644 10016871 GENERAL CABLE USBICC GENERAL5000388646 10021675 SOUTHWIRE COMPANY INCORPORATED US5002612726 10044083 BAHRA ADVANCED CABL
6.8 | CABLE; 600V TC 19/C 14 AWG (2.08MM2) PVC |  |  |  | CORD ELECTRICAL; 19 CONDUCTO;2.08 SQ MM (14 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;20.8 MM (0.820 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C WET;766 KG/KM (515 LBS PER 1000 FT) LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; AERIAL;UL-1569;MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURE NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; INSULATION THICKNESS; 0.76 MM (0.030 IN) CONDUCTOR MATERIAL SPEC; ASTM B8; CLASS B; INSULATION MATERIAL SPEC; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Feet | 1000416787 |  |  | 656 |  |  |  | 2022-01-04 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000378889 10020512 THE OKONITE COMPANY US5001893670 10037887 EGYTECH CABLES EL SEWEDY EG5002332562 10046468 ELSEWEDY CABLES COMPANY SA5000378982 10004602 SUMITOMO ELECTRIC INDUSTRIES LTD JPMARKETING &
6.9 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;19 MM (3/4 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;580 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417767 |  |  | 1,000 |  |  |  | 2022-02-01 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382142 10013724 SAUDI CABLE COMPANY SA5000382143 10003546 ** NEXANS HELLAS S.A. GR5000382144 10020512 THE OKONITE COMPANY US5001893726 10037887 EGYTECH CABLES EL SEWEDY EG5000382141 10013206 MIDDLE
6.10 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG);BLUE |  |  |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419171 |  |  | 2,000 |  |  |  | 2022-02-01 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387110 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387112 10016871 GENERAL CABLE USBICC GENERAL5000387115 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775619 10012569 ALFANAR ELECTRICAL
Note on Q5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN14: Answer Type: Text (multiple lines) Acceptable Values: Any Value