## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000413562 7024 ABAHSAIN-COPE SAUDI ARABIA CO ( SA - DHAHRAN ) | AE Utd.Arab Emir. | 5000291272 502K02653239 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5001362992 M. P. HUSKY ( US - GREENVILLE ) | 5002512183 SRT3000XLI SCHNEIDER ELECTRIC PLANTS SAUD ( SA - RIYADH ) | 5001363019 M. P. HUSKY ( US - GREENVILLE ) | 5000581523 C2521 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000413563 P1121M UNISTRUT CORPORATION ( US - WAYNE ) | AF Afghanistan |  | 5002108431 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) |  | 5002108458 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) |  | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000413564 P1121M ROBROY INDUSTRIES ( US - GILMER ) | AG Antigua/Barbuda |  | 5002219132 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) |  | 5002219159 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) |  | We are currently at full capacity
|  | POE - Port of Export | 5001818423 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | AI Anguilla |  | 5002264057 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) |  | 5002264084 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) |  | Missing information / not enough information provided
|  |  |  | AB Abu Dhabi |  | 5002371878 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) |  | 5002371928 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) |  | Other
|  |  |  | AL Albania |  | 5002520884 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) |  | 5002520911 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM )
|  |  |  | AM Armenia |  | 5002588831 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) |  | 5002588866 BAAMER ELECTRIC FACTORY ( SA - JEDDAH )
|  |  |  | AN Dutch Antilles |  | 5002588832 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) |  | 5002588867 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM )
|  |  |  | AO Angola |  | 5002588833 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  | 5002588868 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH )
|  |  |  | AQ Antarctica |  | 5002588834 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) |  | 5002588869 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH )
|  |  |  | AR Argentina |  | 5002786338 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  | 5002786365 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam )
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | TRAY; CABLE; BEND; 762.0 MM (30 IN) | TRAY CABLE BEND; 762.0 MM (30 IN) WD;127.0 MM (5 IN) DP;STYLE ELBOW LADDER;914.4 MM (36 IN) RADIUS;INSIDE VERTICAL POSITION;90 DEG;ALUM;NEMA VE-1;SAES-P-104;20.6 MM (13/16 IN) FLANGE | No |  | USD | each | 1000360628 |  |  | 240 |  |  |  | 2022-03-13 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C001-C300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002588831 30005792 BAAMER ELECTRIC FACTORY SANUMBER -5002588832 30006571 FAS ALJAZEERA UNITED FACTORY CO. SANUMBER -5002588833 30007642 FACTORY OF MODERN METAL INDUSTRIES SACONUMBER -5002588834 3000 | MS8314004SHTS050120055019479930000101.pdf
6.2 | TRAY; CABLE; SHAPE; 762.0 MM (30 IN) | TRAY CABLE SHAPE; 762.0 MM (30 IN) WD;127.0 MM (5 IN) DP;889.0 MM (35 IN) RADIUS;HORIZONTAL POSITION;STYLE TEE;ALUM;NEMA VE-1;SAES-P-104;LADDER; BEND | No |  | USD | each | 1000360970 |  |  | 240 |  |  |  | 2022-03-23 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002588866 30005792 BAAMER ELECTRIC FACTORY SANUMBER -5002588867 30006571 FAS ALJAZEERA UNITED FACTORY CO. SANUMBER -5002588868 30007642 FACTORY OF MODERN METAL INDUSTRIES SACONUMBER -5002588869 3000 | MS8314004SHTS050120055019481992000101.pdf
6.3 | POWER SUPPLY UNINTERRUPTIBLE; 2700 WATTS | POWER SUPPLY UNINTERRUPTIBLE; 2700 WATTS / 3000 VA POWER;230 VAC NOMINAL OUTPUT RATING;50/60 HZ;CE; EN 50091-1; EN 50091-2;EFFICIENCY @ FULL LOAD; 95.0%; OUTPUT VOLTAGE DISTORTION; LESS THAN 5% @ FULL LOAD; OUTPUT FREQUENCY; 47 TO 53 HZ FOR 50 HZ NOMINAL / 57 TO 63 HZ FOR 60 HZ NOMINAL; WAVEFORM; SINEWAVE; NOMINAL INPUT VOLTAGE; 230 VAC; INPUT VOLTAGE RANGE FOR MAIN OPERATIONS; 160 TO 286 VAC; INPUT VOLTAGE ADJUSTABLE RANGE FOR MAINS OPERATION; 151 TO 302 VAC; OPERATING ENVIRONMENT; 0 TO 40 DEG. C; STORAGE TEMPERATURE; -15 TO 45 DEG. C SPARE PART FOR; RACK; COMMUNICATIONS; POWER SUPPLY TYPE ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME ELECTRICAL POWER DISTRIBUTION DRAWING NUMBER VA-357450 TAG NUMBER M90-JMT-UPS-001 | No |  | USD | each | 1000984612 |  |  | 2 |  |  |  | 2022-03-15 03:55 | 5002512183 SRT3000XLI SCHNEIDER ELECTRIC PLANTS SAUD ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 1- | AC-A/C 48 D.F - 79 D.F | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002512183 10006203 SCHNEIDER ELECTRIC PLANTS SAUDIA SACOMPANY LIMITEDPART NUMBER SRT3000XLISUPERSEDED NUMBER SUA3000XLI
6.4 | METAL FRAMING PARTS; | CLAMP CONDUIT; 101.6 MM (4 IN) CONDUIT;(2) SLOTS MTG;STRAP DESIGN;PVC COATED STEEL;RIGID CONDUIT;NEMA RN1 (TYPE A-40) & UL;METAL FRAMING PARTS; GALV; HEX HEAD SCREW NUT ATTACHED; PVC 40 MILS THK | No |  | USD | each | 1000427519 |  |  | 40 |  |  |  | 2022-02-24 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001818423 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SACOMPANY LTD. FACTORY5000413562 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SANUMBER 702-45000413563 10019835 UNISTRUT CORPORATION USALLIED SUPPOR
6.5 | KIT; CONNECTION | KIT; CONNECTION TYPE; KITS.COMPONENTS............ CONSISTS OF; DESC QTY 1). GLAND 1 2). GROMMETS 2 3). 150 MM HEAT SHRINK SLEEVES 3 4). 25 MM HEAT SHRINK SLEEVES 1 5). LOCK NUT 1 SPARE PART FOR; HEATER; BRAIDED TYPE;37.5 WATT/METER AT 10 DEG C;120 VAC; 1 PH.; 60 HZ;FLUOROPOLYMER SHEATH;FOR THE TRACE HEATING EQUIPMENT; SIZE OF CONDUCTOR; 1.4 MM(2) COPPER; SELF-REGULATING CONDUCTIVE CORE; FLUOROPOLYMER INSULATION; TINNED COPPER BRAID (RESISTANCE 0.010 OHMS/ METER MAXIMUM) ORIGINAL.EQUIPMENT.REFS... PLANT# U41/U44 PO# AUCI-M98-14-A102/C TAG# U41-D-5-51A/B U44-VALVE-3013A/B JOB ORDER# 81851/A MODEL# 10QTV1-CT ORIGINAL EQUIPMENT REFERENCES; ORDER NUMBER AUCI-M98-14-A102/C TAG NUMBER U41-D-5-51A/B U44-VALVE-3013A/B | No |  | USD | Kit | 1000491670 |  |  | 10 |  |  |  | 2022-03-08 02:55 | 5000581523 C2521 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000581523 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDPART NUMBER C25-21
6.6 | BOOT; CONDUCTOR INSULATING; CABLE | BOOT CONDUCTOR INSULATING; CABLE BREAKOUT TYPE;1 KV SUPPLY;PLASTIC; PAPER OR RUBBER INSULATED TYPE;185-300 MM2 (350-500 MCM) CONDUCTO;4 CONDUCTO;223 MM OA LG;STYLE HEAT SHRINK;CROSS-LINKED MODIFIED POLYOLEFIN;INTERNAL PRE-COATED FINISH;FOR SEALING CROTCH; ADHESIVE FOR MOISTURE AND ENVIRONMENTAL SEAL; RAYCHEM | No |  | USD | each | 1000363710 |  |  | 20 |  |  |  | 2022-05-15 03:55 | 5000291272 502K02653239 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000291272 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDPART NUMBER 502K026-53/239SUPERSEDED NUMBER 502K026-53/42
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf