## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5002576360 N13G2 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000365983 CNL406A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386253 611101C10AWGU0YL5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385724 611101C12AWGU0WT5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382033 761403C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385419 61A601C12AWGU0GN500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5000389954 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub |  | 5001304028 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386254 GENERAL CABLE ( US - YORK ) | 5000385726 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382034 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000385521 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AF Afghanistan | 5000389955 711101C00400U0WT1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation |  | 5001327908 DA6LA04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386255 THE OKONITE COMPANY ( US - HOUSTON ) | 5000385727 23012232 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001274383 DA7LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000385522 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AG Antigua/Barbuda | 5000389956 SAUDI CABLE COMPANY ( SA - JEDDAH ) | We are currently at full capacity
|  | POE - Port of Export |  | 5001893572 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386257 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000385728 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893724 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000385523 THE OKONITE COMPANY ( US - HOUSTON ) | AI Anguilla | 5001277356 DA6DU01WG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | Missing information / not enough information provided
|  |  |  | 5002143823 C212XA1040WMBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001429824 DW3WU01Y JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000385830 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002143913 C213XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000385525 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | AB Abu Dhabi | 5001775641 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | Other
|  |  |  | 5002157795 14530302 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001437360 0D06551006 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001429820 DW2WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002157868 14515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001429793 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AL Albania | 5002158094 12173150 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  |  | 5002332531 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001775609 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001437356 0D06551210 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002332605 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001437353 0D06551204 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | AM Armenia | 5002700294 SAUDI MODERN COMPANY FOR ( SA - RIYADH )
[5 empty] | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001775605 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001775602 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AN Dutch Antilles
[5 empty] | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer | Description
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer | Item or lot description
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf
2.4 | note |  |  | Agreeing participate with partial order otherwise don't participate

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2022-04-10 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS & Note.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | BCC Quotation 10188656 (1).pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | SOCKET ELECTRICAL; POWER; 13A |  | SOCKET ELECTRICAL; POWER TYPE;13A;SIZE; 7 X 14 2 GANG BLE POLE S USB SOLUTIONS SPARE PART FOR; PANEL CONTROL; INTERPOSING RELAY TYPE;120 VAC / 24 VDC AUXILIARY SUPPLY;FREE STANDING / FLOOR MOUNTED MTG;NEMA 1 (INDOOR) ENCLOSUR;DIMENSION; 2200 MM HT X 1600 MM WD X 400 MM DP; FINISH; ANSI 61 (LIGHT GREY) COLOR ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME ALFANAR ELECTRICAL SYSTEMS MODEL NUMBER ALFANAR-IRA SERIAL NUMBER SAWO15024;16;J20-020-IRP-001;0 DRAWING NUMBER AED-SA-15024-J20-SCH-004 AED-SA-15024-J20-SCH-006 AED-SA-15024-J20-SCH-008 TAG NUMBER J20-020-IRP-001 J20-020-IRP-002 J20-020-IRP-003 J20-020-IRP-004 J20-020-IRP-005 J20-020-IRP-006 | No | We don't supply at the requested quantity | SAR | each | 1001007408 |  |  | 27 |  |  |  | 2022-05-24 03:55 | 5002576360 N13G2 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 36- | WH-Warehouse (Non-A/C) | K003-C300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002576360 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYPART NUMBER N13-G2
6.2 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;4 MM2 CONDUCTO;0.6/1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 4 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000412525 |  | 11.31 | 350 | N/A | 70 |  | 2022-05-22 03:55 | 5002157795 14530302 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Quoted as per our minimum order quantity(2000M) |  | <Strong>Manufacturer Part Number Text :</Strong>5001893572 10037887 EGYTECH CABLES EL SEWEDY EG5002332531 10046468 ELSEWEDY CABLES COMPANY SA5001304028 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000365983 10013724 SAUDI CABLE CO
6.3 | WIRE; ELEC; 10 AWG; 1 CONDUCTOR; |  | WIRE ELECTRICAL; 10 AWG CONDUCTO;1 CONDUCTO;YELLOW;600 V SUPPLY;THHN-THWN WIRE;3.81 MM (0.150 IN) OD;55.1 KG/KM (37 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418984 |  | 0.75 | 3,000 | N/A | 70 |  | 2022-05-17 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | 11111245 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT | Quoted as per our minimum order quantity(50 Spool) 25,000 Feet |  | <Strong>Manufacturer Part Number Text :</Strong>5000386254 10016868 GENERAL CABLE US5000386255 10020512 THE OKONITE COMPANY US5000386257 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775609 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMP
6.4 | CABLE; 1KV XLPE/PVC 3/C 6MM2 (10 AWG) PV |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;15.8 MM (0.622 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFAC TURE MARKINGS;350 KG/KM (235 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0276 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417760 |  | 10.61 | 100 | N/A | 70 |  | 2022-05-25 03:55 | 5002157868 14515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT | Quoted as per our minimum order quantity(2000M) |  | <Strong>Manufacturer Part Number Text :</Strong>5000382034 10013724 SAUDI CABLE COMPANY SA5001893724 10037887 EGYTECH CABLES EL SEWEDY EG5002332605 10046468 ELSEWEDY CABLES COMPANY SA5000382033 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFER
6.5 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419217 |  | 0.78 | 5,500 | N/A | 70 |  | 2022-05-25 03:55 | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387653 10016871 GENERAL CABLE USBICC GENERAL5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775625 10012569 ALFANAR ELECTRICAL
6.6 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419212 |  | 0.78 | 1,500 | N/A | 70 |  | 2022-05-24 03:55 | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Quoted as per our minimum order quantity(50 Spool) 25,000 Feet |  | <Strong>Manufacturer Part Number Text :</Strong>5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387555 10016871 GENERAL CABLE USBICC GENERAL5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000387556 100168
6.7 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419217 |  | 0.78 | 1,500 | N/A | 70 |  | 2022-05-24 03:55 | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387653 10016871 GENERAL CABLE USBICC GENERAL5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775625 10012569 ALFANAR ELECTRICAL
6.8 | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUC |  | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;WHITE;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;47 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419734 |  | 1.62 | 956 | N/A | 70 |  | 2022-05-23 03:55 | 5002158094 12173150 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389954 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000389956 10013724 SAUDI CABLE COMPANY SA5002700294 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001775641 10012569 ALFAN
6.9 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418910 |  | 0.48 | 4,500 | N/A | 70 |  | 2022-05-24 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | 11151235 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Quoted as per our minimum order quantity(50 Spool) 25,000 Feet. |  | <Strong>Manufacturer Part Number Text :</Strong>5000385521 10016871 GENERAL CABLE USBICC GENERAL5000385523 10020512 THE OKONITE COMPANY US5000385525 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775602 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.10 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULL PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418919 |  | 0.48 | 5,000 | N/A | 70 |  | 2022-05-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | 11171235 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Quoted as per our minimum order quantity(50 Spool) 25,000 Feet. |  | <Strong>Manufacturer Part Number Text :</Strong>5000385726 10016871 GENERAL CABLE USBICC GENERAL5000385728 10020512 THE OKONITE COMPANY US5000385830 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775605 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value