## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000374014 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5000389516 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000381526 761402C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002643302 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | AE Utd.Arab Emir. | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002613069 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000380900 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000388525 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000365539 92100IC03500U08 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385940 611101C10AWGU0BK5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001363179 M. P. HUSKY ( US - GREENVILLE ) | 5002644937 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000320040 MWTM50161000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000377433 761403C04AWGU0BK700 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000388215 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001363014 M. P. HUSKY ( US - GREENVILLE ) | 5000385832 611101C12AWGU0YL5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002640377 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000386165 611101C10AWGU0WT5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000319938 MWTM2581000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000377320 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5001599004 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000389517 711101C00250U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000381527 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002643305 M. P. HUSKY ( US - GREENVILLE ) | AF Afghanistan | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000380901 761401C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000388526 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000365640 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000385943 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002108617 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002644940 M. P. HUSKY ( US - GREENVILLE ) |  | 5000377434 ** NEXANS HELLAS S.A. ( GR - ATHENS ) | 5000388216 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002108453 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5000385834 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002640380 M. P. HUSKY ( US - GREENVILLE ) | 5000386167 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000377321 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5000389518 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381528 THE OKONITE COMPANY ( US - HOUSTON ) | 5002643307 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | AG Antigua/Barbuda | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000380902 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000388527 25002 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001277327 DB2ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000385944 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002219278 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5002644942 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) |  | 5000377435 GENERAL CABLE ( US - MARION ) | 5000388217 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002219154 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000385835 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002640382 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000386168 23010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | We are currently at full capacity
|  | POE - Port of Export | 5001427180 DA6LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5000389519 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277336 DA5LU02BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002643308 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | AI Anguilla | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5000380903 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388528 M2817 MANHATTAN-CDT ( US - HOUSTON ) | 5001893562 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000385946 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | 5002264209 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002644943 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) |  | 5000377437 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388218 M2816 MANHATTAN-CDT ( US - HOUSTON ) | 5002264079 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5000385836 THE OKONITE COMPANY ( US - HOUSTON ) | 5002640383 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5000386169 THE OKONITE COMPANY ( US - HOUSTON ) |  | Missing information / not enough information provided
|  |  | 5001437334 0102R10306 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5001301519 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001893712 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002643310 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | AB Abu Dhabi | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5001893700 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000388529 THE OKONITE COMPANY ( US - HOUSTON ) | 5002612713 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000385948 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002338165 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002644945 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) |  | 5001429763 DB1LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000388219 116671254 THE OKONITE COMPANY ( US - HOUSTON ) | 5002371920 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000385838 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002640385 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5000386251 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | Other
|  |  | 5001893657 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5001775634 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002143858 C210XA10200SBK01IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002643311 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | AL Albania | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5002157846 14015010 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000388640 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5001429822 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002521067 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002644946 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) |  | 5001437336 0102R10310 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000388320 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002520906 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5001429821 DW2WU01Y JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002640386 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5001429823 DW3WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH )
|  |  | 5002243981 GENERAL CABLE ( US - MARION ) |  | 5002158087 12153140 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157857 14515103 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002643312 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | AM Armenia | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002332585 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002612725 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001437358 0D06551003 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002589066 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002644947 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) |  | 5001893660 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002359639 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002786360 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5001437357 0D06551206 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002640387 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5001437359 0D06551010 SAUDI MODERN COMPANY FOR ( SA - RIYADH )
|  |  | 5002332554 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  |  |  | 5002643313 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | AN Dutch Antilles | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  |  |  | 5001775607 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002589067 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002644948 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) |  |  |  |  | 5001775606 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002640388 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5001775608 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
[7 empty] | 5002643314 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | AO Angola | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002589068 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002644949 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | [5 empty] | 5002640389 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH )
[7 empty] | 5002643315 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) | AQ Antarctica | [7 empty] | 5002589069 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) | 5002644950 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) | [5 empty] | 5002640390 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH )
[7 empty] | 5002786778 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | AR Argentina | [7 empty] | 5002786798 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5002786994 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | [5 empty] | 5002786582 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam )
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2022-04-28 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS with Note.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | BCC Quotation 10190074.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | TRAY; CABLE; STRAIGHT; 127.0 MM (5 |  | TRAY CABLE STRAIGHT; 127.0 MM (5 IN) DP;STYLE EXPANSION CONNECTOR LADDER;ALUM;NEMA VE-1;SAES-P-104;CABLE TRAY COMPONENTS; PAIRS; WITH SS HARDWARES | No | We don't carry a compatible part/material | SAR | each | 1000383742 |  |  | 2,508 |  |  |  | 2022-03-22 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002644937 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002644942 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-EXCN-555002644943 30005404 BRANCH OF EATON INDUST | SAESP1045019492835000101.pdf
6.2 | TRAY; CABLE; SHAPE; 152.4 MM (6 IN) |  | TRAY CABLE SHAPE; 152.4 MM (6 IN) WD;127.0 MM (5 IN) (LOAD) DP;889.0 MM (35 IN) RADIUS;HORIZONTAL POSITION;STYLE TEE;ALUM;NEMA VE-1;SAES-P-104;LADDER; BEND | No | We don't carry a compatible part/material | SAR | each | 1000360931 |  |  | 20 |  |  |  | 2022-02-24 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A014-C350 TURAIF WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002370679 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SACOMPANY LTD. FACTORY5002370680 10042327 MP HUSKY LLC US5002370681 10043654 THOMAS AND BETTS SAUDI ARABIA SA5002786360 30008964 ADHWA AL-RAWAFID EL | MS8314004SHTS050120055019501260000101.pdf
6.3 | CABLE TRAY COVER; 18"WIDE;12FT LG;1 1/4F |  | COVER CABLE TRAY; 457.2 MM (18 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;31.8 MM (1-1/4 IN) FLANGE; LADDER | No | We don't carry a compatible part/material | SAR | each | 1000371858 |  |  | 40 |  |  |  | 2022-02-24 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831404 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A014-C350 TURAIF WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002643302 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002643307 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-ST-CVL-DA33-A5002643308 30005404 BRANCH OF EATON | SAESP1045019501261000101.pdf
6.4 | TRAY; CABLE; STRAIGHT; 3.66 M (12 FT) |  | TRAY CABLE STRAIGHT; 3.66 M (12 FT) LG;127.0 MM (5 IN) DP;152.4 MM (6 IN) WD;STYLE LADDER;ALUM;NEMA VE-1;SAES-P-104;228.6 MM (9 IN) RUNG SPACING; 13/16 IN FLANGE | No | We don't carry a compatible part/material | SAR | each | 1000375565 |  |  | 20 |  |  |  | 2022-02-24 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831404 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A014-C350 TURAIF WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002589066 30005792 BAAMER ELECTRIC FACTORY SANUMBER -5002589067 30006571 FAS ALJAZEERA UNITED FACTORY CO. SANUMBER -5002589068 30007642 FACTORY OF MODERN METAL INDUSTRIES SACONUMBER -5002589069 3000 | MS831404112420085019501264000101.pdf
6.5 | COVER; CABLE TRAY; 304.8 MM (12 IN) |  | COVER CABLE TRAY; 304.8 MM (12 IN) WD;STYLE FLAT; LOUVERED;ALUM;HORIZONTAL;90 DEG DESIGN;20 GAUGE; 1 MM THK;NEMA VE-1;SAES-P-104;20.6 MM (13/16 IN) FLANGE; LADDER; 914.4 MM (36 IN) RADIUS | No | We don't carry a compatible part/material | SAR | each | 1000369370 |  |  | 20 |  |  |  | 2022-02-28 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002640377 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640382 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-HE-CVL-CE1990-A5002640383 30005404 BRANCH OF EATO | SAESP1045019505632000101.pdf
6.6 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419217 |  | 0.78 | 12,500 | N/A | 70 |  | 2022-07-10 03:55 | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387653 10016871 GENERAL CABLE USBICC GENERAL5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775625 10012569 ALFANAR ELECTRICAL
6.7 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419212 |  | 0.78 | 7,500 | N/A | 70 |  | 2022-07-10 03:55 | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387555 10016871 GENERAL CABLE USBICC GENERAL5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000387556 100168
6.8 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.81 MM (0.150 IN) OD;55.1 KG/KM (37 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | We don't carry a compatible part/material | SAR | Feet | 1000418981 |  | 0 | 5,000 |  |  |  | 2022-05-17 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386167 10016871 GENERAL CABLE USBICC GENERAL5000386169 10020512 THE OKONITE COMPANY US5000386251 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775608 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.9 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;2 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;165 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC 228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417609 |  | 5.48 | 1,000 | N/A | 70 |  | 2022-05-17 03:55 | 5002157857 14515103 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | A014-C350 TURAIF WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381527 10013724 SAUDI CABLE COMPANY SA5000381528 10020512 THE OKONITE COMPANY US5001893712 10037887 EGYTECH CABLES EL SEWEDY EG5000381526 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE
6.10 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;2 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;165 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC 228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417609 |  | 5.48 | 100 | N/A | 70 |  | 2022-05-17 03:55 | 5002157857 14515103 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | B013-C532 B013-C532 | 04 BOAT | Quoted as per our minimum order quantity(1000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5000381527 10013724 SAUDI CABLE COMPANY SA5000381528 10020512 THE OKONITE COMPANY US5001893712 10037887 EGYTECH CABLES EL SEWEDY EG5000381526 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE
6.11 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.81 MM (0.150 IN) OD;55.1 KG/KM (37 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | We don't carry a compatible part/material | SAR | Feet | 1000418962 |  |  | 5,000 |  |  |  | 2022-05-17 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385943 10016871 GENERAL CABLE USBICC GENERAL5000385946 10020512 THE OKONITE COMPANY US5000385948 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775607 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.12 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;YELLOW;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | We don't carry a compatible part/material | SAR | Feet | 1000418961 |  |  | 3,500 |  |  |  | 2022-05-15 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385834 10016871 GENERAL CABLE USBICC GENERAL5000385836 10020512 THE OKONITE COMPANY US5000385838 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775606 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.13 | WIRE; BUILDING; 450-750V; |  | WIRE ELECTRICAL; 2.5 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;3.5 MM OD;30.1 KG/KM LG;TR 85 DEG C MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419598 |  | 1.11 | 276 | N/A | 70 |  | 2022-05-17 03:55 | 5002158087 12153140 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389516 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000389518 10013724 SAUDI CABLE COMPANY SA5000389519 10020512 THE OKONITE COMPANY US5001775634 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.14 | CABLE; GROUNDING; 35 SQ MM; 7 S |  | CABLE; GROUNDING TYPE;35 SQ MM DIA;7 STRANDS;BARE COPPER;IEC 228;1 CONDUCTOR; SOFT-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED; 7.4 MM (0.2900 IN) 0D; 301 KG/KM | Yes |  | SAR | Meter | 1000412305 |  | 12.95 | 500 | N/A | 70 |  | 2022-04-05 03:55 | 5002612713 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Quoted as per our minimum order quantity.(1000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5001893562 10037887 EGYTECH CABLES EL SEWEDY EG5000365640 10013724 SAUDI CABLE COMPANY SA5002612713 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -5000365539 10013206 MIDDLE EAST SPECIALIZ
6.15 | CABLE; POWER AND CONTROL; 600V; |  | CORD ELECTRICAL; 3 CONDUCTO;21.15 SQ MM (4 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;22.7 MM (0.894 IN) OD;PVC JACKET;PVC INSUL;TR 90 DEG C DRY; 75 DEG C WET;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; AERIAL;UL-1569;MOISTURE; HEAT; OIL; GASOLINE; ACID ALKALI AND SUNLIGHT RESISTANTFLAME RETARDANT; REEL MARKED WITH; ARAMCO PURCHASE ORDER STOCK NUMBER SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARDS 44 AND 1277; UL OR EQUIVALENT APROVED LABELED OR LISTED REQUIRED; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL 1569; INSULATION THICKNESS; 1.52 MM (0.060 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; CLASS B; INSULATION MATERIAL SPEC; ICEA S-66-524; PACKAGING; CARTON OR FULLY PROTECTED REEL | No | We don't carry a compatible part/material | SAR | Feet | 1000416541 |  |  | 300 |  |  |  | 2022-04-05 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000377434 10003546 ** NEXANS HELLAS S.A. GR5000377435 10016865 GENERAL CABLE USBICC CABLES CORPORATION5000377437 10020512 THE OKONITE COMPANY US5001893660 10037887 EGYTECH CABLES EL SEWEDY EG500037743
6.16 | CORD; ELECTRICAL; 3 CONDUCTOR; 3.31 |  | CORD ELECTRICAL; 3 CONDUCTO;3.31 SQ MM (12 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;9.9 MM (0.390 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;164 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;UL-1569;CLASS B; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; INSULATION THICKNESS; 0.80 MM(0.0315 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; INSULATION MATERIAL SPEC; ICEA S-66-524; PACKAGING; CARTON OR FULLY PROTECTED REEL | No | We don't carry a compatible part/material | SAR | Feet | 1000416479 |  |  | 2,000 |  |  |  | 2022-05-18 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000377320 10017431 ROME CABLE CORPORATION US5000377321 10020512 THE OKONITE COMPANY US5001893657 10037887 EGYTECH CABLES EL SEWEDY EG5002332554 10046468 ELSEWEDY CABLES COMPANY SA5002243981 10016865 GE
6.17 | CABLE; ELECTRICAL; MEDIUM VOLTAGE |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;8.9 MM (0.3503 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;146 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC-228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;PVC INSUL;COPPER CONDUCTO;15-SAMSS-502; IEC 502; UL;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417459 |  | 7.33 | 150 | N/A | 70 |  | 2022-04-06 03:55 | 5002157846 14015010 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | A004-C321 JUAYMAH B-107; J. STORES | 04 BOAT | Quoted as per our minimum order quantity(2000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5000380900 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000380902 10013724 SAUDI CABLE COMPANY SA5000380903 10020512 THE OKONITE COMPANY US5001893700 10037887 EGYTECH CABLES EL SEWEDY EG5002332585 | 15SAMSS502052020205019527954000101.pdf
6.18 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;233.6 KG/KM (157 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL OR CARTON TO BE TAGGED OR MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419341 |  |  | 280 |  |  |  | 2022-05-17 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388216 10016871 GENERAL CABLE USBICC GENERAL5000388320 10021675 SOUTHWIRE COMPANY INCORPORATED US5000388215 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002359639 10013206 MIDDL
6.19 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; RHH/RHW/USE TYPE;7 STRANDS CONDUCTO;POWER TYPE;21.15 SQ MM (4 AWG) CONDUCTO;600 V SUPPLY;1 CONDUCTO;5.9 MM (0.232 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;HEAVY DUTY NEOPRENE OR CHLOROSULFONATED POLYETHYLENE JACKET;1.20 MM (0.0472 IN) INSUL TH;ASTM B8; CLASS B;FOR DIRECT BURIAL; CONDUIT; DUCT;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C DRY; 75 DEG C WET;EPR OR XLPE INSUL;COPPER CONDUCTO;UL-44; UL-854;MOISTURE HEAT AND SUNLIGHT RESISTANT; FLAME RETARDANT; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS TYPE OF INSULATION; VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD 44 AND 854; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | We don't carry a compatible part/material | SAR | Feet | 1000415531 |  |  | 1,453 |  |  |  | 2022-05-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000374014 10017431 ROME CABLE CORPORATION US5001599004 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )
6.20 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 33.63 MM2 (2 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;9.91 MM (0.390 IN) OD;357.2 KG/KM (240 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | No | We don't supply at the requested quantity | SAR | Feet | 1000419470 |  |  | 1,000 |  |  |  | 2022-05-17 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388525 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000388526 10016871 GENERAL CABLE USBICC GENERAL5000388640 10021675 SOUTHWIRE COMPANY INCORPORATED US5000388529 10020512 THE OKONITE COMPANY
6.21 | TUBING; HEAT SHRINK; 17.5-45 MM DIA. |  | TUBING SHRINK; HEAT TYPE;17.5-45 MM DIA RANG;1000 MM LG;1000 V MAXIMUM SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SLEEVE;ADHESIVE INTERNAL COATING; MOISTURE PROOF & WATER RESISTANT | No | We don't carry a compatible part/material | SAR | piece | 1000381327 |  |  | 160 |  |  |  | 2022-05-15 03:55 | 5000320040 MWTM50161000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000320040 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDPART NUMBER MWTM-50/16-1000/SSUPERSEDED NUMBER MWTM-50/16-1000/172
6.22 | SLEEVE; HEAT SHRINK; |  | TUBING SHRINK; HEAT TYPE;9-22.5 MM DIA RANG;1000 MM LG;1000 V MAXIMUM SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SLEEVE;ADHESIVE INTERNAL COATING; MOISTURE PROOF & WATER RESISTANT | No | We don't carry a compatible part/material | SAR | piece | 1000381320 |  |  | 60 |  |  |  | 2022-02-28 02:55 | 5000319938 MWTM2581000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000319938 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDPART NUMBER MWTM-25/8-1000/SSUPERSEDED NUMBER MWTM-25/8-1000/172
6.23 | CABLE; ELECTRICAL; LOW VOLTAGE; 1000 V |  | CABLE ELECTRICAL LOW VOLTAGE; SOLID STRAND CONDUCTO;120 SQ MM CONDUCTO;1000 V SUPPLY;3 CONDUCTO;BLACK;PVC JACKET;REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;DOUBLE GALVANIZED STEEL ARMOR;IEC 60502-1;COLOR CODED (R;Y;B); OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT TO IEC 60332-3 REEL MARKED WITH ARAMCO PURCHASE ORDER NUMBER; SHIPPING LENGTH NUMBER AND SIZE OF CONDUCTORS; THICKNESS ON INSULATION; VOLTAGE RATING. MANUFACTURING; TESTING AND MARKING OF CABLE TO CONFORM TO IEC AND OTHER REQUIREMENTS INDICATED IN THE LINE ITEM DESCRIPTION. TEST AND INSPECTION REQUIREMENTS AS PER A-175 SPECIAL-1. | Yes |  | SAR | Feet | 1000832836 |  | 46.97 | 850 | N/A | 70 |  | 2022-05-17 03:55 | 5002613069 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A014-C350 TURAIF WAREHOUSE | 04 BOAT | Quoted as per our minimum order quantity(850m) 2,788.71 Feet |  | <Strong>Manufacturer Part Number Text :</Strong>5002613069 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL27: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf