## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5002413666 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001122018 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002554944 01PT2HXFOSSWYU SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002321309 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5002319713 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001560863 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5002647941 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001122050 BELDEN WIRE AND CABLE ( US - RICHMOND ) | 5002700721 0224-01P16AWG-W0BK7-03 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002486397 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AF Afghanistan | 5002319714 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001561031 THE OKONITE COMPANY ( US - ASHTON ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5002647943 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | 5001122066 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) |  | 5002647379 BELDEN WIRE AND CABLE ( US - RICHMOND ) | AG Antigua/Barbuda | 5002319716 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | 5002338612 BELDEN WIRE AND CABLE ( US - RICHMOND ) | We are currently at full capacity
|  | POE - Port of Export | 5002647944 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) | 5001122092 THE OKONITE COMPANY ( US - ASHTON ) |  | 5002647380 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | AI Anguilla | 5002319717 THE OKONITE COMPANY ( US - ASHTON ) | 5002486384 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Missing information / not enough information provided
|  |  | 5002647945 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) | 5002327243 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) |  | 5002647382 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) | AB Abu Dhabi | 5002319719 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) | 5002647350 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | Other
|  |  | 5002647946 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE ) | 5002486371 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | 5002651514 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) | AL Albania | 5002327247 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN ) | 5002647351 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK )
|  |  |  | 5002647313 TE WIRE AND CABLE COMPANY ( US - SADDLE BROOK ) |  | 5002651515 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE ) | AM Armenia | 5002338616 BELDEN WIRE AND CABLE ( US - RICHMOND ) | 5002647352 OKAZAKI MANUFACTURING COMPANY ( JP - KOBE-SHI, HYOGO-KEN )
|  |  |  | 5002647314 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE ) |  |  | AN Dutch Antilles |  | 5002647353 BELDEN HIRSCHMANN INDUSTRIES ( CN - KUNSHAN CITY, JIANGSU PROVINCE )
AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2022-04-15 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Comply with Saudi Aramco packing, labeling and marking requirements

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDs with Note.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | BCC Quotation 10189063.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | CABLE ELECTRICAL LOW VOLTAGE; INSTRUMENT |  | CABLE ELECTRICAL LOW VOLTAGE; INSTRUMENTATION TYPE;16 AWG CONDUCTO;300 V SUPPLY;1 PAIR CONDUCTO;0.66 MM INSUL TH;ALUMINUM / POLYESTER LAMINATED TAPE WITH 25% MINIMUM OVERLAP SHIELDIN;TR 90 C;XLPE INSUL;TINNED ANNEALED HIGH QUALITY STRANDED COPPER CONDUCTOR ASTM B33 CONDUCTO;GALVANIZED ROUND STEEL WIRE. ARMOR;34-SAMSS-913;TWISTED TRIADS; OVERALL SHIELD; POLYESTER TAPE WRAPPING; 18 AWG DRAIN WIRE; PVC FLAME RETARDANT INNER SHEATH MATERIAL; BLACK COLOR; 1.02 MM SHEATH THICKNESS; SUITABLE FOR CABLE TRAY OR DIRECT BURIAL IN DRY OR WET LOCATION; ARMOURED; OVERALL CABLE DIAMETER 13 MM. | Yes |  | SAR | Feet | 1001000874 |  | 1.52 | 500 | N/A | 98 |  | 2022-04-20 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRA ADVANCED CABLES MANUFACTURE |  | 90006501 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 36- | WH-Warehouse (Non-A/C) | C004-C104 YANBU STORES | 04 BOAT | quoted as per our minimum order quantity. |  | <Strong>Manufacturer Part Number Text :</Strong>5002700721 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 0224-01P16AWG-W0BK7-03SUPERSEDED NUMBER 021Z-01P16AWG-W0BK8-PL022X-01P16AWG-W0BK7-PL5002554944 10013724 SAUDI CABLE COMPANY SAI | 34SAMSS913072620205019562524000101.pdf
6.2 | CABLE; ELECTRICAL; LOW VOLTAGE; CONTROL |  | CABLE ELECTRICAL LOW VOLTAGE; CONTROL TYPE;TWISTED PAIR CONDUCTO;INSTRUMENTATION TYPE;18 AWG CONDUCTO;300 V SUPPLY;7 STRANDS CONDUCTO;ORANGE;PVC JACKET;0.38 MM INSUL TH;ASTM B33;ALUM-MYLAR SHIELDIN;FOR DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;TINNED COPPER CONDUCTO;34-SAMSS-913;FOUNDATION FIELDBUS( FF-H1); CABLE GROUP 2 | Yes |  | SAR | Meter | 1000828568 |  | 2.48 | 300 | N/A | 98 |  | 2022-04-21 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRA ADVANCED CABLES MANUFACTURE |  | 99000700 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | B01A-C531 SHEDGUM B-3013; STORES UNIT | 04 BOAT | quoted as per our minimum order quantity. |  | <Strong>Manufacturer Part Number Text :</Strong>5002647379 30001526 BELDEN WIRE AND CABLE USNUMBER -5002647380 30001824 DEKORON WIRE AND CABLE USNUMBER -5002647382 30006564 OKAZAKI MANUFACTURING COMPANY JPMAIN MANUFACTURING FACTORYNUMBER -50026491 | 34SAMSS913072620205019579254000101.pdf
6.3 | CABLE; 300V PLTC 1/PR 16 AWG (1.31MM2) O |  | CABLE ELECTRICAL LOW VOLTAGE; PLTC TYPE;7 STRANDS CONDUCTO;INSTRUMENTATION TYPE;1.31 SQ MM (16 AWG) CONDUCTO;300 V SUPPLY;2 (1 PAIR) CONDUCTO;6.1 MM (0.240 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME MARKINGS;60 KG/KM (40 LBS PER 1000 FT) LG;PVC JACKET;NEC-725;0.38 MM (0.015 IN) INSUL TH;ASTM B8; CLASS B;ALUM MYLAR TAPE SHIELDIN;FOR CABLE TRAY; CONDUIT; DUCT; AERIAL;NEC 725;NEC 725;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C DRY; 75 DEG C WET;XLPE OR PVC INSUL;COPPER CONDUCTO;34-SAMSS-913;SHIELDED; TWISTED; WITH BOLT TEX; COPPER DRAIN WIRE; FLAME AND SUNLIGHT RESISTANT; 0.15 MM (0.020 IN) OUTER JACKET THICKNESS; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO 34-SAMSS-913; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000420382 |  | 0.89 | 1,000 | N/A | 98 |  | 2022-04-21 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRA ADVANCED CABLES MANUFACTURE |  | 90006351 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | quoted as per our minimum order quantity. |  | <Strong>Manufacturer Part Number Text :</Strong>5001122066 30001824 DEKORON WIRE AND CABLE USNUMBER -5001122018 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SALIMITEDPART NUMBER 0224-01P16AWG-U0BK7-03SUPERSEDED NUMBER 021X-01P16AWG-U0BK7-PL021Z-01P1 | 34SAMSS913072620205019580952000101.pdf
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; PVC |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;STRANDED COPPER CONDUCTO;INSTRUMENTATION TYPE;16 AWG CONDUCTO;600 V SUPPLY;6 TRIAD; TWESTED CONDUCTO;24.1 MM CABLE OD;BLACK;PVC JACKET;UL 1277;0.64 MM INSUL TH;FOR DIRECT BURIAL;XLPE;COPPER CONDUCTO;34-SAMSS-913;INDIVIDUAL & OVERALL; SHIELDED; ACID ALKALINE MOISTURE FLAME AND SUNLIGHT RESISTANT | Yes |  | SAR | Meter | 1000807440 |  | 21.17 | 1,500 | N/A | 98 |  | 2022-04-21 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRA ADVANCED CABLES MANUFACTURE |  | 90118256 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | B01A-C531 SHEDGUM B-3013; STORES UNIT | 04 BOAT | quoted as per our minimum order quantity. |  | <Strong>Manufacturer Part Number Text :</Strong>5002327247 30006564 OKAZAKI MANUFACTURING COMPANY JPMAIN MANUFACTURING FACTORY5002319713 30000660 MIDDLE EAST SPECIALIZED CABLES CO. SALIMITEDITEM NUMBER 14PART NUMBER 0424-06T16AWG-U0BK8-6HSUPERSEDED | 34SAMSS913072620205019581414000101.pdf
6.5 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; PVC |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;STRANDED COPPER CONDUCTO;INSTRUMENTATION TYPE;16 AWG (1.5 SQ MM) CONDUCTO;600 V SUPPLY;3 PAIRS; TWISTED CONDUCTO;15.5 MM CABLE OD;BLACK;PVC JACKET;UL1277;0.64 MM INSUL TH;FOR DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;COPPER CONDUCTO;34-SAMSS-913;INDIVIDUAL & OVERALL SHIELDED ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT DRAIN WIRE EXTRUDED OVER CONDUCTOR ASSEMBLY JACKET BLACK & WHITE TINNED COPPER | Yes |  | SAR | Meter | 1000708619 |  | 9.18 | 100 | N/A | 98 |  | 2022-05-02 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRA ADVANCE CABLES MANUFACTURE |  | 90103253 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A015-C532 UTHMANIYAH MAIN WAREHOUSE | 04 BOAT | Quoted as per our minimum order quantity. |  | <Strong>Manufacturer Part Number Text :</Strong>5002647943 30001824 DEKORON WIRE AND CABLE USNUMBER -5002647944 30003774 TE WIRE AND CABLE COMPANY USNUMBER -5002647945 30006564 OKAZAKI MANUFACTURING COMPANY JPMAIN MANUFACTURING FACTORYNUMBER -5002 | 34SAMSS913072620205019598736000101.pdf
6.6 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; PVC |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;STRANDED COPPER CONDUCTO;INSTRUMENTATION TYPE;16 AWG (1.5 SQ MM) CONDUCTO;600 V SUPPLY;2 PAIRS; TWISTED CONDUCTO;13.0 MM CABLE OD;BLACK;PVC JACKET;UL1277;0.64 MM INSUL TH;FOR DIRECT BURIAL;TR 90 DEG C DRY & 75 DEG C WET;XLPE INSUL;COPPER CONDUCTO;34-SAMSS-913;OVERALL SHIELDED WHITE MOISTURE; FLAME AND D; ALKALI; SUNLIGHT RESISTANT TINNED COPPER DRAIN WIRE EXTRUDED OVER CONDUCTOR ASSEMBLY JACKET CK & H | Yes |  | SAR | Meter | 1000708613 |  | 5.95 | 100 | N/A | 98 |  | 2022-05-03 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRA ADVANCED CABLES MANUFACTURE |  | 90103202 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A015-C532 UTHMANIYAH MAIN WAREHOUSE | 04 BOAT | Quoted as per our minimum order quantity. |  | <Strong>Manufacturer Part Number Text :</Strong>5002647350 30001824 DEKORON WIRE AND CABLE USNUMBER -5002647351 30003774 TE WIRE AND CABLE COMPANY USNUMBER -5002647352 30006564 OKAZAKI MANUFACTURING COMPANY JPMAIN MANUFACTURING FACTORYNUMBER -5002 | 34SAMSS913072620205019599980000101.pdf
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value