## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386467 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387338 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385724 611101C12AWGU0WT5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002640212 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002743697 1040103022703 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000368582 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000365536 92100IC02500U08 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382915 761404C07000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002640332 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000387110 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385635 61A601C12AWGU0RD500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002640197 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000387658 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387332 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002640632 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000382502 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | AE Utd.Arab Emir. | 5000411764 A1202C ABAHSAIN-COPE SAUDI ARABIA CO ( SA - DHAHRAN ) | 5000386374 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386253 611101C10AWGU0YL5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002640407 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000390590 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000390061 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002216975 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386469 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387430 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385726 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002640215 M. P. HUSKY ( US - GREENVILLE ) |  | 5000368584 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000365537 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382916 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002640335 M. P. HUSKY ( US - GREENVILLE ) | 5000387112 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385637 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002640200 M. P. HUSKY ( US - GREENVILLE ) | 5000387761 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387334 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002640635 M. P. HUSKY ( US - GREENVILLE ) | 5000382503 761404C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AF Afghanistan | 5000411765 A1202C AMERICAN ELECTRIC ( US - SPARKS ) | 5000386376 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386254 GENERAL CABLE ( US - YORK ) | 5002640410 M. P. HUSKY ( US - GREENVILLE ) | 5000390591 711101C03500U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000390062 711101C00600U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002367780 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386580 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387431 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385727 23012232 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002640217 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) |  | 5000368585 RS COMPONENTS LTD ( GB - CORBY ) | 5001277326 DB1ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382917 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002640337 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000387113 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385638 23012332 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002640202 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000387762 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387335 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002640637 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000382504 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AG Antigua/Barbuda | 5000411766 P1001C UNISTRUT CORPORATION ( US - WAYNE ) | 5000386377 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386255 THE OKONITE COMPANY ( US - HOUSTON ) | 5002640412 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000390592 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000390063 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002367781 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We are currently at full capacity
|  | POE - Port of Export | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386581 116671074 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387432 116671103 THE OKONITE COMPANY ( US - HOUSTON ) | 5000385728 THE OKONITE COMPANY ( US - HOUSTON ) | 5002640218 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) |  | 5001303955 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001755889 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000382918 THE OKONITE COMPANY ( US - HOUSTON ) | 5002640338 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5000387114 116671106 THE OKONITE COMPANY ( US - HOUSTON ) | 5000385639 THE OKONITE COMPANY ( US - HOUSTON ) | 5002640203 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5000387763 116671132 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387336 116671105 THE OKONITE COMPANY ( US - HOUSTON ) | 5002640638 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5001277342 DA7LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AI Anguilla | 5001818399 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000386379 116671071 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386257 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002640413 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5001277361 DB2DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000390064 THE OKONITE COMPANY ( US - HOUSTON ) | 5002367782 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) | Missing information / not enough information provided
|  |  | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000386582 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000387433 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000385830 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002640220 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) |  | 5001304140 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001893561 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001277348 CB4LU04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002640340 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5000387115 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000385721 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002640205 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5000387764 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000387337 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002640640 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5001893735 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AB Abu Dhabi |  | 5000386460 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001429824 DW3WU01Y JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002640415 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5001775655 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001437380 0C01010704 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002367783 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | Other
|  |  | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429828 DW1WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429838 DW2WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429820 DW2WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002640221 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) |  | 5001775593 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002612712 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001893741 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002640341 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5001429835 DW2WU01L JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429799 DW2WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002640206 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5001429853 DW3WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429837 DW2WU01O JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002640641 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002143877 C213XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AL Albania |  | 5001429825 DW1WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001437360 0D06551006 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002640416 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002158118 12154200 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001775643 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437363 0D06551404 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437373 0D06551205 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437356 0D06551210 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002640222 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) |  | 5002157830 12160060 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002143922 C419XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002640342 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5001437370 0D06551202 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437355 0D06551205 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002640207 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5001437377 0D06551010 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437372 0D06551209 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002640642 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AM Armenia |  | 5001437361 0D06551403 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001775609 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002640417 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) |  | 5002158096 12153160 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775612 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775622 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775605 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002640223 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) |  |  |  | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002640343 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5001775619 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775604 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002640208 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5001775626 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775621 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002640643 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002332613 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | AN Dutch Antilles |  | 5001775610 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002640418 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM )
|  |  | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002158061 11150020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002158071 11100030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002640224 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  |  |  | 5002332618 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002640344 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002640209 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002158076 11170040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002158070 11190030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002640644 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  | AO Angola |  | 5002157639 11130020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002640419 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH )
[7 empty] | 5002640225 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) |  |  |  |  | 5002640345 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) |  |  | 5002640210 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) |  |  | 5002640645 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) |  | AQ Antarctica |  |  |  | 5002640420 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH )
[7 empty] | 5002786571 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  |  |  |  | 5002786579 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  |  | 5002786570 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  |  | 5002786599 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  | AR Argentina |  |  |  | 5002786584 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam )
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2022-06-07 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | BCC Quotation 10193063 (1).pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | COVER; CABLE TRAY; 609.6 MM (24 IN) |  | COVER CABLE TRAY; 609.6 MM (24 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; LADDER | Yes |  | SAR | each | 1000369044 |  | 462.35 | 27 | N/A | 42 |  | 2022-05-14 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | LCCB-610-3700-1.5 |  |  | Urgent | X | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002640197 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640202 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-ST-CVL-DC330-A5002640205 30005792 BAAMER ELECTRIC | SAESP1045019618264000101.pdf
6.2 | COVER; CABLE TRAY; 914.4 MM (36 IN) |  | COVER CABLE TRAY; 914.4 MM (36 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;50.8 MM (2 IN) FLANGE; LADDER | Yes |  | SAR | each | 1000369275 |  | 662.3 | 27 | N/A | 42 |  | 2022-06-19 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | LCCB-914-3700-1.5 |  |  | Urgent | X | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002640332 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640337 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-ST-CVL-GD230-A5002640338 30005404 BRANCH OF EATON | SAESP1045019618266000101.pdf
6.3 | COVER; CABLE TRAY; 762.0 MM (30 IN) |  | COVER CABLE TRAY; 762.0 MM (30 IN) WD;STYLE FLAT; LOUVERED;M M;STRAIGHT;3.7 M (12 FT) LG;A VE-1 A VE-1 A VE-1;SAES-P-104 A VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; 44.5 MM (1-3/4 IN) FLANGE; LADDER LADDER TRAY; M M;A VE-1 A VE-1 A VE-1;SAES-P-104 A VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; 44.5 MM (1-3/4 IN) FLANGE; LADDER LADDER | Yes |  | SAR | each | 1000369122 |  | 558.23 | 20 | N/A | 42 |  | 2022-07-03 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | LCCB-762-3700-1.5 |  |  | Urgent | X | No |  | No | 831402 | 831404 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M016-S960 JAZAN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002640212 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640217 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-ST-CVL-FC330-A5002640218 30005404 BRANCH OF EATON | SAESP1045019628463000101.pdf
6.4 | COVER; CABLE TRAY; 762.0 MM (30 IN) |  | COVER CABLE TRAY; 762.0 MM (30 IN) WD;STYLE FLAT; LOUVERED;ALUM;HORIZONTAL;90 DEG DESIGN;20 GAUGE; 1 MM THK;NEMA VE-1;SAES-P-104;20.6 MM (13/16 IN) FLANGE; LADDER; 914.4 MM (36 IN) RADIUS | Yes |  | SAR | each | 1000369378 |  | 431.48 | 10 | N/A | 42 |  | 2022-07-03 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | LCCBE90-762-914-1.5 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M016-S960 JAZAN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002640407 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640412 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-HE-CVL-FE1990-A5002640413 30005404 BRANCH OF EATO | SAESP1045019628464000101.pdf
6.5 | COVER; CABLE TRAY; 914.4 MM (36 IN) |  | COVER CABLE TRAY; 914.4 MM (36 IN) WD;STYLE FLAT; LOUVERED;ALUM;HORIZONTAL;45 DEG DESIGN;20 GAUGE; 1 MM THK;NEMA VE-1;SAES-P-104;20.6 MM (13/16 IN) FLANGE; LADDER; 609.6 MM (24 IN) RADIUS | Yes |  | SAR | each | 1000369556 |  | 237.9 | 4 | N/A | 42 |  | 2022-06-21 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | LCCBE45-914-610-1.5 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002640632 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640637 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-HE-CVL-GE1640-A5002640638 30005404 BRANCH OF EATO | SAESP1045019628664000101.pdf
6.6 | CHANNEL; FRAMING; 6.1 M (20 FT) LG; |  | CHANNEL FRAMING; 6.1 M (20 FT) LG;41.9 MM (1-5/8 IN) WD;82.6 MM (3-1/4 IN) DP;GALV FINISH;STEEL;DOUBLE BACK TO SIDE | Yes |  | SAR | piece | 1000427079 |  | 348.56 | 10 | N/A | 42 |  | 2022-06-14 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | BCMS-067-6000 |  |  | Urgent | X | No |  | No | 831402 | 831407 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001818399 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SACOMPANY LTD. FACTORY5000411764 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SANUMBER A1202C5000411765 10018190 AMERICAN ELECTRIC USSUPERSTRUT PROD
6.7 | WIRE; ELEC; 10 AWG; 1 CONDUCTOR; |  | WIRE ELECTRICAL; 10 AWG CONDUCTO;1 CONDUCTO;YELLOW;600 V SUPPLY;THHN-THWN WIRE;3.81 MM (0.150 IN) OD;55.1 KG/KM (37 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418984 |  | 0.79 | 500 | N/A | 84 |  | 2022-05-31 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | 11111245 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | Quoted as per our minimum order Quantity(25,000Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000386254 10016868 GENERAL CABLE US5000386255 10020512 THE OKONITE COMPANY US5000386257 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775609 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMP
6.8 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419212 |  | 0.81 | 100 | N/A | 84 |  | 2022-07-31 03:55 | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J03A-C742 UDHAILIYAH MATERIAL YARD | 04 BOAT | Quoted as per our minimum order Quantity(25,000Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387555 10016871 GENERAL CABLE USBICC GENERAL5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000387556 100168
6.9 | WIRE; ELEC; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;ORANGE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419179 |  | 0.52 | 86 | N/A | 84 |  | 2022-07-31 03:55 | 5002158070 11190030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J03A-C742 UDHAILIYAH MATERIAL YARD | 04 BOAT | Quoted as per our minimum order Quantity(25,000Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000387332 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387334 10016871 GENERAL CABLE USBICC GENERAL5000387337 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775621 10012569 ALFANAR ELECTRICAL
6.10 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419050 |  | 0.34 | 1,500 | N/A | 84 |  | 2022-06-07 03:55 | 5002158061 11150020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT | Quoted as per our minimum order Quantity(25,000Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000386467 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386469 10016871 GENERAL CABLE USBICC GENERAL5001775612 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000386580 100168
6.11 | CABLE; ELECTRICAL; LOW VOLTAGE; 19 S |  | CABLE ELECTRICAL LOW VOLTAGE; 19 STRANDS CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;29.7 MM MINIMUM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION. ORIGINAL EQPT REFS ABRASION;MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417984 |  | 121.92 | 100 | N/A | 84 |  | 2022-06-07 03:55 | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT | Quoted as per our minimum order Quantity(1,000M) |  | <Strong>Manufacturer Part Number Text :</Strong>5000382916 10013724 SAUDI CABLE COMPANY SA5000382917 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000382918 10020512 THE OKONITE COMPANY US5001893741 10037887 EGYTECH CABLES EL SEWED
6.12 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000419033 |  | 0.34 | 500 | N/A | 84 |  | 2022-06-07 03:55 | 5002157639 11130020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | Quoted as per our minimum order Quantity(25,000Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000386374 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386376 10016871 GENERAL CABLE USBICC GENERAL5000386460 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775610 10012569 ALFANAR ELECTRICAL
6.13 | WIRE; 750V NYA 1/C 35MM2 (2 AWG) STR CU |  | WIRE ELECTRICAL; 35 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;10.5 MM OD;361 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | Yes |  | SAR | Meter | 1000420040 |  | 14.34 | 1,000 | N/A | 84 |  | 2022-06-08 03:55 | 5002158118 12154200 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | SS-Sun Shelter(covered) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390590 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390592 10013724 SAUDI CABLE COMPANY SA5001775655 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000390591 10013206 MIDDLE
6.14 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG);BLUE |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419171 |  | 0.52 | 5,000 | N/A | 84 |  | 2022-08-09 03:55 | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387110 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387112 10016871 GENERAL CABLE USBICC GENERAL5000387115 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775619 10012569 ALFANAR ELECTRICAL
6.15 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419193 |  | 0.52 | 5,000 | N/A | 84 |  | 2022-08-09 03:55 | 5002158071 11100030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387430 10016871 GENERAL CABLE USBICC GENERAL5000387433 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387338 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775622 10012569 ALFANAR ELECTRICAL
6.16 | WIRE; 750V NYA 1/C 6MM2 (10 AWG) STR CU |  | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419769 |  | 2.55 | 184 | N/A | 84 |  | 2022-06-21 03:55 | 5002158096 12153160 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390061 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390063 10013724 SAUDI CABLE COMPANY SA5000390064 10020512 THE OKONITE COMPANY US5001775643 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.17 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418917 |  | 0.5 | 500 | N/A | 84 |  | 2022-06-14 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | 11101235 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | Quoted as per our minimum order Quantity(25,000Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000385637 10016871 GENERAL CABLE USBICC GENERAL5000385639 10020512 THE OKONITE COMPANY US5000385721 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775604 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.18 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG);BLUE |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419171 |  | 0.52 | 1,000 | N/A | 84 |  | 2022-04-20 03:55 | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | A008-C532 UTHMANIYAH B-2001; STORES | 04 BOAT | Quoted as per our minimum order Quantity(25,000Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000387110 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387112 10016871 GENERAL CABLE USBICC GENERAL5000387115 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775619 10012569 ALFANAR ELECTRICAL
6.19 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419050 |  | 0.34 | 50,000 | N/A | 84 |  | 2022-08-16 03:55 | 5002158061 11150020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386467 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386469 10016871 GENERAL CABLE USBICC GENERAL5001775612 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000386580 100168
6.20 | WIRE; 600V THHN/THWN 1/C 10 AWG (6MM2) S |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419271 |  | 0.81 | 10,000 | N/A | 84 |  | 2022-08-16 03:55 | 5002158076 11170040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT | Quoted as per our minimum order Quantity(25,000Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000387658 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387761 10016871 GENERAL CABLE USBICC GENERAL5000387764 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775626 10012569 ALFANAR ELECTRICAL
6.21 | WIRE; ELEC; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;ORANGE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419179 |  | 0.52 | 10,000 | N/A | 84 |  | 2022-08-21 03:55 | 5002158070 11190030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT | Quoted as per our minimum order Quantity(25,000Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000387332 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387334 10016871 GENERAL CABLE USBICC GENERAL5000387337 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775621 10012569 ALFANAR ELECTRICAL
6.22 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419193 |  | 0.52 | 30,000 | N/A | 84 |  | 2022-08-21 03:55 | 5002158071 11100030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387430 10016871 GENERAL CABLE USBICC GENERAL5000387433 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387338 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775622 10012569 ALFANAR ELECTRICAL
6.23 | WIRE; ELECTRICAL; 4 MM2; 1 CONDUCTOR; |  | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;GREEN/YELLOW;0.48 KV SUPPLY;4 MM OD;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;UNARMOURED; FOR LIGHTING | Yes |  | SAR | Meter | 1000413291 |  | 1.71 | 236 | N/A | 84 |  | 2022-07-03 03:55 | 5002157830 12160060 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M016-S960 JAZAN WAREHOUSE | 04 BOAT | Quoted as per our minimum order Quantity(276M) |  | <Strong>Manufacturer Part Number Text :</Strong>5000368582 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000368584 10013724 SAUDI CABLE COMPANY SA5000368585 10001382 RS COMPONENTS LTD GB5001775593 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF A
6.24 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;17.1 MM (0.6732 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;425 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417914 |  | 14.04 | 500 | N/A | 84 |  | 2022-08-21 03:55 | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382502 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382504 10013724 SAUDI CABLE COMPANY SA5001893735 10037887 EGYTECH CABLES EL SEWEDY EG5002332613 10046468 ELSEWEDY CABLES COMPANY SA5000382
6.25 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULL PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418919 |  | 0.5 | 70,000 | N/A | 84 |  | 2022-08-21 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | 11171235 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385726 10016871 GENERAL CABLE USBICC GENERAL5000385728 10020512 THE OKONITE COMPANY US5000385830 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775605 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.26 | CABLE; BARE COPPER; |  | CABLE; GROUNDING TYPE;25 SQ MM DIA;7 STRANDS;BARE COPPER;IEC 228;SOFT-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED; 6.4 MM (1/4 IN) OD; 217 KG/KM | Yes |  | SAR | Meter | 1000412302 |  | 10.2 | 70 | N/A | 84 |  | 2022-06-07 03:55 | 5002612712 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT | Quoted as per our minimum order Quantity(1,000M) |  | <Strong>Manufacturer Part Number Text :</Strong> 5001893561 10037887 EGYTECH CABLES EL SEWEDY EG 5000365537 10013724 SAUDI CABLE COMPANY SA 5001755889 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002612712 10044083 BAHRA ADVANCED CAB
6.27 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;RED;600 VAC SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL 83;LOW VOLTAGE;NYLON JACKET;MOISTURE;HEAT AND OIL RESISTANT;FLAME RETARDANT;REEL MARKED WITH ARAMCO PURCHASE ORDER;SHIPPING LENGTH SIZE OF CONDUCTORS;THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING;REEL LENGTH SHALL BE 152.4 METER (500 FT.). | Yes |  | SAR | Feet | 1000834002 |  | 0.81 | 3,000 | N/A | 84 |  | 2022-06-21 03:55 | 5002367783 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Quoted as per our minimum order Quantity(25,000Feet) |  | <Strong>Manufacturer Part Number Text :</Strong> 5002367780 10013002 JEDDAH CABLES COMPANY LTD SA 5002367781 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002367782 10035589 OMAN CABLES INDUSTRY (SAOG) OM 5002367783 10044083 BAHRA ADVANCED CABLE MA
6.28 | CABLE ELECTRICAL LOW VOLTAGE; POWER; ROU |  | CABLE ELECTRICAL LOW VOLTAGE; POWER TYPE;ROUND CONDUCTO;10 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 CONDUCTO;15.6 CABLE OD;BLACK;3 X 10 MM2; CU/XLPE/SWA/PVC 0.6/1 KV MARKINGS;880 KG PER KM LG;FR PVC-ST2;0.7 MM INSUL TH;WOODEN OR STEEL DRUMS;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO; STEEL WIRE AARMOR ARMOR;IEC 60502-1; IEC 60332-3;7 STRANDS; COLOR CODE (RED; GREY AND GREEN); MOISTURE; HEAT; OIL;GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT. | Yes |  | SAR | Meter | 1001055898 |  | 18.33 | 1,000 | N/A | 84 |  | 2022-06-07 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | 19923488 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B011-C322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002743697 10013724 SAUDI CABLE COMPANY SA PART NUMBER 0001040103-022703
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL32: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf