## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000385419 61A601C12AWGU0GN500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002661577 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | 5002702372 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5000387981 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | AE Utd.Arab Emir. | 5000385292 61A601C12AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002702370 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5000366103 ENLB54A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382033 761403C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000385521 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  |  | 5000387982 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AF Afghanistan | 5000385294 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5001304029 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000382034 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000385522 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  |  | 5000387983 25006 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AG Antigua/Barbuda | 5000385295 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5001327914 DC9LA3ABG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001274383 DA7LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | We are currently at full capacity
|  | POE - Port of Export | 5000385523 THE OKONITE COMPANY ( US - HOUSTON ) |  |  | 5000387984 THE OKONITE COMPANY ( US - HOUSTON ) | AI Anguilla | 5000385297 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5001893579 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001893724 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | Missing information / not enough information provided
|  |  | 5000385525 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  |  | 5000387985 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | AB Abu Dhabi | 5000385299 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5002143828 C334XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002143913 C213XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | Other
|  |  | 5001429793 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  |  | 5000387986 SUPERIOR ESSEX COMMUNICATIONS ( US - ATLANTA ) | AL Albania | 5001429779 DW2WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5002157800 14535251 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157868 14515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  | 5001437353 0D06551204 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  |  | 5001775629 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AM Armenia | 5001437350 0D06551203 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002332537 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002332605 ELSEWEDY CABLES COMPANY ( SA - YANBU )
|  |  | 5001775602 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | 5002412975 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AN Dutch Antilles | 5001775600 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | CLAMP CONDUIT TO CABLE TRAY; CLAMP SIZE; | CLAMP CONDUIT TO CABLE TRAY; MM X 38 MM CLAMP SIZE X 3.0 MM THICKNESS CONDUIT;6HDC-W CONDUIT;SINGLE HOLD DOWN CLAMP MTG;STAINLESS STEEL 316L-2B NEMA VE-1;SAES-P-104 KIT COMPONENTS ITM QTY DESCRIPTION REFERENCE 1 1 SS 316L-2B CLAMP 2 1 M10 X 40 HEX HEAD BOLT (1SET) 3 1 HEX NUT W/ FLAT WASHER SS 316 KIT COMPONENTS ITM QTY DESCRIPTION REFERENCE 1 1 SS 316L-2B CLAMP 2 1 M10 X 40 HEX HEAD BOLT (1SET) 3 1 HEX NUT W/ FLAT WASHER SS 316 | No |  | USD | each | 1001049169 |  |  | 600 |  |  |  | 2022-06-21 03:55 | 5002702370 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A004-C321 JUAYMAH B-107; J. STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002702370 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SASAUDI ARABIA (WESCOSA)CATALOG NUMBER 6HDC-WDRAWING NUMBER 7SCA1127 REV.025002702286 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA LTD.CATA | SAESP1045019629134000101.pdf
6.2 | TRAY CABLE STRAIGHT; 127MM/ 5"; 45MM/1-3 | TRAY CABLE STRAIGHT; 127MM/ 5 DP;45MM/1-3/4 FLANGE WIDTH; WD;STYLE UNIVERSAL CONNECTOR LADDER;ALUMINUM; (MAXIMUM OF 0.4% COPPER) 6063-T6 EXTRUSION;NEMA VE-1;SAES-P-104;CONNECTOR SIZE; 127 MM X 76.2 MM X 3.0 MM THICKNESS KIT COMPONENTS ITM QTY DESCRIPTION REFERENCE 1 1 ONE PAIR CONSISTS OF 2 PLATES. ATS-M2 W/316 HW 2 1 COMPLETE WITH 12 SETS OF 3/8 ATS-M2 W/316 HW X 3/4 SPLINE BOLT 3 1 FLANGED NUT SS 316 ATS-M2 W/316 HW KIT COMPONENTS ITM QTY DESCRIPTION REFERENCE 1 1 ONE PAIR CONSISTS OF 2 PLATES. ATS-M2 W/316 HW 2 1 COMPLETE WITH 12 SETS OF 3/8 ATS-M2 W/316 HW X 3/4 SPLINE BOLT 3 1 FLANGED NUT SS 316 ATS-M2 W/316 HW | No |  | USD | Pair | 1001049170 |  |  | 300 |  |  |  | 2022-06-21 03:55 | 5002702372 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A004-C321 JUAYMAH B-107; J. STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002702372 30007397 WAHAH ELECTRIC SUPPLY COMPANY OF SASAUDI ARABIA (WESCOSA)CATALOG NUMBER ATS-M2 W/316 HWDRAWING NUMBER 7ACA1010 REV.005002702287 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA | SAESP1045019629135000101.pdf
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;25/16 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 25 MM2 + 16 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412630 |  |  | 3,000 |  |  |  | 2022-05-31 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893579 10037887 EGYTECH CABLES EL SEWEDY EG5002332537 10046468 ELSEWEDY CABLES COMPANY SA5001304029 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000366103 10013724 SAUDI CABLE CO
6.4 | CABLE; 1KV XLPE/PVC 3/C 6MM2 (10 AWG) PV | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;15.8 MM (0.622 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFAC TURE MARKINGS;350 KG/KM (235 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0276 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417760 |  |  | 1,500 |  |  |  | 2022-06-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382034 10013724 SAUDI CABLE COMPANY SA5001893724 10037887 EGYTECH CABLES EL SEWEDY EG5002332605 10046468 ELSEWEDY CABLES COMPANY SA5000382033 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFER
6.5 | WIRE; 600V THHN/THWN 1/C 6 AWG (16MM2) N | WIRE ELECTRICAL; 13.3 MM2 (6 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;6.60 MM (0.260 IN) OD;145.8 KG/KM (98 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419283 |  |  | 500 |  |  |  | 2022-06-22 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387982 10016871 GENERAL CABLE USBICC GENERAL5000387984 10020512 THE OKONITE COMPANY US5000387985 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387986 10021880 SUPERIOR ESSEX COMMUNICATIONS GROUP US
6.6 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 150 M/COIL (500 FT/COIL); NYLON JACKET; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418878 |  |  | 100,000 |  |  |  | 2022-08-28 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385294 10016871 GENERAL CABLE USBICC GENERAL5000385297 10020512 THE OKONITE COMPANY US5000385299 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775600 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.7 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418910 |  |  | 100,000 |  |  |  | 2022-08-21 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385521 10016871 GENERAL CABLE USBICC GENERAL5000385523 10020512 THE OKONITE COMPANY US5000385525 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775602 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.8 | CABLE ELECTRICAL MEDIUM VOLTAGE; 15 KV ( | CABLE ELECTRICAL MEDIUM VOLTAGE; 15 KV (12/20) KV SUPPLY;1 CONDUCTO;380 MM2 ( 750 MCM ) CONDUCTO;44.9 MM CABLE OD;COPPER CONDUCTO;XLPE INSUL;5.5 MM INSUL TH;BLACK;PVC JACKET;2503 KG- 500 METER LG;TR 90 CENTIGRADE;REEL;POWER TYPE;15-SAMSS-502;SEMICONDUCTOR WATER BLOCKING FEATURE; CONCENTRIC-LAY-STRANDED ANNEALED PLAIN COPPER CONDUCTOR;DIRECT BURIAL;CONDUIT AND DUCT SERVICE; DRY AND WET LOCATIONS;OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT. | No |  | USD | Meter | 1001031895 |  |  | 500 |  |  |  | 2022-06-16 03:55 | 5002661577 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | [5 empty] | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | Z002-C100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002661577 30006546 BAHRA ADVANCED CABLES MANUFACTURER SACO. LTD.CODE NUMBER 240251595002663480 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.CODE NUMBER 24025159 | 15SAMSS502052020205019625103000101.pdf
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf