## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000382502 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000383515 761419C0025U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000390590 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382712 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000386374 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386683 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000319938 MWTM2581000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387989 61A601C06AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000365536 92100IC02500U08 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5000365642 92100IC05000U08 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000381943 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000382503 761404C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000383516 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000390591 711101C03500U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382713 761404C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386376 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386685 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388100 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000365537 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AF Afghanistan | 5000365643 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381944 761403C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000382504 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000383517 THE OKONITE COMPANY ( US - HOUSTON ) | 5000390592 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382714 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386377 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386686 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388102 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001277326 DB1ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AG Antigua/Barbuda | 5001277328 DB3ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000381945 SAUDI CABLE COMPANY ( SA - JEDDAH ) | We are currently at full capacity
|  | POE - Port of Export | 5001277342 DA7LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001277353 DA5LU19BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001277361 DB2DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001277344 DA9LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000386379 116671071 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386687 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388103 25006 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001755889 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | AI Anguilla | 5001893563 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000381946 THE OKONITE COMPANY ( US - HOUSTON ) | Missing information / not enough information provided
|  |  | 5001893735 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001755892 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001775655 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893737 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000386460 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001429830 DW1WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000388104 116671221 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893561 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AB Abu Dhabi | 5002612714 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001274381 DA5LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | Other
|  |  | 5002143877 C213XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893755 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002158118 12154200 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002143878 C315XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001429825 DW1WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001437365 0D06551405 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000388105 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002612712 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AL Albania |  | 5001893722 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
|  |  | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002144054 C210XA11900SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002157879 14515309 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437361 0D06551403 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001775614 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001775630 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | AM Armenia |  | 5002143911 C210XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | 5002332613 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002157890 13515219 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002332615 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001775610 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | AN Dutch Antilles |  | 5002157866 14515203 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  |  | 5002332626 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  |  | 5002157639 11130020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | AO Angola |  | 5002332603 ELSEWEDY CABLES COMPANY ( SA - YANBU )
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2022-06-20 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS with Note.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | BCC Quotation 10194131.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419217 |  | 0.81 | 16,500 | N/A | 84 |  | 2022-06-07 03:55 | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387653 10016871 GENERAL CABLE USBICC GENERAL5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775625 10012569 ALFANAR ELECTRICAL
6.2 | WIRE; ELECTRICAL; 2.08 MM2 (14 AWG); 1 |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419059 |  | 0.34 | 9,000 | N/A | 84 |  | 2022-07-17 03:55 | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386683 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386685 10016871 GENERAL CABLE USBICC GENERAL5000386687 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775614 10012569 ALFANAR ELECTRICAL
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;17.1 MM (0.6732 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;425 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417914 |  | 13.65 | 1,000 | N/A | 84 |  | 2022-07-17 03:55 | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382502 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382504 10013724 SAUDI CABLE COMPANY SA5001893735 10037887 EGYTECH CABLES EL SEWEDY EG5002332613 10046468 ELSEWEDY CABLES COMPANY SA5000382
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; 7 |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;21.3 MM (0.840 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;995 KG/KM (669 LB PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.027 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417932 |  | 28.88 | 1,500 | N/A | 84 |  | 2022-07-17 03:55 | 5002157879 14515309 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382712 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382714 10013724 SAUDI CABLE COMPANY SA5001893737 10037887 EGYTECH CABLES EL SEWEDY EG5002332615 10046468 ELSEWEDY CABLES COMPANY SA5000382
6.5 | CABLE; 600V TC 3/C 2.5MM2 (14 AWG) PVC X |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;175 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417735 |  | 6.48 | 1,000 | N/A | 84 |  | 2022-07-17 03:55 | 5002157866 14515203 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381943 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000381945 10013724 SAUDI CABLE COMPANY SA5000381946 10020512 THE OKONITE COMPANY US5001893722 10037887 EGYTECH CABLES EL SEWEDY EG5002332603
6.6 | CABLE; ELECTRICAL; LOW VOLTAGE; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;19 CONDUCTO;21.9 MM (0.862 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF MANU FACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;BS 6746 TYPE 5;IEC 228 CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR BS 6746 TYPE 5;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; RESISTANT TO ABRASION; MOISTURE ACID; OIL & SUN LGHT; | Yes |  | SAR | Meter | 1000418119 |  | 26.61 | 1,000 | N/A | 84 |  | 2022-07-17 03:55 | 5002157890 13515219 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT | Quoted as per our minimum order quantity(2000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5000383516 10013724 SAUDI CABLE COMPANY SA5000383517 10020512 THE OKONITE COMPANY US5001893755 10037887 EGYTECH CABLES EL SEWEDY EG5002332626 10046468 ELSEWEDY CABLES COMPANY SA5001755892 10013827 SAUDI
6.7 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000419033 |  | 0.34 | 11,500 | N/A | 84 |  | 2022-07-17 03:55 | 5002157639 11130020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386374 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386376 10016871 GENERAL CABLE USBICC GENERAL5000386460 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775610 10012569 ALFANAR ELECTRICAL
6.8 | WIRE; 600V THHN/THWN 1/C 6 AWG (16MM2) N |  | WIRE ELECTRICAL; 13.3 MM2 (6 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;6.60 MM (0.260 IN) OD;142.9 KG/KM (96 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419333 |  | 2.16 | 1,000 | N/A | 84 |  | 2022-07-17 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | 11131065 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Quoted as per our minimum order quantity(50,000 Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000388105 10021675 SOUTHWIRE COMPANY INCORPORATED US5000388102 10016871 GENERAL CABLE USBICC GENERAL5000388100 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001775630 10012569 ALFAN
6.9 | WIRE; 750V NYA 1/C 35MM2 (2 AWG) STR CU |  | WIRE ELECTRICAL; 35 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;10.5 MM OD;361 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | Yes |  | SAR | Meter | 1000420040 |  | 14.08 | 1,000 | N/A | 84 |  | 2022-07-17 03:55 | 5002158118 12154200 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390590 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390592 10013724 SAUDI CABLE COMPANY SA5001775655 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000390591 10013206 MIDDLE
6.10 | WIRE; ELECTRICAL; 2.08 MM2 (14 AWG); 1 |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419059 |  | 0.34 | 500 | N/A | 84 |  | 2022-07-06 03:55 | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M016-S960 JAZAN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386683 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386685 10016871 GENERAL CABLE USBICC GENERAL5000386687 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775614 10012569 ALFANAR ELECTRICAL
6.11 | CABLE; BARE COPPER; |  | CABLE; GROUNDING TYPE;25 SQ MM DIA;7 STRANDS;BARE COPPER;IEC 228;SOFT-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED; 6.4 MM (1/4 IN) OD; 217 KG/KM | Yes |  | SAR | Meter | 1000412302 |  | 9.65 | 1,000 | N/A | 84 |  | 2022-07-17 03:55 | 5002612712 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893561 10037887 EGYTECH CABLES EL SEWEDY EG5000365537 10013724 SAUDI CABLE COMPANY SA5001755889 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002612712 10044083 BAHRA ADVANCED CAB
6.12 | CABLE; GROUNDING; 50 SQ MM; 19 |  | CABLE; GROUNDING TYPE;50 SQ MM DIA;19 STRANDS;BARE COPPER;IEC 228 CLASS 2;SOFT-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED; CAT NO CXX1-14X | Yes |  | SAR | Meter | 1000412308 |  | 18.53 | 1,000 | N/A | 84 |  | 2022-07-05 03:55 | 5002612714 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893563 10037887 EGYTECH CABLES EL SEWEDY EG5000365643 10013724 SAUDI CABLE COMPANY SA5002612714 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -5000365642 10013206 MIDDLE EAST SPECIALIZ
6.13 | SLEEVE; HEAT SHRINK; |  | TUBING SHRINK; HEAT TYPE;9-22.5 MM DIA RANG;1000 MM LG;1000 V MAXIMUM SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SLEEVE;ADHESIVE INTERNAL COATING; MOISTURE PROOF & WATER RESISTANT | No | We don't carry a compatible part/material | SAR | piece | 1000381320 |  |  | 387 |  |  |  | 2022-09-04 03:55 | 5000319938 MWTM2581000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000319938 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDPART NUMBER MWTM-25/8-1000/SSUPERSEDED NUMBER MWTM-25/8-1000/172
6.14 | SLEEVE; HEAT SHRINK; |  | TUBING SHRINK; HEAT TYPE;9-22.5 MM DIA RANG;1000 MM LG;1000 V MAXIMUM SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SLEEVE;ADHESIVE INTERNAL COATING; MOISTURE PROOF & WATER RESISTANT | No | We don't carry a compatible part/material | SAR | piece | 1000381320 |  |  | 100 |  |  |  | 2022-09-04 03:55 | 5000319938 MWTM2581000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000319938 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDPART NUMBER MWTM-25/8-1000/SSUPERSEDED NUMBER MWTM-25/8-1000/172
6.15 | SLEEVE; HEAT SHRINK; |  | TUBING SHRINK; HEAT TYPE;9-22.5 MM DIA RANG;1000 MM LG;1000 V MAXIMUM SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SLEEVE;ADHESIVE INTERNAL COATING; MOISTURE PROOF & WATER RESISTANT | No | We don't carry a compatible part/material | SAR | piece | 1000381320 |  |  | 65 |  |  |  | 2022-09-04 03:55 | 5000319938 MWTM2581000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000319938 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDPART NUMBER MWTM-25/8-1000/SSUPERSEDED NUMBER MWTM-25/8-1000/172
6.16 | SLEEVE; HEAT SHRINK; |  | TUBING SHRINK; HEAT TYPE;9-22.5 MM DIA RANG;1000 MM LG;1000 V MAXIMUM SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SLEEVE;ADHESIVE INTERNAL COATING; MOISTURE PROOF & WATER RESISTANT | No | We don't carry a compatible part/material | SAR | piece | 1000381320 |  |  | 50 |  |  |  | 2022-09-04 03:55 | 5000319938 MWTM2581000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000319938 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDPART NUMBER MWTM-25/8-1000/SSUPERSEDED NUMBER MWTM-25/8-1000/172
6.17 | SLEEVE; HEAT SHRINK; |  | TUBING SHRINK; HEAT TYPE;9-22.5 MM DIA RANG;1000 MM LG;1000 V MAXIMUM SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SLEEVE;ADHESIVE INTERNAL COATING; MOISTURE PROOF & WATER RESISTANT | No | We don't carry a compatible part/material | SAR | piece | 1000381320 |  |  | 10 |  |  |  | 2022-09-04 03:55 | 5000319938 MWTM2581000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000319938 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDPART NUMBER MWTM-25/8-1000/SSUPERSEDED NUMBER MWTM-25/8-1000/172
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL21: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf