## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000382502 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002640197 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000382352 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000385292 61A601C12AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000366104 ENLB55A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000377433 761403C04AWGU0BK700 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387332 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000365983 CNL406A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AE Utd.Arab Emir. | 5000365980 CNL205A3146 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382507 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000343617 S6450 CHANCE / HUBBELL ( US - CENTRALIA ) | 5002640212 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000381838 THE OKONITE COMPANY ( US - HOUSTON ) | 5000364067 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000382503 761404C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000377320 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5002640200 M. P. HUSKY ( US - GREENVILLE ) | 5000382353 761404C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385294 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001301464 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000377434 ** NEXANS HELLAS S.A. ( GR - ATHENS ) | 5000387334 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001304028 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | AF Afghanistan | 5001304026 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000382508 761404C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001598990 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002640215 M. P. HUSKY ( US - GREENVILLE ) | 5001271485 761402C07000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001327895 DA8LU01BG02 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000382504 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000377321 THE OKONITE COMPANY ( US - HOUSTON ) | 5002640202 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000382354 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000385295 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001327915 DD1LA3ABG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000377435 GENERAL CABLE ( US - MARION ) | 5000387335 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001327908 DA6LA04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AG Antigua/Barbuda | 5001327907 DA5LA02BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382509 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001604256 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002640217 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5001304141 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001893529 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | We are currently at full capacity
|  | POE - Port of Export | 5001277342 DA7LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001427180 DA6LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002640203 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5000382355 THE OKONITE COMPANY ( US - HOUSTON ) | 5000385297 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893580 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000377437 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387336 116671105 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893572 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AI Anguilla | 5001893570 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000382710 THE OKONITE COMPANY ( US - HOUSTON ) | 5002612645 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002640218 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5001893720 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002143809 C314XA10100SBK72IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | Missing information / not enough information provided
|  |  | 5001893735 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001437334 0102R10306 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002640205 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5001277340 DA5LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000385299 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002143829 C435XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001429763 DB1LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387337 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002143823 C212XA1040WMBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AB Abu Dhabi | 5002143821 C210XA1020WSBK01IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001277343 DA8LU04BGMO JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5002640220 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002143849 C419XA10200SBK01IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002157717 12134170 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | Other
|  |  | 5002143877 C213XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893657 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002640206 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5001893733 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001429779 DW2WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002157801 14530282 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437336 0102R10310 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001429837 DW2WU01O JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002157795 14530302 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AL Albania | 5002157793 14530002 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001893736 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5002640221 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002157864 19900837 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002332518 ELSEWEDY CABLES COMPANY ( SA - YANBU )
|  |  | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002243981 GENERAL CABLE ( US - MARION ) | 5002640207 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002143875 C210XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001437350 0D06551203 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002332538 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001893660 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001437372 0D06551209 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002332531 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | AM Armenia |  | 5002157878 14515308 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002640222 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002332602 ELSEWEDY CABLES COMPANY ( SA - YANBU )
|  |  | 5002332613 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002332554 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002640208 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002157875 14515303 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001775600 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | 5001775621 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | AN Dutch Antilles |  | 5002332614 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5002640223 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM )
[5 empty] | 5002640209 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  |  |  |  | 5002158070 11190030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | AO Angola |  | 5002700290 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002640224 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH )
[5 empty] | 5002640210 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) | [6 empty] | AQ Antarctica |  |  |  | 5002640225 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH )
[5 empty] | 5002786570 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | [6 empty] | AR Argentina |  |  |  | 5002786571 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam )
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | COVER; CABLE TRAY; 609.6 MM (24 IN) | COVER CABLE TRAY; 609.6 MM (24 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; LADDER | No |  | USD | each | 1000369044 |  |  | 10 |  |  |  | 2022-07-27 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002640197 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640202 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-ST-CVL-DC330-A5002640205 30005792 BAAMER ELECTRIC | SAESP1045019689912000101.pdf
6.2 | COVER; CABLE TRAY; 762.0 MM (30 IN) | COVER CABLE TRAY; 762.0 MM (30 IN) WD;STYLE FLAT; LOUVERED;M M;STRAIGHT;3.7 M (12 FT) LG;A VE-1 A VE-1 A VE-1;SAES-P-104 A VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; 44.5 MM (1-3/4 IN) FLANGE; LADDER LADDER TRAY; M M;A VE-1 A VE-1 A VE-1;SAES-P-104 A VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; 44.5 MM (1-3/4 IN) FLANGE; LADDER LADDER | No |  | USD | each | 1000369122 |  |  | 40 |  |  |  | 2022-08-18 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S531 SHEDGUM STORES UNIT | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002640212 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640217 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-ST-CVL-FC330-A5002640218 30005404 BRANCH OF EATON | SAESP1045019689938000101.pdf
6.3 | WIRE; ELEC; 3.31 MM2 (12 AWG); 1 | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;ORANGE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419179 |  |  | 500 |  |  |  | 2022-07-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387332 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387334 10016871 GENERAL CABLE USBICC GENERAL5000387337 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775621 10012569 ALFANAR ELECTRICAL
6.4 | CABLE; 600-1KV XLPE/PVC 4/C 2.5MM2 (14 A | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;13.4 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;0.7 MM (0.028 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417888 |  |  | 500 |  |  |  | 2022-07-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382352 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382355 10020512 THE OKONITE COMPANY US5000382354 10013724 SAUDI CABLE COMPANY SA5001893733 10037887 EGYTECH CABLES EL SEWEDY EG5000382353
6.5 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; XLPE/PVC TYPE;19 STRANDS CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;2 CONDUCTO;32.3 MM (1.260 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;1965 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.1 MM (0.0433 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK & WHI TE INSULATION. ABRASION; MOISTURE; ORIGINAL EQPT REFS ACID; OIL & SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC 332. REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING. MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417728 |  |  | 800 |  |  |  | 2022-07-27 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381838 10020512 THE OKONITE COMPANY US5001893720 10037887 EGYTECH CABLES EL SEWEDY EG5002332602 10046468 ELSEWEDY CABLES COMPANY SA5001304141 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AN
6.6 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;4 MM2 CONDUCTO;0.6/1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 4 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412525 |  |  | 500 |  |  |  | 2022-07-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893572 10037887 EGYTECH CABLES EL SEWEDY EG5002332531 10046468 ELSEWEDY CABLES COMPANY SA5001304028 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000365983 10013724 SAUDI CABLE CO
6.7 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 150 M/COIL (500 FT/COIL); NYLON JACKET; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418878 |  |  | 1,000 |  |  |  | 2022-08-03 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385294 10016871 GENERAL CABLE USBICC GENERAL5000385297 10020512 THE OKONITE COMPANY US5000385299 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775600 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.8 | CABLE; ELECTRICAL; LOW VOLTAGE; NYA; | CABLE ELECTRICAL LOW VOLTAGE; NYA TYPE;STRANDED CONDUCTO;POWER TYPE;10 SQ MM CONDUCTO;600/1000 V SUPPLY;1 CONDUCTO;8.5 MM CABLE OD;BLACK;149 KG/KM LG;0.7 MM INSUL TH;IEC 228; CLASS 228;FOR CONDUIT;REEL/DRUM D7;TR 90 DEG C;PVC/XLPE INSUL;ANNEALD COPPER CONDUCTO;VDE 0250/3.69; IEC-502;COLOR BLUE | No |  | USD | Feet | 1000411878 |  |  | 493 |  |  |  | 2022-07-29 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | C003-C953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000364067 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001893529 10037887 EGYTECH CABLES EL SEWEDY EG5002332518 10046468 ELSEWEDY CABLES COMPANY SA5001327895 10013002 JEDDAH CABLES COMPANY LTD SA
6.9 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;2.5 MM2 CONDUCTO;0.6/1 KV SUPPLY;2 CONDUCTO;BLACK;2 X 2.5 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412455 |  |  | 330 |  |  |  | 2022-07-26 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893570 10037887 EGYTECH CABLES EL SEWEDY EG5001304026 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000365980 10013724 SAUDI CABLE COMPANY SANUMBER CNL2-05A-31465001327907 100130
6.10 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;35/16 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 35 MM2 + 16 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412636 |  |  | 200 |  |  |  | 2022-08-02 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893580 10037887 EGYTECH CABLES EL SEWEDY EG5002332538 10046468 ELSEWEDY CABLES COMPANY SA5001301464 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000366104 10013724 SAUDI CABLE CO
6.11 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;17.1 MM (0.6732 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;425 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417914 |  |  | 1,000 |  |  |  | 2022-08-18 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382502 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382504 10013724 SAUDI CABLE COMPANY SA5001893735 10037887 EGYTECH CABLES EL SEWEDY EG5002332613 10046468 ELSEWEDY CABLES COMPANY SA5000382
6.12 | CABLE; LOW VOL; 7 STR; 600-1000 V | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;19.2 MM (0.756 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;623 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.028 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417918 |  |  | 8,000 |  |  |  | 2022-07-17 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382509 10013724 SAUDI CABLE COMPANY SA5000382710 10020512 THE OKONITE COMPANY US5000382507 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5001893736 10037887 EGYTECH CABLES EL SEWEDY EG5002332614
6.13 | CABLE; POWER AND CONTROL; 600V; | CORD ELECTRICAL; 3 CONDUCTO;21.15 SQ MM (4 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;22.7 MM (0.894 IN) OD;PVC JACKET;PVC INSUL;TR 90 DEG C DRY; 75 DEG C WET;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; AERIAL;UL-1569;MOISTURE; HEAT; OIL; GASOLINE; ACID ALKALI AND SUNLIGHT RESISTANTFLAME RETARDANT; REEL MARKED WITH; ARAMCO PURCHASE ORDER STOCK NUMBER SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARDS 44 AND 1277; UL OR EQUIVALENT APROVED LABELED OR LISTED REQUIRED; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL 1569; INSULATION THICKNESS; 1.52 MM (0.060 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; CLASS B; INSULATION MATERIAL SPEC; ICEA S-66-524; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Feet | 1000416541 |  |  | 600 |  |  |  | 2022-07-26 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000377434 10003546 ** NEXANS HELLAS S.A. GR5000377435 10016865 GENERAL CABLE USBICC CABLES CORPORATION5000377437 10020512 THE OKONITE COMPANY US5001893660 10037887 EGYTECH CABLES EL SEWEDY EG500037743
6.14 | CORD; ELECTRICAL; 3 CONDUCTOR; 3.31 | CORD ELECTRICAL; 3 CONDUCTO;3.31 SQ MM (12 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;9.9 MM (0.390 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;164 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;UL-1569;CLASS B; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; INSULATION THICKNESS; 0.80 MM(0.0315 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; INSULATION MATERIAL SPEC; ICEA S-66-524; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Feet | 1000416479 |  |  | 999 |  |  |  | 2022-08-18 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000377320 10017431 ROME CABLE CORPORATION US5000377321 10020512 THE OKONITE COMPANY US5001893657 10037887 EGYTECH CABLES EL SEWEDY EG5002332554 10046468 ELSEWEDY CABLES COMPANY SA5002243981 10016865 GE
6.15 | CABLE; ELECTRICAL; 1 CONDUCTOR; 67.43 | CABLE ELECTRICAL; 1 CONDUCTO;67.43 SQ MM (2/0 AWG) CONDUCTO;STRANDED CONDUCTO;GROUNDING TYPE;17.8 MM (0.700 IN) CABLE OD;COPPER TYPE;COPPER CONDUCTO;BARE INSUL;TR -18 DEG C (0 DEG F) MINIMUM;BARE JACKET;CLEAR;ASTM;FOR TEMPORARY PROTECTIVE GROUNDING;812 KG/KM (546 LBS PER 1000 FT) LG;ASTM;HEAVY DUTY; FINE STRANDED MARKED WITH AWG SIZE APPROX EVERY 4 FT; EXTRA FLEXIBLE; 1323 STRANDS FOR INSTALLATION ON DE-ENERGIZED APPARATUS; CONFORMS TO ASTM F 855. | No |  | USD | Feet | 1000395461 |  |  | 500 |  |  |  | 2022-07-28 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C003-C953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001604256 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001598990 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5002612645 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.N
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf