## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000389950 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000386790 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387981 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002175813 OMEGA FACTORY FOR LUMINAIRES, ( SA - RIYADH ) | 5000409998 B118 COOPER B-LINE INCORPORATED ( US - HIGHLAND ) | 5002640197 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000387873 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000389842 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000409888 B140ZN COOPER B-LINE INCORPORATED ( US - HIGHLAND ) | AE Utd.Arab Emir. | 5000382712 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000387338 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386374 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387766 61A601C08AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000390065 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000389951 711101C00400U0RD1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386792 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387982 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002175814 AL- BABTAIN FACTORY FOR POLES, ( SA - RIYADH ) | 5000410110 G3060 G S METALS CORPORATION ( US - PINCKNEYVILLE ) | 5002640200 M. P. HUSKY ( US - GREENVILLE ) | 5000387876 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000389843 711101C00400U0BL1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000409990 G2037 G S METALS CORPORATION ( US - PINCKNEYVILLE ) | AF Afghanistan | 5000382713 761404C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387430 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386376 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387769 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390066 711101C00600U0WT1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000389952 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386793 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387983 25006 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5001818373 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002640202 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000387877 25008232 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000389844 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001818370 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | AG Antigua/Barbuda | 5000382714 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387431 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386377 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387870 35008 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390067 SAUDI CABLE COMPANY ( SA - JEDDAH ) | We are currently at full capacity
|  | POE - Port of Export | 5000389953 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386794 116671072 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387984 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5002108044 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002640203 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5000387878 116671192 THE OKONITE COMPANY ( US - HOUSTON ) | 5000389845 THE OKONITE COMPANY ( US - HOUSTON ) | 5002108041 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | AI Anguilla | 5001277344 DA9LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387432 116671103 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386379 116671071 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387871 116671191 THE OKONITE COMPANY ( US - HOUSTON ) | 5000390068 THE OKONITE COMPANY ( US - HOUSTON ) | Missing information / not enough information provided
|  |  | 5001299959 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000386795 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000387985 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  |  | 5002640205 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5000387879 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001299958 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | AB Abu Dhabi | 5001893737 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000387433 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000386460 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001429855 DW4WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001301521 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | Other
|  |  | 5001775640 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001429831 DW1WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387986 SUPERIOR ESSEX COMMUNICATIONS ( US - ATLANTA ) |  |  | 5002640206 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5001429856 DW4WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001775638 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | AL Albania | 5002143878 C315XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001429838 DW2WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429825 DW1WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001437378 0D06550803 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001775644 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | 5002158093 12103150 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437366 0D06551410 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001775629 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | 5002640207 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5001437379 0D06550810 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002158091 12120150 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | AM Armenia | 5002157879 14515309 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437373 0D06551205 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437361 0D06551403 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001775627 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002158097 12173160 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  |  | 5001775615 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002412975 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  |  | 5002640208 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5001775628 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | AN Dutch Antilles | 5002332615 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001775622 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775610 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002158077 11130050 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  |  | 5002158064 11170020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  | 5002640209 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002158078 11170050 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | AO Angola |  | 5002158071 11100030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157639 11130020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002523544 CPTN01UG82900 ELSEWEDY CABLES COMPANY ( SA - YANBU )
[8 empty] | 5002640210 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) |  |  |  | AQ Antarctica
[8 empty] | 5002786570 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  |  |  | AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | COVER; CABLE TRAY; 609.6 MM (24 IN) | COVER CABLE TRAY; 609.6 MM (24 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; LADDER | No |  | USD | each | 1000369044 |  |  | 32 |  |  |  | 2022-08-04 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002640197 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640202 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-ST-CVL-DC330-A5002640205 30005792 BAAMER ELECTRIC | SAESP1045019689937000101.pdf
6.2 | POLE; LINE; DISTRIBUTION; OCTAGONAL | POLE LINE; DISTRIBUTION TYPE;81 FT (24384 MM) LG;OCTAGONAL SHAPE;STEEL;14-SAMSS-603;STEEL POLE FOR 13.8 KV OVERHEAD DISTRIBUTION; ( 24384) MM (80 FT) LONG; 221 MM TOP ACROSS FLAT DIA 681 MM BOTTOM ACROSS FLAT DIA. 6MM SHAFT THICKNESS. THE STEEL POLE SHALL BE TWO PIECE OCTAGONAL TAPERED SHAFT; HOT-DIP GALVANIZED STEEL POLE COMPLETE WITH TOP CAP; BASE BEARING PLATE; GROUNDING NUT; NAMEPLATE AND PRE-DRILLED HOLES. THE STEEL USED FOR MANUFACTURING THE POLE SHALL BE WITH MINIMUM YIELD STRENGTH OF 355 N/MM3 MINIMUM ULTIMATE TENSILE STRENGTH OF 490 N/MM3 MAXIMUM ULTIMATE TENSILE STRENGTH 620 N/MM2 AND CONFORM TO ASTM A572 OR EQUAL AND THE FINISH SHALL BE HOT-DIP GALVANIZED AFTER FABRICATION; INCLUDING ALL DRILLING; CUTTING AND WELDING. GALVANIZING SHALL BE DONE IN ACCORDANCE WITH THE REQUIREMENT OF 01- SDMS-01 AND THE MINIMUM AVERAGE THICKNESS OF COATING SHALL BE 0.086MM; EQUIVALENT TO 610G/M2. THE POLE CONFIGURATION SHALL BE IN COMPLIANCE WITH SEC DISTRIBUTION MATERIAL SPECIFICATION 20-SDMS-01; REV. 01 DATED 04-06-1423H. POLES SHALL BE PROVIDED WITH FACTORY-APPLIED EXTRA ANTI-CORROSION COATING OF COAL TAR EPOXY APPLIED OVER GALVANIZATION ON EMBEDDED PORTION PLUS 450MM AND SUITABLE BARRIER COATING SHALL BE APPLIED OVER THE COAL TAR EPOXY 450MM ABOVE AND BELOW GROUND LINE. COMPLETE DETAILS OF THE COATING AND PROCEDURES FOR APPLICATION SHALL BE SUBMITTED FOR REVIEW/ APPROVAL BY SAUDI ARAMCO NOTE; VENDOR SHALL PROVIDE HOLES ON EACH POLE PRIOR TO GALVANIZED AS PER TYPICAL DRAWING WHICH WILL BE PROVIDED TO THE SUCCESSFUL THE BIDDER | No |  | USD | each | 1000828936 |  |  | 5 |  |  |  | 2022-10-04 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | Z02B-C502 SHAYBAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002174087 10011878 OMEGA FACTORY FOR LUMINAIRES; POLES SAGALVANIZING (DIV. OF S. AND A. ABAH5002174088 10039850 ALBABATIN FACTORY FOR GALVANIZED SAPOLES; MASTS AND ACCESSORIES5002175813 30000239 OMEGA | 14SAMSS603051320195019704757000101.pdf
6.3 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419083 |  |  | 3,280 |  |  |  | 2022-08-18 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386790 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386792 10016871 GENERAL CABLE USBICC GENERAL5000386795 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775615 10012569 ALFANAR ELECTRICAL
6.4 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419193 |  |  | 2,500 |  |  |  | 2022-08-02 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387430 10016871 GENERAL CABLE USBICC GENERAL5000387433 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387338 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775622 10012569 ALFANAR ELECTRICAL
6.5 | WIRE; ELECTRICAL; 4 MM2; 1 CONDUCTOR; | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;BLUE;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;47 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419705 |  |  | 2,024 |  |  |  | 2022-08-02 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389842 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000389844 10013724 SAUDI CABLE COMPANY SA5000389845 10020512 THE OKONITE COMPANY US5001299958 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED
6.6 | WIRE; BUILDING; 450-750V; | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;RED;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;47 KG/KM LG;TR 85 DEG C MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227; IEC 332;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419731 |  |  | 2,024 |  |  |  | 2022-08-02 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389950 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000389952 10013724 SAUDI CABLE COMPANY SA5000389953 10020512 THE OKONITE COMPANY US5001299959 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED
6.7 | WIRE; BUILDING; 600V; 8 AWG BLACK | WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419275 |  |  | 500 |  |  |  | 2022-08-03 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387769 10016871 GENERAL CABLE USBICC GENERAL5001775627 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000387766 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61A6-
6.8 | WIRE; BUILDING; 600V; 8 AWG WHITE | WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419279 |  |  | 500 |  |  |  | 2022-08-03 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387873 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387876 10016871 GENERAL CABLE USBICC GENERAL5000387879 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775628 10012569 ALFANAR ELECTRICAL
6.9 | WIRE; 600V THHN/THWN 1/C 6 AWG (16MM2) N | WIRE ELECTRICAL; 13.3 MM2 (6 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;6.60 MM (0.260 IN) OD;145.8 KG/KM (98 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419283 |  |  | 1,000 |  |  |  | 2022-08-09 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387982 10016871 GENERAL CABLE USBICC GENERAL5000387984 10020512 THE OKONITE COMPANY US5000387985 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387986 10021880 SUPERIOR ESSEX COMMUNICATIONS GROUP US
6.10 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000419033 |  |  | 10,000 |  |  |  | 2022-08-04 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386374 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386376 10016871 GENERAL CABLE USBICC GENERAL5000386460 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775610 10012569 ALFANAR ELECTRICAL
6.11 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; 7 | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;21.3 MM (0.840 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;995 KG/KM (669 LB PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.027 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417932 |  |  | 1,000 |  |  |  | 2022-05-12 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | J002-C309 RASTANURA NAJMAH COMMUNITY MAI | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382712 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382714 10013724 SAUDI CABLE COMPANY SA5001893737 10037887 EGYTECH CABLES EL SEWEDY EG5002332615 10046468 ELSEWEDY CABLES COMPANY SA5000382
6.12 | WIRE; 600V THHN/THWN 1/C 6 AWG (16MM2) N | WIRE ELECTRICAL; 13.3 MM2 (6 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;6.60 MM (0.260 IN) OD;145.8 KG/KM (98 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419283 |  |  | 1,000 |  |  |  | 2022-08-18 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387982 10016871 GENERAL CABLE USBICC GENERAL5000387984 10020512 THE OKONITE COMPANY US5000387985 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387986 10021880 SUPERIOR ESSEX COMMUNICATIONS GROUP US
6.13 | WIRE; ELECTRICAL; 6 MM2; 1 CONDUCTOR; | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;WHITE;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419802 |  |  | 1,104 |  |  |  | 2022-08-09 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390065 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390067 10013724 SAUDI CABLE COMPANY SA5000390068 10020512 THE OKONITE COMPANY US5001301521 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED
6.14 | ANGLE; FRAMING FITTING; 88.9 MM | ANGLE FRAMING FITTING; SIZE 88.9 MM (3-1/2 IN) X 88.9 MM (3-1/2 IN);(3) 14 MM DIA HOLE;90 DEG;GALV FINISH;STEEL;METAL FRAMING PARTS; METAL PRODUCTS DIV OF US GYPSUM CO; TYPE GLOBE STRUT; FOR STRUCTURAL FRAMING AND SUPPORT SYSTEMS; PART TO BE SHIPPED ASSEMBLED; FLAT; CORNER | No |  | USD | each | 1000426285 |  |  | 40 |  |  |  | 2022-08-18 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001818370 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SACOMPANY LTD. FACTORY5002108041 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SAEAST LLC5000409888 10024108 COOPER B-LINE INCORPORATED USCOOPER INDUS
6.15 | ANGLE; FRAMING FITTING; 88.9 MM | ANGLE FRAMING FITTING; SIZE 88.9 MM (3-1/2 IN) X 41.3 MM (1-5/8 IN) X 104.8 MM (4-1/8 IN);(4) HOLE;90 DEG;GALV FINISH;STEEL;SHELF GUSSET; GLOBE STRUT; FOR STRUCTURAL FRAMING & SUPPORT SYSTEMS; PART TO BE SHIPPED ASSEMBLED; METAL PRODUCTS DIV OF US GYPSUM CO; NO. G-3060 | No |  | USD | each | 1000426307 |  |  | 3 |  |  |  | 2022-08-18 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001818373 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SACOMPANY LTD. FACTORY5002108044 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SAEAST LLC5000409998 10024108 COOPER B-LINE INCORPORATED USCOOPER INDUS
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf