## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5002640197 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000382502 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5001463467 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382712 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000364783 91100IC03500U08 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002640212 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000381112 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000389957 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000380900 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000389846 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000385292 61A601C12AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000363311 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002640242 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000343617 S6450 CHANCE / HUBBELL ( US - CENTRALIA ) | 5000390061 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000386797 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5000383021 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000383321 761407C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001362934 M. P. HUSKY ( US - GREENVILLE ) | 5001362931 M. P. HUSKY ( US - GREENVILLE ) | 5000366104 ENLB55A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5002640200 M. P. HUSKY ( US - GREENVILLE ) | 5000382503 761404C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001463468 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382713 761404C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000364784 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002640215 M. P. HUSKY ( US - GREENVILLE ) | 5000381113 761401C05000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000389958 711101C00600U0BK1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000380901 761401C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000389847 711101C00400U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385294 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001327886 DA7DU01E JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002640247 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5001598990 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000390062 711101C00600U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386799 GENERAL CABLE ( US - MARION ) | AF Afghanistan | 5000383022 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000383322 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002108378 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002108376 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5001301464 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5002640202 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000382504 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001463469 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000382714 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001277322 AB2ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002640217 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000381114 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000389959 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000380902 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000389848 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000385295 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001893524 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002640248 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5001604256 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000390063 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386900 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AG Antigua/Barbuda | 5000383023 THE OKONITE COMPANY ( US - HOUSTON ) | 5000383323 THE OKONITE COMPANY ( US - HOUSTON ) | 5002219076 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5002219073 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5001327915 DD1LA3ABG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | We are currently at full capacity
|  | POE - Port of Export | 5002640203 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5001277342 DA7LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001463470 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277344 DA9LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001893546 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) | 5002640218 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5000381115 THE OKONITE COMPANY ( US - HOUSTON ) | 5000390060 THE OKONITE COMPANY ( US - HOUSTON ) | 5000380903 THE OKONITE COMPANY ( US - HOUSTON ) | 5001339232 DA6DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000385297 THE OKONITE COMPANY ( US - HOUSTON ) | 5002143804 C213HB101000YG000C1 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002640250 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002612645 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000390064 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386901 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AI Anguilla | 5001277349 CB6LU04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001277350 DA5LU07BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002263819 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002263816 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5001893580 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | Missing information / not enough information provided
|  |  | 5002640205 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5001893735 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001775665 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893737 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002612706 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002640220 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5001301500 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001301520 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001893700 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001775639 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000385299 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002332515 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002640251 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) |  | 5001437380 0C01010704 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000386902 116671108 THE OKONITE COMPANY ( US - HOUSTON ) | AB Abu Dhabi | 5001893742 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001893749 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002356295 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002371760 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002143829 C435XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | Other
|  |  | 5002640206 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002143877 C213XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002612742 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002143878 C315XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002640221 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5001893704 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001775642 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002157846 14015010 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002158092 12153150 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001429779 DW2WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002612646 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002640252 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) |  | 5001775643 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000386903 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | AL Albania | 5002143923 C446XA10400SBK08CMF ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002143925 C210XA10700SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002520826 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002520823 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002157801 14530282 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  | 5002640207 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002157879 14515309 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002640222 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002143814 C318XA10100SBK52IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002158095 12133160 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002332585 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002700293 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437350 0D06551203 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002640253 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) |  | 5002158096 12153160 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001429832 DW2WU01N JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AM Armenia | 5002157884 14515315 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157886 13515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002588741 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002786277 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5002332538 ELSEWEDY CABLES COMPANY ( SA - YANBU )
|  |  | 5002640208 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002332613 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5002332615 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002640223 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002157850 14515013 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  | 5001775600 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002640254 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  |  | 5001437367 0D06551207 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | AN Dutch Antilles |  | 5002332620 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002588742 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM )
|  |  | 5002640209 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  |  |  |  | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002640224 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002332589 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | [5 empty] | 5002640255 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) |  |  | 5001775616 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AO Angola |  | 5002700291 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002588743 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH )
|  |  | 5002640210 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) | [5 empty] | 5002640225 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) | [6 empty] | 5002786573 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  |  | 5002158065 11140030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AQ Antarctica |  |  | 5002588744 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH )
|  |  | 5002786570 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | [5 empty] | 5002786571 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | [10 empty] | AR Argentina |  |  | 5002786280 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam )
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | COVER; CABLE TRAY; 609.6 MM (24 IN) | COVER CABLE TRAY; 609.6 MM (24 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; LADDER | No |  | USD | each | 1000369044 |  |  | 5 |  |  |  | 2022-07-17 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002640197 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640202 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-ST-CVL-DC330-A5002640205 30005792 BAAMER ELECTRIC | SAESP1045019714625000101.pdf
6.2 | COVER; CABLE TRAY; 152.4 MM (6 IN) | COVER CABLE TRAY; 152.4 MM (6 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;50.8 MM (2 IN) FLANGE; LADDER | No |  | USD | each | 1000369151 |  |  | 10 |  |  |  | 2022-08-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002640242 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640247 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-ST-CVL-AD230-A5002640248 30005404 BRANCH OF EATON | SAESP1045019716307000101.pdf
6.3 | COVER; CABLE TRAY; 762.0 MM (30 IN) | COVER CABLE TRAY; 762.0 MM (30 IN) WD;STYLE FLAT; LOUVERED;M M;STRAIGHT;3.7 M (12 FT) LG;A VE-1 A VE-1 A VE-1;SAES-P-104 A VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; 44.5 MM (1-3/4 IN) FLANGE; LADDER LADDER TRAY; M M;A VE-1 A VE-1 A VE-1;SAES-P-104 A VE-1;SAES-P-104;44.5 MM (1-3/4 IN) FLANGE; 44.5 MM (1-3/4 IN) FLANGE; LADDER LADDER | No |  | USD | each | 1000369122 |  |  | 10 |  |  |  | 2022-08-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002640212 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002640217 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-ST-CVL-FC330-A5002640218 30005404 BRANCH OF EATON | SAESP1045019716310000101.pdf
6.4 | TRAY; CBL BEND; 304.8 MM (12 IN) WD; | TRAY CABLE BEND; 304.8 MM (12 IN) WD;127.0 MM (5 IN) DP;STYLE ELBOW LADDER;914.4 MM (36 IN) RADIUS;HORIZONTAL POSITION;90 DEG;ALUM;NEMA VE-1;SAES-P-104;20.6 MM (13/16 IN) FLANGE | No |  | USD | each | 1000359778 |  |  | 4 |  |  |  | 2022-08-18 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002588741 30005792 BAAMER ELECTRIC FACTORY SANUMBER -5002588742 30006571 FAS ALJAZEERA UNITED FACTORY CO. SANUMBER -5002588743 30007642 FACTORY OF MODERN METAL INDUSTRIES SACONUMBER -5002588744 3000 | MS8314004SHTS050120055019716392000101.pdf
6.5 | TRAY; CABLE; STRAIGHT; 16 IN LG; 5 IN | TRAY CABLE STRAIGHT; 16 IN LG;5 IN LOAD DEPTH DP;18 IN REDUCED TO 12 IN WD;STYLE SRRAIGHT REDUCER NON FLATTENED TOP RUNG;ALUMINUM;NEMA VE-1;SAES-P-104;1-1/4 IN FLANGED WIDTH | No |  | USD | each | 1000356787 |  |  | 12 |  |  |  | 2022-08-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | B04A-C321 JUAYMAH B-321; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002370436 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA LTD.5002370437 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SACOMPANY LTD. FACTORY5002370438 10042327 MP HUSKY LLC US5002370439 10043654 TH | MS8314004SHTS050120055019720947000101.pdf
6.6 | WIRE; 750V NYA 1/C 6MM2 (10 AWG) STR CU | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419769 |  |  | 1,012 |  |  |  | 2022-08-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390061 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390063 10013724 SAUDI CABLE COMPANY SA5000390064 10020512 THE OKONITE COMPANY US5001775643 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.7 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419217 |  |  | 14,000 |  |  |  | 2022-08-17 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387653 10016871 GENERAL CABLE USBICC GENERAL5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775625 10012569 ALFANAR ELECTRICAL
6.8 | WIRE; 750V NYA 1/C 6MM2 (10 AWG) STR CU | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;BLACK;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419736 |  |  | 1,012 |  |  |  | 2022-08-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389957 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000389959 10013724 SAUDI CABLE COMPANY SA5000390060 10020512 THE OKONITE COMPANY US5001301520 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED
6.9 | WIRE; 750V NYA 1/C 6MM2 (10 AWG) STR CU | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419769 |  |  | 1,012 |  |  |  | 2022-08-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390061 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390063 10013724 SAUDI CABLE COMPANY SA5000390064 10020512 THE OKONITE COMPANY US5001775643 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.10 | CABLE; 1KV XLPE/PVC 1/C 50MM2 (1/0 AWG) | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;POWER & CONTROL TYPE;50 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;14.5 MM (0.571 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;525 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.0 MM (0.0393 IN) INSUL TH;IEC-228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417520 |  |  | 390 |  |  |  | 2022-08-10 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381112 10013002 JEDDAH CABLES COMPANY LTD SA5000381115 10020512 THE OKONITE COMPANY US5000381114 10013724 SAUDI CABLE COMPANY SA5001893704 10037887 EGYTECH CABLES EL SEWEDY EG5002332589 10046468 ELS
6.11 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 150 M/COIL (500 FT/COIL); NYLON JACKET; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418878 |  |  | 1,000 |  |  |  | 2022-08-18 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385294 10016871 GENERAL CABLE USBICC GENERAL5000385297 10020512 THE OKONITE COMPANY US5000385299 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775600 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.12 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;35/16 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 35 MM2 + 16 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412636 |  |  | 650 |  |  |  | 2022-08-10 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893580 10037887 EGYTECH CABLES EL SEWEDY EG5002332538 10046468 ELSEWEDY CABLES COMPANY SA5001301464 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000366104 10013724 SAUDI CABLE CO
6.13 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;17.1 MM (0.6732 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;425 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417914 |  |  | 100 |  |  |  | 2022-08-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382502 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382504 10013724 SAUDI CABLE COMPANY SA5001893735 10037887 EGYTECH CABLES EL SEWEDY EG5002332613 10046468 ELSEWEDY CABLES COMPANY SA5000382
6.14 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;17.1 MM (0.6732 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;425 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417914 |  |  | 500 |  |  |  | 2022-05-29 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | K004-A259 RASTANURA AVIATION STOREHOUSE; | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382502 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382504 10013724 SAUDI CABLE COMPANY SA5001893735 10037887 EGYTECH CABLES EL SEWEDY EG5002332613 10046468 ELSEWEDY CABLES COMPANY SA5000382
6.15 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; 7 | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;21.3 MM (0.840 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;995 KG/KM (669 LB PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.027 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417932 |  |  | 500 |  |  |  | 2022-05-29 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | K004-A259 RASTANURA AVIATION STOREHOUSE; | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382712 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382714 10013724 SAUDI CABLE COMPANY SA5001893737 10037887 EGYTECH CABLES EL SEWEDY EG5002332615 10046468 ELSEWEDY CABLES COMPANY SA5000382
6.16 | WIRE; BUILDING; 450-750V; | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;48 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332 CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CABLE PACKAGING IN CARTON OR FULLY PROTECTED REEL DURABLY MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER SIZE OF CONDUCTORS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; SUPPLIED IN 100 METER REELS | No |  | USD | Meter | 1000419708 |  |  | 460 |  |  |  | 2022-08-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389846 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000389848 10013724 SAUDI CABLE COMPANY SA5002700293 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001775639 10012569 ALFAN
6.17 | CABLE; 1KV XLPE/PVC 7/C 2.5MM2 (14 AWG) | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;7 CONDUCTO;15.6 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 332.3; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 7. ORIGINAL EQPT REFS ABRASION; MOISTURE ACID; OIL & SUNLGHT RESISTANT. FLAME RETARDANT PER IEC 332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000418072 |  |  | 400 |  |  |  | 2022-08-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000383322 10013724 SAUDI CABLE COMPANY SA5000383323 10020512 THE OKONITE COMPANY US5001893749 10037887 EGYTECH CABLES EL SEWEDY EG5002332620 10046468 ELSEWEDY CABLES COMPANY SA5002700291 10013827 SAUDI
6.18 | CABLE; ELECTRICAL; LOW VOLTAGE; ISD; | CABLE ELECTRICAL LOW VOLTAGE; ISD TYPE;STRANDED CONDUCTO;POWER AND CONTROL TYPE;6 SQ MM CONDUCTO;450 TO 750 V SUPPLY;1 CONDUCTO;5 MM CABLE OD;FOR CONDUIT;`CARTON;TR 85 DEG C;COPPER STRANDS CONDUCTO;COLOR YELLOW/GREEN; 1 ROLL = 1000 METERS | No |  | USD | Role | 1000411255 |  |  | 30 |  |  |  | 2022-08-17 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000363311 10013724 SAUDI CABLE COMPANY SA5001893524 10037887 EGYTECH CABLES EL SEWEDY EG5002332515 10046468 ELSEWEDY CABLES COMPANY SA5002612646 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUM
6.19 | m5BLE; ELECTRICAL; LOW VOLTAGE; XLPE; | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;37 STRANDS CONDUCTO;POWER & CONTROL TYPE;120 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;49.2 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION.\ ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417987 |  |  | 500 |  |  |  | 2022-08-17 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000383021 10013724 SAUDI CABLE COMPANY SA5000383022 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000383023 10020512 THE OKONITE COMPANY US5001893742 10037887 EGYTECH CABLES EL SEWED
6.20 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET MOISTURE; HEAT & OIL RESISTANT; FLAME RETARDANT REEL MARKED WITH ARAMCO PURCHASE ORDER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSTALLATION AND VOLTAGE RATING; REEL LENGTH SHALL BE 152.4 MT (500 FT) | No |  | USD | Feet | 1000708617 |  |  | 500 |  |  |  | 2022-09-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001463467 10013002 JEDDAH CABLES COMPANY LTD SA5001463468 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001463470 10020512 THE OKONITE COMPANY US5001775665 10012569 ALFANAR ELECTRICAL SYSTEMS BRAN
6.21 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET MOISTURE; HEAT & OIL RESISTANT; FLAME RETARDANT REEL MARKED WITH ARAMCO PURCHASE ORDER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSTALLATION AND VOLTAGE RATING; REEL LENGTH SHALL BE 152.4 MT (500 FT) | No |  | USD | Feet | 1000708617 |  |  | 1,500 |  |  |  | 2022-09-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001463467 10013002 JEDDAH CABLES COMPANY LTD SA5001463468 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001463470 10020512 THE OKONITE COMPANY US5001775665 10012569 ALFANAR ELECTRICAL SYSTEMS BRAN
6.22 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419217 |  |  | 500 |  |  |  | 2022-10-23 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387653 10016871 GENERAL CABLE USBICC GENERAL5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775625 10012569 ALFANAR ELECTRICAL
6.23 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419217 |  |  | 1,500 |  |  |  | 2022-10-23 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387653 10016871 GENERAL CABLE USBICC GENERAL5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775625 10012569 ALFANAR ELECTRICAL
6.24 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419087 |  |  | 2,500 |  |  |  | 2022-09-07 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386797 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386799 10016865 GENERAL CABLE USBICC CABLES CORPORATION5000386900 10016871 GENERAL CABLE USBICC GENERAL5000386903 10021675 SOUTHWIRE CO
6.25 | CABLE; GROUNDING; 35 SQ MM; 7 | CABLE; GROUNDING TYPE;35 SQ MM DIA;7 STRANDS;BARE COPPER;DIN 48201;HARD-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED | No |  | USD | Meter | 1000412086 |  |  | 484 |  |  |  | 2022-07-18 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893546 10037887 EGYTECH CABLES EL SEWEDY EG5000364784 10013724 SAUDI CABLE COMPANY SA5002612706 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -5000364783 10013206 MIDDLE EAST SPECIALIZ
6.26 | CABLE; ELECTRICAL; MEDIUM VOLTAGE | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;8.9 MM (0.3503 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;146 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC-228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;PVC INSUL;COPPER CONDUCTO;15-SAMSS-502; IEC 502; UL;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417459 |  |  | 2 |  |  |  | 2022-08-17 03:55 | 5000380900 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) ¦ 5000380901 761401C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) ¦ 5000380902 SAUDI CABLE COMPANY ( SA - JEDDAH ) ¦ 5000380903 THE OKONITE COMPANY ( US - HOUSTON ) ¦ 5001893700 EGYTECH C | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | D03A-C104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000380900 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000380902 10013724 SAUDI CABLE COMPANY SA 5000380903 10020512 THE OKONITE COMPANY US 5001893700 10037887 EGYTECH CABLES EL SEWEDY EG 5002332585 | 15SAMSS502052020205019721912000101.pdf
6.27 | CABLE; ELECTRICAL; 1 CONDUCTOR; 67.43 | CABLE ELECTRICAL; 1 CONDUCTO;67.43 SQ MM (2/0 AWG) CONDUCTO;STRANDED CONDUCTO;GROUNDING TYPE;17.8 MM (0.700 IN) CABLE OD;COPPER TYPE;COPPER CONDUCTO;BARE INSUL;TR -18 DEG C (0 DEG F) MINIMUM;BARE JACKET;CLEAR;ASTM;FOR TEMPORARY PROTECTIVE GROUNDING;812 KG/KM (546 LBS PER 1000 FT) LG;ASTM;HEAVY DUTY; FINE STRANDED MARKED WITH AWG SIZE APPROX EVERY 4 FT; EXTRA FLEXIBLE; 1323 STRANDS FOR INSTALLATION ON DE-ENERGIZED APPARATUS; CONFORMS TO ASTM F 855. | No |  | USD | Feet | 1000395461 |  |  | 1,500 |  |  |  | 2022-08-19 03:55 | 5000343617 S6450 CHANCE / HUBBELL ( US - CENTRALIA ) ¦ 5001598990 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) ¦ 5001604256 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) ¦ 5002612645 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C003-C953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5001604256 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5001598990 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002612645 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. N
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK31: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf