## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000382141 761403C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000320040 MWTM50161000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000385292 61A601C12AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000383403 761412C00250UOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001363113 M. P. HUSKY ( US - GREENVILLE ) | 5000390065 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382033 761403C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000388215 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000381948 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000365983 CNL406A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386790 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000381000 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000386253 611101C10AWGU0YL5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001274387 HB4LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382910 761404C05000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000369538 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001120698 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387658 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002322152 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000387110 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000319938 MWTM2581000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | AE Utd.Arab Emir. | 5000385724 611101C12AWGU0WT5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002657364 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000382712 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382352 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000383325 761407C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002322162 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000381943 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000385419 61A601C12AWGU0GN500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386586 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000382142 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | 5000385294 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383404 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002108552 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5000390066 711101C00600U0WT1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382034 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000388216 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000381949 761403C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001304028 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000386792 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000381001 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000386254 GENERAL CABLE ( US - YORK ) | 5001893730 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000382911 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000369539 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001308739 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5000387761 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002322153 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387112 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | AF Afghanistan | 5000385726 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002657367 M. P. HUSKY ( US - GREENVILLE ) | 5000382713 761404C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382353 761404C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000383326 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002322163 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381944 761403C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385521 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386588 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000382143 ** NEXANS HELLAS S.A. ( GR - ATHENS ) |  | 5000385295 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383405 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002219246 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000390067 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001274383 DA7LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000388217 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382030 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001327908 DA6LA04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000386793 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000381002 761401C02500U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386255 THE OKONITE COMPANY ( US - HOUSTON ) | 5002332610 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5000382912 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001301468 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001328122 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000387762 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002322154 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387113 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | AG Antigua/Barbuda | 5000385727 23012232 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002657369 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000382714 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382354 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000383327 THE OKONITE COMPANY ( US - HOUSTON ) | 5002322164 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000381945 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000385522 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386589 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | We are currently at full capacity
|  | POE - Port of Export | 5000382144 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5000385297 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277352 DA5LU12BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | 5002264178 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5000390068 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893724 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000388218 M2816 MANHATTAN-CDT ( US - HOUSTON ) | 5000382031 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893572 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000386794 116671072 THE OKONITE COMPANY ( US - HOUSTON ) | 5000381003 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386257 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002612721 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001277347 CB3LU04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) | 5001327916 CD6LA3ABG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001894106 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5000387763 116671132 THE OKONITE COMPANY ( US - HOUSTON ) | 5002322155 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387114 116671106 THE OKONITE COMPANY ( US - HOUSTON ) |  | AI Anguilla | 5000385728 THE OKONITE COMPANY ( US - HOUSTON ) | 5002657370 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5001277344 DA9LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382355 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277351 DA6LU07BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002322165 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000381946 THE OKONITE COMPANY ( US - HOUSTON ) | 5000385523 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386680 116671075 THE OKONITE COMPANY ( US - HOUSTON ) | Missing information / not enough information provided
|  |  | 5001274384 DA9LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5000385299 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001592373 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002372199 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5001301521 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002143913 C213XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000388219 116671254 THE OKONITE COMPANY ( US - HOUSTON ) | 5001274382 DA6LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002143823 C212XA1040WMBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000386795 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000381004 THE OKONITE COMPANY ( US - HOUSTON ) | 5001429824 DW3WU01Y JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5001893740 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893586 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002206167 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5000387764 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002322156 10006077280003 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000387115 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | AB Abu Dhabi | 5000385830 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002657372 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5001893737 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001277340 DA5LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001893750 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002322166 10006077280005 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001274381 DA5LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000385525 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000386681 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | Other
|  |  | 5001893726 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5001429779 DW2WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001893752 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002521005 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5001775644 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002157868 14515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000388320 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893723 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002157795 14530302 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001429831 DW1WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001301497 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437360 0D06551006 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002143921 C418XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002143830 C44XA1040WSBK08IMF ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002206168 OKONITE CO. INC. ( US - RICHMOND ) | 5001429853 DW3WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002613075 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001429835 DW2WU01L JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | AL Albania | 5001429820 DW2WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002657373 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002143878 C315XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893733 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002143816 C212XA10700SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002613077 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001893722 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001429793 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429829 DW1WU01O JEDDAH CABLES COMPANY LTD ( SA - JEDDAH )
|  |  | 5002143915 C315XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001437350 0D06551203 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002332623 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002588991 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002158097 12173160 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002332605 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002359639 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002143912 C212XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002332531 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001437366 0D06551410 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001893702 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001775609 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002157882 14515312 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002157841 14530287 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002206169 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5001437377 0D06551010 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5001437370 0D06551202 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | AM Armenia | 5001437356 0D06551210 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002657374 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002157879 14515309 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002143875 C210XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002157887 13515407 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002143911 C210XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001437353 0D06551204 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437364 0D06551409 SAUDI MODERN COMPANY FOR ( SA - RIYADH )
|  |  | 5002157870 14515209 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001775600 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002612722 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002588992 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) |  |  |  | 5002157867 14515205 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001775615 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002143812 C316XA10100SBK52IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | 5002332617 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002206170 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) | 5001775626 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001775619 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | AN Dutch Antilles | 5001775605 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002657375 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002332615 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002157875 14515303 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002332621 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5002157866 14515203 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001775602 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775613 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | 5002921187 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  |  |  | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002588993 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  |  |  | 5002332604 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5002158064 11170020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157848 14515011 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002206171 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) | 5002158076 11170040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | AO Angola |  | 5002657376 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  |  | 5002700292 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002332603 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5002158062 11190020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
[8 empty] | 5002588994 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH ) | [6 empty] | 5002332587 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | [5 empty] | 5002332755 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) |  |  |  |  | AQ Antarctica |  | 5002657377 AL MISBAH HOUSE FOR STEEL WORK ( SA - RIYADH )
[8 empty] | 5002786459 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | [12 empty] | 5002364419 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) |  |  |  |  | AR Argentina |  | 5002787066 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam )
[21 empty] | 5002364420 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) |  |  |  |  | AS Samoa,American
[21 empty] | 5002364421 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  |  | AT Austria
[21 empty] | 5002527073 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) |  |  |  |  | AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | TRAY; CABLE; BEND; 304.8 MM (12 IN) | TRAY CABLE BEND; 304.8 MM (12 IN) WD;152.4 MM (6 IN) DP;STYLE ELBOW LADDER;914.4 MM (36 IN) RADIUS;INSIDE VERTICAL POSITION;90 DEG;ALUM;NEMA VE-1;SAES-P-104 | No |  | USD | each | 1000362216 |  |  | 1 |  |  |  | 2022-09-06 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002588991 30005792 BAAMER ELECTRIC FACTORY SANUMBER -5002588992 30006571 FAS ALJAZEERA UNITED FACTORY CO. SANUMBER -5002588993 30007642 FACTORY OF MODERN METAL INDUSTRIES SACONUMBER -5002588994 3000 | MS8314004SHTS050120055019747297000101.pdf
6.2 | TRAY; CABLE; BEND; 152.4 MM (6 IN) | TRAY; M M;LE TRAY COMPONENTS LE TRAY COMPONENTS A VE-1;SAES-P-104 A VE-1;SAES-P-104;LE TRAY COMPONENTS LE TRAY COMPONENTS TRAY CABLE BEND; 152.4 MM (6 IN) DP;STYLE ELBOW BARRIER STRIP LADDER;914.4 MM (36 IN) RADIUS;INSIDE POSITION;90 DEG;M M;LE TRAY COMPONENTS LE TRAY COMPONENTS A VE-1;SAES-P-104 A VE-1;SAES-P-104;LE TRAY COMPONENTS LE TRAY COMPONENTS | No |  | USD | each | 1000384816 |  |  | 4 |  |  |  | 2022-09-06 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002612144 10057693 FACTORY OF MODERN METAL INDUSTRIES SACONUMBER -5002612146 10059969 AL MISBAH HOUSE FOR STEEL WORKS CO. SANUMBER -5002612142 10043654 THOMAS AND BETTS SAUDI ARABIA SANUMBER -500261 | SAESP1045019747327000101.pdf
6.3 | WIRE; 600V THHN/THWN 1/C 10 AWG (6MM2) S | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419271 |  |  | 10,500 |  |  |  | 2022-09-06 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387658 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387761 10016871 GENERAL CABLE USBICC GENERAL5000387764 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775626 10012569 ALFANAR ELECTRICAL
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;19 MM (3/4 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;580 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417767 |  |  | 115 |  |  |  | 2022-10-23 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382142 10013724 SAUDI CABLE COMPANY SA5000382143 10003546 ** NEXANS HELLAS S.A. GR5000382144 10020512 THE OKONITE COMPANY US5001893726 10037887 EGYTECH CABLES EL SEWEDY EG5000382141 10013206 MIDDLE
6.5 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;25 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;9.9 MM (0.39 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTUER MARKINGS;210 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; IEC 502;0.9 MM (0.0354 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417495 |  |  | 150 |  |  |  | 2022-08-18 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381000 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000381001 10013002 JEDDAH CABLES COMPANY LTD SA5000381003 10013724 SAUDI CABLE COMPANY SA5000381004 10020512 THE OKONITE COMPANY US5001893702
6.6 | WIRE; BUILDING; 600V; (14 AWG) ORANGE | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;ORANGE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419055 |  |  | 1,000 |  |  |  | 2022-10-23 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386586 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386588 10016871 GENERAL CABLE USBICC GENERAL5000386681 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775613 10012569 ALFANAR ELECTRICAL
6.7 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419083 |  |  | 5,000 |  |  |  | 2022-10-24 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386790 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386792 10016871 GENERAL CABLE USBICC GENERAL5000386795 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775615 10012569 ALFANAR ELECTRICAL
6.8 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULL PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418919 |  |  | 3,000 |  |  |  | 2022-10-23 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385726 10016871 GENERAL CABLE USBICC GENERAL5000385728 10020512 THE OKONITE COMPANY US5000385830 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775605 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.9 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 150 M/COIL (500 FT/COIL); NYLON JACKET; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418878 |  |  | 3,000 |  |  |  | 2022-10-23 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385294 10016871 GENERAL CABLE USBICC GENERAL5000385297 10020512 THE OKONITE COMPANY US5000385299 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775600 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.10 | CABLE; 600-1KV XLPE/PVC 4/C 2.5MM2 (14 A | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;13.4 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;0.7 MM (0.028 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417888 |  |  | 1,000 |  |  |  | 2022-10-23 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382352 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382355 10020512 THE OKONITE COMPANY US5000382354 10013724 SAUDI CABLE COMPANY SA5001893733 10037887 EGYTECH CABLES EL SEWEDY EG5000382353
6.11 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418910 |  |  | 3,000 |  |  |  | 2022-10-23 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385521 10016871 GENERAL CABLE USBICC GENERAL5000385523 10020512 THE OKONITE COMPANY US5000385525 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775602 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.12 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;4 MM2 CONDUCTO;0.6/1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 4 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412525 |  |  | 2,250 |  |  |  | 2022-10-30 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893572 10037887 EGYTECH CABLES EL SEWEDY EG5002332531 10046468 ELSEWEDY CABLES COMPANY SA5001304028 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000365983 10013724 SAUDI CABLE CO
6.13 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;6 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 6 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893717 |  |  | 600 |  |  |  | 2022-08-26 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002322152 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002322153 10013724 SAUDI CABLE COMPANY SA5002322154 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5002322155 10013002 JED | MS8314004SHTS050120055019731688000101.pdf
6.14 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419217 |  |  | 75,000 |  |  |  | 2022-10-24 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387653 10016871 GENERAL CABLE USBICC GENERAL5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775625 10012569 ALFANAR ELECTRICAL
6.15 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; 7 | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;4 SQ MM CONDUCTO;600-1000 V SUPPLY;7 CONDUCTO;17.9 MM (0.7047 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 7. ORIGINAL EQPT REFS ABRASION; MOISTURE ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC 332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000418074 |  |  | 2 |  |  |  | 2022-10-24 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M016-S960 JAZAN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000383326 10013724 SAUDI CABLE COMPANY SA5000383327 10020512 THE OKONITE COMPANY US5001893750 10037887 EGYTECH CABLES EL SEWEDY EG5002332621 10046468 ELSEWEDY CABLES COMPANY SA5002700292 10013827 SAUDI
6.16 | WIRE; ELECTRICAL; 6 MM2; 1 CONDUCTOR; | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;WHITE;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419802 |  |  | 2 |  |  |  | 2022-07-31 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M016-S960 JAZAN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390065 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390067 10013724 SAUDI CABLE COMPANY SA5000390068 10020512 THE OKONITE COMPANY US5001301521 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED
6.17 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;107.2 SQ MM CONDUCTO;19 STRANDS CONDUCTO;54.4 MM (2.140 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;3.4 MM (0.134 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;BLACK;PVC JACKET;4590 KG/KM LG;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL; 500 M (1640.5 FT);MV TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; | No |  | USD | Meter | 1000417053 |  |  | 30 |  |  |  | 2022-10-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | A002-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001328122 30000598 JEDDAH CABLE COMPANY LIMITED SA5001120698 30000865 SAUDI CABLE COMPANY SA5001308739 30000926 SAUDI MODERN COMPANY FOR CABLE SAINDUSTRY LIMITED (RIYADH CABLES)5002197927 10027767 SWCC | 15SAMSS502052020205019734346000101.pdf
6.18 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; STRANDED CONDUCTO;POWER TYPE;150/70 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;49 MM CABLE OD;BLACK;3 X 150 MM2 + 70 MM2; CU/XLPE/SWA/PVC ACC TO 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;OPEN COIL ON PALLET;PVC INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000413676 |  |  | 100 |  |  |  | 2022-10-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000369538 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000369539 10013724 SAUDI CABLE COMPANY SA5001893586 10037887 EGYTECH CABLES EL SEWEDY EG5001301468 10013827 SAUDI MODERN COMPANY FOR SASPEC
6.19 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;10 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 10 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893719 |  |  | 500 |  |  |  | 2022-10-30 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002322162 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002322163 10013724 SAUDI CABLE COMPANY SA5002322164 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5002322165 10013002 JED | MS8314004SHTS050120055019739481000101.pdf
6.20 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG);BLUE | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419171 |  |  | 1,000 |  |  |  | 2022-09-06 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387110 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387112 10016871 GENERAL CABLE USBICC GENERAL5000387115 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775619 10012569 ALFANAR ELECTRICAL
6.21 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419212 |  |  | 1,000 |  |  |  | 2022-09-06 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387555 10016871 GENERAL CABLE USBICC GENERAL5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000387556 100168
6.22 | WIRE; ELEC; 10 AWG; 1 CONDUCTOR; | WIRE ELECTRICAL; 10 AWG CONDUCTO;1 CONDUCTO;YELLOW;600 V SUPPLY;THHN-THWN WIRE;3.81 MM (0.150 IN) OD;55.1 KG/KM (37 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418984 |  |  | 3,000 |  |  |  | 2022-11-06 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386254 10016868 GENERAL CABLE US5000386255 10020512 THE OKONITE COMPANY US5000386257 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775609 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMP
6.23 | CABLE; 600V TC 3/C 2.5MM2 (14 AWG) PVC X | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;175 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417735 |  |  | 2,500 |  |  |  | 2022-09-06 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M016-S960 JAZAN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381943 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000381945 10013724 SAUDI CABLE COMPANY SA5000381946 10020512 THE OKONITE COMPANY US5001893722 10037887 EGYTECH CABLES EL SEWEDY EG5002332603
6.24 | CABLE; 1KV XLPE/PVC 3/C 6MM2 (10 AWG) PV | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;15.8 MM (0.622 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFAC TURE MARKINGS;350 KG/KM (235 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0276 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417760 |  |  | 200 |  |  |  | 2022-11-07 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382034 10013724 SAUDI CABLE COMPANY SA5001893724 10037887 EGYTECH CABLES EL SEWEDY EG5002332605 10046468 ELSEWEDY CABLES COMPANY SA5000382033 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFER
6.25 | CABLE; POWER; 600V-1000V; | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;POWER TYPE;50 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;27.3 MM (1.075 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;3162 KG/KM (2125 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.0 MM (0.040 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417981 |  |  | 100 |  |  |  | 2022-12-04 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382911 10013724 SAUDI CABLE COMPANY SA5000382912 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001893740 10037887 EGYTECH CABLES EL SEWEDY EG5002332617 10046468 ELSEWEDY CABLES CO
6.26 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; 7 | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;21.3 MM (0.840 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;995 KG/KM (669 LB PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.027 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417932 |  |  | 300 |  |  |  | 2022-11-13 02:55 | 5000382712 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) ¦ 5000382713 761404C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) ¦ 5000382714 SAUDI CABLE COMPANY ( SA - JEDDAH ) ¦ 5001277344 DA9LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) ¦ 5001 | [5 empty] | Normal/staged | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000382712 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000382714 10013724 SAUDI CABLE COMPANY SA 5001893737 10037887 EGYTECH CABLES EL SEWEDY EG 5002332615 10046468 ELSEWEDY CABLES COMPANY SA 5000382
6.27 | CABLE; ELECTRICAL; LOW VOLTAGE; 7 S | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;4 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;14.6 MM (0.575 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;270 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417737 |  |  | 500 |  |  |  | 2022-11-07 02:55 | 5000381948 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) ¦ 5000381949 761403C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) ¦ 5000382030 SAUDI CABLE COMPANY ( SA - JEDDAH ) ¦ 5000382031 THE OKONITE COMPANY ( US - HOUSTON ) ¦ 5001274382 DA6LU03BE | [5 empty] | Normal/staged | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000381948 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000382030 10013724 SAUDI CABLE COMPANY SA 5000382031 10020512 THE OKONITE COMPANY US 5001893723 10037887 EGYTECH CABLES EL SEWEDY EG 5002332604
6.28 | CORD; ELECTRICAL; 3 CONDUCTOR; 70 SQ M | CORD ELECTRICAL; 3 CONDUCTO;70 SQ MM CONDUCTO;19 STRANDS CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;XLPE; POWER AND CONTROL;27.3 MM (1.874 IN) OD;BLACK;PVC JACKET;XLPE INSUL;TR 90 DEG C;2260 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC332; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER MARKINGS; VOTAGE; TYPE SIZE; NUMBER OF CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; ST2 IEC 502; INSULATION THICKNESS; 1.1 MM (0.043 IN); CONDUCTOR MATERIAL SPEC; IEC 228; CLASS 2; INSULATION MATERIAL SPEC; ICEA 502; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Meter | 1000417881 |  |  | 500 |  |  |  | 2022-10-23 03:55 | 5001274387 HB4LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) ¦ 5001893730 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) ¦ 5002332610 ELSEWEDY CABLES COMPANY ( SA - YANBU ) ¦ 5002612721 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5001893730 10037887 EGYTECH CABLES EL SEWEDY EG 5002332610 10046468 ELSEWEDY CABLES COMPANY SA 5002612721 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5001274387 10013002 JEDDAH CABLES COM
6.29 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER & CONTROL TYPE;0.6/1.0KV SUPPLY;12 CONDUCTO;2.5 SQ MM CONDUCTO;7 STRANDS CONDUCTO;18.8 MM (0.740 IN) CABLE OD;COPPER CONDUCTO;IEC 228 CLASS 2;XLPE INSUL;*******;PVC JACKET;TR 90 DEG C;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;CARTON OR FULLY PROTECTED REEL;XLPE TYPE;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 12; ABRASION; MOISTURE ACID; OIL & SUNLGHT RESISTANT; FLAME RETARDANT PER IEC 332.3; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000418077 |  |  | 180 |  |  |  | 2022-10-23 03:55 | 5000383403 761412C00250UOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) ¦ 5000383404 SAUDI CABLE COMPANY ( SA - JEDDAH ) ¦ 5000383405 THE OKONITE COMPANY ( US - HOUSTON ) ¦ 5001277352 DA5LU12BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) ¦ 5001592373 S | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000383404 10013724 SAUDI CABLE COMPANY SA 5000383405 10020512 THE OKONITE COMPANY US 5001893752 10037887 EGYTECH CABLES EL SEWEDY EG 5002332623 10046468 ELSEWEDY CABLES COMPANY SA 5001592373 10013827 SAUDI
6.30 | WIRE; BUILDING; 600V; | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;233.6 KG/KM (157 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL OR CARTON TO BE TAGGED OR MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419341 |  |  | 500 |  |  |  | 2022-09-06 03:55 | 5000388215 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) ¦ 5000388216 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) ¦ 5000388217 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) ¦ 5000388218 M2816 MANHATTAN-CDT ( US - HOUSTON ) ¦ 5000388219 116671254 THE OKONITE COMPAN | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000388216 10016871 GENERAL CABLE US BICC GENERAL 5000388320 10021675 SOUTHWIRE COMPANY INCORPORATED US 5000388215 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002359639 10013206 MIDDL
6.31 | SLEEVE; HEAT SHRINK; | TUBING SHRINK; HEAT TYPE;9-22.5 MM DIA RANG;1000 MM LG;1000 V MAXIMUM SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SLEEVE;ADHESIVE INTERNAL COATING; MOISTURE PROOF & WATER RESISTANT | No |  | USD | piece | 1000381320 |  |  | 190 |  |  |  | 2022-10-23 03:55 | 5000319938 MWTM2581000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000319938 10013565 RAYCHEM SAUDI ARABIA COMPANY SA LIMITED PART NUMBER MWTM-25/8-1000/S SUPERSEDED NUMBER MWTM-25/8-1000/172
6.32 | TUBING; HEAT SHRINK; 17.5-45 MM DIA. | TUBING SHRINK; HEAT TYPE;17.5-45 MM DIA RANG;1000 MM LG;1000 V MAXIMUM SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SLEEVE;ADHESIVE INTERNAL COATING; MOISTURE PROOF & WATER RESISTANT | No |  | USD | piece | 1000381327 |  |  | 50 |  |  |  | 2022-10-23 03:55 | 5000320040 MWTM50161000S RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000320040 10013565 RAYCHEM SAUDI ARABIA COMPANY SA LIMITED PART NUMBER MWTM-50/16-1000/S SUPERSEDED NUMBER MWTM-50/16-1000/172
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N36: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R36: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T36: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK36: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf