## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000393070 M4004 MANHATTAN-CDT ( US - HOUSTON ) | 5000387873 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387658 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387338 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5000389954 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000386683 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382502 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5001363170 M. P. HUSKY ( US - GREENVILLE ) | 5000389728 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002372411 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000393071 9015 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) | 5000387876 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387761 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387430 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AF Afghanistan | 5000389955 711101C00400U0WT1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386685 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382503 761404C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002108608 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5000389729 711101C00400U0BK1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002372413 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5001597473 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387877 25008232 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387762 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387431 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AG Antigua/Barbuda | 5000389956 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386686 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382504 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002372429 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000389840 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002372415 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | We are currently at full capacity
|  | POE - Port of Export | 5001599015 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387878 116671192 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387763 116671132 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387432 116671103 THE OKONITE COMPANY ( US - HOUSTON ) | AI Anguilla | 5001277356 DA6DU01WG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000386687 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001277342 DA7LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002372431 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5001299957 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002521055 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | Missing information / not enough information provided
|  |  | 5001604326 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000387879 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000387764 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000387433 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | AB Abu Dhabi | 5001775641 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001429830 DW1WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001893735 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002372433 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5001775637 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002786557 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | Other
|  |  | 5002612736 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001429856 DW4WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429853 DW3WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429838 DW2WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AL Albania | 5002158094 12173150 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437365 0D06551405 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002143877 C213XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002521058 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002158090 12133150 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH )
|  |  |  | 5001437379 0D06550810 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437377 0D06551010 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437373 0D06551205 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | AM Armenia | 5002700294 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001775614 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002786560 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  |  | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - RIYADH )
|  |  |  | 5001775628 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775626 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775622 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AN Dutch Antilles |  | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002332613 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  |  |  | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  |  | 5002158078 11170050 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002158076 11170040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002158071 11100030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AO Angola | [6 empty] | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | TRAY; CABLE; BEND; 305 MM (12 IN) WD; | TRAY CABLE BEND; 305 MM (12 IN) WD;152 MM (6 IN) DP;STYLE ELBOW;610 MM (24 IN) RADIUS;INSIDE VERTICAL POSITION;90 DEG;VINYL ESTER RESIN FIBERGLASS;NEMA VE-1;SAES-P-104;MOLDED LADDER TYPE; WITH COVER; CLASS 1 RATING | No |  | USD | each | 1000368067 |  |  | 1 |  |  |  | 2022-09-12 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002371315 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA LTD.5002371316 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA5002371317 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SACOMPANY LTD. FACTORY | MS8314004SHTS050120055019747483000101.pdf
6.2 | TRAY; CABLE; BEND; 12 IN WIDE WD; 152 | TRAY CABLE BEND; 12 IN WIDE WD;152 MM (6 IN) DP;STYLE ELBOW;305 MM (12 IN) RADIUS;INSIDE VERTICAL POSITION;90 DEG;VINYL ESTER RESIN FIBERGLASS;NEMA VE-1;SAES-P-104;CLASS 1 RATING; MOLDED LADDER TYPE WITH COVER | No |  | USD | each | 1000367579 |  |  | 1 |  |  |  | 2022-11-08 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | B006-C322 TANAJIB B-10; STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002371297 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA LTD.5002371298 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SA5002371299 10013758 LEGRAND SAUDI ELECTRIC INDUSTRIES SACOMPANY LTD. FACTORY | MS8314004SHTS050120055019752423000101.pdf
6.3 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419193 |  |  | 10,000 |  |  |  | 2022-05-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387430 10016871 GENERAL CABLE USBICC GENERAL5000387433 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387338 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775622 10012569 ALFANAR ELECTRICAL
6.4 | WIRE; 600V THHN/THWN 1/C 10 AWG (6MM2) S | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419271 |  |  | 17,000 |  |  |  | 2022-07-31 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387658 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387761 10016871 GENERAL CABLE USBICC GENERAL5000387764 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775626 10012569 ALFANAR ELECTRICAL
6.5 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419212 |  |  | 2,000 |  |  |  | 2022-07-04 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387555 10016871 GENERAL CABLE USBICC GENERAL5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000387556 100168
6.6 | WIRE; 600V THHN/THWN 1/C 10 AWG (6MM2) S | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419271 |  |  | 23,000 |  |  |  | 2022-07-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387658 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387761 10016871 GENERAL CABLE USBICC GENERAL5000387764 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775626 10012569 ALFANAR ELECTRICAL
6.7 | WIRE; ELECTRICAL; 2.08 MM2 (14 AWG); 1 | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419059 |  |  | 5,500 |  |  |  | 2022-08-16 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386683 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386685 10016871 GENERAL CABLE USBICC GENERAL5000386687 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775614 10012569 ALFANAR ELECTRICAL
6.8 | WIRE; ELECTRICAL; 4 MM2; 1 CONDUCTOR; B | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;BLACK;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;48 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419701 |  |  | 3,308 |  |  |  | 2022-08-02 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389728 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000389840 10013724 SAUDI CABLE COMPANY SA5001299957 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001775637 10012569 ALFAN
6.9 | WIRE; BUILDING; 600V; 8 AWG WHITE | WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419279 |  |  | 25,000 |  |  |  | 2022-08-02 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Normal/staged | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387873 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387876 10016871 GENERAL CABLE USBICC GENERAL5000387879 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775628 10012569 ALFANAR ELECTRICAL
6.10 | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUC | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;WHITE;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;47 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419734 |  |  | 2,208 |  |  |  | 2022-08-04 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389954 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000389956 10013724 SAUDI CABLE COMPANY SA5002700294 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001775641 10012569 ALFAN
6.11 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;17.1 MM (0.6732 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;425 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417914 |  |  | 1,000 |  |  |  | 2022-09-12 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382502 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382504 10013724 SAUDI CABLE COMPANY SA5001893735 10037887 EGYTECH CABLES EL SEWEDY EG5002332613 10046468 ELSEWEDY CABLES COMPANY SA5000382
6.12 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;GRAY;600 V SUPPLY;XHHW/SIS WIRE;3.81 MM (0.150 IN) OD;TR 90 DEG C MAXIMUM;SOLID;XLPE INSUL;COPPER CONDUCTO;SWITCHBOARD TYPE;UL-44;MOISTURE HEAT; OIL RESISTANT; FLAME RETARDANT; 0.76 MM (0.030 IN) INSUL THK; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 44; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000420847 |  |  | 830 |  |  |  | 2022-10-23 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001604326 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001597473 10013002 JEDDAH CABLES COMPANY LTD SA5001599015 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5002612736 100440
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf