## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5001861275 WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) |  | 5002391216 HMCP150T4CS05 ARABIAN POINT EIGHT POWER CO. ( SA - DAMMAM ) | 5000483287 CEMA LTD ( GB - NETHERFIELD ) | 5001829294 SCHNEIDER ELECTRIC PLANTS SAUD ( SA - RIYADH ) | 5001460776 RAWABI ELECTRIC COMPANY ( SA - DAMMAM ) | 5000472635 AE4711204484 ABB ELECTRICAL INDUSTRIS CO. L ( SA - RIYADH ) | 5000424351 GUAB150 SAUDI CONDUIT COATING AND ( SA - DAMMAM ) | 5002663986 5020100663 ARABIAN POWER ELECTRONICS COMP ( SA - KHOBAR ) | 5000315213 441PB1A WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) | AE Utd.Arab Emir. | 5001421450 ABDULLA FOUAD IMPALLOY LTD CO ( SA - DAMMAM ) | 5000322838 HAWA ELECTRIC PANEL BOARD FACT ( SA - DAMMAM ) | 5002254053 7213238402 ELECTRONIC AND ELECTRICAL INDU ( SA - KHOBAR ) | 5000366103 ENLB54A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000410111 A1400HS10MG ABAHSAIN-COPE SAUDI ARABIA CO ( SA - DHAHRAN ) | 5001460778 RAWABI ELECTRIC COMPANY ( SA - DAMMAM ) | 5000350915 X343863 ROCKWELL AUTOMATION ( US - THE WOODLANDS ) | 5000738351 GULF INT'L ELECTRICAL DISTRIBU ( SA - JEDDAH ) | 5002425321 FXVIM02B MITSUBISHI HITACHI POWER SYSTE ( JP - YOKOHAMA, KANAGAWA ) | 5000119548 FNQR2 WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) | 5000669807 MR543 SAUDI DIESEL EQUIPMENT CO., LT ( SA - KHOBAR ) | 5001301707 E15SF50 MERSEN ( US - NEWBURYPORT ) | 5000785179 ABDULLAH HASHIM COMPANY LIMITE ( SA - DAMMAM ) | 5001433918 A3C13963 CORTEM SPA ( IT - VILLESSE ) | 5000208060 RAWABI ELECTRIC COMPANY ( SA - DAMMAM ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5001861276 USCC1I MERSEN ( US - NEWBURYPORT ) |  | 5002391217 HMCP150T4CS05 EATON CUTLER-HAMMER ( US - WATERTOWN ) | 5000483352 LV429630 SCHNEIDER ELECTRIC THE NETHERL ( NL - HOOFDDORP ) |  | 5001460777 AEPL1R EGS APPLETON ELECTRIC COMPANY ( US - HOUSTON ) | 5000472698 9547802U3 ATB SCHORCH GMBH ( DE - MONCHENGLADBACH ) | 5000424352 GUAB59112 ZAMIL INDUSTRIAL COATINGS FACT ( SA - DAMMAM ) |  | 5000315217 PB1A POWER & WATER SOLUTIONS/EMERSO ( US - PITSBURGH ) | AF Afghanistan |  | 5000322839 SAK25 RAWABI ELECTRIC COMPANY ( SA - DAMMAM ) | 5002254054 7213238402 MGE UPS SYSTEMS/APC SCHNEIDER ( US - COSTA MESA ) | 5001304029 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000410113 G5814SH G S METALS CORPORATION ( US - PINCKNEYVILLE ) | 5001460779 AEPL1G EGS APPLETON ELECTRIC COMPANY ( US - HOUSTON ) | 5001592785 SA00000367 SAUDI ELECTRICAL TRANSFORMERS ( SA - JEDDAH ) | 5002290492 250340LSPK ARABIAN POINT EIGHT POWER CO. ( SA - DAMMAM ) |  | 5000119549 FNQR2 BUSSMANN MANUFACTURING / EATON ( US - ELLISVILLE ) | 5000669809 B153EWT BROYCE CONTROL LIMITED ( GB - WOLVERHAMPTON ) | 5001301708 036A0050 CORRPOWER RECTIFIER ( CA - EDMONTON ) | 5000785241 XB4BVG5 SCHNEIDER ELECTRIC USA / SQUAR ( US - HOUSTON ) | 5002059723 A3C13963 SAFETY AND PROTECTION PLANT FO ( SA - DAMMAM ) | 5000208061 CR324E360F GE ELECTRICAL DISTRIBUTION AND ( US - HOUSTON ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation |  |  |  | 5001787205 1101007 SAUDI DIESEL EQUIPMENT CO., LT ( SA - KHOBAR ) |  |  | 5000472760 7310511 ## SIEMENS AG ( DE - MUNCHEN ) | 5000424353 GRLB150MPVC EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) |  |  | AG Antigua/Barbuda |  | 5000323060 WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) |  | 5001327914 DC9LA3ABG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | [5 empty] | 5000119643 KLDR2 LITTELFUSE INCORPORATED ( US - CHICAGO ) |  | 5001314710 36A0090 SAUDI CATHODIC PROTECTION ( SA - DAMMAM ) | 5001256404 XB4BVG5 TELEMECANIQUE SA ( FR - RUEIL MALMAISON ) |  |  | We are currently at full capacity
|  | POE - Port of Export | [6 empty] | 5000472762 7310511 ** SIEMENS AG ( DE - KARLSRUHE ) | 5000424354 GUALB150PVC EGS-OZ GEDNEY/EMERSON ( US - SKOKI ) |  |  | AI Anguilla |  | 5000323168 27962 WEIDMULLER LIMITED ( GB - KINGSHILL ) |  | 5001893579 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | [5 empty] | 5000119644 MCKINSTRY INCORPORATED ( US - CHICOPEE ) |  | 5001593666 E15SF50 ABDULLA FOUAD IMPALLOY LTD CO ( SA - DAMMAM ) | 5002700265 SAFETY AND PROTECTION PLANT FO ( SA - DAMMAM ) |  |  | Missing information / not enough information provided
[9 empty] | 5001259008 STROMBERG TIME AND DATA SYSTEM ( US - NEW HAVEN ) | 5000424355 PERMA-COTE INDUSTRIES ( US - UNIONTOWN ) |  |  | AB Abu Dhabi |  | 5001724109 BENTLY-NEVADA LLC ( US - MINDEN ) |  | 5002143828 C334XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | [5 empty] | 5001277542 BUSSMANNFNQR2 ARABIAN POINT EIGHT POWER CO. ( SA - DAMMAM ) | [5 empty] | Other
[9 empty] | 5001286829 XD1009CFA ARABIA ELECTRIC LIMITED (EQUIP ( SA - JEDDAH ) | 5000424357 GUAB150 ROBROY INDUSTRIES ( US - GILMER ) |  |  | AL Albania |  |  |  | 5002157800 14535251 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | 5002615097 8510801 RS COMPONENTS LTD ( GB - CORBY )
[13 empty] | AM Armenia |  |  |  | 5002332537 ELSEWEDY CABLES COMPANY ( SA - YANBU )
AN Dutch Antilles
AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | BLOCK; TERMINAL; 750VAC; 20A; 1 POLE; AD | BLOCK TERMINAL; ADD-ON TYPE;6 MM WD X 36.6 MM LG X 44 MM HT;750 VAC;20 A;1 POLE;2.5 MM2 WIRE;TUBULAR CLAMP TERMINAL;MELAMINE;CSA;BOARD COMPONENTS; STANDARD; KLIPPON (UK) TYPE SAK-2.5 NO 2796.2 | No |  | USD | each | 1000382033 |  |  | 200 |  |  |  | 2022-09-25 03:55 | 5000322838 HAWA ELECTRIC PANEL BOARD FACT ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000322838 10012799 HAWA ELECTRIC PANEL BOARD FACTORY SA5000323060 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA LTD.5001724109 10030469 BENTLY-NEVADA LLC US5000322839 10013570 RAWABI ELECTRIC CO
6.2 | HOLDER; FUSE; DIN RAIL MOUNT; 1-30 A | HOLDER FUSE; DIN RAIL MOUNT;1-30 A;600 V;10.3 MM (13/32 IN) DIA X 38.1 MM (1-1/2 IN) LG FUSE;PANEL MTG;UL 512 SPARE PART FOR; MOTOR CONTROL CENTER; 480 V;3 PH PHASE;800 A MAIN BUS;NEMA 1 INDOOR GASKETED ENCLOSUR;60 HZ;16-SAMSS-503;42 KAIC; 3-WIRE ORIGINAL EQUIPMENT REFERENCES; MODEL NUMBER FREEDOM 2100 DRAWING NUMBER 610432-002-ES/D1/SL/SD 610432-002-GA ORDER NUMBER 3.98401.06000.01 | No |  | USD | each | 1000780874 |  |  | 40 |  |  |  | 2022-07-28 03:55 | 5001861275 WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E003-C300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001861275 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA LTD.5001861276 10018173 MERSEN USPART NUMBER USCC1I
6.3 | BLOCK; CONTACT; N.O. CONTACTS | BLOCK; CONTACT TYPE;N.O. CONTACTS SPARE PART FOR; PANEL CONTROL; CONTROL PANEL; HVAC; 120VAC; 60 HZ; AS PER BUYERS DWG. # DWG. XA-K42978 ORIGINAL EQUIPMENT REFERENCES; | No |  | USD | each | 1000372512 |  |  | 4 |  |  |  | 2022-07-25 03:55 | 5000315213 441PB1A WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000315217 10018073 POWER & WATER SOLUTIONS/EMERSON USFISHER ROSEMOUNT/ EMERSON PROCESSDRAWING NUMBER XA-K42978PART NUMBER PB1-A5000315213 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA LTD.PART
6.4 | FUSE; LOW VOLTAGE; TIME DELAY; 2 A; | FUSE LOW VOLTAGE; TIME DELAY TYPE;2 A;600 VAC;SIZE 10.3 MM X 38.1 MM;FERRULE ENDS TERMINAL;TUBULAR BODY;CL CC;200 KA IC TYPE;FIBERGLASS BODY;UL SPARE PART FOR; PANELBOARD ELECTRICAL; 1 BREAKER;480 VAC;1 PHASE;15 A;COPPER FREE ALUMINUM;SURFACE MTG;60 HZ;16-SAMSS-512;150 A FRAME MAIN MCCB; INSTALLED @ SWITCHRACK TAG # 86-SR-01 ORIGINAL.EQUIPMENT.REFS... DWG# 03 025 0019; 98-3809 WIRE; 98-3809-02; 98-3809-02.XLS MANF CURLEE MANUFACTURING COMPANY/APPLETON CAT# ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA EGS CURLEE MANUFACTURING AB COMPANY DRAWING NUMBER 03 025 0019 98-3809 WIRE 98-3809-02 98-3809-02.XLS CATALOG NUMBER AA CSEW-9115-H-Z-V1W-T3-3F-2BD AB -G2-Q-NP-M2 | No |  | USD | each | 1000262009 |  |  | 13 |  |  |  | 2022-10-25 03:55 | 5000119548 FNQR2 WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000119644 10020035 MCKINSTRY INCORPORATED US5000119643 10019779 LITTELFUSE INCORPORATED USPART NUMBER KLDR-25000119549 10017281 BUSSMANN MANUFACTURING / EATON USPART NUMBER FNQ-R-25001277542 10012120
6.5 | CIRCUIT BREAKER; MOLDED CASE; 100 A; | CIRCUIT BREAKER MOLDED CASE; 100 A;3 POLE;25 KAIC @ 415 V TYPE;THERMAL-MAGNETIC TRIP SPARE PART FOR; PANEL CONTROL; SEWAGE PUMP TYPE;480 V; 60 HZ MAIN;FREE STANDING MTG;OUTDOOR ENCLOSUR;850 MM WD X 1600 MM LG X 300 MM DP ORIGINAL.EQUIPMENT.REFS... MANF CEMA LTD. SERIAL# 21311A; 21311B; 21311C; 21311D; 21311E TAG# J06-CP-004; J51-CP-001; J78-CP-004; J80-CP-004; J85-CP-015 DWG# 21311/B/GA/1 & 21311/A/SW/1;2;3 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME CEMA LTD SERIAL NUMBER 21311A 21311B 21311C 21311D 21311E DRAWING NUMBER AA 21311/B/GA/1 & AB 21311/A/SW/1;2;3 TAG NUMBER J06-CP-004 J51-CP-001 J78-CP-004 J80-CP-004 J85-CP-015 | No |  | USD | each | 1000445081 |  |  | 1 |  |  |  | 2022-06-25 03:55 | 5000483287 CEMA LTD ( GB - NETHERFIELD ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000483287 10000312 CEMA LTD GB5000483352 10001675 SCHNEIDER ELECTRIC THE NETHERLANDS NLMODEL NUMBER NS100N+TM100DPART NUMBER LV429630SUPERSEDED NUMBER 296305001787205 10005849 SAUDI DIESEL EQUIPMENT C
6.6 | SOCKET; ELECTRICAL; RELAY; 11 PIN | SOCKET ELECTRICAL; RELAY TYPE;11 PIN CONTACT( SPARE PART FOR; PANEL CONTROL; GENERATOR TYPE;120 VAC; 60 HZ;DIESEL ENGINE IS CATALOGUED UNDER CCN; 59-MT-04-0000 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA SAUDI DIESEL GENERATORS AB COMPANY MODEL NUMBER SDM-700 ORDER NUMBER 6.98409.01000.01 TAG NUMBER 6Z02-LCP-041A 6Z02-LCP-041B 6Z03-LCP-041A 6Z03-LCP-041B | No |  | USD | each | 1000722901 |  |  | 15 |  |  |  | 2022-07-26 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | B01A-C531 SHEDGUM B-3013; STORES UNIT | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001592242 10005849 SAUDI DIESEL EQUIPMENT CO.; LTD. SA5001592243 10002655 BROYCE CONTROL LIMITED GBPART NUMBER PF11/SSUPERSEDED NUMBER FWD11
6.7 | RELAY; AUXILARY; 24 VDC | RELAY; AUXILARY TYPE;24 VDC. SUPPLY | No |  | USD | each | 1000000772 |  |  | 15 |  |  |  | 2022-06-25 03:55 | 5000669807 MR543 SAUDI DIESEL EQUIPMENT CO., LT ( SA - KHOBAR ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | B01A-C531 SHEDGUM B-3013; STORES UNIT | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000669807 10005849 SAUDI DIESEL EQUIPMENT CO.; LTD. SANUMBER MR5435000669809 10002655 BROYCE CONTROL LIMITED GBPART NUMBER B153E/WTSUPERSEDED NUMBER B153E
6.8 | RELAY; CONTROL; MINIATURE; 230 VAC; 5 A | RELAY CONTROL; MINIATURE TYPE;230 VAC COIL;5 A CONTACT;2NO-2NC;DPDT ACTION;PLUG IN TERMINAL;POLYCARBONATE DUST COVER ENCLOSUR;SOCKET MTG;GOLD-FLASHED CONTACT(;15400 OHM COIL;CONTINUOUS OPERATIO;CSA;50/60 HZ; WITHOUT LED SPARE PART FOR; MOTOR CONTROL CENTER; 400/230 VAC;3 PH; 5 WIRE PHASE;920 A MAIN BUS;230 VAC CONTROL;IP54 ENCLOSUR;60 HZ;IEC 529;ISC39KA/1 SEC; FREE STANDING; WITH BREAKERS & SWITCHES AND VOLTMETER/AMMETER ; AND VOLTAGE TRANSFORMER AND PROTECTIVE RELAYS ORIGINAL EQUIPMENT REFERENCES; MODEL NUMBER BLOKSET DRAWING NUMBER 3-C-MG-DE-ER0-420-00011 REFERENCE NUMBER 68240-22302-P TYPE NUMBER D/MW | No |  | USD | each | 1000774471 |  |  | 17 |  |  |  | 2022-07-28 03:55 | 5001829294 SCHNEIDER ELECTRIC PLANTS SAUD ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B001-C500 ABQAIQ B-1061; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001829294 10006203 SCHNEIDER ELECTRIC PLANTS SAUDIA SACOMPANY LIMITED
6.9 | METAL FRAMING PARTS; | CHANNEL FRAMING; 3.0 M (10 FT) LG;41.9 MM (1-5/8 IN) WD;41.3 MM (1-5/8 IN) DP;14 GA THK;GALV FINISH;STEEL;SLOTTED HOLE; GLOBE STRUT; PART TO BE SHIPPED ASSEMBLED; METAL PRODUCTS DIV OF US GYPSUM CO; NO. G-5814-SH | No |  | USD | piece | 1000426377 |  |  | 5 |  |  |  | 2022-08-22 03:55 | 5000410111 A1400HS10MG ABAHSAIN-COPE SAUDI ARABIA CO ( SA - DHAHRAN ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000410111 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SANUMBER A-1400-HS-10-MGSUPERSEDED NUMBER A-1400HS-MG-105000410113 10023724 G S METALS CORPORATION USPART NUMBER G-5814-SH
6.10 | METAL FRAMING PARTS; | CHANNEL FRAMING; 3.0 M (10 FT) LG;41.9 MM (1-5/8 IN) WD;41.3 MM (1-5/8 IN) DP;14 GA THK;GALV FINISH;STEEL;SLOTTED HOLE; GLOBE STRUT; PART TO BE SHIPPED ASSEMBLED; METAL PRODUCTS DIV OF US GYPSUM CO; NO. G-5814-SH | No |  | USD | piece | 1000426377 |  |  | 15 |  |  |  | 2022-08-22 03:55 | 5000410111 A1400HS10MG ABAHSAIN-COPE SAUDI ARABIA CO ( SA - DHAHRAN ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000410111 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SANUMBER A-1400-HS-10-MGSUPERSEDED NUMBER A-1400HS-MG-105000410113 10023724 G S METALS CORPORATION USPART NUMBER G-5814-SH
6.11 | FUSE; LOW VOLTAGE; SEMICONDUCTOR | FUSE LOW VOLTAGE; SEMICONDUCTOR PROTECTION TYPE;10 A;250 AC / 250 VDC;SIZE 14.3 MM X 50.8 MM LG;FERRULE END TERMINAL;TUBULAR BODY;200 KA RMS TYPE SPARE PART FOR; RECTIFIER IMPRESSED CURRENT; CATHODIC PROTECTION TYPE;120 V AC @ 60 HZ POWER;40 VDC @ 8 A OUTPUT;STYLE CONSTANT VOLTAGE;OUTDOOR;SHUNT RATING; 10 A / 50 MV; COOLING CLASS; OA; OIL CAPACITY; 330 LTRS; FLOOR OR CONCRETE PAD MOUNTING; INPUT KVA; 0.465 KW ORIGINAL.EQUIPMENT.REFS... DWG# 3005D26/27/28 MANF ABDULLA FOUAD IMPALLOY LIMITED COMPANY SERIAL# 03R-0213; 03R-0214; 03R-0215; 03R-0216; 03R-0217 TAG# Q01-004-XFR(T)-009 MODEL# ADOSAS 40-8A EFTWYZ1;99 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME ABDULLA FOUAD IMPALLOY LIMITED MODEL NUMBER ADOSAS 40-8A EFTWYZ1;99 SERIAL NUMBER 03R-0213 03R-0214 03R-0215 03R-0216 03R-0217 DRAWING NUMBER 3005D26/27/28 TAG NUMBER Q01-004-XFR(T)-009 | No |  | USD | each | 1000693058 |  |  | 19 |  |  |  | 2022-08-21 03:55 | 5001421450 ABDULLA FOUAD IMPALLOY LTD CO ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M016-S960 JAZAN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001421450 10011900 ABDULLA FOUAD IMPALLOY LTD CO SA
6.12 | FUSE; LOW VOLTAGE; SEMICONDUCTOR | FUSE LOW VOLTAGE; SEMICONDUCTOR PROTECTION TYPE;50 A;150 V;200 KA @ 150 VAC TYPE SPARE PART FOR; RECTIFIER; TRANSFORMER TYPE;8.35 A (INPUT);3.008 KVA; 208 VAC; 3-PHASE; 60 HZ (INPUT);2.50 KW; 50 V; 50 A DC (OUTPUT); 75 A/50 MV; 55 DEG C MAX OPERATING TEMP ORIGINAL.EQUIPMENT.REFS... DWG# 2001663D01 MANF RTS MANUFACTURING DIVISION/CORRPRO REF# 17-884-209-00 TYPE TAP-ADJUST TAG# D87-CPR-001; D87-CPR-002; D87-CPR-003; D89-CPR-001; H63-CPR-001; H63-CPR-002 MODEL# ADOSET 50-50 FTYZ1;99 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME CORRPOWER RECTIFIER MODEL NUMBER ADOSET 50-50 FTYZ1;99 DRAWING NUMBER 2001663D01 REFERENCE NUMBER 17-884-209-00 TYPE NUMBER TAP-ADJUST TAG NUMBER D87-CPR-001 D87-CPR-002 D87-CPR-003 D89-CPR-001 H63-CPR-001 H63-CPR-002 | No |  | USD | each | 1000655792 |  |  | 20 |  |  |  | 2022-10-23 03:55 | 5001301707 E15SF50 MERSEN ( US - NEWBURYPORT ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001301707 10018173 MERSEN USPART NUMBER E15SF50REFERENCE NUMBER A13X50 (EDISON)5001301708 10018824 CORRPOWER RECTIFIER CACORRPRO COMPANIES INCORPORATEDPART NUMBER 036-A-00505001593666 10011900 ABDULL
6.13 | THERMOMETER; DIAL; 0-120 DEG C; 100 | THERMOMETER DIAL; 0-120 DEG C RANGE;100 MM X 30 MM DIAL;100 MM STEM LG;1.0000 IN TERMINAL;STYLE BI-METALLIC;17 MM STEM DIA;ALUMINIUM STEM;STEEL CASE;BOTTOM CONNECTN;WITH SET POINTS AND CONTACTS FOR POWER TRANSFORMER; UNKNOWN MFR; ARABIAN ELECTRICAL INDUSTRIES; PART# PI/6706/699A8/118 | No |  | USD | each | 1000273245 |  |  | 2 |  |  |  | 2022-08-22 03:55 | 5000472635 AE4711204484 ABB ELECTRICAL INDUSTRIS CO. L ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible |  | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001259008 10022606 STROMBERG TIME AND DATA SYSTEMS USNEW HAVEN MANUFACTURING5001286829 10012067 ARABIA ELECTRIC LIMITED (EQUIPMENT) SA5000472635 10012094 ABB ELECTRICAL INDUSTRIS CO. LTD SAPART NUMBER
6.14 | METER; ELECTRICAL; AMP; 0-100 A; | METER ELECTRICAL; AMP TYPE;0-100 A RANGE;ANALOG READOUT;RECTANGULAR SHAPE;SEMI FLUSH PANEL MTG;60 HZ;TR 65 DEG C;PIVOT AND JEWEL SUSPENSN;+/- 2% ACCURACY;ANSI C39.1;INDICATING AC; OPEN FACE 90 DEG SCALE TRANSFORMER RATED; VIBRATION RESISTANT KNIFE EDGE POINTER; 5 A FULL SCALE DEFLECTION; 89 MM SQ BEZEL X 71 MM DIA CUTOUT; USE WITH CT RATIO 100;5 | No |  | USD | each | 1000012418 |  |  | 8 |  |  |  | 2022-10-02 03:55 | 5000738351 GULF INT'L ELECTRICAL DISTRIBU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000738351 10012964 GULF INT'L ELECTRICAL DISTRIBUTION SAAPPARATUSES ASSEMBLIES COMPANY LTD5002290492 10012120 ARABIAN POINT EIGHT POWER CO. LTD.; SAPART NUMBER 250-340-LSPK
6.15 | CIRCUIT BREAKER MOLDED CASE; 150 A; 3 P; | CIRCUIT BREAKER MOLDED CASE; 150 A;3 P POLE;FRAME 150 AF;MAGNETIC TRIP;NON-ALUMINUM TERMINALS; STARTER SIZE; NEMA-4 SPARE PART FOR; SWITCHRACK; LOW VOLTAGE; 480 VAC;3 PH PHASE;600 A MAIN BUS;60 HZ;16-SAMSS-510;INTERRUPTING CAPACITY; 25 KAIC; ENCLOSURE; NEMA-4 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA ARABIAN POINT EIGHT POWER AB COMPANY DRAWING NUMBER 2071 BE-785106 ORDER NUMBER 2071 TAG NUMBER U50-SR-TBD | No |  | USD | each | 1000925954 |  |  | 4 |  |  |  | 2022-06-25 03:55 | 5002391216 HMCP150T4CS05 ARABIAN POINT EIGHT POWER CO. ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E001-C500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002391216 10012120 ARABIAN POINT EIGHT POWER CO. LTD.; SAPART NUMBER HMCP150T4CS055002391217 10017876 EATON CUTLER-HAMMER USEATON CORPORATIONPART NUMBER HMCP150T4CS05
6.16 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;25/16 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 25 MM2 + 16 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412630 |  |  | 2,000 |  |  |  | 2022-07-03 03:55 | 5000366103 ENLB54A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | [5 empty] | Normal/staged | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893579 10037887 EGYTECH CABLES EL SEWEDY EG5002332537 10046468 ELSEWEDY CABLES COMPANY SA5001304029 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000366103 10013724 SAUDI CABLE CO
6.17 | LIGHT; PILOT INDICATING; YELLOW; LED; | LIGHT PILOT INDICATING; YELLOW;LED TYPE;110-120 V SUPPLY SPARE PART FOR; PANEL CONTROL; MOTOR / PUMP TYPE;480 V; 3 PH; 60 HZ;RACK MOUNTED MTG;IP 55 / NEMA 12 ENCLOSUR;BOOSTER PUMPS CATALOGUED UNDER CCN 80-DU-05-0000 ORIGINAL.EQUIPMENT.REFS... DWG# E-AH1054 MANF ABDULLAH HASHIM COMPANY LIMITED SERIAL# 98-D00020 TAG# Z53-LCP-005 MODEL# AM 0705020 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA ABDULLAH HASHIM COMPANY AB LIMITED MODEL NUMBER AM 0705020 SERIAL NUMBER 98-D00020 DRAWING NUMBER E-AH1054 TAG NUMBER Z53-LCP-005 | No |  | USD | each | 1000098689 |  |  | 25 |  |  |  | 2022-08-04 03:55 | 5000785179 ABDULLAH HASHIM COMPANY LIMITE ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | B006-C322 TANAJIB B-10; STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000785179 10012783 ABDULLAH HASHIM COMPANY LIMITED SA(REFFER TO DH-0639-03)5002700265 10038391 SAFETY AND PROTECTION PLANT FOR SATHE MANUFACTURE OF ELECTRICAL AND5000785241 10021716 SCHNEIDER ELECTRIC
6.18 | LIGHT; PILOT INDICATING; RED; PIGTAIL | LIGHT PILOT INDICATING; RED;PIGTAIL TYPE;120 VAC/VDC SUPPLY;FULL VOLTAGE LAMP;PANEL MTG;NEMA 4; 7BCD; 9EFG SPARE PART FOR; PANELBOARD ELECTRICAL; 480/277 VAC;3 PH PHASE;LOW VOLTAGE SWITCHRACK TYPE;4-WIRE MAINS;100 A MAIN BUS;NEMA 4/7 ENCLOSUR;COPPER BUS;COPPER FREE CAST ALUMINUM;FREE STANDING MTG;10 KA IC TYPE;60 HZ;NOM DIMENSIONS; 3600 MM WD X 3200 MM HT X 2830 MM DP COMPRISING OF LIGHTING PANELBOARDS; LIGHTING CONTROL PANELS AND POWER PANELBOARDS ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA REMAL FACTORY FOR ELECTRIC AB PANEL SERIAL NUMBER AMCO/03-061/1 AMCO/03-061/2 DRAWING NUMBER 3266AMCO 3267AMCO TAG NUMBER Z93-25-PP-001 Z93-25-PP-002 | No |  | USD | each | 1000707610 |  |  | 4 |  |  |  | 2022-09-27 03:55 | 5001460776 RAWABI ELECTRIC COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001460776 10013570 RAWABI ELECTRIC COMPANY SA5001460777 10018019 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYPART NUMBER AEPL1R
6.19 | LIGHT; PILOT INDICATING; GREEN; PIGTAIL | LIGHT PILOT INDICATING; GREEN;PIGTAIL TYPE;120 VAC/VDC SUPPLY;FULL VOLTAGE LAMP;PANEL MTG;NEMA 4; 7BCD; 9EFG SPARE PART FOR; PANELBOARD ELECTRICAL; 480/277 VAC;3 PH PHASE;LOW VOLTAGE SWITCHRACK TYPE;4-WIRE MAINS;100 A MAIN BUS;NEMA 4/7 ENCLOSUR;COPPER BUS;COPPER FREE CAST ALUMINUM;FREE STANDING MTG;10 KA IC TYPE;60 HZ;NOM DIMENSIONS; 3600 MM WD X 3200 MM HT X 2830 MM DP COMPRISING OF LIGHTING PANELBOARDS; LIGHTING CONTROL PANELS AND POWER PANELBOARDS ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA REMAL FACTORY FOR ELECTRIC AB PANEL SERIAL NUMBER AMCO/03-061/1 AMCO/03-061/2 DRAWING NUMBER 3266AMCO 3267AMCO TAG NUMBER Z93-25-PP-001 Z93-25-PP-002 | No |  | USD | each | 1000707611 |  |  | 4 |  |  |  | 2022-09-26 03:55 | 5001460778 RAWABI ELECTRIC COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001460778 10013570 RAWABI ELECTRIC COMPANY SA5001460779 10018019 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYPART NUMBER AEPL1G
6.20 | RELAY; OVERLOAD; NEMA SIZE 3 | RELAY; OVERLOAD TYPE;NEMA SIZE 3 SUPPLY SPARE PART FOR; ASSEMBLY; SWITCH RACK TYPE;16-SAMSS-512;400 V; 3 PH; 50 HZ; 900 A BUS RATING ORIGINAL.EQUIPMENT.REFS... MANF REMAL FACTORY FOR ELECTRIC PANEL COMPANY REF# SAOC/98-101 SERIAL# SAOC/98-101/1 TYPE NEMA 4 (OUTDOOR) TAG# Y31-SW-1 DWG# 1233/07/98 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA REMAL FACTORY FOR ELECTRIC AB PANEL SERIAL NUMBER SAOC/98-101/1 DRAWING NUMBER 1233/07/98 REFERENCE NUMBER SAOC/98-101 TYPE NUMBER NEMA 4 (OUTDOOR) TAG NUMBER Y31-SW-1 | No |  | USD | each | 1000311880 |  |  | 10 |  |  |  | 2022-08-18 03:55 | 5000208060 RAWABI ELECTRIC COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000208060 10013570 RAWABI ELECTRIC COMPANY SA5000208061 10018466 GE ELECTRICAL DISTRIBUTION AND USCONTROL SALESPART NUMBER CR324E360F
6.21 | BODY; CONDUIT OUTLET; RIGID; 38.1 MM | BODY CONDUIT OUTLET; RIGID TYPE;38.1 MM (1-1/2 IN) HUB;GRLB SHAPE;NPT TERMINAL;CAST FERALOY;ZINC PLATED; PVC COATED FINISH;CL I GR C & D HAZARDOUS;UL-886; NEMA RN-1 (TYPE A-40);ROUND SHAPE; 127.0 MM (5 IN) DIA CAST FERALOY EXTERNALLY THREADED COVER; 40 MIL THK EXTERNALLY COATED; 146.1 MM (5-3/4 IN) OD X 120.7 MM (4-3/4 IN) DP INSIDE BOX; (1) SIDE & (1) BOTTOM HUB | No |  | USD | each | 1000431361 |  |  | 8 |  |  |  | 2022-10-23 03:55 | 5000424351 GUAB150 SAUDI CONDUIT COATING AND ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000424355 10020730 PERMA-COTE INDUSTRIES US5000424351 10013740 SAUDI CONDUIT COATING AND SACONTRACTING CO.NUMBER GUAB-150SUPERSEDED NUMBER GUAB595000424352 10014197 ZAMIL INDUSTRIAL COATINGS FACTORY S
6.22 | TRANSFORMER; CONTROL POWER; 75 VA; | TRANSFORMER CONTROL POWER; 75 VA POWER;220/380 V PRI; 110 V SEC;SCREW TYPE TERMINALS TERMINAL;1 PH PHASE;CORE AND COIL TYPE;SURFACE MTG;86.0 MM WD X 105.0 MM DP X 83.0 MM HT;TR 55 DEG C MAX. AMB;FOR INDOOR;COPPER WINDING;50 HZ;UL;105 DEG C INSULATION SYSTEM | No |  | USD | each | 1000401959 |  |  | 1 |  |  |  | 2022-06-19 03:55 | 5000350915 X343863 ROCKWELL AUTOMATION ( US - THE WOODLANDS ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000350915 10021204 ROCKWELL AUTOMATION USALLEN-BRADLEY COMPANYPART NUMBER X-3438635001592785 10027577 SAUDI ELECTRICAL TRANSFORMERS SAFACTORY COMPANYMODEL NUMBER SA 00000367
6.23 | TRANSFORMER; CONTROL POWER; 75 VA; | TRANSFORMER CONTROL POWER; 75 VA POWER;480 V PRI; 120 V SEC;TERMINAL BLOCK TERMINAL;1 PH PHASE;DRY TYPE;PANEL MTG;TR 40 DEG C MAXIMUM AMBIENT;FOR INDOOR;COPPER WINDING;50/60 HZ;UL LISTED;105 DEG C INSULATION SYSTEM; USED ON MCC TYPE G; LOW VOLTAGE | No |  | USD | each | 1000403988 |  |  | 1 |  |  |  | 2022-08-23 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | D003-C104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000352726 10004424 CHIYODA KOSHO CO. LTD JPPART NUMBER AT-07B WITH FITTINGSUPERSEDED NUMBER TBT2B0205000352727 10004259 MITSUBISHI ELECTRIC CORPORATION JPFACTORY AUTOMATION SYSTEMS GROUPPART NUMBER AT
6.24 | CAPACITOR; 18 X 70UF; ASSEMBLY | CAPACITOR; 18 X 70UF;ASSEMBLY SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 750 KVA POWER;480 VAC INPUT; 480/277 VAC OUTPUT;4000 A;60 HZ;3 PH PHASE;MULTI-MODULE ORIGINAL EQUIPMENT REFERENCES; MODEL NUMBER EPS-8750/44;66P DRAWING NUMBER 93-132251-01 REV 1 P07-0344-CBS-BLKDGM QHTR9451-00-SD10-UPS-01A REV 1 QHTR9451-00-SD10-UPS-01B REV 1 QHTR9451-00-SD10-UPS-02A REV 1 QHTR9451-00-SD10-UPS-02B REV 1 PART NUMBER E8TUPS750 EQUIP REFS MANF ELECTRONIC AND ELECTRICAL INDUSTRIE DWG# 93-132251-01 REV 1; P07-0344 -CBS-BLKDGM; QHTR9451-00-SD1 MODEL# EPS-8750/44;66P PART# E8TUPS750 TAG # D88-UPS-01A01; D88-UPS-01A02; D88-UPS-01A03; D88-UPS-01B01; D88-UPS-01B02; D88-UPS-01B03; D88-UPS-02A01; D88-UPS-02A02; D88-UPS-02A03; D88-UPS-02B01; D88-UPS-02B02; D88-UPS-02B03 | No |  | USD | each | 1000844450 |  |  | 13 |  |  |  | 2022-08-16 03:55 | 5002254053 7213238402 ELECTRONIC AND ELECTRICAL INDU ( SA - KHOBAR ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | Z003-C100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002254053 10037463 ELECTRONIC AND ELECTRICAL INDUSTRIE SACORPORATION (EEIC)PART NUMBER 72-132384-025002254054 10021721 MGE UPS SYSTEMS/APC SCHNEIDER ELECT USAPC by SCHNEIDER ELECTRICPART NUMBER 72-132
6.25 | SWITCH; SELECTOR; 120 VAC; 10 AMP OR | SWITCH SELECTOR; 120 VAC; 10 AMP OR 125 VDC; 1 AMP.;START-0-STOP;60 HZ;WITH SPRING RETURN FROM START TO 0 AND LOCKABLE IN STOP POSITION. SPARE PART FOR; STATION; MOTOR CONTROL TYPE;120 VAC; 60 HZ OR 125 VDC ORIGINAL.EQUIPMENT.REFS... DWG# A3-C13963 MANF CORTEM SPA TYPE A2B TAG# Q04-GM-502; Q01-GM-115; Q01-GM-116; Q02-E-130; Q02-E-131; Q02-E-132; Q02-E-133; Q04-EM-500A; Q04-EM-500B; Q04-EM-500C; Q04-EM-500D; Q04-EM-500E; Q04-EM-500F; Q04-EM-500G; Q04-EM-500H; Q04-EM-501A; Q04-EM-501B; Q04-EM-504A; Q04-EM-504B; Q04-EM-504C; Q04-EM-504D; Q04-GM-501; Q04-GM-503; Q04-GM-504; Q04-GM-505; Q04-GM-506; Q04-GM-507; Q04-GM-508; Q04-GM-509; Q04-GM-527; Q04-GM-528; Q04-GM-529; Q04-GM-530; Q04-GM-531; Q04-GM-532; Q04-GM-536; Q04-GM-537; Q04-GM-538; Q04-GM-539; Q04-GM-540; Q04-GM-541; Q04-GM-542; Q04-GM-548; Q04-GM-549; Q04-GM-550; Q04-GM-552; Q04-GM-553; Q04-GM-554; Q04-GM-558; Q04-GM-561; Q04-GM-563; Q04-GM-565; Q04-GM-567; Q04-GM-577; Q04-GM-578; Q04-GM-580; Q04-GM-581; Q04-GM-582; Q04-GM-583; Q04-GM-586; Q04-GM-587; Q04-GM-588; Q04-GM-589; Q04-GM-590; Q04-GM-591; Q04-GM-592; Q04-GM-593; Q04-GM-594; Q04-GM-595; Q04-GM-596; Q04-GM-597; Q04-GM-598; Q04-GM-599; Q04-GM-600; Q04-GM-601; Q04-GM-604; Q04-GM-605; Q04-GM-606; Q04-GM-607; Q04-GM-608; Q04-GM-609; Q04-GM-610; Q04-GM-611; Q04-GM-612; Q04-GM-613; Q04-GM-616; Q04-GM-617; Q04-GM-620; Q04-GM-621; Q04-GM-622; Q04-GM-625; Q04-GM-626; Q04-GM-627; Q04-GM-628; Q04-GM-629; Q04-GM-630; Q04-GM-631; Q04-GM-632; Q04-GM-633; Q04-GM-634; Q04-GM-635; Q04-GM-636; Q04-GM-637; Q04-GM-638; Q04-GM-639; Q04-GM-640; Q04-GM-641; Q04-GM-642; Q04-GM-643; Q04-GM-644; Q04-GM-645; Q04-GM-646; Q04-GM-647; Q04-GM-648; Q04-GM-649; Q04-GM-652; Q04-GM-653; Q04-GM-679; Q04-GM-680; Q04-GM-688; Q04-GM-689; Q04-GM-690; Q04-GM-691; Q04-GM-692; Q04-GM-696; Q04-GM-697; Q04-GM-698; Q04-GM-699; Q04-GM-700; Q04-GM-701; Q04-GM-702; Q04-GM-703; Q04-GM-704; Q04-GM-705; Q04-GM-712; Q04-GM-713; Q04-GM-714; Q04-GM-715; Q04-GM-716; Q04-GM-717; Q04-GM-718; Q04-GM-719; Q04-GM-720; Q04-GM-721; Q04-GM-722; Q04-GM-723; Q04-GM-724; Q04-GM-725; Q04-GM-726; Q04-GM-727; Q04-GM-730; Q04-GM-731; Q04-GM-732; Q04-GM-733; Q04-GM-736; Q04-GM-737; Q04-GM-741; Q04-GM-742; Q04-GM-743; Q04-KM-512; Q04-KM-513; Q04-KM-534; Q04-KM-535; Q04-KM-556; Q04-KM-557; Q04-KM-687; Q04-KM-688; Q04-KM-689; Q04-KM-706; Q04-KM-707; Q05-E-335; Q05-E-336; Q05-E-337; Q05-E-338; Q05-E-339; Q05-E-340; Q05-E-341; Q05-E-342; Q05-E-343; Q05-E-344; Q05-EM-300A; Q05-EM-300B; Q05-EM-300C; Q05-EM-300D; Q05-EM-300E; Q05-EM-300F; Q05-EM-300G; Q05-EM-300H; Q05-EM-300I; Q05-EM-300J; Q05-EM-301A; Q05-EM-301B; Q05-EM-301C; Q05-EM-301D; Q05-EM-301E; Q05-EM-301F; Q05-EM-301G; Q05-EM-301H; Q05-EM-301I; Q05-EM-301J; Q05-EM-302A; Q05-EM-302B; Q05-EM-310A; Q05-EM-310B; Q05-EM-310C; Q05-EM-310D; Q05-EM-310E; Q05-EM-310F; Q05-EM-310G; Q05-EM-310H; Q05-EM-311A; Q05-EM-311B; Q05-EM-311C; Q05-EM-311D; Q05-EM-311E; Q05-EM-311F; Q05-EM-311G; Q05-EM-311H; Q05-EM-312A; Q05-EM-312B; Q05-EM-312C; Q05-EM-312D; Q05-EM-312E; Q05-EM-312F; Q05-EM-312G; Q05-EM-312H; Q05-EM-320A; Q05-EM-320B; Q05-EM-320C; Q05-EM-320D; Q05-EM-320E; Q05-EM-320F; Q05-EM-320G; Q05-EM-320H; Q05-EM-320I; Q05-EM-320J; Q05-EM-320K; Q05-EM-320L; Q05-EM-320M; Q05-EM-320N; Q05-EM-320O; Q05-EM-320P; Q05-EM-321A; Q05-EM-321B; Q05-EM-321C; Q05-EM-321D; Q05-EM-321E; Q05-EM-321F; Q05-EM-321G; Q05-EM-321H; Q05-EM-321I; Q05-EM-321J; Q05-EM-321K; Q05-EM-321L; Q05-EM-321M; Q05-EM-321N; Q05-EM-321O; Q05-EM-321P; Q05-EM-322A; Q05-EM-322B; Q05-EM-322C; Q05-EM-322D; Q05-EM-322E; Q05-EM-322F; Q05-EM-322G; Q05-EM-322H; Q05-EM-322I; Q05-EM-322J; Q05-EM-322K; Q05-EM-322L; Q05-EM-322M; Q05-EM-322N; Q05-EM-322O; Q05-EM-322P; Q05-EM-329A; Q05-EM-329AA; Q05-EM-329AB; Q05-EM-329AC Q05-EM-329AD; Q05-EM-329AE Q05-EM-329AF; Q05-EM-329B; Q05-EM-329C; Q05-EM-329D; Q05-EM-329E; Q05-EM-329F; Q05-EM-329G; Q05-EM-329H; Q05-EM-329I; Q05-EM-329J; Q05-EM-329K; Q05-EM-329L; Q05-EM-329M; Q05-EM-329N; Q05-EM-329O; Q05-EM-329P; Q05-EM-329Q; Q05-EM-329R; Q05-EM-329S; Q05-EM-329T; Q05-EM-329U; Q05-EM-329V; Q05-EM-329W; Q05-EM-329X; Q05-EM-329Y; Q05-EM-329Z; Q05-GM-300; Q05-GM-301; Q05-GM-302; Q05-GM-303; Q05-GM-335; Q05-GM-352; Q05-GM-353; Q05-GM-354; Q05-GM-355; Q05-GM-356; Q05-GM-357; Q06-E-135; Q06-E-136; Q06-E-137; Q06-E-138; Q06-E-139; Q06-E-688; Q11-GM-221; Q11-GM-222; Q11-GM-223 MODEL# C.C.M.* ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME CORTEM SPA MODEL NUMBER C.C.M.* DRAWING NUMBER A3-C13963 TYPE NUMBER A2B TAG NUMBER A04-GM-502 Q01-GM-115 Q01-GM-116 Q02-E-130 Q02-E-131 Q02-E-132 Q02-E-133 Q04-EM-500A Q04-EM-500B Q04-EM-500C Q04-EM-500D Q04-EM-500E Q04-EM-500F Q04-EM-500G Q04-EM-500H Q04-EM-501A Q04-EM-501B Q04-EM-504A Q04-EM-504B Q04-EM-504C Q04-EM-504D Q04-GM-501 Q04-GM-503 Q04-GM-504 Q04-GM-505 Q04-GM-506 Q04-GM-507 Q04-GM-508 Q04-GM-509 Q04-GM-527 Q04-GM-528 Q04-GM-529 Q04-GM-530 Q04-GM-531 Q04-GM-532 Q04-GM-536 Q04-GM-537 Q04-GM-538 Q04-GM-539 Q04-GM-540 Q04-GM-541 Q04-GM-542 Q04-GM-548 Q04-GM-549 Q04-GM-550 Q04-GM-552 Q04-GM-553 Q04-GM-554 Q04-GM-558 Q04-GM-561 Q04-GM-563 Q04-GM-565 Q04-GM-567 Q04-GM-577 Q04-GM-578 Q04-GM-580 Q04-GM-581 Q04-GM-582 Q04-GM-583 Q04-GM-586 Q04-GM-587 Q04-GM-588 Q04-GM-589 Q04-GM-590 Q04-GM-591 Q04-GM-592 Q04-GM-593 Q04-GM-594 Q04-GM-595 Q04-GM-596 Q04-GM-597 Q04-GM-598 Q04-GM-599 Q04-GM-600 Q04-GM-601 Q04-GM-604 Q04-GM-605 Q04-GM-606 Q04-GM-607 Q04-GM-608 Q04-GM-609 Q04-GM-610 Q04-GM-611 Q04-GM-612 Q04-GM-613 Q04-GM-616 Q04-GM-617 Q04-GM-620 Q04-GM-621 Q04-GM-622 Q04-GM-625 Q04-GM-626 Q04-GM-627 Q04-GM-628 Q04-GM-629 Q04-GM-630 Q04-GM-631 Q04-GM-632 Q04-GM-633 Q04-GM-634 Q04-GM-635 Q04-GM-636 Q04-GM-637 Q04-GM-638 Q04-GM-639 Q04-GM-640 Q04-GM-641 Q04-GM-642 Q04-GM-643 Q04-GM-644 Q04-GM-645 Q04-GM-646 Q04-GM-647 Q04-GM-648 Q04-GM-649 Q04-GM-652 Q04-GM-653 Q04-GM-679 Q04-GM-680 Q04-GM-688 Q04-GM-689 Q04-GM-690 Q04-GM-691 Q04-GM-692 Q04-GM-696 Q04-GM-697 Q04-GM-698 Q04-GM-699 Q04-GM-700 Q04-GM-701 Q04-GM-702 Q04-GM-703 Q04-GM-704 Q04-GM-705 Q04-GM-712 Q04-GM-713 Q04-GM-714 Q04-GM-715 Q04-GM-716 Q04-GM-717 Q04-GM-718 Q04-GM-719 Q04-GM-720 Q04-GM-721 Q04-GM-722 Q04-GM-723 Q04-GM-724 Q04-GM-725 Q04-GM-726 Q04-GM-727 Q04-GM-730 Q04-GM-731 Q04-GM-732 Q04-GM-733 Q04-GM-736 Q04-GM-737 Q04-GM-741 Q04-GM-742 Q04-GM-743 Q04-KM-512 Q04-KM-513 Q04-KM-534 Q04-KM-535 Q04-KM-556 Q04-KM-557 Q04-KM-687 Q04-KM-688 Q04-KM-689 Q04-KM-706 Q04-KM-707 Q05-E-335 Q05-E-336 Q05-E-337 Q05-E-338 Q05-E-339 Q05-E-340 Q05-E-341 Q05-E-342 Q05-E-343 Q05-E-344 Q05-EM-300A Q05-EM-300B Q05-EM-300C Q05-EM-300D Q05-EM-300E Q05-EM-300F Q05-EM-300G Q05-EM-300H Q05-EM-300I Q05-EM-300J Q05-EM-301A Q05-EM-301B Q05-EM-301C Q05-EM-301D Q05-EM-301E Q05-EM-301F Q05-EM-301G Q05-EM-301H Q05-EM-301I Q05-EM-301J Q05-EM-302A Q05-EM-302B Q05-EM-310A Q05-EM-310B Q05-EM-310C Q05-EM-310D Q05-EM-310E Q05-EM-310F Q05-EM-310G Q05-EM-310H Q05-EM-311A Q05-EM-311B Q05-EM-311C Q05-EM-311D Q05-EM-311E Q05-EM-311F Q05-EM-311G Q05-EM-311H Q05-EM-312A Q05-EM-312B Q05-EM-312C Q05-EM-312D Q05-EM-312E Q05-EM-312F Q05-EM-312G Q05-EM-312H Q05-EM-320A Q05-EM-320B Q05-EM-320C Q05-EM-320D Q05-EM-320E Q05-EM-320F Q05-EM-320G Q05-EM-320H Q05-EM-320I Q05-EM-320J Q05-EM-320K Q05-EM-320L Q05-EM-320M Q05-EM-320N Q05-EM-320O Q05-EM-320P Q05-EM-321A Q05-EM-321B Q05-EM-321C Q05-EM-321D Q05-EM-321E Q05-EM-321F Q05-EM-321G Q05-EM-321H Q05-EM-321I Q05-EM-321J Q05-EM-321K Q05-EM-321L Q05-EM-321M Q05-EM-321N Q05-EM-321O Q05-EM-321P Q05-EM-322A Q05-EM-322B Q05-EM-322C Q05-EM-322D Q05-EM-322E Q05-EM-322F Q05-EM-322G Q05-EM-322H Q05-EM-322I Q05-EM-322J Q05-EM-322K Q05-EM-322L Q05-EM-322M Q05-EM-322N Q05-EM-322O Q05-EM-322P Q05-EM-329A Q05-EM-329AA Q05-EM-329AB Q05-EM-329AC Q05-EM-329AD Q05-EM-329AE Q05-EM-329AF Q05-EM-329B Q05-EM-329C Q05-EM-329D Q05-EM-329E Q05-EM-329F Q05-EM-329G Q05-EM-329H Q05-EM-329I Q05-EM-329J Q05-EM-329K Q05-EM-329L Q05-EM-329M Q05-EM-329N Q05-EM-329O Q05-EM-329P Q05-EM-329Q Q05-EM-329R Q05-EM-329S Q05-EM-329T Q05-EM-329U Q05-EM-329V Q05-EM-329W Q05-EM-329X Q05-EM-329Y Q05-EM-329Z Q05-GM-300 Q05-GM-301 Q05-GM-302 Q05-GM-303 Q05-GM-335 Q05-GM-352 Q05-GM-353 Q05-GM-354 Q05-GM-355 Q05-GM-356 Q05-GM-357 Q06-E-135 Q06-E-136 Q06-E-137 Q06-E-138 Q06-E-139 Q06-E-688 Q11-GM-221 Q11-GM-222 Q11-GM-223 | No |  | USD | each | 1000697040 |  |  | 6 |  |  |  | 2022-07-27 03:55 | 5001433918 A3C13963 CORTEM SPA ( IT - VILLESSE ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001433918 10003223 CORTEM SPA ITDRAWING NUMBER A3-C13963CODE NUMBER COR08-10E5002059723 10038391 SAFETY AND PROTECTION PLANT FOR SATHE MANUFACTURE OF ELECTRICAL ANDPART NUMBER A3-C13963
6.26 | THERMOSTAT; BIMETAL; 0 TO 60 DEG C; 120 | THERMOSTAT; BIMETAL TYPE;0 TO 60 DEG C; VAC A SUPPLY;CE;CONTACT FUNCTION; NO CONTACT TYPE; SNAP ACTION OPERATING TEMPERATURE; -25 TO 80 DEG C DEGREE; IP20 PLASTIM NAME; TECTION SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 5 KVA / 4KW POWER;480 VAC INPUT; 230 VAC OUTPUT;INPUT; 10 A; OUTPUT; 17 A;60 HZ;3 PH INPUT; 1 PH OUTPUT PHASE;DIMENSIONS; 914 MM WD X 1830 MM HT X 915 MM DP ENCLOSUR;DISTORTION; 5% THD; OVERLOAD CAPACITY; 150% FOR 1 MINUTE / 125% FOR 10 MINUTES; OPERATING TEMPERATURE; 0 TO 55 DEG C; FLOAT VOLTAGE; 216 VDC; BATTERY BACK UP TIME; 80 MINUTES ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA ARABIAN POWER ELECTRONICS AB COMPANY MODEL NUMBER S-31-005-48-18-23-60-F SERIAL NUMBER K16020078100 DRAWING NUMBER 103060052302 103060052303 103070052301 103080052305 103080052306 103080052307 103200052308 ASSEMBLY NUMBER 103000052300 TAG NUMBER R20-UPS-001 | No |  | USD | each | 1001032288 |  |  | 2 |  |  |  | 2022-10-25 03:55 | 5002663986 5020100663 ARABIAN POWER ELECTRONICS COMP ( SA - KHOBAR ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B011-C322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002663986 10051799 ARABIAN POWER ELECTRONICS COMPANY SAPART NUMBER 5020100663REFERENCE NUMBER PTVT
6.27 | VIM MODULE | MODULE; VIM MODULE TYPE SPARE PART FOR; PANEL CONTROL; GT SUPERVISORY INSTRUMENT PANEL TYPE;120 VAC / 125 VDC;FREE STANDING MTG ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA MITSUBISHI HEAVY INDUSTRIES AB LIMITED DRAWING NUMBER D3-E1184 TAG NUMBER A001 | No |  | USD | each | 1000719377 |  |  | 3 |  |  |  | 2023-08-04 03:55 | 5002425321 FXVIM02B MITSUBISHI HITACHI POWER SYSTE ( JP - YOKOHAMA, KANAGAWA ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | A011-C321 A011-C321 JUAYMAH | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002425321 10056182 MITSUBISHI HITACHI POWER SYSTEMS LT JPPOWER SYSTEMS SERVICE HQPART NUMBER FXVIM02B
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK31: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf
8 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf
9 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf
10 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf