## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000413127 A18438X138 ABAHSAIN-COPE SAUDI ARABIA CO ( SA - DHAHRAN ) | 5000415539 PLG8 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | 5001120031 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5000427234 LBH20 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | 5000430160 670F CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | 5000376888 546313099 THE OKONITE COMPANY ( US - HOUSTON ) | 5000430071 270F CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | 5000413802 CN150 EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) | 5002117921 710CCS COMMSCOPE BIMETALS INCORPORATE ( US - STATESVILLE ) | 5000385019 PRYSMIAN POWERLINK SRL ( IT - MILAN ) | AE Utd.Arab Emir. | 5000432259 HUB150 EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000413128 A18438X138 AMERICAN ELECTRIC ( US - SPARKS ) | 5000415620 PLG300 EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) | 5001120033 OKONITE CO. INC. ( US - RICHMOND ) | 5000427235 ELBD75 EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) | 5000430161 670F EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) | 5000376990 339 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000430072 270F EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) | 5000413803 846 THOMAS AND BETTS INTERNATIONAL ( US - MEMPHIS ) |  | 5000385110 2725 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AF Afghanistan | 5000432370 CHM150T EGS-OZ GEDNEY/EMERSON ( US - SKOKI ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000413129 P23803 UNISTRUT CORPORATION ( US - WAYNE ) | 5000415621 PLG300C EGS-OZ GEDNEY/EMERSON ( US - SKOKI ) | 5001120037 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5000427236 LBH0507 EGS-OZ GEDNEY/EMERSON ( US - SKOKI ) | 5000430162 670F EGS-OZ GEDNEY/EMERSON ( US - SKOKI ) | 5001865172 NEXANS CANADA WIRE ( CA - MARKHAM ) | 5000430073 270F EGS-OZ GEDNEY/EMERSON ( US - SKOKI ) | 5000413804 7150 EGS-OZ GEDNEY/EMERSON ( US - SKOKI ) |  | 5000385111 M2773 MANHATTAN-CDT ( US - HOUSTON ) | AG Antigua/Barbuda |  | We are currently at full capacity
|  | POE - Port of Export |  |  | 5001727720 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) | 5001496828 GULF GASKET FACTORY ( SA - DAMMAM ) |  | 5002243975 952501219000 GENERAL CABLE ( US - MARION ) |  | 5001904442 WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) |  | 5001893779 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AI Anguilla |  | Missing information / not enough information provided
[5 empty] | 5002587949 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) | [7 empty] | AB Abu Dhabi |  | Other
[5 empty] | 5002587950 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) | [7 empty] | AL Albania
AM Armenia
AN Dutch Antilles
AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | BODY;CONDUIT;.75";CAST FERALOY | BODY CONDUIT OUTLET; RIGID TYPE;19.1 MM (3/4 IN) HUB;LBH SHAPE;NPT TERMINAL;CAST FERALOY;ZINC PLATED; ALUM CELLULOSE LACQUER FINISH;CL I GR B C & D HAZARDOUS;UL-886;ELBOW SHAPE; DUSTTIGHT; WITH BLANK DOME STYLE COVER ON AN ANGLE; 30.2 MM (1-3/16 IN) WD X 101.6 MM (4 IN) LG COVER OPENING | No |  | USD | each | 1000432270 |  |  | 40 |  |  |  | 2022-10-31 03:55 | 5000427234 LBH20 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001496828 10012476 GULF GASKET FACTORY SA5000427234 10017271 CROUSE HINDS ECM / EATON USNUMBER LBH205000427235 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYNUMBER ELBD-75500042723
6.2 | PLUG; RIGID CONDUIT; | PLUG CONDUIT; SIZE 76.2 MM (3 IN);MALE NPT TERMINAL;RECESSED HEAD;RIGID TYPE;FERALOY;ZINC ELECTROPLATED & ALUM CELLULOSE LACQUER FINISH;UL 886;USE IN NEC CL I GR B; C & D HAZARDOUS LOCATIONS | No |  | USD | each | 1000428247 |  |  | 20 |  |  |  | 2022-07-06 03:55 | 5000415539 PLG8 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | A010-S502 A010-S502 | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000415539 10017271 CROUSE HINDS ECM / EATON USNUMBER PLG85000415620 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYNUMBER PLG3005000415621 10020336 EGS-OZ GEDNEY/EMERSON USEMERSON I
6.3 | COVER; CONDUIT BODY; 3/4" LB | COVER CONDUIT OUTLET BODY; 38.1 MM (1-1/2 IN) X 108.0 MM (4-1/4 IN) COVER;RECTANGULAR; ROUNDED ENDS;CAST FERALOY;19.1 MM (3/4 IN) HUB;STYLE BLANK;CADMIUM-ZINC PLATED; ALUM CELLULOSE LACQUER FINISH;UL-514;GRAY; WITH CAPTIVE SS COVER SCREWS; FOR FORM 7 SERIES BOXES | No |  | USD | each | 1000433163 |  |  | 30 |  |  |  | 2022-07-06 03:55 | 5000430071 270F CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | A015-C532 UTHMANIYAH MAIN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000430071 10017271 CROUSE HINDS ECM / EATON USNUMBER 270F5000430073 10020336 EGS-OZ GEDNEY/EMERSON USEMERSON INDUSTRIAL AUTOMATIONNUMBER 270F5000430072 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSO
6.4 | HUB; CONDUIT; | HUB CONDUIT; 1-1/2 IN NPS;47.6 MM (1-7/8 IN) LG;THREADED TERMINAL;MALLEABLE IRON;RIGID CONDUIT;69.9 MM (2-3/4 IN) BODY OD;ZINC PLATED FINISH;WATERTIGHT;NEC;FOR BOX KNOCKOUTS; WITH INSULATED THROAT; SERRATED FLANGE & O-RING SEALING GASKET | No |  | USD | each | 1000433793 |  |  | 20 |  |  |  | 2022-11-07 02:55 | 5000432259 HUB150 EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000432259 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYNUMBER HUB1505000432370 10020336 EGS-OZ GEDNEY/EMERSON USEMERSON INDUSTRIAL AUTOMATIONNUMBER CHM-150T
6.5 | COVER; CONDUIT BODY; | COVER CONDUIT OUTLET BODY; 177.8 MM (7 IN) X 76.2 MM (3 IN) COVER;RECTANGULAR; ROUNDED ENDS;CAST FERALOY;50.8 MM (2 IN) HUB;STYLE BLANK;CADMIUM-ZINC PLATED; ALUM CELLULOSE LACQUER FINISH;UL-514; 179B; CSA;GRAY; WITH CAPTIVE SS COVER SCREWS; FOR FORM 7 SERIES BOXES | No |  | USD | each | 1000433191 |  |  | 30 |  |  |  | 2022-09-08 03:55 | 5000430160 670F CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000430160 10017271 CROUSE HINDS ECM / EATON USNUMBER 670F5000430161 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYNUMBER 670F5000430162 10020336 EGS-OZ GEDNEY/EMERSON USEMERSON IND
6.6 | NIPPLE; BUSHED; | NIPPLE CONDUIT; 1-1/2 IN NPS;NPT TERMINAL;MALLEABLE IRON;RIGID CONDUIT;CADMIUM PLATED FINISH;BUSHED TYPE;UL-514;WITH NPS THD | No |  | USD | each | 1000427715 |  |  | 2 |  |  |  | 2022-09-11 03:55 | 5000413802 CN150 EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001904442 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA LTD.5000413802 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYNUMBER CN-1505000413803 10018185 THOMAS AND BETTS INTERNA
6.7 | METAL FRAMING PARTS; FOR STRUCTURAL | NUT CHANNEL STUD; 3/8 IN STUD DIA;16 THD/IN THD;34.93 MM (1-3/8 IN) STUD LG;STEEL;WITH SPRING;GALV FINISH;METAL FRAMING PARTS; FOR STRUCTURAL FRAMING & SUPPORT SYSTEMS; WITH SPRING THAT SLIDES IN CHANNEL | No |  | USD | each | 1000427364 |  |  | 300 |  |  |  | 2022-11-06 02:55 | 5000413127 A18438X138 ABAHSAIN-COPE SAUDI ARABIA CO ( SA - DHAHRAN ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000413127 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SANUMBER A184-3/8X1-3/85000413128 10018190 AMERICAN ELECTRIC USSUPERSTRUT PRODUCTS THOMASNUMBER A184-3/8X1-3/85000413129 10019835 UNISTRUT CORPORA
6.8 | CABLE; ELECTRICAL; LOW VOLTAGE; MC; | CABLE ELECTRICAL LOW VOLTAGE; MC TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;3.31 SQ MM (12 AWG) CONDUCTO;600 V SUPPLY;19 CONDUCTO;TO CONFORM TO UL STANDARD 1569. CABLE OD;BLACK;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;UL 1569;ASTM B8; CLASS B;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; AERIAL;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C DRY; 75 DEG C WET;XLPE INSUL;COPPER CONDUCTO;CORRUGATED ALUM SHEATH ARMOR;UL-1569;IMPERVIOUS CONTINUOUS CORRUGATED ALUM SHEATH; MOISTURE; HEAT OIL GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; REEL MARKED WITH; ARAMCO PURCHASE ORDER STOCK NUMBER SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD UL 1569; UL OR EQUIVALENT APROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000416347 |  |  | 150 |  |  |  | 2022-09-18 03:55 | 5000376888 546313099 THE OKONITE COMPANY ( US - HOUSTON ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001865172 10016916 NEXANS CANADA WIRE CA5000376990 10021675 SOUTHWIRE COMPANY INCORPORATED USCATALOG NUMBER 33-95000376888 10020512 THE OKONITE COMPANY USPART NUMBER 546-31-30995002243975 10016865 GEN
6.9 | CORD; ELECTRICAL. 600V | CORD ELECTRICAL; 3 CONDUCTO;3.31 MM2 (12 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;SO;16.3 MM (41/64 IN) OD;BLACK;NEOPRENE JACKET;THERMOSET INSUL;TR 90 DEG C;372 KG/KM (250 LBS/1000 FT) LG;FOR PENDANT OR PORTABLE;UL-62; CSA;PENDANT OR PORTABLE; EXTRA HARD USE IN DAMP LOCATIONS; OIL-RESISTANT THERMOSET COVERING; HARD SERVICE CORD; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; BLACK WHITE AND GREEN CONDUCTORS; MIN 65; MAX 262 STRANDS; 25 A AT 30 DEG C; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 62; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418829 |  |  | 500 |  |  |  | 2022-09-13 03:55 | 5000385019 PRYSMIAN POWERLINK SRL ( IT - MILAN ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385019 10024590 PRYSMIAN POWERLINK SRL IT5001893779 10037887 EGYTECH CABLES EL SEWEDY EG5000385110 10016871 GENERAL CABLE USBICC GENERALNUMBER 027255000385111 10017556 MANHATTAN-CDT USCABLE DESIGN
6.10 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;67.44 SQ MM (2/0 AWG) CONDUCTO;19 STRANDS CONDUCTO;43.2 MM (1.700 IN) CABLE OD;COPPER CONDUCTO;XLPE INSUL;EXTRUDED OVER CONDUCTOR S/C SHLD;COPPER TAPE METAL SH;PVC JACKET;TR 90 DEG C MAX;REEL; (1000 FT/COIL);MC TYPE;FOR DIRECT BURIAL; CABLE TRAY; AERIAL;15-SAMSS-502;DRY AND WET LOCATIONS; IMPERVIOUS CONTINUOUS CORRUGATED ALUMINUM SHEATH; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; | No |  | USD | Feet | 1000416877 |  |  | 1,641 |  |  |  | 2022-09-13 03:55 | 5001120031 THE OKONITE CO. INC. ( US - SANTA MARIA ) | [5 empty] | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | A002-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002197836 10024590 PRYSMIAN POWERLINK SRL IT5002197841 10004926 NEXANS NORWAY AS NO5002587949 30004750 BAOSHENG SCIENCE & TECHNOLOGY CNINNOVATION CO. LTDNUMBER -5002587950 30005137 QINGDAO HANHE CABLE | 15SAMSS502052020205019759213000101.pdf
6.11 | CABLE; ELECTRICAL; 35 A; 7 CONDUCTOR; 5 | CABLE ELECTRICAL; 35 A SUPPLY;1 (SINGLE CORE) CONDUCTO;5.26 SQ MM (10 AWG) CONDUCTO;STRANDED (7 STRANDS) CONDUCTO;OVERHEAD GROUND WIRE TYPE;7.8 MM (0.306 IN) NOM CABLE OD;BARE COPPERWELD WIRE TYPE;AA COPPER CLADDING BONDED TO CONDUCTO;ASTM B228;1000 FT/REEL;FOR AERIAL;AA 303 KG/KM (203.7 LBS PER LG;ASTM B8;WIRE; NONRUSTING; | No |  | USD | Feet | 1000413991 |  |  | 2,000 |  |  |  | 2022-09-25 03:55 | 5002117921 710CCS COMMSCOPE BIMETALS INCORPORATE ( US - STATESVILLE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002117921 10042314 COMMSCOPE BIMETALS INCORPORATED USREFERENCE NUMBER 7#10CCS
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf