## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000309754 YA252L FCI NEDERLAND BV ( NL - CAPELLE AAN DEN IJSSEL ) | 5000387658 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382910 761404C05000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000319821 CRSM34101500232 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382141 761403C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000311176 TP1010F BURNDY LLC ( US - MANCHESTER ) | 5000434648 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | 5000369538 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5000346525 271000 SOLAR ARABIA CO. LTD. ( SA - RIYADH ) | 5001188872 ICG653UNIVCM32 HAWKE INTERNATIONAL UK ( GB - ASHTON UNDER LYNE ) | 5000387332 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387110 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000309755 YA252L BURNDY LLC ( US - MANCHESTER ) | 5000387761 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382911 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382142 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000311177 10RC10F THOMAS AND BETTS INTERNATIONAL ( US - MEMPHIS ) | 5000434649 EYF75 EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) | 5000369539 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AF Afghanistan |  |  | 5000387334 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387112 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000309756 54255 THOMAS AND BETTS INTERNATIONAL ( US - MEMPHIS ) | 5000387762 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382912 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382143 ** NEXANS HELLAS S.A. ( GR - ATHENS ) | 5000311178 PV1010FL PANDUIT CORPORATION ( US - TINLEY PARK ) | 5000434751 EY75 EGS-OZ GEDNEY/EMERSON ( US - SKOKI ) | 5001301468 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | AG Antigua/Barbuda |  |  | 5000387335 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000387113 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | We are currently at full capacity
|  | POE - Port of Export | 5000309757 L102516 HOMAC MANUFACTURING COMPANY ( US - ORMOND BEACH ) | 5000387763 116671132 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277347 CB3LU04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) | 5000382144 THE OKONITE COMPANY ( US - HOUSTON ) |  |  | 5001327916 CD6LA3ABG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AI Anguilla |  |  | 5000387336 116671105 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387114 116671106 THE OKONITE COMPANY ( US - HOUSTON ) | Missing information / not enough information provided
|  |  | 5000309758 BLU10D PENN-UNION CORPORATION ( US - EDINBORO ) | 5000387764 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893740 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001274384 DA9LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  |  | 5001893586 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AB Abu Dhabi |  |  | 5000387337 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000387115 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | Other
|  |  |  | 5001429853 DW3WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002143921 C418XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001893726 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  |  | 5002143830 C44XA1040WSBK08IMF ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AL Albania |  |  | 5001429837 DW2WU01O JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429835 DW2WU01L JEDDAH CABLES COMPANY LTD ( SA - JEDDAH )
|  |  |  | 5001437377 0D06551010 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002157882 14515312 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002143915 C315XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | 5002157841 14530287 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AM Armenia |  |  | 5001437372 0D06551209 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437370 0D06551202 SAUDI MODERN COMPANY FOR ( SA - RIYADH )
|  |  |  | 5001775626 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002332617 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002157870 14515209 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  | AN Dutch Antilles |  |  | 5001775621 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775619 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  |  | 5002158076 11170040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002921187 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  |  |  | AO Angola |  |  | 5002158070 11190030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer | Description
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer | Item or lot description
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf
2.4 | Partial Acceptance |  |  | Please note that your offer can be partially accepted, depending on the quotations of each item.

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2022-12-04 02:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | Quotation 10204643.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; STRANDED CONDUCTO;POWER TYPE;150/70 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;49 MM CABLE OD;BLACK;3 X 150 MM2 + 70 MM2; CU/XLPE/SWA/PVC ACC TO 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;OPEN COIL ON PALLET;PVC INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000413676 |  | 176.29 | 300 | N/A | 84 |  | 2022-10-02 03:55 | 5002157841 14530287 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | Quoted as per our minimum order quantity 1000m |  | <Strong>Manufacturer Part Number Text :</Strong>5000369538 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000369539 10013724 SAUDI CABLE COMPANY SA5001893586 10037887 EGYTECH CABLES EL SEWEDY EG5001301468 10013827 SAUDI MODERN COMPANY FOR SASPEC
6.2 | SLEEVE; HEAT SHRINK; |  | TUBING SHRINK; HEAT TYPE;12-21 MM (0.472-0.827 IN) DIA RANG;CROSS LINKED POLYOLEFIN;FOR INDOOR; OUTDOOR OR DIRECT BURIAL REJACKETING DAMAGED CABLE JACKET;STYLE WRAPAROUND;STRAIGHT; ADHESIVE INTERNAL COATING; WITH METAL JOINTING RAIL | No | We don't carry a compatible part/material | SAR | each | 1000381177 |  |  | 10 |  |  |  | 2022-12-11 02:55 | 5000319821 CRSM34101500232 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000319821 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER CRSM 34/10-1500/232SUPERSEDED NUMBER CRSM 34/10-1500/172
6.3 | LUG; TERM; 1/0 AWG X 5/16" 2-HOLE NON-IN |  | CONNECTOR ELECTRICAL TERMINAL; LUG TYPE;(2) 7.9 MM (5/16 IN) HOLE TERMINAT;53.44 SQ MM (1/0 AWG) STRANDED COPPER CONDUCTO;SINGLE INDENT CRIMP CONNECTN;TIN PLATED COPPER;UL;STRAIGHT CONNECTION; 22.2 MM (7/8 IN) CENTER TO CENTER SPACING | No | We don't carry a compatible part/material | SAR | each | 1000374607 |  |  | 150 |  |  |  | 2022-12-11 02:55 | 5000309754 YA252L FCI NEDERLAND BV ( NL - CAPELLE AAN DEN IJSSEL ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000309758 10020367 PENN-UNION CORPORATION USNESCO INCORPORATEDNUMBER BLU-1/0D5000309754 10000639 FCI NEDERLAND BV NLNUMBER YA25-2L5000309755 10016825 BURNDY LLC USNUMBER YA25-2L5000309756 10018185 T
6.4 | GLAND; CABLE; M20; THREAD SIZE C; |  | GLAND; CABLE TYPE;SIZE M32; THREAD SIZE C;TYPE ICG 653/ UNIVC; AREA CLASS; EEXD; | No | We don't carry a compatible part/material | SAR | each | 1000608796 |  |  | 32 |  |  |  | 2022-12-13 02:55 | 5001188872 ICG653UNIVCM32 HAWKE INTERNATIONAL UK ( GB - ASHTON UNDER LYNE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001188872 10003215 HAWKE INTERNATIONAL UK GBPART NUMBER ICG653/UNIV/C/M32SUPERSEDED NUMBER 1255.504.5
6.5 | HYDROMETER; BATTERY TESTER; FOR USE |  | HYDROMETER; BATTERY TESTER TYPE;FOR USE IN MEASURING BATTERY SPECIFIC GRAVITY; BP 250 SPARE PART FOR; POWER SUPPLY ELECTRICAL; PHOTOVOLTAIC TYPE;400 W POWER;24 VDC;100 AMP;NEMA3 (BATTERY BOXES) & NEMA 4X (POWER CONTROL UNIT) BOTH 316 SS ENCLOSUR;COMPRISES OF SOLAR ARRAYS/BATTERIES/POWER CONTROL UNIT & ACCESSORIES/CONTACTORS/TRAN SDUCERS & MOUNTING/SUPPORT HARDWARES. ORIGINAL.EQUIPMENT.REFS... MANF B.P. SOLAR ARABIA LIMITED TAG# 01 MODEL# BP250 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME BP SOLAR ARABIA LTD. MODEL NUMBER BP250 TAG NUMBER 01 | No | We don't carry a compatible part/material | SAR | each | 1000393052 |  |  | 6 |  |  |  | 2022-12-12 02:55 | 5000346525 271000 SOLAR ARABIA CO. LTD. ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000346525 10007559 SOLAR ARABIA CO. LTD. SAPART NUMBER 271000
6.6 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;19 MM (3/4 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;580 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417767 |  | 19.53 | 1,200 | N/A | 84 |  | 2022-10-02 03:55 | 5002157870 14515209 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382142 10013724 SAUDI CABLE COMPANY SA5000382143 10003546 ** NEXANS HELLAS S.A. GR5000382144 10020512 THE OKONITE COMPANY US5001893726 10037887 EGYTECH CABLES EL SEWEDY EG5000382141 10013206 MIDDLE
6.7 | CABLE; POWER; 600V-1000V; |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;POWER TYPE;50 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;27.3 MM (1.075 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;3162 KG/KM (2125 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.0 MM (0.040 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417981 |  | 64.31 | 700 | N/A | 84 |  | 2022-10-02 03:55 | 5000382910 761404C05000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | Quoted as per our minimum order quantity 1000m |  | <Strong>Manufacturer Part Number Text :</Strong>5000382911 10013724 SAUDI CABLE COMPANY SA5000382912 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001893740 10037887 EGYTECH CABLES EL SEWEDY EG5002332617 10046468 ELSEWEDY CABLES CO
6.8 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG);BLUE |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419171 |  | 0.4 | 500 | N/A | 84 |  | 2022-10-02 03:55 | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387110 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387112 10016871 GENERAL CABLE USBICC GENERAL5000387115 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775619 10012569 ALFANAR ELECTRICAL
6.9 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419217 |  | 0.63 | 1,000 | N/A | 84 |  | 2022-10-02 03:55 | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387653 10016871 GENERAL CABLE USBICC GENERAL5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775625 10012569 ALFANAR ELECTRICAL
6.10 | WIRE; 600V THHN/THWN 1/C 10 AWG (6MM2) S |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419271 |  | 0.63 | 1,000 | N/A | 84 |  | 2022-10-02 03:55 | 5002158076 11170040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387658 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387761 10016871 GENERAL CABLE USBICC GENERAL5000387764 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775626 10012569 ALFANAR ELECTRICAL
6.11 | WIRE; ELEC; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;ORANGE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419179 |  | 0.4 | 1,000 | N/A | 84 |  | 2022-10-02 03:55 | 5002158070 11190030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387332 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387334 10016871 GENERAL CABLE USBICC GENERAL5000387337 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775621 10012569 ALFANAR ELECTRICAL
6.12 | SEALING FITTING; CONDUIT; |  | FITTING CONDUIT SEALING; 3/4 IN NPS;MALLEABLE IRON;FEMALE NPT TOP & BOTTOM HUBS TERMINAL;VERTICAL POSITION;NEC CL I GR A; B; C & D;CADMIUM-ZINC PLATED & ALUM CELLULOSE LAQUER;UL-886;SEALING FITTING; CONDULET HAZARDOUS LOCATIONS | No | We don't carry a compatible part/material | SAR | each | 1000434748 |  |  | 10 |  |  |  | 2022-12-13 02:55 | 5000434648 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000434648 10017271 CROUSE HINDS ECM / EATON USSUPERSEDED NUMBER EYS25000434649 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYNUMBER EYF-75SUPERSEDED NUMBER EYF-505000434751 1002033
6.13 | m007 |  | CONNECTOR ELECTRICAL TERMINAL; FORK TONGUE TYPE;(1) NO 10 HOLE TERMINAT;3.31-5.26 SQ MM (12-10 AWG) STRANDED CONDUCTO;CRIMP CONNECTN;TIN PLATED COPPER;VINYL INSUL;UL; CSA;FORK-TONGUE; SEAMLESS OR BRAZED SEAM; COLOR CODED JACKET YELLOW; 50/PK | No | We don't carry a compatible part/material | SAR | Package | 1000374885 |  |  | 50 |  |  |  | 2022-09-14 03:55 | 5000311176 TP1010F BURNDY LLC ( US - MANCHESTER ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000311176 10016825 BURNDY LLC USNUMBER TP10-10F5000311177 10018185 THOMAS AND BETTS INTERNATIONAL USTHOMAS AND BETTS CORPORATIONNUMBER 10RC-10FSUPERSEDED NUMBER RC11575000311178 10020609 PANDUIT CORP
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value