## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000386165 611101C10AWGU0WT5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386797 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002322193 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382257 ** NEXANS HELLAS S.A. ( GR - ATHENS ) | 5000389195 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AE Utd.Arab Emir. | 5000383325 761407C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001285632 HMCP0250W5 ARABIAN POINT EIGHT POWER CO. ( SA - DAMMAM ) | 5000387873 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382149 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382502 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000444615 THHNMTW8 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000570110 AS11010ASELCON ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000386167 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386799 GENERAL CABLE ( US - MARION ) | 5002322194 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001274388 HB6LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000389196 26410 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AF Afghanistan | 5000383326 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001285633 HMCP250W5 CUTLER-HAMMER WESTINGHOUSE/EAT ( US - HOUSTON ) | 5000387876 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001274386 DB2LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382503 761404C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001429857 DW4WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000390368 711101C02500U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000386168 23010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386900 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002322195 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001893731 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000389197 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) | AG Antigua/Barbuda | 5000383327 THE OKONITE COMPANY ( US - HOUSTON ) | 5001603044 HMCP250W5C WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) | 5000387877 25008232 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001416336 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382504 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001775663 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000390369 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | We are currently at full capacity
|  | POE - Port of Export | 5000386169 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386901 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002322196 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002143873 C446XA10300MBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000389199 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | AI Anguilla | 5001277351 DA6LU07BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5000387878 116671192 THE OKONITE COMPANY ( US - HOUSTON ) | 5001416337 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001277342 DA7LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002612740 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001277360 DB1DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | Missing information / not enough information provided
|  |  | 5000386251 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000386902 116671108 THE OKONITE COMPANY ( US - HOUSTON ) | 5002613083 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157873 14535255 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001604302 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | AB Abu Dhabi | 5001893750 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5000387879 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893728 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001893735 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5001775652 C316HB101000YG000MR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | Other
|  |  | 5001429823 DW3WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000386903 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5002785949 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002612731 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AL Albania | 5002143816 C212XA10700SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001429856 DW4WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002332608 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002143877 C213XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002158115 12154190 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  | 5001437359 0D06551010 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001429832 DW2WU01N JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  |  |  | AM Armenia | 5002157887 13515407 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001437379 0D06550810 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002612720 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  | 5001775608 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001437367 0D06551207 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  |  |  | AN Dutch Antilles | 5002332621 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5001775628 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002332613 ELSEWEDY CABLES COMPANY ( SA - YANBU )
|  |  |  | 5001775616 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  |  | AO Angola | 5002700292 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002158078 11170050 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  |  | 5002158065 11140030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  | AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2022-11-27 02:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS & Note.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | 10204203.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | PROTECTOR; MOTOR CIRCUIT; 1250-2500 A |  | PROTECTOR MOTOR CIRCUIT; 1250-2500 A TRIP;250 A (CONT);600 VAC;3 POLE;NEMA SIZ NEMA 5;MOLDED CASE; SERIES C ENCLOSUR;UL/CSA;J-FRAME SPARE PART FOR; MOTOR CONTROL CENTER; 480 V;3 PH PHASE;1200 A MAIN BUS;NEMA 1 WITH GASKET ENCLOSUR;60 HZ;NON-HAZARDOUS;16-SAMSS-503;42 KAIC ORIGINAL.EQUIPMENT.REFS... MANF ALLEN-BRADLEY COMPANY INCORPORATED SERIAL# 2100-DQVJ713/11 TAG# P3-MCC-0204A ORDER# DQVJ713/11 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME ALLEN-BRADLEY COMPANY SERIAL NUMBER 2100-DQVJ713/11 ORDER NUMBER DQVJ713/11 TAG NUMBER P3-MCC-0204A | No | We don't carry a compatible part/material | SAR | each | 1000650902 |  |  | 3 |  |  |  | 2022-10-06 03:55 | 5001285632 HMCP0250W5 ARABIAN POINT EIGHT POWER CO. ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001285632 10012120 ARABIAN POINT EIGHT POWER CO. LTD.; SAPART NUMBER HMCP0250W55001285633 10017872 CUTLER-HAMMER WESTINGHOUSE/EATON USCORPORATIONPART NUMBER HMCP250W55001603044 10005799 WAHAH ELECTRIC
6.2 | CABLE POWER AND CONTROL 600V-1000V; |  | CORD ELECTRICAL; 3 CONDUCTO;120 SQ MM CONDUCTO;37 STRANDES CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;XLPE; POWER & CONTROL;33.9 MM (1.335 IN) OD;BLACK;PVC JACKET;XLPE INSUL;TR 90 DEG C;3820 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT;ICE 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC332; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER MARKINGS; VOLTAGE; TYPE CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; ST2 IEC 502; INSULATION THICKNESS; 1.2 MM (0.0472 IN); CONDUCTOR MATERIAL SPEC; IEC 228; INSULATION MATERIAL SPEC; IEC 502; PACKAGING; CARTON OR FULLY PROTECTED REEL | Yes |  | SAR | Meter | 1000417884 |  | 122.28 | 300 | N/A | 84 |  | 2022-09-25 03:55 | 5002157873 14535255 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002785949 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000382257 10003546 ** NEXANS HELLAS S.A. GR5001893731 10037887 EGYTECH CABLES EL SEWEDY EG5002157873 10044083 BAHRA ADVANCED C
6.3 | WIRE; BUILDING; 600V; 8 AWG WHITE |  | WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419279 |  | 1.03 | 500 | N/A | 84 |  | 2022-09-25 03:55 | 5002158078 11170050 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | B009-C500 ABQAIQ B-1061; STORES | 04 BOAT | Quoted as per our minimum order quantity(25,000 Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000387873 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387876 10016871 GENERAL CABLE USBICC GENERAL5000387879 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775628 10012569 ALFANAR ELECTRICAL
6.4 | WIRE; ELECTRICAL; 8.36 SQ MM (8 AWG) |  | WIRE ELECTRICAL; 8.36 SQ MM (8 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-MTW WIRE;5.6 MM (0.220 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C (DRY LOCATION) & 75 DEG C (WET LOCATION) MAX;19/STRANDED COPPER;PVC (THERMOPLASTIC); INSULATION WITH NYLON JACKET INSUL;CLASS C AS PER ASTM B8 CONDUCTO;BUILDING TYPE;UL LISTED (E 33401);CONDUIT OR RACEWAY; APPLICATION; HEAT; MOISTURE; GASOLINE AND OIL RESISTANT; 150 M PER COIL (500 FT/COIL) | Yes |  | SAR | Role | 1000441144 |  | 518.63 | 50 | N/A | 84 |  | 2022-10-04 03:55 | 5002612740 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001775663 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5002612740 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -5000444615 10016871 GENERAL CABLE USBICC GENERALMAT TY
6.5 | CELL; PHOTOELECTRIC; 120 V; FOR |  | CELL PHOTOELECTRIC; 120 V SUPPLY;FOR OUTSIDE LIGHT CONTROL SPARE PART FOR; PANEL CONTROL; LIGHTING TYPE;208 VAC; 3 PH; 60 HZ;WALL MOUNTED MTG;NEMA 1 ENCLOSUR;ORIGINAL.EQUIPMENT.REFS... MANF ARABIAN FACTORY FOR ELECTRICAL PRODUCTS ORDER# NS-DT/00 264-4 REF# 42300/PO/041/00 (SALEM SALEH AL-HARETH) TAG# 302-LCP-001 DWG# NC90173 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME ALFANAR ELECTRICAL SYSTEMS DRAWING NUMBER NC90173 ORDER NUMBER NS-DT/00 264-4 REFERENCE NUMBER AA 42300/PO/041/00 (SALEM AB SALEH AL-HARETH) TAG NUMBER 302-LCP-001 | No | We don't carry a compatible part/material | SAR | each | 1000601404 |  |  | 10 |  |  |  | 2022-10-02 03:55 | 5000570110 AS11010ASELCON ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000570110 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYMAT TYPE AS11010A (SELCON)
6.6 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419087 |  | 0.39 | 3,500 | N/A | 84 |  | 2022-11-06 02:55 | 5002158065 11140030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386797 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386799 10016865 GENERAL CABLE USBICC CABLES CORPORATION5000386900 10016871 GENERAL CABLE USBICC GENERAL5000386903 10021675 SOUTHWIRE CO
6.7 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; 7 |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;4 SQ MM CONDUCTO;600-1000 V SUPPLY;7 CONDUCTO;17.9 MM (0.7047 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 7. ORIGINAL EQPT REFS ABRASION; MOISTURE ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC 332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000418074 |  | 14.17 | 900 | N/A | 84 |  | 2022-10-06 03:55 | 5002157887 13515407 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT | Quoted as per our minimum order quantity(2,000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5000383326 10013724 SAUDI CABLE COMPANY SA5000383327 10020512 THE OKONITE COMPANY US5001893750 10037887 EGYTECH CABLES EL SEWEDY EG5002332621 10046468 ELSEWEDY CABLES COMPANY SA5002700292 10013827 SAUDI
6.8 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;17.1 MM (0.6732 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;425 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417914 |  | 12.79 | 1,000 | N/A | 84 |  | 2022-10-07 03:55 | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382502 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382504 10013724 SAUDI CABLE COMPANY SA5001893735 10037887 EGYTECH CABLES EL SEWEDY EG5002332613 10046468 ELSEWEDY CABLES COMPANY SA5000382
6.9 | WIRE; 750V NYA 1/C 25MM2 (4 AWG) STR CU |  | WIRE ELECTRICAL; 25 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;9.3 MM OD;270 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | No | We don't carry a compatible part/material | SAR | Meter | 1000419988 |  |  | 1,000 |  |  |  | 2022-10-07 03:55 | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390367 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390369 10013724 SAUDI CABLE COMPANY SA5000390368 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 02500 - U
6.10 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;70 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 70 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | Yes |  | SAR | Meter | 1000893725 |  | 80.28 | 500 | N/A | 84 |  | 2022-10-07 03:55 | 5002613083 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | Quoted as per our minimum order quantity(1,000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5002322193 10013724 SAUDI CABLE COMPANY SA5002322194 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5002322195 10013002 JEDDAH CABLES COMPANY LTD SA5002322196 10012569 ALFANAR ELECTRICAL SYSTEMS BRAN | MS8314004SHTS050120055019822008000101.pdf
6.11 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.81 MM (0.150 IN) OD;55.1 KG/KM (37 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418981 |  | 0.61 | 7,000 | N/A | 84 |  | 2022-10-04 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cables Manufacture |  | 11171045 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386167 10016871 GENERAL CABLE USBICC GENERAL5000386169 10020512 THE OKONITE COMPANY US5000386251 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775608 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.12 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419087 |  | 0.39 | 5,000 | N/A | 84 |  | 2022-10-07 03:55 | 5002158065 11140030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386797 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386799 10016865 GENERAL CABLE USBICC CABLES CORPORATION5000386900 10016871 GENERAL CABLE USBICC GENERAL5000386903 10021675 SOUTHWIRE CO
6.13 | CORD; ELECTRICAL; 3 CONDUCTOR; 35 SQ |  | CORD ELECTRICAL; 3 CONDUCTO;35 SQ MM CONDUCTO;7 STRANDS CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;21.0 MM (0.826 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C;1215 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT MARKED WITH; ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER MARKINGS; VOTAGE; TYPE SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; ST2 IEC 502; INSULATION THICKNESS; 0.9 MM (0.035 IN); CONDUCTOR MATERIAL SPEC; IEC 228; CLASS 2; INSULATION MATERIAL SPEC; ICEA 502; PACKAGING; CARTON OR FULLY PROTECTED REEL | Yes |  | SAR | Meter | 1000417862 |  | 38.05 | 500 | N/A | 84 |  | 2022-10-05 03:55 | 5002612720 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M006-S953 RIYADH STORES | 04 BOAT | Quoted as per our minimum order quantity(1,000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5000382149 10013724 SAUDI CABLE COMPANY SA5001893728 10037887 EGYTECH CABLES EL SEWEDY EG5002332608 10046468 ELSEWEDY CABLES COMPANY SA5001416337 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AN
6.14 | WIRE; 600V THHN/THWN 1/C 4/0 AWG (120MM2 |  | WIRE ELECTRICAL; 107.2 MM2 (4/0 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;16.51 MM (0.650 IN) OD;1086.4 KG/KM (730 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | No | We don't carry a compatible part/material | SAR | Feet | 1000419551 |  |  | 1,500 |  |  |  | 2022-10-02 03:55 | 5000389195 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389195 10016871 GENERAL CABLE USBICC GENERAL5000389199 10021675 SOUTHWIRE COMPANY INCORPORATED US5000389197 10019733 AMERICAN INSULATED WIRE CORPORATION USLEVITON MANUFACTURING COMPANY5001604302 10
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf
8 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf