## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000382915 761404C07000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002643527 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5000389724 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000320042 MWTM95291000SS5 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | AE Utd.Arab Emir. | 5000281863 9T58B1449T58P4 GENERAL ELECTRIC INTERNATIONAL ( US - CINCINNATI ) | 5000382502 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002176236 OMEGA FACTORY FOR LUMINAIRES, ( SA - RIYADH ) | 5000369538 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000753135 WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) | 5000387766 61A601C08AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000359596 EPKT17C1XI RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000386790 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001117188 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000366104 ENLB55A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000388322 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000381000 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001583086 120825 SAUDI TRANSFORMERS COMPANY LTD ( SA - DAMMAM ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000382916 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002643530 M. P. HUSKY ( US - GREENVILLE ) | 5000389725 711101C00250U0WT1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  | AF Afghanistan | 5000281865 B100BTZ13JK MICRON INDUSTRIES CORPORATION ( US - ELMHURST ) | 5000382503 761404C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002176237 AL- BABTAIN FACTORY FOR POLES, ( SA - RIYADH ) | 5000369539 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000753136 C341DC CUTLER-HAMMER WESTINGHOUSE/EAT ( US - HOUSTON ) | 5000387769 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000386792 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001569307 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001301464 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000388324 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000381001 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000382917 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002643532 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5000389726 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | AG Antigua/Barbuda | 5001188930 1F0892257A574G01 CUTLER-HAMMER WESTINGHOUSE/EAT ( US - HOUSTON ) | 5000382504 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002381428 HESHAM HELAL AL SEWEDY AND PAR ( SA - RABIGH ) | 5001301468 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001290810 C341DC ARABIAN POINT EIGHT POWER CO. ( SA - DAMMAM ) | 5000387870 35008 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5000386793 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001592572 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5001327915 DD1LA3ABG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000388325 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000381002 761401C02500U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | We are currently at full capacity
|  | POE - Port of Export | 5000382918 THE OKONITE COMPANY ( US - HOUSTON ) | 5002643533 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5000389727 THE OKONITE COMPANY ( US - HOUSTON ) |  | AI Anguilla | 5001440945 B100BTZ13JK ARABIA ELECTRIC LIMITED (EQUIP ( SA - JEDDAH ) | 5001277342 DA7LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5001327916 CD6LA3ABG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5000387871 116671191 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5000386794 116671072 THE OKONITE COMPANY ( US - HOUSTON ) | 5001606603 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) | 5001893580 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000388326 M2816 MANHATTAN-CDT ( US - HOUSTON ) | 5000381003 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) |  | Missing information / not enough information provided
|  |  | 5001277348 CB4LU04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002643535 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5001299956 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | AB Abu Dhabi | 5001565932 SA00000196 SAUDI ELECTRICAL TRANSFORMERS ( SA - JEDDAH ) | 5001893735 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5001893586 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5001429855 DW4WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5000386795 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001894076 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5002143829 C435XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000388327 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) | 5000381004 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | Other
|  |  | 5001893741 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002643536 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5001775636 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | AL Albania | 5001782210 E100FB2 EGS SOLA HEVI-DUTY ( US - ROSEMONT ) | 5002143877 C213XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002143830 C44XA1040WSBK08IMF ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001437378 0D06550803 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5001429831 DW1WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002205977 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5002157801 14530282 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000388328 116671251 THE OKONITE COMPANY ( US - HOUSTON ) | 5001301497 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH )
|  |  | 5002143922 C419XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002643537 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002158089 12173140 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | AM Armenia |  | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002157841 14530287 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001775627 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001437366 0D06551410 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002205978 OKONITE CO. INC. ( US - RICHMOND ) | 5002332538 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001594742 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001893702 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - RIYADH )
|  |  | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002643538 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) |  |  | AN Dutch Antilles |  | 5002332613 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  |  |  | 5002158077 11130050 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001775615 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002205979 THE OKONITE COMPANY ( US - ORANGEBURG ) |  | 5001594743 61A601C04AWGU0BK700 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002143812 C316XA10100SBK52IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | 5002332618 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002643539 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) |  |  | AO Angola | [5 empty] | 5002523544 CPTN01UG82900 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5002158064 11170020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002205980 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) |  | 5001594744 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002157848 14515011 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  |  | 5002786797 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) |  |  | AQ Antarctica | [8 empty] | 5002364362 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) |  | 5002612723 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002332587 ELSEWEDY CABLES COMPANY ( SA - YANBU )
[7 empty] | AR Argentina | [8 empty] | 5002364363 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
[7 empty] | AS Samoa,American | [8 empty] | 5002364364 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
[7 empty] | AT Austria | [8 empty] | 5002364365 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
[7 empty] | AU Australia | [8 empty] | 5002527066 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2022-11-13 02:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS with note 10203271.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | Quotation 10203271.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | TRANSFORMER; CONTROL POWER; 150 VA; |  | TRANSFORMER CONTROL POWER; 150 VA POWER;230/460 V;FOR STARTER;60 HZ;UL LISTED;FOR NEMA SIZE 3 & 4 STARTERS; SUPPLIED COMPLETE WITH PRIMARY & SECONDARY FUSE CLIPS; FUSES & MOUNTING HARDWARE | No | We don't carry a compatible part/material | SAR | each | 1000015450 |  |  | 6 |  |  |  | 2022-09-25 03:55 | 5000753135 WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000753135 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA LTD.5001290810 10012120 ARABIAN POINT EIGHT POWER CO. LTD.; SAPART NUMBER C341DC5000753136 10017872 CUTLER-HAMMER WESTINGHOUSE/EATON USCO
6.2 | TRAY; CABLE; STRAIGHT; 914.4 MM (36 |  | TRAY CABLE STRAIGHT; 914.4 MM (36 IN) WD;STYLE DROPOUT LADDER;ALUM;NEMA VE-1;SAES-P-104;WITH SS HARDWARES | No | We don't carry a compatible part/material | SAR | each | 1000372171 |  |  | 1 |  |  |  | 2022-09-26 03:55 | 5002643527 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002643527 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SALTD.COMPANY LTD. FACTORY5002643532 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SAPART NUMBER AL-DPOT-G55002643533 30005404 BRANCH OF EATON INDUST | SAESP1045019773603000101.pdf
6.3 | POLE; LINE; DISTRIBUTION; 55 FT |  | POLE LINE; DISTRIBUTION TYPE;56 FT LG;14-SAMSS-603;STEEL POLE OCTAGONAL ; STEEL POLE FOR 13.8 KV TO 34.5 KV OVERHEAD DISTRIBUTION; 16764MM(55FT) LONG;220 MM TOP ACROSS FLAT DIA.590MM BOTTOM ACROSS FLAT DIA. 6MM SHAFT THICKNESS. THE STEEL POLE SHALL BE TWO PIECE OCTAGONAL TAPERED SHAFT; HOT-DIP GALVANIZED STEEL POLE COMPLETE WITH TOP CAP; BASE BEARING PLATE; EARTHING NUT; NAMEPLATE AND PRE-DRILLED HOLES. THE STEEL USED FOR MANUFACTURING THE POLE SHALL BE WITH MINIMUM YIELD STRENGTH OF 355 N/MM2; MINIMUM ULTIMATE TENSILE STRENGTH OF 490 N/MM2; MAXIMUM ULTIMATE TENSILE STRENGTH 620 N/MM2 AND CONFORM TO ASTM A572 OR EQUAL AND THE FINISH SHALL BE HOT-DIP GALVANIZED AFTER FABRICATION; INCLUDING ALL DRILLING CUTTING AND WELDING. GALVANIZING SHALL BE DONE IN ACCORDING WITH THE REQUIREMENT OF 01- SDMS-01 AND THE MIN AVERAGE THICKNESS OF COATING SHALL BE 0.086MM EQUIVALENT TO 610G/ M2. THE POLE CONFIGURATION SHALL BE IN COMPLIANCE WITH SEC DISTRIBUTION STANDARD 20- SDMS-01 REV 01 NOTE; VENDOR WILL CONFIRM POLE BOTTOM FLAT ACROSS DIA; SHAFT THICKNESS AND THIS POLE IS SUITABLE FOR SINGLE CONDUCTOR SIZE 4/0; 4 PHASE; 4 WIRE & MAX. SPAN 90M. NOTE; VENDOR WILL CONFIRM POLE BOTTOM FLAT ACROSS DIA; AND SHAFT THICKNESS. POLE IS SUITABLE FOR 336.4 KC MIL (MCM) ACSR CONDUCTOR; 3 PHASE; 5 WIRE MAXIMUM SPAN 90 MT. THE 4TH WIRE SHALL BE MOUNTED AT THE TOP OF THE POLE. VENDOR SHALL PROVIDE HOLES ON EACH POLE PRIOR TO HOT DIP GALVANIZING AS PER TYPICAL DRAWING WHICH WILL BE PROVIDED TO THE SUCCESSFUL BIDDER DURING NMR REVIEW.ALL STEEL POLES SHALL BE PROVIDED WITH FACTORY APPLIED EXTRA ANTI-CORROSION COAL TAR EPOXY APCS-3 COATING ( 2 COATS ) OVER GALVANIZING FROM BOTTOM OF POLE TO 3000MM ABOVE BOTTOM. | No | We don't carry a compatible part/material | SAR | each | 1000829281 |  |  | 1 |  |  |  | 2022-09-25 03:55 | 5002176236 OMEGA FACTORY FOR LUMINAIRES, ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | Z02D-C321 JUAYMAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002174143 10039850 ALBABATIN FACTORY FOR GALVANIZED SAPOLES; MASTS AND ACCESSORIES5002174144 10011878 OMEGA FACTORY FOR LUMINAIRES; POLES SAGALVANIZING (DIV. OF S. AND A. ABAH5002176236 30000239 OMEGA | 14SAMSS603051320195019751606000101.pdf
6.4 | TRANSFORMER; CONTROL POWER; 100 VA; |  | TRANSFORMER CONTROL POWER; 100 VA POWER;240/480 VAC PRI/120 VAC SEC; 230/460 VAC PRI/115 VAC SEC; 220/440 VAC PRI/110 VAC SEC;MOLDED TERMINALS OR TERMINAL BOARD ATTACHED TERMINAL;1 PH PHASE;DRY TYPE;SURFACE MTG;85.7 (3-3/8 IN) WD X 22.2 MM (7/8 IN) HT X 76.2 MM (3 IN) DP;TR 30 DEG C 24 HR AVG AMB; 40 DEG C MAX AMB; 55 DEG C AVG WINDING RISE ABOVE MAX AMB; 65 DEG C HOT SPOT RISE ABOVE MAX AMB; 105 DEG C INSULATION SYSTEM;FOR INDOOR;COPPER WINDING;60 HZ;NEMA ST-1; UL;CORE & COIL; WITH MOUNTING FEET; WITH UL LISTED CLASS J FUSE CLIPS ON SECONDARY; FOR USE WITH MACHINE TOOL CONTROL DEVICES | No | We don't carry a compatible part/material | SAR | each | 1000358195 |  |  | 4 |  |  |  | 2022-09-25 03:55 | 5000281863 9T58B1449T58P4 GENERAL ELECTRIC INTERNATIONAL ( US - CINCINNATI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001782210 10035551 EGS SOLA HEVI-DUTY USEMERSON ELECTRIC COMPANYNUMBER E100+FB2SUPERSEDED NUMBER E105+MOUNTED FB-1 FUSE BLOCK5001565932 10027577 SAUDI ELECTRICAL TRANSFORMERS SAFACTORY COMPANYPART NU
6.5 | CABLE; ELECTRICAL; LOW VOLTAGE; 19 S |  | CABLE ELECTRICAL LOW VOLTAGE; 19 STRANDS CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;29.7 MM MINIMUM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION. ORIGINAL EQPT REFS ABRASION;MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417984 |  | 96.27 | 500 | N/A | 84 |  | 2022-09-25 03:55 | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT | Quoted as per our minimum order quantity(1000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5000382916 10013724 SAUDI CABLE COMPANY SA5000382917 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000382918 10020512 THE OKONITE COMPANY US5001893741 10037887 EGYTECH CABLES EL SEWED
6.6 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419083 |  | 0.26 | 3,280 | N/A | 84 |  | 2022-09-26 03:55 | 5002158064 11170020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386790 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386792 10016871 GENERAL CABLE USBICC GENERAL5000386795 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775615 10012569 ALFANAR ELECTRICAL
6.7 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;17.1 MM (0.6732 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;425 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417914 |  | 13.05 | 2,000 | N/A | 84 |  | 2022-10-02 03:55 | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382502 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382504 10013724 SAUDI CABLE COMPANY SA5001893735 10037887 EGYTECH CABLES EL SEWEDY EG5002332613 10046468 ELSEWEDY CABLES COMPANY SA5000382
6.8 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;25 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;9.9 MM (0.39 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTUER MARKINGS;210 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; IEC 502;0.9 MM (0.0354 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417495 |  | 12.26 | 500 | N/A | 84 |  | 2022-10-02 03:55 | 5002157848 14515011 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT | Quoted as per our minimum order quantity(2000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5000381000 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000381001 10013002 JEDDAH CABLES COMPANY LTD SA5000381003 10013724 SAUDI CABLE COMPANY SA5000381004 10020512 THE OKONITE COMPANY US5001893702
6.9 | CABLE; POWER; 5000V; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;67.4 SQ MM (2/0 AWG) CONDUCTO;37 STRANDS CONDUCTO;COPPER CONDUCTO;EPR OR XLPE INSUL;2.92 MM (0.115 IN) INSUL TH;133% INSUL LV;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;STEEL WIRE ARMOR;PVC JACKET;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV TYPE;FOR DIRECT BURIAL; DUCT; CONDUIT 15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 2.8 MM (0.110 IN) JKT THK | Yes |  | SAR | Feet | 1000414914 |  | 40.04 | 700 | N/A | 84 |  | 2022-10-02 03:55 | 5002364365 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | [5 empty] | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Quoted as per our minimum order quantity(3,280 feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5001117188 30000598 JEDDAH CABLE COMPANY LIMITED SA5000372441 10013002 JEDDAH CABLES COMPANY LTD SA5002197642 10027767 SWCC SHOWA CABLE SYSTEMS CO LTD JPINTERNATIONAL TRADE DEPT5002197644 10020512 THE O | 15SAMSS502052020205019771918000101.pdf
6.10 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; STRANDED CONDUCTO;POWER TYPE;150/70 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;49 MM CABLE OD;BLACK;3 X 150 MM2 + 70 MM2; CU/XLPE/SWA/PVC ACC TO 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;OPEN COIL ON PALLET;PVC INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000413676 |  | 199.88 | 100 | N/A | 84 |  | 2022-10-02 03:55 | 5002157841 14530287 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT | Quoted as per our minimum order quantity(1000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5000369538 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000369539 10013724 SAUDI CABLE COMPANY SA5001893586 10037887 EGYTECH CABLES EL SEWEDY EG5001301468 10013827 SAUDI MODERN COMPANY FOR SASPEC
6.11 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;35/16 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 35 MM2 + 16 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000412636 |  | 51.87 | 650 | N/A | 84 |  | 2022-10-02 03:55 | 5002157801 14530282 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT | Quoted as per our minimum order quantity(1000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5001893580 10037887 EGYTECH CABLES EL SEWEDY EG5002332538 10046468 ELSEWEDY CABLES COMPANY SA5001301464 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000366104 10013724 SAUDI CABLE CO
6.12 | WIRE; BUILDING; 450-750V; |  | WIRE ELECTRICAL; 2.5 MM2 CONDUCTO;1 CONDUCTO;WHITE;450-750 V SUPPLY;NYA WIRE;3.5 MM OD;30.1 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419640 |  | 0.95 | 276 | N/A | 84 |  | 2022-10-02 03:55 | 5002158089 12173140 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT | Quoted as per our minimum order quantity(33 Coil 92m) |  | <Strong>Manufacturer Part Number Text :</Strong>5000389726 10013724 SAUDI CABLE COMPANY SA5000389727 10020512 THE OKONITE COMPANY US5000389724 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5001299956 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED
6.13 | WIRE; BUILDING; 600V; 8 AWG BLACK |  | WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419275 |  | 1.05 | 9,000 | N/A | 84 |  | 2022-10-02 03:55 | 5002158077 11130050 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Quoted as per our minimum order quantity(20 Spool 10,000 feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000387769 10016871 GENERAL CABLE USBICC GENERAL5001775627 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000387766 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61A6-
6.14 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419217 |  | 0.63 | 8,500 | N/A | 84 |  | 2022-10-02 03:55 | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Quoted as per our minimum order quantity(20 Spool 10,000 feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000387653 10016871 GENERAL CABLE USBICC GENERAL5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775625 10012569 ALFANAR ELECTRICAL
6.15 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;229.2 KG/KM (154 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't carry a compatible part/material | SAR | Feet | 1000419422 |  |  | 3,000 |  |  |  | 2022-10-02 03:55 | 5000388322 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388324 10016871 GENERAL CABLE USBICC GENERAL5000388327 10019733 AMERICAN INSULATED WIRE CORPORATION USLEVITON MANUFACTURING COMPANY5000388322 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES A
6.16 | SLEEVE; HEAT SHRINK; |  | TUBING SHRINK; HEAT TYPE;38-80 MM DIA RANG;1000 MM LG;1000 V MAXIMUM SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SLEEVE;ADHESIVE INTERNAL COATING; MOISTURE PROOF & WATER RESISTANT | No | We don't carry a compatible part/material | SAR | piece | 1000381355 |  |  | 50 |  |  |  | 2022-11-14 02:55 | 5000320042 MWTM95291000SS5 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000320042 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER MWTM 95/29-1000/S(S5)SUPERSEDED NUMBER MWTM 90/36-1000/42
6.17 | TERMINATION KIT; 15KV 1/C 3/0-500 MCM IN |  | TERMINATOR CABLE; 15 KV;1C; 95 - 240 SQ MM (3/0 AWG-500 MCM) CONDUCTO;HEAT SHRINK TYPE;FOR INDOOR; TERMINATION;TERMINATING KIT; SCREENED CONC NEUTRAL WIRE SHIELD COPPER TAPE SHIELD EXTRUDED OR TAPE SEMI-CON CABLES; WITHOUT CONNECTOR; CROSS-LINKED MODIFIED POLYOLEFIN; KIT FOR (3) COMPLETE TERMINATIONS | No | We don't carry a compatible part/material | SAR | Kit | 1000408598 |  |  | 9 |  |  |  | 2022-09-27 03:55 | 5000359596 EPKT17C1XI RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000359596 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER EPKT-17C/1XI
6.18 | CHANGER; TAP CHANGER |  | CHANGER; TAP CHANGER TYPE;OFF CIRCUIT TAP CHANGER SPARE PART FOR; TRANSFORMER POWER; 300 KVA POWER;13.8 KV- 480/ 277 V;95 KV BIL;3 PH PHASE;PRI. (2) 2-1/2% UP; SEC. (2) 2-1/2% DOWN TAPS;60 HZ;40 DEG C MAX AMB;PAD MTG;CLASS OA;60 DEG C RISE;LIQUID IMMERSED INSUL;14-SAMSS-536 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA SAUDI TRANSFORMERS COMPANY AB LIMITED SERIAL NUMBER 2004S5380 2004S5381 DRAWING NUMBER 0677/602A T2-A03/1V/8N/-A TAG NUMBER 51-XFR (T) - 3001 52-XFR (T) - 3001 | No | We don't carry a compatible part/material | SAR | each | 1000722419 |  |  | 5 |  |  |  | 2022-11-22 02:55 | 5001583086 120825 SAUDI TRANSFORMERS COMPANY LTD ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001583086 10013863 SAUDI TRANSFORMERS COMPANY LTD. SAPART NUMBER 120825
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL22: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf