## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000387989 61A601C06AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000359772 EPKT17B3XIH2G42 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000361811 BBIT6525AU RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000357892 ES1J4X1C120185NA RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382712 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382507 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000363115 HVBT12A RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000360694 EPKT36D1X0 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000564556 EBMC2FDTT70TED36G663 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | 5000385635 61A601C12AWGU0RD500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000356481 ESIJ0X4C2550TA RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000360471 EPKT36C3XOH4 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000363116 HVBT14A RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000386461 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386467 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000359994 EPKT17C3XOH3G43 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000361708 BBIT4016 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000357784 ESIJ4X3C240300TA RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | AE Utd.Arab Emir. | 5000387110 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000388100 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  |  |  | 5000390368 711101C02500U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382713 761404C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382508 761404C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  |  | 5002133410 EBMC2FDTT70TED36G663 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5000385637 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  |  |  | 5000386463 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386469 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  |  |  | AF Afghanistan | 5000387112 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000388102 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  |  |  | 5000390369 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382714 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382509 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  |  |  | 5000385638 23012332 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  |  |  | 5000386464 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386580 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  |  |  | AG Antigua/Barbuda | 5000387113 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | We are currently at full capacity
|  | POE - Port of Export | 5000388103 25006 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  |  |  | 5001277360 DB1DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001277344 DA9LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382710 THE OKONITE COMPANY ( US - HOUSTON ) |  |  |  | 5000385639 THE OKONITE COMPANY ( US - HOUSTON ) |  |  |  | 5000386465 116671078 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386581 116671074 THE OKONITE COMPANY ( US - HOUSTON ) |  |  |  | AI Anguilla | 5000387114 116671106 THE OKONITE COMPANY ( US - HOUSTON ) | Missing information / not enough information provided
|  |  | 5000388104 116671221 THE OKONITE COMPANY ( US - HOUSTON ) |  |  |  | 5001775652 C316HB101000YG000MR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893737 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001277343 DA8LU04BGMO JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  |  |  | 5000385721 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  |  |  | 5000386466 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000386582 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  |  |  | AB Abu Dhabi | 5000387115 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | Other
|  |  | 5000388105 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  |  |  | 5002158115 12154190 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002143878 C315XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893736 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  |  |  | 5001429799 DW2WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  |  |  | 5001429827 DW1WU01N JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429828 DW1WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  |  |  | AL Albania | 5001429835 DW2WU01L JEDDAH CABLES COMPANY LTD ( SA - JEDDAH )
|  |  | 5001775630 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  |  |  | 5002157879 14515309 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157878 14515308 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  | 5001437355 0D06551205 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  |  |  | 5001437362 0D06551407 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437363 0D06551404 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  |  |  | AM Armenia | 5001437370 0D06551202 SAUDI MODERN COMPANY FOR ( SA - RIYADH )
[8 empty] | 5002332615 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002332614 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  |  |  | 5001775604 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  |  | 5001775611 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775612 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  |  | AN Dutch Antilles | 5001775619 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
[9 empty] | 5002700290 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | [7 empty] | 5002158060 11140020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002158061 11150020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  | AO Angola | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer | Description
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer | Item or lot description
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf
2.4 | Partial Acceptance |  | Please note that your offer can be partially accepted, depending on the quotations of each item.

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; 7 | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;21.3 MM (0.840 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;995 KG/KM (669 LB PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.027 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417932 |  |  | 1,400 |  |  |  | 2022-11-22 02:55 | 5000382712 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382712 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382714 10013724 SAUDI CABLE COMPANY SA5001893737 10037887 EGYTECH CABLES EL SEWEDY EG5002332615 10046468 ELSEWEDY CABLES COMPANY SA5000382
6.2 | WIRE; 750V NYA 1/C 25MM2 (4 AWG) STR CU | WIRE ELECTRICAL; 25 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;9.3 MM OD;270 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | No |  | USD | Meter | 1000419988 |  |  | 200 |  |  |  | 2023-01-02 02:55 | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390367 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390369 10013724 SAUDI CABLE COMPANY SA5000390368 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 02500 - U
6.3 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG);BLUE | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419171 |  |  | 30,000 |  |  |  | 2022-10-02 03:55 | 5000387110 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387110 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387112 10016871 GENERAL CABLE USBICC GENERAL5000387115 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775619 10012569 ALFANAR ELECTRICAL
6.4 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;17 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000419037 |  |  | 30,000 |  |  |  | 2022-12-06 02:55 | 5000386461 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386461 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386463 10016871 GENERAL CABLE USBICC GENERAL5000386466 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775611 10012569 ALFANAR ELECTRICAL
6.5 | WIRE; 600V THHN/THWN 1/C 6 AWG (16MM2) N | WIRE ELECTRICAL; 13.3 MM2 (6 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;6.60 MM (0.260 IN) OD;142.9 KG/KM (96 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419333 |  |  | 2,000 |  |  |  | 2022-11-22 02:55 | 5000387989 61A601C06AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388105 10021675 SOUTHWIRE COMPANY INCORPORATED US5000388102 10016871 GENERAL CABLE USBICC GENERAL5000388100 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001775630 10012569 ALFAN
6.6 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419050 |  |  | 2,500 |  |  |  | 2022-11-22 02:55 | 5000386467 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386467 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386469 10016871 GENERAL CABLE USBICC GENERAL5001775612 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000386580 100168
6.7 | WIRE; BUILDING; 600V; | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418917 |  |  | 1,500 |  |  |  | 2022-11-20 02:55 | 5000385635 61A601C12AWGU0RD500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385637 10016871 GENERAL CABLE USBICC GENERAL5000385639 10020512 THE OKONITE COMPANY US5000385721 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775604 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.8 | CABLE; LOW VOL; 7 STR; 600-1000 V | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;19.2 MM (0.756 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;623 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.028 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417918 |  |  | 1,000 |  |  |  | 2022-11-22 02:55 | 5000382507 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382509 10013724 SAUDI CABLE COMPANY SA5000382710 10020512 THE OKONITE COMPANY US5000382507 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5001893736 10037887 EGYTECH CABLES EL SEWEDY EG5002332614
6.9 | TERMINATION KIT; 15KV 3/C 2-2/0 AWG INDO | TERMINATOR CABLE; 15 KV;3C; 35 - 70 SQ MM (2 - 2/0 AWG) CONDUCTO;HEAT SHRINK TYPE;FOR INDOOR; TERMINATION;CORRUGATED ALUM GROUNDS; CONC NEUTRAL WIRE SHIELD COPPER TAPE SHIELD EXTRUDED OR TAPE SEMI-CON CABLES; WITHOUT CONN; CROSS-LINKED MODIFIED POLYOLEFIN; KIT FOR (1) COMPLETE TERMINATION; NO ADAPTERS REQUIRED; 650 MM TAIL LG | No |  | USD | Kit | 1000408699 |  |  | 5 |  |  |  | 2022-11-28 02:55 | 5000359772 EPKT17B3XIH2G42 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000359772 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER EPKT-17B/3XIH2G42
6.10 | TERMINATOR; CABLE; 15 KV; 3C; 95 - 2 | TERMINATOR CABLE; 15 KV;3C; 95 - 240 SQ MM (3/0 AWG-500 MCM) CONDUCTO;HEAT SHRINK TYPE;FOR OUTDOOR; TERMINATION;CORRUGATED ALUM GROUNDS; CONC NEUTRAL WIRE SHIELD COPPER TAPE SHIELD EXTRUDED OR TAPE SEMI-CON CABLE; WITHOUT CONN; CROSS-LINKED MODIFIED POLYOLEFIN; KIT FOR (1) COMPLETE TERMINATION; NO ADAPTER; 800.1 MM (31-1/2 IN) TAIL LG | No |  | USD | Kit | 1000408903 |  |  | 5 |  |  |  | 2022-12-25 02:55 | 5000359994 EPKT17C3XOH3G43 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000359994 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER EPKT-17C/3XOH3G43
6.11 | TERMINATOR; CABLE; 35 KV; 3C; 50 - 95 | TERMINATOR CABLE; 35 KV;3C; 50 - 95 SQ MM (1/0 - 3/0 AWG) CONDUCTO;HEAT SHRINK TYPE;FOR OUTDOOR; TERMINATION;TERMINATING KIT; W/O ARMOR WIRE SHIELD COPPER TAPE SHIELD EXTRUDED OR TAPE SEMI-CON CABLE; WITHOUT CONN; CROSS-LINKED MODIFIED POLYOLEFIN; KIT FOR (1) COMPLETE TERMINATION; NO ADAPTER; 1200 MM TAIL LG | No |  | USD | Kit | 1000409154 |  |  | 25 |  |  |  | 2023-01-03 02:55 | 5000360471 EPKT36C3XOH4 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000360471 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER EPKT-36C/3XOH4
6.12 | TERMINATOR; CABLE; 35 KV; 1C; 120-85 | TERMINATOR CABLE; 35 KV;1C; 120-85 SQ MM (4/0 AWG - 350 MCM) CONDUCTO;HEAT SHRINK TYPE;FOR INDOOR; TERMINATION;TERMINATING KIT; WITHOUT ARMOR WIRE SHIELD COPPER TAPE SHIELD EXTRUDED OR TAPE SEMI-CON CABLE; WITHOUT CONN; CROSS-LINKED MODIFIED POLYOLEFIN; KIT FOR (3) COMPLETE TERMINATIONS; NO ADAPTER | No |  | USD | Kit | 1000409245 |  |  | 25 |  |  |  | 2023-01-03 02:55 | 5000360694 EPKT36D1X0 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000360694 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER EPKT-36D/1X0SUPERSEDED NUMBER SMOE 658
6.13 | TUBING; SHRINK; HIGH VOLTAGE; 25-44 | TUBING SHRINK; HIGH VOLTAGE TYPE;25-44 MM DIA RANG;30 M LG;36 KV SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SINGLE TUBE;FOR SWITCHGEAR BUS BAR INSULATION ONLY; ROUND OR RECTANGULAR COPPER OR ALUM; FOR RECTANGULAR BUS WITH 78-124 MM PERIMETER DIMENSION | No |  | USD | Meter | 1000409923 |  |  | 200 |  |  |  | 2022-11-15 02:55 | 5000361811 BBIT6525AU RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000361811 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER BBIT 65/25-A/U
6.14 | TUBING; SHRINK; HIGH VOLTAGE; 16-30 | TUBING SHRINK; HIGH VOLTAGE TYPE;16-30 MM DIA RANG;30 M LG;36 KV SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SINGLE TUBE;FOR SWITCHGEAR BUS BAR INSULATION ONLY; ROUND OR RECTANGULAR COPPER OR ALUM; FOR RECTANGULAR BUS WITH 50-80 MM PERIMETER DIMENSION | No |  | USD | Meter | 1000409920 |  |  | 20 |  |  |  | 2022-11-15 02:55 | 5000361708 BBIT4016 RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000361708 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER BBIT 40/16
6.15 | SPLICING KIT; CABLE; XLPE/EPR CABLE; | SPLICING KIT CABLE; XLPE/EPR TYPE;25-50 SQ MM (5-1/0 AWG) CONDUCTO;4 CONDUCTO;1 KV;STYLE HEAT SHRINK;STRAIGHT TYPE;FOR DIRECT BURIAL;STEEL TAPE OR CORRUGATED ALUM ARMOR CABLES; WITHOUT CONN; CROSS-LINKED MODIFIED POLYOLEFIN; KIT FOR (1) COMPLETE SPLICE WITH OA JACKET REPLACEMENT; WITH ARMOR; NO ADAPTER | No |  | USD | Kit | 1000406675 |  |  | 8 |  |  |  | 2022-11-17 02:55 | 5000356481 ESIJ0X4C2550TA RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000356481 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER ESIJ-0X/4C25-50/TA
6.16 | TAPE; ELECTRICAL; 25.4 MM (1 IN) WD; | TAPE ELECTRICAL; 25.4 MM (1 IN) WD;10 M LG;1 MM THK;RUBBER;RED;HIGH VOLTAGE TYPE;STYLE ROLL;INSULATING; HEAT-SHRINKABLE; FOR PROTECTION OF HIGH VOLTAGE BUS BAR & OVERHEAD LINES 40 MM DIA ROUND CONDUCTOR OR 50 MM WIDE RECTANGULAR BUS BARS | No |  | USD | Role | 1000411104 |  |  | 58 |  |  |  | 2022-11-15 02:55 | 5000363115 HVBT12A RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000363115 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDCATALOG NUMBER HVBT-12A
6.17 | SPLICING KIT; CABLE; XLPE/EPR CABLE; | SPLICING KIT CABLE; XLPE/EPR TYPE;120-185 SQ MM (4/0 AWG-350 MCM) CONDUCTO;1 CONDUCTO;15 KV;STYLE HEAT SHRINK;STRAIGHT TYPE;FOR DIRECT BURIAL;WITHOUT ARMOR CONCENTRIC NEUTRAL WIRE SHIELD TAPE SHIELDS EXTRUDED OR TAPE SEMI-CON CABLES; WITHOUT CONN; KIT FOR (1) COMPLETE SPLICE; NO ADAPTER | No |  | USD | Kit | 1000407555 |  |  | 5 |  |  |  | 2022-11-17 02:55 | 5000357892 ES1J4X1C120185NA RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000357892 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER ES1J-4X/1C 120-185/NA
6.18 | SPLICING KIT; CABLE; 15;000V; | SPLICING KIT CABLE; XLPE/EPR TYPE;240-300 SQ MM (500-600 MCM) CONDUCTO;3 CONDUCTO;15 KV;STYLE HEAT SHRINK;STRAIGHT TYPE;FOR DIRECT BURIAL;CORRUGATED ALUM 3-GROUNDS; W/ARMOR CONC NEUTRAL WIRE SHIELD COPPER TAPE SHIELD EXTRUDED OR TAPE SEMI-CON CABLES; W/O CONN; CROSS-LINKED MODIFIED PLOYOLEFIN; KIT FOR (1) COMPLETE SPLICE; NO ADAPTER | No |  | USD | Kit | 1000407498 |  |  | 5 |  |  |  | 2022-11-15 02:55 | 5000357784 ESIJ4X3C240300TA RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000357784 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER ESIJ-4X/3C 240-300/TASUPERSEDED NUMBER ESIJ-4X/3C240-300/CA
6.19 | TAPE; INSULATING; | TAPE ELECTRICAL; 50 MM WD;10 M LG;1 MM THK;RUBBER;RED;HIGH VOLTAGE TYPE;STYLE ROLL;INSULATING; HEAT-SHRINKABLE; FOR PROTECTION OF HIGH VOLTAGE BUS BARS & OVERHEAD LINES; UP TO 80 MM DIA ROUND CONDUCTOR OR 120 MM WD RECTANGULAR BUS BARS | No |  | USD | Role | 1000411107 |  |  | 10 |  |  |  | 2022-11-16 02:55 | 5000363116 HVBT14A RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000363116 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDCATALOG NUMBER HVBT-14A
6.20 | ENCLOSURE; COMBINATION STARTER; 228.6 | ENCLOSURE; COMBINATION STARTER TYPE;SIZE 228.6 MM (9 IN) ID X 558.8 MM (22 IN) HT;NEMA 3; 4; 7; 9 & 12;COPPER FREE CAST ALUM;EPOXY PAINT FINISH;NEC; UL;SS SHAFT; ZINC PLATED STEEL INTERIOR; SQ BODY; FRONT OPERATED HANDLE & CONTROL; COVER; SURFACE OR RACK MOUNTED; FOR NEMA 2 (3) POLE STARTER 600 VAC; 70 A CIRCUIT BREAKER; CORROSION RESISTANT; 1-1/2 IN FEMALE NPT HUB; FOR USE IN HAZ LOC; CL I GR C & D; WITH TOP & BOTTOM SCREW IN ROUND COVER; SINGLE SPEED; FULL VOLTAGE NON-REVERSING TYPE EB; EHB & FB | No |  | USD | each | 1000504299 |  |  | 2 |  |  |  | 2023-01-22 02:55 | 5000564556 EBMC2FDTT70TED36G663 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000564556 10017271 CROUSE HINDS ECM / EATON USPART NUMBER EBMC2FD-TT70-TED36-G663SUPERSEDED NUMBER EPC8925002133410 10042226 BRANCH OF EATON INDUSTRIES MIDDLE SAEAST LLCPART NUMBER EBMC2FD-TT70-TED36-
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK24: Answer Type: Text (multiple lines) Acceptable Values: Any Value