## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000359596 EPKT17C1XI RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000386683 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386790 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002219445 707016006A WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) | AE Utd.Arab Emir. | 5002219447 707016007A WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) | 5000386586 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000363116 HVBT14A RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5001328115 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000361811 BBIT6525AU RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5000360697 EPKT36E1XO RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub |  | 5000386685 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386792 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002219446 707016006A ASCO SWITCH ( US - FLORHAM PARK ) | AF Afghanistan | 5002219448 707016007A ASCO SWITCH ( US - FLORHAM PARK ) | 5000386588 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5001894081 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) |  |  | Discontinued Item
|  | SAT - Saudi Aramco Transportation |  | 5000386686 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386793 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | AG Antigua/Barbuda |  | 5000386589 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5002206001 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) |  |  | We are currently at full capacity
|  | POE - Port of Export |  | 5000386687 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000386794 116671072 THE OKONITE COMPANY ( US - HOUSTON ) |  | AI Anguilla |  | 5000386680 116671075 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5002206002 THE OKONITE CO. INC. ( US - SANTA MARIA ) |  |  | Missing information / not enough information provided
|  |  |  | 5001429830 DW1WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000386795 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | AB Abu Dhabi |  | 5000386681 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5002206003 OKONITE CO. INC. ( US - RICHMOND ) |  |  | Other
|  |  |  | 5001437365 0D06551405 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001429831 DW1WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | AL Albania |  | 5001429829 DW1WU01O JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5002206004 THE OKONITE COMPANY ( US - ORANGEBURG )
|  |  |  | 5001775614 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001437366 0D06551410 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | AM Armenia |  | 5001437364 0D06551409 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002206006 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN )
|  |  |  | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001775615 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | AN Dutch Antilles |  | 5001775613 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002206007 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT )
[5 empty] | 5002158064 11170020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | AO Angola |  | 5002158062 11190020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002364454 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
[7 empty] | AQ Antarctica |  |  |  | 5002364455 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
[7 empty] | AR Argentina |  |  |  | 5002364456 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
[7 empty] | AS Samoa,American |  |  |  | 5002364457 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
[7 empty] | AT Austria |  |  |  | 5002527071 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
[7 empty] | AU Australia |  |  |  | 5002589262 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer | Description
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer | Item or lot description
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf
2.4 | Partial Acceptance |  |  | Please note that your offer can be partially accepted, depending on the quotations of each item.

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2022-11-20 02:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | Quotation 10203875.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | LIGHT; PILOT INDICATING; RED; LED |  | LIGHT PILOT INDICATING; RED;LED TYPE;16 MM DIAMETER MTG;28 V AC/DC SUPPLY;PANEL MTG SPARE PART FOR; SWITCH TRANSFER; 480 VAC; 3 PH; 60 HZ;260 A CONT;3 POLE ACTION;3 WIRE;NEMA 1; GENERAL PURPOSE; INDOOR ENCLOSUR;25 KAIC TYPE;FOR NORMAL / EMERGENCY POWER SWITCH;NEMA ORIGINAL EQUIPMENT REFERENCES; MODEL NUMBER J7ATBC3260N5XC DRAWING NUMBER 611032-005-SD (WESCOSA) 806095-251 REFERENCE NUMBER 11032-M (WESCOSA) | No | We don't carry a compatible part/material | SAR | each | 1000835062 |  |  | 3 |  |  |  | 2022-10-02 03:55 | 5002219445 707016006A WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M016-S960 JAZAN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002219445 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA LTD.PART NUMBER 707016-006-A5002219446 10018035 ASCO SWITCH USVERTIV / EMERSON ELECTRIC COMPANYPART NUMBER 707016-006-A
6.2 | LIGHT; PILOT INDICATING; GREEN; LED |  | LIGHT PILOT INDICATING; GREEN;LED TYPE;16 MM DIAMETER MTG;28 V AC/DC SUPPLY;PANEL MTG SPARE PART FOR; SWITCH TRANSFER; 480 VAC; 3 PH; 60 HZ;260 A CONT;3 POLE ACTION;3 WIRE;NEMA 1; GENERAL PURPOSE; INDOOR ENCLOSUR;25 KAIC TYPE;FOR NORMAL / EMERGENCY POWER SWITCH;NEMA ORIGINAL EQUIPMENT REFERENCES; MODEL NUMBER J7ATBC3260N5XC DRAWING NUMBER 611032-005-SD (WESCOSA) 806095-251 REFERENCE NUMBER 11032-M (WESCOSA) | No | We don't carry a compatible part/material | SAR | each | 1000835063 |  |  | 3 |  |  |  | 2022-10-02 03:55 | 5002219447 707016007A WAHAH ELECTRIC SUPPLY CO. OF S ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M016-S960 JAZAN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002219447 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA LTD.PART NUMBER 707016-007-A5002219448 10018035 ASCO SWITCH USVERTIV / EMERSON ELECTRIC COMPANYPART NUMBER 707016-007-A
6.3 | WIRE; ELECTRICAL; 2.08 MM2 (14 AWG); 1 |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419059 |  | 0.24 | 50,000 | N/A | 70 |  | 2023-01-10 02:55 | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386683 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386685 10016871 GENERAL CABLE USBICC GENERAL5000386687 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775614 10012569 ALFANAR ELECTRICAL
6.4 | WIRE; BUILDING; 600V; (14 AWG) ORANGE |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;ORANGE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419055 |  | 0.24 | 50,000 | N/A | 70 |  | 2023-01-10 02:55 | 5002158062 11190020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386586 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386588 10016871 GENERAL CABLE USBICC GENERAL5000386681 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775613 10012569 ALFANAR ELECTRICAL
6.5 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419083 |  | 0.24 | 50,000 | N/A | 70 |  | 2023-01-10 02:55 | 5002158064 11170020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386790 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386792 10016871 GENERAL CABLE USBICC GENERAL5000386795 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775615 10012569 ALFANAR ELECTRICAL
6.6 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419083 |  | 0.24 | 11,280 | N/A | 70 |  | 2022-11-20 02:55 | 5002158064 11170020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386790 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386792 10016871 GENERAL CABLE USBICC GENERAL5000386795 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775615 10012569 ALFANAR ELECTRICAL
6.7 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;25 SQ MM (49.3 MCM) CONDUCTO;6 STRANDS CONDUCTO;40.0 MM (1.574 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;2.5 MM (0.098 IN) INSUL TH;LAPPED; EXTRUDED SEMI-CONDUCTING SHIELD OVER CONDUCTOR AND OVER INSULATION S/C SHLD;COPPER TAPE METAL SH;PVC JACKET;2580 KG/KM LG;TR 90 DEG C MAX;REEL; 500 M (1640.5 FT);MV; SHIELDED TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT FLAME RETARDANT. | No | We don't carry a compatible part/material | SAR | Meter | 1000415682 |  |  | 774.32 |  |  |  | 2022-12-11 02:55 | 5001328115 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | [5 empty] | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | A004-C321 JUAYMAH B-107; J. STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002197685 10020512 THE OKONITE COMPANY US5002197687 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002197693 10027767 SWCC SHOWA CABLE SYSTEMS CO LTD JPINTERNATIONAL TRADE DEPT500219 | 15SAMSS502052020205019852046000101.pdf
6.8 | TERMINATOR; CABLE; 35 KV; 1C; 240 - |  | TERMINATOR CABLE; 35 KV;1C; 240 - 500 SQ MM (500 - 1000 MCM) CONDUCTO;HEAT SHRINK TYPE;FOR OUTDOOR; TERMINATION;TERMINATING KIT; WITHOUT ARMOR WIRE SHIELD COPPER TAPE SHIELD EXTRUDED OR TAPE SEMI-CON CABLES; WITHOUT CONN; CROSS-LINKED MODIFIED POLYOLEFIN; KIT FOR (3) COMPLETE TERMINATIONS; NO ADAPTER | No | We don't carry a compatible part/material | SAR | Kit | 1000409248 |  |  | 40 |  |  |  | 2022-12-12 02:55 | 5000360697 EPKT36E1XO RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000360697 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER EPKT-36E/1XO
6.9 | TAPE; INSULATING; |  | TAPE ELECTRICAL; 50 MM WD;10 M LG;1 MM THK;RUBBER;RED;HIGH VOLTAGE TYPE;STYLE ROLL;INSULATING; HEAT-SHRINKABLE; FOR PROTECTION OF HIGH VOLTAGE BUS BARS & OVERHEAD LINES; UP TO 80 MM DIA ROUND CONDUCTOR OR 120 MM WD RECTANGULAR BUS BARS | No | We don't carry a compatible part/material | SAR | Role | 1000411107 |  |  | 75 |  |  |  | 2022-11-16 02:55 | 5000363116 HVBT14A RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000363116 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDCATALOG NUMBER HVBT-14A
6.10 | TERMINATION KIT; 15KV 1/C 3/0-500 MCM IN |  | TERMINATOR CABLE; 15 KV;1C; 95 - 240 SQ MM (3/0 AWG-500 MCM) CONDUCTO;HEAT SHRINK TYPE;FOR INDOOR; TERMINATION;TERMINATING KIT; SCREENED CONC NEUTRAL WIRE SHIELD COPPER TAPE SHIELD EXTRUDED OR TAPE SEMI-CON CABLES; WITHOUT CONNECTOR; CROSS-LINKED MODIFIED POLYOLEFIN; KIT FOR (3) COMPLETE TERMINATIONS | No | We don't carry a compatible part/material | SAR | Kit | 1000408598 |  |  | 8 |  |  |  | 2022-12-12 02:55 | 5000359596 EPKT17C1XI RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000359596 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER EPKT-17C/1XI
6.11 | TUBING; SHRINK; HIGH VOLTAGE; 25-44 |  | TUBING SHRINK; HIGH VOLTAGE TYPE;25-44 MM DIA RANG;30 M LG;36 KV SUPPLY;CROSS LINKED POLYOLEFIN;FOR INSULATING & SEALING CONNECTIONS ON SOLID DIELECTRIC CABLE;STYLE SINGLE TUBE;FOR SWITCHGEAR BUS BAR INSULATION ONLY; ROUND OR RECTANGULAR COPPER OR ALUM; FOR RECTANGULAR BUS WITH 78-124 MM PERIMETER DIMENSION | No | We don't carry a compatible part/material | SAR | Meter | 1000409923 |  |  | 30 |  |  |  | 2022-11-21 02:55 | 5000361811 BBIT6525AU RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000361811 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDNUMBER BBIT 65/25-A/U
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value