## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | AE Utd.Arab Emir. | 5002515231 58L001230 SAUDI CATHODIC PROTECTION ( SA - DAMMAM ) | 5001477557 SAUDI CATHODIC PROTECTION ( SA - DAMMAM ) | 5002533685 PML13T054115025 CORROSION TECHNOLOGY SERVICES ( GB - MILDENHALL ) | 5002694092 SKM195GB066D ARABIAN POWER ELECTRONICS COMP ( SA - KHOBAR ) | 5002515228 11T230001 SAUDI CATHODIC PROTECTION ( SA - DAMMAM ) | 5002332241 MR106060V BEEMET ( IN - MUMBAI ) | 5000380900 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002599863 A20A00SPI01 MOBILTEX DATA LIMITED ( CA - CALGARY ) | 5002347456 R2435 ABDULLA FOUAD IMPALLOY LTD CO ( SA - DAMMAM ) | 5002692769 PG6DI ARABIAN POWER ELECTRONICS COMP ( SA - KHOBAR ) | 5002560533 13T03027525 CORROSION TECHNOLOGY SERVICES ( GB - MILDENHALL ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | AF Afghanistan |  | 5001857529 ABDULLA FOUAD IMPALLOY LTD. CO ( SA - DAMMAM ) | 5002533686 13T054115025 SAUDI CATHODIC PROTECTION ( SA - DAMMAM ) |  |  | 5002332242 21V150060 SAUDI CATHODIC PROTECTION ( SA - DAMMAM ) | 5000380901 761401C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002599864 106MA20A00SPI01 SPECIALIZED OIL AND GAS ( SA - JEDDAH ) | 5002347457 1SVR427032R0000 ARKAD ABB SPA ( IT - SESTO SAN GIOVANNI ) |  | 5002560534 13T03027525 SAUDI CATHODIC PROTECTION ( SA - DAMMAM ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | AG Antigua/Barbuda |  | 5002119358 SPECIALIZED OIL AND GAS ENGINE ( SA - DAMMAM ) |  |  |  |  | 5000380902 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  |  |  | 5002880869 MAGNETIC CONTROL FACTORY FOR ( SA - ALKHARJ ) | We are currently at full capacity
|  | POE - Port of Export | AI Anguilla |  | 5002373929 CATHODIC PROTECTION CO LTD ( GB - GRANTHAM ) |  |  |  |  | 5000380903 THE OKONITE COMPANY ( US - HOUSTON ) |  |  |  |  | Missing information / not enough information provided
|  |  | AB Abu Dhabi |  | 5002376650 CORRPOWER INTERNATIONAL LTD. ( SA - KHOBAR ) |  |  |  |  | 5001893700 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  |  |  |  | Other
|  |  | AL Albania | [6 empty] | 5002157846 14015010 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  | AM Armenia | [6 empty] | 5002332585 ELSEWEDY CABLES COMPANY ( SA - YANBU )
AN Dutch Antilles
AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | ANODE; GALVANIC; 32 IN (L) X 8 IN | ANODE GALVANIC; PER STANDARD DWG AA-036389;45.4 KG (100 LB);12.7 MM (1/2 IN) DIA EYE BOLT;HIGH POTENTIAL MAGNESIUM ALLOY;AA-036389-001;17-SAMSS-006;7.6 M (25 FT) LEAD WIRE SUPPLIED; 8.36 MM2 (8 AWG) STRANDED BLACK THWN INSULATED COPPER CONDUCTOR LEAD WIRE; CORE TYPE; 12 MM (1/2 IN) GALV STEEL EYEBOLT | No |  | USD | each | 1000073382 |  |  | 48 |  |  |  | 2022-11-30 02:55 | 5001477557 SAUDI CATHODIC PROTECTION ( SA - DAMMAM ) | [5 empty] | Urgent | X | No | IR171300 501 GALVANIC ANODES; For Cathodic Protection 11/30/2015 | Yes | 831402 | 831405 |  | No | D - Dutible | 0- | OY-Open yard | B04A-C321 JUAYMAH B-321; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002119358 30005501 SPECIALIZED OIL AND GAS ENGINEERING SAKTD.5001857529 30004608 ABDULLA FOUAD IMPALLOY LTD. CO. SANUMBER 460 MT; C/42345000081075 10012769 SAUDI CATHODIC PROTECTION SAMANUFACTURING CO | MS831405040120075019892581000101.pdf
6.2 | CONTROLLER; GPS INTERRUPTER; 2 TO 60000 | CONTROLLER; GPS INTERRUPTER TYPE;2 TO 60000 MS (CYCLE TIME) RANGE;6 / 12 VDC; 0.8 / 0.4 A OUTPUT;TO 22 VAC TO 33 VDC SUPPLY;DIMENSIONS; 197 MM HT X 133 MM WD X 55 MM DP TOTAL POWER; 20 W ENCLOSURE; POWDER COATED ALUMINUM -30 TO 70 DEG OUTPUT; N.O. / N.C. (EXTERNAL SOLID STATE OR MECHANICAL) LINE LCD LEAD ACID BACK UP BATTERY RECTIFIER MOUNT PLAY; 4 ERNAL SEALED RATING TEMP.; AY SPARE PART FOR; RECTIFIER IMPRESSED CURRENT; OIL COOLED TYPE;240 VAC; 60 HZ; 1 PH; 15.8 A; 3.8 KVA POWER;60 VDC; 34 A OUTPUT;SCREW TERMINALS TERMINAL;STYLE PHASE CONTROLLED;17-SAMSS-005;DIMENSIONS;1045 MM HT X 2260 MM WD X 500 MM DP ENCLOSURE MATERIAL; STEEL FINISH; HOT DIP GALVANIZED TEMP.; 55 DEG. C. (MAX) SHUNT RATING; 50 MV; 50 A OPTIONS; CORETALK; RMU RATING ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME SPECIALIZED OIL AND GAS MODEL NUMBER OSPHV2-I-6034-ACEGCZ6ZI SERIAL NUMBER 538-15-00028 538-15-00029 DRAWING NUMBER FD-EGC-100A-OA-001 HYUNDAI-PC-001 TAG NUMBER J34-034-CAT-102 J34-034-CAT-103 | No |  | USD | each | 1001014197 |  |  | 2 |  |  |  | 2023-03-06 02:55 | 5002599863 A20A00SPI01 MOBILTEX DATA LIMITED ( CA - CALGARY ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002599863 10060492 MOBILTEX DATA LIMITED CAPART NUMBER A20A00SPI015002599864 10007275 SPECIALIZED OIL AND GAS SAENGINEERING CO.PART NUMBER 106-M-A20A00SPI01
6.3 | POWER SUPPLY ELECTRICAL; AC / DC; 60 WAT | POWER SUPPLY ELECTRICAL; AC / DC TYPE;60 WATTS OUTPOWER POWER;INPUT; 100 TO 240 VAC; 85 TO 264 VAC & 90 TO 375 VDC PUT; 24 VDC;INPUT; 60 A; OUTPUT; 2.5 A;47 TO 63 HZ INPUT FREQUENCY;IP 20 ENCLOSUR;UL SPARE PART FOR; RECTIFIER IMPRESSED CURRENT; OIL COOLED; TRANSFORMER RECTIFIER TYPE;17;885 VA; 480 VAC; 21.50 A; 3 PH; 60 HZ POWER;50 VDC; 300 A OUTPUT;HAZARDOUS; CLASS 1; ZONE 2; TEMPERATURE CLASS T3;17-SAMSS-004;ENCLOSURE TYPE; NEMA 8 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME ABDULLA FOUAD IMPALLOY LIMITED MODEL NUMBER MTXGT 50-300 YCIZB SERIAL NUMBER 13-0105 13-0106 13-0107 13-0108 13-0109 13-0110 13-0111 13-0112 13-0113 13-0114 DRAWING NUMBER QC-EN084 ORDER NUMBER 12296 TAG NUMBER 331-27-REC-001 331-27-REC-002 331-28-REC-001 331-28-REC-002 331-29-REC-001 331-29-REC-002 387-1M-REC-001 387-1M-REC-002 387-2P-REC-001 387-2P-REC-002 | No |  | USD | each | 1000906933 |  |  | 4 |  |  |  | 2022-11-10 02:55 | 5002347456 R2435 ABDULLA FOUAD IMPALLOY LTD CO ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A009-C104 YANBU B-19; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002347456 10011900 ABDULLA FOUAD IMPALLOY LTD CO SAPART NUMBER R24355002347457 10027762 ARKAD ABB SPA ITPART OF ARKAD ENGINEERING & CONSTRUPART NUMBER 1SVR 427 032 R0000REFERENCE NUMBER CP-E 24/2.5
6.4 | TRANSFORMER CONTROL POWER; 11.5 KVA; 480 | TRANSFORMER CONTROL POWER; 11.5 KVA POWER;480 VAC PRIMARY; 54 VAC SECONDARY;3 PH PHASE;DRY TYPE;TR 55 DEG C (MAXIMUM);60 HZ;IEC/EN;STEPS IN SECONDARY VOLTAGE; 25 STEPS SPARE PART FOR; RECTIFIER IMPRESSED CURRENT; CATHODIC PROTECTION OIL COOLED TRANSFORMER TYPE;480 VAC; 60 HZ; 3PH POWER;50 VDC; 150 ADC; 7.5 KW OUTPUT;17-SAMSS-004;SHUNT RATING; 200A/50;MV AMBIENT TEMPERATURE; 55 DEG C PHASE BRIDGE RECTIFIER L WAVE THREE ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA CORRPRO ARABIA GROUND AB ELECTRODE MODEL NUMBER COYTD 50-150 RTZ SERIAL NUMBER 14-0043-01 14-0043-02 14-0043-03 14-0043-04 14-0043-05 14-0043-06 14-0043-07 DRAWING NUMBER 2019IK060009-B04-0001 2019IK060009-C27-0002 REFERENCE NUMBER 14-0043 TAG NUMBER J60-011-XFR(T)-001 J60-011-XFR(T)-002 J60-011-XFR(T)-003 J60-011-XFR(T)-004 J60-011-XFR(T)-005 J60-011-XFR(T)-006 J60-011-XFR(T)-007 | No |  | USD | each | 1000994005 |  |  | 2 |  |  |  | 2022-11-21 02:55 | 5002533685 PML13T054115025 CORROSION TECHNOLOGY SERVICES ( GB - MILDENHALL ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002533685 10049815 CORROSION TECHNOLOGY SERVICES GBEUROPE LIMITEDPART NUMBER PML-13-T-0541150/255002533686 10012769 SAUDI CATHODIC PROTECTION SAMANUFACTURING COMPANY LTD.PART NUMBER 13-T-0541150/25
6.5 | TRANSFORMER CONTROL POWER; 2.75 KVA; 480 | TRANSFORMER CONTROL POWER; 2.75 KVA POWER;480 VAC PRIMARY; 30 VAC SECONDARY;3 PH PHASE;DRY TYPE;TR 55 DEG C (MAXIMUM);COPPER WINDING;60 HZ;IEC/EN;STEPS IN SECONDARY VOLTAGE; 25 STEPS INSULATION CLASS; CLASS H SPARE PART FOR; RECTIFIER IMPRESSED CURRENT; CATHODIC PROTECTION OIL COOLED TRANSFORMER TYPE;480 VAC; 60 HZ; 3PH POWER;24 VDC; 60 ADC; 1.44 KW OUTPUT;17-SAMSS-004;SHUNT RATING; 75A/50;MV AMBIENT TEMPERATURE; 55 DEG C PHASE BRIDGE RECTIFIER L WAVE THREE ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME SAUDI CATHODIC PROTECTION MODEL NUMBER COYTD 24-60 RTZ SERIAL NUMBER 14-0128-42 14-0128-43 14-0128-44 14-0128-45 14-0128-46 14-0128-47 14-0128-48 14-0128-49 DRAWING NUMBER 2018IK060009-B04-0001 2018IK060009-C27-0002 REFERENCE NUMBER 14-0128 TAG NUMBER J60-011-XFR(T)-104 J60-011-XFR(T)-122 J60-011-XFR(T)-123 J60-011-XFR(T)-124 J60-011-XFR(T)-125 J60-011-XFR(T)-161 J60-011-XFR(T)-162 J60-011-XFR(T)-163 | No |  | USD | each | 1001002905 |  |  | 1 |  |  |  | 2022-11-21 02:55 | 5002560533 13T03027525 CORROSION TECHNOLOGY SERVICES ( GB - MILDENHALL ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002560533 10049815 CORROSION TECHNOLOGY SERVICES GBEUROPE LIMITEDPART NUMBER 13-T-030275/255002560534 10012769 SAUDI CATHODIC PROTECTION SAMANUFACTURING COMPANY LTD.PART NUMBER 13-T-030275/2550028808
6.6 | TRANSFORMER; 0-480 V PRI; 0-230V SEC; 1A | TRANSFORMER; 0-480 V PRI; 0-230V SEC;1A;1 PH PHASE;AUXILIARY TYPE SPARE PART FOR; RECTIFIER IMPRESSED CURRENT; CATHODIC PROTECTION OIL COOLED TRANSFORMER TYPE;4.75 KVA; 480 VAC; 5.8 AAC 60HZ; 3PH POWER;0.300 KW; 50VDC; 60 ADC OUTPUT;17-SAMSS-004;SHUNT RATING=75A/50MV CASING MODEL=0I4 OIL COOLED OIL TYPE=NEMA GRADE 10 AMBIENT TEMP.=55 DEG C FULL WAVE DIODE BRIDGE RECTIFIER CAPACITY=440L ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA CORRPRO ARABIA GROUND AB ELECTRODE MODEL NUMBER COYTD 50-60 RTZ SERIAL NUMBER 15-0088-01 15-0088-02 15-0088-03 15-0088-04 DRAWING NUMBER V-0222012420CA81-0004 V-0222012420CA81-0011 REFERENCE NUMBER 2015-I-015-023 TAG NUMBER J20-020-X-001 J20-020-X-002 J23-023-X-001 J23-023-X-002 | No |  | USD | each | 1000985343 |  |  | 3 |  |  |  | 2023-03-12 03:55 | 5002515228 11T230001 SAUDI CATHODIC PROTECTION ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002515228 10012769 SAUDI CATHODIC PROTECTION SAMANUFACTURING COMPANY LTD.PART NUMBER 11-T-230001
6.7 | METER ELECTRICAL; VOLTMETER; 0 TO 60 V; | METER ELECTRICAL; VOLTMETER TYPE;0 TO 60 V RANGE;ANALOG READOUT;RECTANGULAR SHAPE;PANEL MTG;50 HZ;TR -10 DEG C TO 50 DEG C;+/- 1.5 % OF FULL SCALE ACCURACY;IS 1248; IEC51 SPARE PART FOR; RECTIFIER IMPRESSED CURRENT; CATHODIC PROTECTION TRANSFORMER TYPE;480 VAC; 60 HZ; 3 PH; 11.6 KVA POWER;50 VDC; 150 ADC; 7.5 KW OUTPUT;17-SAMSS-004;AMBIENT TEMPERATURE; 55 DEG C; FULL WAVE DIODE BRIDGE RECTIFIER; OIL IMMERSED NATURAL AIR COOLED ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA CORRPRO ARABIA GROUND AB ELECTRODE MODEL NUMBER C0YTD 50-150 QRTZ SERIAL NUMBER 12-0154-06 12-0154-07 12-0154-08 12-0154-09 DRAWING NUMBER 11049D-EY100-COR-CP-005 SHT-00 REFERENCE NUMBER 12-0154 TAG NUMBER Q70-261-XFR(T)-031 Q70-262-XFR(T)-031 Q70-263-XFR(T)-031 Q70-264-XFR(T)-031 | No |  | USD | each | 1000903174 |  |  | 12 |  |  |  | 2023-03-13 03:55 | 5002332241 MR106060V BEEMET ( IN - MUMBAI ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002332241 10049817 BEEMET INPART NUMBER MR-106 0-60V5002332242 10012769 SAUDI CATHODIC PROTECTION SAMANUFACTURING COMPANY LTD.PART NUMBER 21-V-150060
6.8 | LIGHT PILOT INDICATING; 230V | LIGHT PILOT INDICATING; 230V SUPPLY SPARE PART FOR; RECTIFIER IMPRESSED CURRENT; CATHODIC PROTECTION OIL COOLED TRANSFORMER TYPE;4.75 KVA; 480 VAC; 5.8 AAC 60HZ; 3PH POWER;0.300 KW; 50VDC; 60 ADC OUTPUT;17-SAMSS-004;SHUNT RATING=75A/50MV CASING MODEL=0I4 OIL COOLED OIL TYPE=NEMA GRADE 10 AMBIENT TEMP.=55 DEG C FULL WAVE DIODE BRIDGE RECTIFIER CAPACITY=440L ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA CORRPRO ARABIA GROUND AB ELECTRODE MODEL NUMBER COYTD 50-60 RTZ SERIAL NUMBER 15-0088-01 15-0088-02 15-0088-03 15-0088-04 DRAWING NUMBER V-0222012420CA81-0004 V-0222012420CA81-0011 REFERENCE NUMBER 2015-I-015-023 TAG NUMBER J20-020-X-001 J20-020-X-002 J23-023-X-001 J23-023-X-002 | No |  | USD | each | 1000985346 |  |  | 30 |  |  |  | 2023-03-13 03:55 | 5002515231 58L001230 SAUDI CATHODIC PROTECTION ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | C006-C960 JZRC ISF MAIN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002515231 10012769 SAUDI CATHODIC PROTECTION SAMANUFACTURING COMPANY LTD.PART NUMBER 58-L-001230
6.9 | CABLE; ELECTRICAL; MEDIUM VOLTAGE | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;8.9 MM (0.3503 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;146 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC-228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;PVC INSUL;COPPER CONDUCTO;15-SAMSS-502; IEC 502; UL;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417459 |  |  | 800 |  |  |  | 2023-04-16 03:55 | 5000380900 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | A008-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000380900 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000380902 10013724 SAUDI CABLE COMPANY SA5000380903 10020512 THE OKONITE COMPANY US5001893700 10037887 EGYTECH CABLES EL SEWEDY EG5002332585 | 15SAMSS502052020205019939672000101.pdf
6.10 | CAPACITOR; DC; 4700MFD; 250V; 76MM | CAPACITOR; DC TYPE;4700MFD;250V;SIZE 76MM SPARE PART FOR; CHARGER; BATTERY / RECTIFIER TYPE;SUPPLY VOLTAGE 400 VAC; 3 PH; FREQUENCY 60 HZ; MOUNTING FLOOR; DIMENSIONS 2000 X 800 X 600 MM. FEEDER CABLE SIZE 10SQMM (10M APEC SCOPE); NOMINAL VOLTAGE 130V; MAXIMUM VOLTAGE 130V; MINIMUM VOLTAGE 90V; UNEARTHED; STANDALONE TYPE; FRONT DOOR ACCESS; IP 21 INGRESS PROTECTION; 110 V DC NOMINAL OUTPUT VOLTAGE; DIODE TOPOLOGY RECTIFIER; 60 MINUTES PACK UP TIME; 50 A (MAX) LOAD CURRENT; 112 AH BATTERY AH CAPACITY; SAFT BATTERY MAKE; NI-CD BATTERY TYPE; 119 V FLOAT CHARGE VOLTAGE; 114.75 V TO 121.55 V FLOAT VOLTAGE ADJUSTMENT RANGE; 123.25 V BOOST CHARE VOLTAGE; 123.25 V TO 130 V BOOST VOLTAGE ADJUSTMENT RANGE; BATTERY DISCONNECT SWITCH 63 A; 3 POLE; MCCB; BATTERY CABLE 16SQMM; ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA ARABIAN POWER ELECTRONICS AB COMPANY MODEL NUMBER L-3-400-60-110-50-F SERIAL NUMBER K18070476100 DRAWING NUMBER 212000501101-18 TAG NUMBER 6-S-554-EX-ERR-6502 | No |  | USD | each | 1001044442 |  |  | 4 |  |  |  | 2022-10-22 03:55 | 5002692769 PG6DI ARABIAN POWER ELECTRONICS COMP ( SA - KHOBAR ) | [5 empty] | Normal/staged | N | No |  | No | 831410 |  |  | No | E - Exempt | 6- | WH-Warehouse (Non-A/C) | D003-E19 JEDDAH KING ABDULLAH AIR BASE ( | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002692769 10051799 ARABIAN POWER ELECTRONICS COMPANY SAPART NUMBER PG6DI
6.11 | TRANSISTOR; IGBT | TRANSISTOR; IGBT TYPE;195A; 600V SPARE PART FOR; CHARGER; BATTERY / RECTIFIER TYPE;SUPPLY VOLTAGE 400 VAC; 3 PH; FREQUENCY 60 HZ; MOUNTING FLOOR; DIMENSIONS 2000 X 800 X 600 MM. FEEDER CABLE SIZE 10SQMM (10M APEC SCOPE); NOMINAL VOLTAGE 130V; MAXIMUM VOLTAGE 130V; MINIMUM VOLTAGE 90V; UNEARTHED; STANDALONE TYPE; FRONT DOOR ACCESS; IP 21 INGRESS PROTECTION; 110 V DC NOMINAL OUTPUT VOLTAGE; DIODE TOPOLOGY RECTIFIER; 60 MINUTES PACK UP TIME; 50 A (MAX) LOAD CURRENT; 112 AH BATTERY AH CAPACITY; SAFT BATTERY MAKE; NI-CD BATTERY TYPE; 119 V FLOAT CHARGE VOLTAGE; 114.75 V TO 121.55 V FLOAT VOLTAGE ADJUSTMENT RANGE; 123.25 V BOOST CHARE VOLTAGE; 123.25 V TO 130 V BOOST VOLTAGE ADJUSTMENT RANGE; BATTERY DISCONNECT SWITCH 63 A; 3 POLE; MCCB; BATTERY CABLE 16SQMM; ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA ARABIAN POWER ELECTRONICS AB COMPANY MODEL NUMBER L-3-400-60-110-50-F SERIAL NUMBER K18070476100 DRAWING NUMBER 212000501101-18 TAG NUMBER 6-S-554-EX-ERR-6502 | No |  | USD | each | 1001044472 |  |  | 1 |  |  |  | 2022-10-22 03:55 | 5002694092 SKM195GB066D ARABIAN POWER ELECTRONICS COMP ( SA - KHOBAR ) | [5 empty] | Normal/staged | N | No |  | No | 831410 |  |  | No | E - Exempt | 1- | WH-Warehouse (Non-A/C) | D003-E19 JEDDAH KING ABDULLAH AIR BASE ( | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002694092 10051799 ARABIAN POWER ELECTRONICS COMPANY SAMODEL NUMBER 2MBI SEMIPART NUMBER SKM195GB066D
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value