## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000069713 UPQN4116R IDEC IZUMI CORPORATION ( JP - YODOGAWA-KU ) | 5002753807 B0702 IRIS POWER LP ( CA - MISSISSAUGA ) | 5000891079 FVN4240TG120 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) |  | 5000009126 12500 OSRAM SYLVANIA INCORPORATED ( US - DANVERS ) | 5000423185 ARD33 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | 5002380644 70BSMD250 SCHNEIDER ELECTRIC ( US - SENECA ) | 5002531141 SAFJ06L2NLCGP1JD15 AZZ INCORPORATED ( US - HOUSTON ) | AE Utd.Arab Emir. | 5001420789 L36W21840PLUSECO ## OSRAM GMBH ( DE - MUNCHEN ) | 5001461598 22350025 DAEYANG ELECTRIC CO LTD ( KR - BUSAN ) | 5000444266 EL19 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | 5000004373 SSA6X30WDV COOPER LIGHTING DIVISION ( US - VICKSBURG ) | 5000441767 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | 5001102077 SIEMENS S.A. DE C.V. ( MX - MORELIA, JALISCO C.P. ) | 5000331537 30131 TIFCO INDUSTRIES ( US - CYPRESS ) | 5000361701 CAMPBELL COMPANIES ( US - WEST LAWN ) | 5000965879 SIEMENS S.A. DE C.V. ( MX - MORELIA, JALISCO C.P. ) | 5000068621 140V5W IDEC IZUMI CORPORATION ( JP - YODOGAWA-KU ) | 5002552023 AD4524021 BAILEY ELECTRIC ELECTRONICS BV ( NL - OOSTERHOUT ) | 5001376022 120800 HUBBELL LIGHTING INCORPORATED ( US - CHRISTIANBURG ) | 5000022861 4050300024387 OSRAM LTD ( GB - WEMBLEY ) | 5000884889 P21 ELECTRICAL DISTRIBUTION PRODUC ( US - EARLYVILLE ) | 5002731440 ALT801610WU850 ADVANCED LIGHTING COMPANY ( SA - KHOBAR ) | 5000413453 7022 ABAHSAIN-COPE SAUDI ARABIA CO ( SA - DHAHRAN ) | 5000021164 10119PC OSRAM SYLVANIA INCORPORATED ( US - DANVERS ) | 5000427234 LBH20 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | 5001461801 15100054 DAEYANG ELECTRIC CO LTD ( KR - BUSAN ) | 5000998309 SIEMENS S.A. DE C.V. ( MX - MORELIA, JALISCO C.P. ) | 5000071029 HF100PDEYEIWASAKI ITO DENKI CO LTD ( JP - MINATO-KU, TOKYO ) | 5002643302 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | 5002656475 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub |  |  | 5000891190 FVR240BU EGS APPLETON ELECTRIC COMPANY ( US - HOUSTON ) |  |  | 5000423186 AJC3 HUBBELL ( US - SAINT LOUIS ) |  |  | AF Afghanistan |  |  | 5001189039 EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) | 5000004374 PA3006BKWITHHANDHOLD COOPER POWER SYSTEMS ( US - MIAMI ) | 5001189025 ELBD2002IN EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) | 5001838660 WEG EQUIPAMENTOS ELETRICOS S.A ( BR - JARAGUA DO SUL, SANTA CATARINA ) |  |  | 5001838745 WEG EQUIPAMENTOS ELETRICOS S.A ( BR - JARAGUA DO SUL, SANTA CATARINA ) |  |  |  | 5002258881 SAFETY AND PROTECTION PLANT FO ( SA - DAMMAM ) | 5000884990 VPGU1 EGS APPLETON ELECTRIC COMPANY ( US - HOUSTON ) |  | 5000413454 P1117M UNISTRUT CORPORATION ( US - WAYNE ) | 5002298515 40A15F120PK GE LIGHTING SYSTEMS ( US - HENDERSONVILLE ) | 5000427235 ELBD75 EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) |  | 5000998412 TOSHIBA INTERNATIONAL INC ( US - HOUSTON ) | 5002459953 IWASAKI ELECTRIC CORPORATION L ( JP - MINATO-KU ) | 5002643305 M. P. HUSKY ( US - GREENVILLE ) | 5002656478 M. P. HUSKY ( US - GREENVILLE ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation |  |  | 5002153263 ISGKVRS240120NSA INDUSTRIAL SYSTEMS GROUP ( SA - DAMMAM ) | [5 empty] | AG Antigua/Barbuda | [5 empty] | 5002489201 TECO MIDDLE EAST ELECTRICAL AN ( SA - DAMMAM ) |  |  | 5002059261 GE Industrial Motors a WOLONG ( MX - Garcia ) |  |  |  |  | 5000884991 VPGU1 EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) |  | 5000413455 P1117M ROBROY INDUSTRIES ( US - GILMER ) |  | 5000427236 LBH0507 EGS-OZ GEDNEY/EMERSON ( US - SKOKI ) |  | 5002489293 TECO MIDDLE EAST ELECTRICAL AN ( SA - DAMMAM ) |  | 5002643307 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | 5002656479 ADHWA ALRAWAFID ELECTRIC INDUS ( SA - Jubail ) | We are currently at full capacity
|  | POE - Port of Export | [8 empty] | AI Anguilla | [5 empty] | 5002588323 TECO ELECTRIC & MACHINERY CO L ( TW - ZHONGLI DIST, TAOYUAN CITY ) |  |  | 5002489255 TECO MIDDLE EAST ELECTRICAL AN ( SA - DAMMAM ) |  |  |  |  | 5002153243 ISGKVPGU1SA INDUSTRIAL SYSTEMS GROUP ( SA - DAMMAM ) |  |  |  | 5001496828 GULF GASKET FACTORY ( SA - DAMMAM ) |  | 5002588506 TECO ELECTRIC & MACHINERY CO L ( TW - ZHONGLI DIST, TAOYUAN CITY ) |  | 5002643308 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | 5002656480 BRANCH OF EATON INDUSTRIES MID ( SA - DAMMAM ) | Missing information / not enough information provided
[11 empty] | AB Abu Dhabi | [5 empty] | 5002588324 TOSHIBA INTERNATIONAL INC ( US - HOUSTON ) | [13 empty] | 5002588507 ATB SCHORCH GMBH ( DE - MONCHENGLADBACH ) |  | 5002643310 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | 5002656482 BAAMER ELECTRIC FACTORY ( SA - JEDDAH ) | Other
[11 empty] | AL Albania | [5 empty] | 5002588325 ATB SCHORCH GMBH ( DE - MONCHENGLADBACH ) | [13 empty] | 5002588509 ATB TAMEL SA ( PL - TARNOW ) |  | 5002643311 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA ) | 5002656483 ABAHSAIN COPE S.A. CO. LTD ( SA - DHAHRAN - DOHA )
[11 empty] | AM Armenia | [5 empty] | 5002588327 ATB TAMEL SA ( PL - TARNOW ) | [15 empty] | 5002643312 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM ) | 5002656484 FAS ALJAZEERA UNITED FACTORY C ( SA - DAMMAM )
[11 empty] | AN Dutch Antilles | [21 empty] | 5002643313 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM ) | 5002656485 WAHAH ELECTRIC SUPPLY COMPANY ( SA - DAMMAM )
[11 empty] | AO Angola | [21 empty] | 5002643314 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH ) | 5002656486 FACTORY OF MODERN METAL INDUST ( SA - JEDDAH )
[11 empty] | AQ Antarctica | [21 empty] | 5002786778 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam ) | 5002787097 ADHWA AL-RAWAFID ELECTRIC ( SA - Dammam )
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | CLAMP; CND; STRUT 2" PVC CTD . | CLAMP CONDUIT; 50.8 MM (2 IN) CONDUIT;(2) SLOTS MTG;STRAP DESIGN;PVC COATED STEEL;RIGID CONDUIT;NEMA RN1 (TYPE A-40) & UL;METAL FRAMING PARTS; GALV; EXTERNALLY HEX HEAD SCREW NUT ATTACHED; PVC 40 MILS THK | No |  | USD | each | 1000427479 |  |  | 20 |  |  |  | 2023-02-19 02:55 | 5000413453 7022 ABAHSAIN-COPE SAUDI ARABIA CO ( SA - DHAHRAN ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000413453 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SANUMBER 702-25000413454 10019835 UNISTRUT CORPORATION USALLIED SUPPORT SYSTEMSNUMBER P1117M5000413455 10021191 ROBROY INDUSTRIES USNUMBER P1117M
6.2 | CLAMP; CND; STRUT 2" PVC CTD . | CLAMP CONDUIT; 50.8 MM (2 IN) CONDUIT;(2) SLOTS MTG;STRAP DESIGN;PVC COATED STEEL;RIGID CONDUIT;NEMA RN1 (TYPE A-40) & UL;METAL FRAMING PARTS; GALV; EXTERNALLY HEX HEAD SCREW NUT ATTACHED; PVC 40 MILS THK | No |  | USD | each | 1000427479 |  |  | 50 |  |  |  | 2023-02-19 02:55 | 5000413453 7022 ABAHSAIN-COPE SAUDI ARABIA CO ( SA - DHAHRAN ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000413453 10011881 ABAHSAIN-COPE SAUDI ARABIA CO. LTD SANUMBER 702-25000413454 10019835 UNISTRUT CORPORATION USALLIED SUPPORT SYSTEMSNUMBER P1117M5000413455 10021191 ROBROY INDUSTRIES USNUMBER P1117M
6.3 | BODY;CONDUIT;.75";CAST FERALOY | BODY CONDUIT OUTLET; RIGID TYPE;19.1 MM (3/4 IN) HUB;LBH SHAPE;NPT TERMINAL;CAST FERALOY;ZINC PLATED; ALUM CELLULOSE LACQUER FINISH;CL I GR B C & D HAZARDOUS;UL-886;ELBOW SHAPE; DUSTTIGHT; WITH BLANK DOME STYLE COVER ON AN ANGLE; 30.2 MM (1-3/16 IN) WD X 101.6 MM (4 IN) LG COVER OPENING | No |  | USD | each | 1000432270 |  |  | 10 |  |  |  | 2023-03-05 02:55 | 5000427234 LBH20 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001496828 10012476 GULF GASKET FACTORY SA5000427234 10017271 CROUSE HINDS ECM / EATON USNUMBER LBH205000427235 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYNUMBER ELBD-75500042723
6.4 | LAMP; HID | LAMP QUARTZ; 250 W W;SCREW BASE;231.1 MM (9.100 IN) LG;HIGH PRESSURE SODIUM TYPE;E-28 BULB;DIFFUSE;26000 INIT LUMENS;24000 HRS AVG LIFE;ANSI;BURN ANY POSITION; (EUROPEAN); USE WITH ANSI CODE NO S50 HPS BALLAST; 134.6 MM (5.300 IN) LIGHT CENTER | No |  | USD | each | 1000061129 |  |  | 11 |  |  |  | 2023-02-19 02:55 | 5000022861 4050300024387 OSRAM LTD ( GB - WEMBLEY ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002258881 10038391 SAFETY AND PROTECTION PLANT FOR SATHE MANUFACTURE OF ELECTRICAL AND5000022861 10005376 OSRAM LTD GBPART NUMBER 4050300024387SUPERSEDED NUMBER NAV-E 250 SUPERMAT TYPE NAV-E 250 W SUP
6.5 | FIXTURE; FLUORESCENT LIGHTING; 120 | FIXTURE FLUORESCENT LIGHTING; 120 VAC; 60 HZ;2 X 40 W W;ONE PIECE SEAMLESS SHEET STL HOUSING WITH WELDED END CAP KEEP DIRT HOUSING;WET LOCATION;FOR INDUSTRIAL;DUST & MOISTURE AWAY FROM BALLAST & LAMP; EASY TO CLEAN; ENCLOSED & GASKETED SUITABLE FOR INSTALLATION IN CLASS I; DIV II; A SILICON RUBBER GASKET PROVIDES A DUST-TIGHT SEAL BETWEEN THE LENS/FRAME ASSY & HOUSING; WITH TWO 1/2 IN NPT PENDANT HUBS & TWO 1/2/ IN NPT THRU-FEED END HUBS ARE STANDARD | No |  | USD | each | 1000056052 |  |  | 15 |  |  |  | 2023-02-26 02:55 | 5000891079 FVN4240TG120 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000891079 10017271 CROUSE HINDS ECM / EATON USCATALOG NUMBER FVN4240TG/1205000891190 10018019 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYCATALOG NUMBER FVR240BUSUPERSEDED NUMBER VRS240120
6.6 | GUARD; LIGHTING FIXTURE; HID FIXTURE; | GUARD LIGHTING FIXTURE; HID FIXTURE;200 W MAX LAMP;COPPER-FREE ALUM;GREY ENAMEL FINISH;UL;FOR ENCLOSED AND GASKETED FIXTURES; A-23; A-25; PS-25 LAMP | No |  | USD | each | 1000053864 |  |  | 70 |  |  |  | 2023-02-28 02:55 | 5000884889 P21 ELECTRICAL DISTRIBUTION PRODUC ( US - EARLYVILLE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000884991 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYPART NUMBER VPGU-15002153243 10043006 INDUSTRIAL SYSTEMS GROUP SAPART NUMBER ISG#K- VPGU-1-SA5000884889 10017272 ELECTRICAL D
6.7 | MOTOR; INDUCTION; INTEGRAL; 1.5 HP | MOTOR INDUCTION INTEGRAL; 1.12 KW OR 1.5 HP POWER;900 SYNCH (R;FRAME 184T;460 V;3 PHASE;60 HZ;2.4 A FL;1.0 SF;TEFC/IP54 ENCLOSUR;INSUL CL F;B NEMA DES;50 DEG C MAX AMB;70 DEG C RISE;77.0% NEMA EFF;NON-HAZARDOUS;HORIZONTAL MTG;RIGID BASE;17-SAMSS-503;HIGH EFFICIENCY; SEVERE AND CONTINUOUS DUTY TYPE; FULL VOLTAGE STARTING; BALL BEARINGS; FRAME; ENDSHIELDS; FAN COVER AND TERMINAL BOX SHALL BE OF CAST IRON CONSTRUCTION; BI-DIRECTIONAL FAN; FOOTPRINT DIMENSIONS; 4.50 IN. CL. SHAFT TO BASE (D) 7.50 IN. CL. FIXING HOLES (END) 5.50 IN. CL. FIXING HOLES (SIDE) 1.1250 IN SHAFT DIAMETER (U) 2.50 IN. AVAILABLE SHAFT LENGTH (V) | No |  | USD | each | 1000065978 |  |  | 2 |  |  |  | 2022-11-03 03:55 | 5000965879 SIEMENS S.A. DE C.V. ( MX - MORELIA, JALISCO C.P. ) | [5 empty] | Urgent | X | No | IR170200 501 MOTORS; ELECTRIC; Severe Duty Totally E 10/31/2016 | Yes | 831402 | 831403 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B006-C322 TANAJIB B-10; STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001838745 30004091 WEG EQUIPAMENTOS ELETRICOS S.A. BR5001837794 10023223 WEG ELECTRIC CORPORATION USWEB EQUIPAMENTOS ELETRICOS S.A.5002488393 10055095 FACTORY OF TECO MIDDLE EAST SAELECTRIC & MACHINERY | MS831403080620115019869779000101.pdf
6.8 | MOTOR; INDUCTION; INTEGRAL; 40 HP; | MOTOR INDUCTION INTEGRAL; 30 KW (40 HP ) POWER;3600 SYNCH (R;FRAME 324HP;460 V;3 PHASE;60 HZ;90.8/45.4 A MAX FL;1.0 SF;TEFC/IP54 ENCLOSUR;INSUL CL F;B NEMA DES;50 DEG C MAX AMB;70 DEG C RISE;91.7% NEMA EFF;NON-HAZARDOUS;VERTICAL MTG;RIGID BASE;17-SAMSS-503;HIGH EFFICIENCY; SEVERE AND CONTINUOUS DUTY TYPE; FULL VOLTAGE STARTING; BALL BEARINGS; FRAME; ENDSHIELDS; FAN COVER AND TERMINAL BOX SHALL BE OF CAST IRON CONSTRUCTION; BI-DIRECTIONAL FAN; P-TYPE FLANGE AND SHAFT DIMENSIONS; 14.750 IN BOLT CIRCLE DIAMETER (AJ) 4.531 IN FACE TO SHAFT END (AH) 1.6250 IN SHAFT DIAMETER (U) | No |  | USD | each | 1000065211 |  |  | 1 |  |  |  | 2023-01-02 02:55 | 5001102077 SIEMENS S.A. DE C.V. ( MX - MORELIA, JALISCO C.P. ) | [5 empty] | Urgent | X | No | IR170200 501 MOTORS; ELECTRIC; Severe Duty Totally E 10/31/2016 | Yes | 831402 | 831403 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002588323 30001456 TECO ELECTRIC & MACHINERY CO LTD TWCHUNG-LI PLANTNUMBER -5002588324 30001965 TOSHIBA INTERNATIONAL INC USNUMBER -5002588325 30003471 ATB SCHORCH GMBH DENUMBER -5002588327 30003729 | MS831403080620115019905377000101.pdf
6.9 | MOTOR; INDUCTION; INTEGRAL; 5 HP | MOTOR INDUCTION INTEGRAL; 3.73 KW OR 5 HP POWER;1200 SYNCH (R;FRAME 215T;230/460 V;3 PHASE;60 HZ;15.2/7.6 A MAX FL;1.0 SF;TEFC/IP54 MIN ENCLOSUR;INSUL CL F;B NEMA DES;50 DEG C MAX AMB;70 DEG C RISE;87.5% MIN NEMA EFF;NON-HAZARDOUS;UNIVERSAL MTG;RIGID BASE;17-SAMSS-503;HIGH/PREMIUM EFFICIENCY; SEVERE AND CONTINUOUS DUTY TYPE; FULL VOLTAGE STARTING; BALL BEARINGS; FRAME; ENDSHIELDS; FAN COVER AND TERMINAL BOX SHALL BE OF CAST IRON CONSTRUCTION; BI-DIRECTIONAL FAN; FOOTPRINT DIMENSIONS; 5.25 IN. CL. OF SHAFT TO BASS (D) 8.50 IN. CL. OF FIXING HOLES (END) 7.00 IN. CL. OF FIXING HOLES (SIDE) 1.375IN. SHAFT DIAMETER (U) ; 3.38 IN. FACE TO SHAFT END (N-W);3.12 IN MIN AVAILABLE SHAFT LENGTH (V). | No |  | USD | each | 1000066454 |  |  | 1 |  |  |  | 2023-02-27 02:55 | 5000998309 SIEMENS S.A. DE C.V. ( MX - MORELIA, JALISCO C.P. ) | [5 empty] | Urgent | X | No | IR170200 501 MOTORS; ELECTRIC; Severe Duty Totally E 10/31/2016 | Yes | 831402 | 831403 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000998412 30001965 TOSHIBA INTERNATIONAL INC USNUMBER -5002588506 30001456 TECO ELECTRIC & MACHINERY CO LTD TWCHUNG-LI PLANTNUMBER -5002588507 30003471 ATB SCHORCH GMBH DENUMBER -5002588509 30003729 | MS831403080620115019929554000101.pdf
6.10 | LIGHT; LED TUBE LIGHT; IP20 | LIGHT; LED TUBE LIGHT TYPE;IP20 SUPPLY;HOUSING; ALUMINUM BASE. IP RATING; IP20. MOUNTING; ONE END POWER TUBE WITH G13 LAMP HOLDER. DELIVERED LUMEN OUTPUT; 1200 LM. CCT; 5000K; CRI; >80. BEAM ANGLE; 120°. SYSTEM INPUT POWER; 10W. SYSTEM EFFICACY; 120LM/W. INPUT VOLTAGE; 100-277V. INPUT FREQUENCY; 50/60HZ. POWER FACTOR; >0.9. OPERATING TEMP; -20°C ~ +45°C. LIFETIME; >50;000HRS. DIMENSIONS; 603X28.9X32.1 MM | No |  | USD | each | 1001058861 |  |  | 200 |  |  |  | 2023-03-05 02:55 | 5002731440 ALT801610WU850 ADVANCED LIGHTING COMPANY ( SA - KHOBAR ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 1- | WH-Warehouse (Non-A/C) | C003-C953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002731440 10061664 ADVANCED LIGHTING COMPANY SAMODEL NUMBER AL-T801-6-10W-U-8-50
6.11 | LAMP; INCANDESCENT; 5 W; 140 V; E12 | LAMP INCANDESCENT; 5 W W;140 V;E12 BASE;T20 BULB;ANNUNCIATOR TYPE;CLEAR;3000 HRS AVG LIFE;UL CSA | No |  | USD | each | 1000068990 |  |  | 50 |  |  |  | 2023-02-14 02:55 | 5000068621 140V5W IDEC IZUMI CORPORATION ( JP - YODOGAWA-KU ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000068621 10000850 IDEC IZUMI CORPORATION JPREFERENCE NUMBER 140 V; 5 W
6.12 | LAMP; INCANDESCENT; 1 W; 6.3V; | LAMP INCANDESCENT; 1 W W;6.3V;BAYONET BASE;G-3-1/2 BULB;22 MM LG;INDICATOR TYPE;CLEAR;USED FOR AUTOMATIC CONTROL PANEL ON BUILDING IN COMMON BUILDING AREA | No |  | USD | each | 1000069413 |  |  | 100 |  |  |  | 2023-03-06 02:55 | 5000069713 UPQN4116R IDEC IZUMI CORPORATION ( JP - YODOGAWA-KU ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000069713 10000850 IDEC IZUMI CORPORATION JPPART NUMBER UPQN4116-R
6.13 | LAMP; QUARTZ; 100 W; MOGUL SCREW | LAMP QUARTZ; 100 W W;115 V;MOGUL SCREW BASE;178 MM LG;MERCURY VAPOR TYPE;E24 BULB;COOL WHITE;4500 INIT LUMENS;24000 HRS AVG LIFE;ANSI;BURN ANY POSITION; (RECEIVED FROM TABOUK BULK PLANT); 90 MM LIGHT CENTER BULB SHAPE E75; NOM. LAMP CURRENT 1.0 A BULB BASE E27 | No |  | USD | each | 1000070226 |  |  | 50 |  |  |  | 2023-02-14 02:55 | 5000071029 HF100PDEYEIWASAKI ITO DENKI CO LTD ( JP - MINATO-KU, TOKYO ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002459953 10004830 IWASAKI ELECTRIC CORPORATION LTD JP5000071029 10004222 ITO DENKI CO LTD JPEX-SAMARECPART NUMBER HF100PD-EYE (IWASAKI)
6.14 | LAMP; FLUORESCENT; 36W 120V/60 HZ; 4 | LAMP FLUORESCENT; 36W 120V/60 HZ W;4 FT LONG LG;BI-PIN BASE;COOL WHITE;STRAIGHT TUBE TYPE SPARE PART FOR; LIGHT; RECESSED FLUORESCENT MODULAR TYPE;4 X 36W; 120VAC 60HZ SUPPLY;WITH PRISMATIC DIFFUSER TO IP65 WITH EMERGENCY BATTERY POWER PACK ORIGINAL.EQUIPMENT.REFS... MANF NARDEEN LIGHTING COMPANY LIMITED CAT# TMPH 4/36W-EM ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA NARDEEN LIGHTING COMPANY AB LIMITED CATALOG NUMBER TMPH 4/36W-EM | No |  | USD | each | 1000676546 |  |  | 100 |  |  |  | 2023-02-27 02:55 | 5001420789 L36W21840PLUSECO ## OSRAM GMBH ( DE - MUNCHEN ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001420789 10004613 ## OSRAM GMBH DEPART NUMBER L36W/21-840 PLUS ECO
6.15 | FIXTURE; COMPACT LED LIGHT | FIXTURE; COMPACT LED LIGHT TYPE;NEMA 4X; IP66;LED. PENDANT MOUNT; 1 IN CONDUIT; 50 WATT. 347/480V. 60 HZ. 55 DEG.C AMBIENT. LOW PROFILE CLEAR GLOBE & GUARD. REFLECTOR TYPE. CLASS I DIV. 2; | No |  | USD | each | 1000992983 |  |  | 5 |  |  |  | 2023-03-26 03:55 | 5002531141 SAFJ06L2NLCGP1JD15 AZZ INCORPORATED ( US - HOUSTON ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B003-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002531141 10016413 AZZ INCORPORATED USRIG-A-LITE PARTNERSHIP LIMITEDPART NUMBER SAFJ06-L2-N-LCG-P1+JD15
6.16 | TUBING; ELECTRICAL INSULATING; 1-1/4 | TUBING; ELECTRICAL INSULATING TYPE;1-1/4 IN OD;1.22 M (4 FT) LG;STRAIGHT FORM;3.17 MM (0.1250 IN) WALL THK;ROLLED; NATURAL TAN FINISH;GR NEMA LE;PHENOLIC RESIN; COTTON FABRIC;1 IN ID | No |  | USD | piece | 1000409889 |  |  | 5 |  |  |  | 2023-03-29 03:55 | 5000361701 CAMPBELL COMPANIES ( US - WEST LAWN ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | C001-C300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000361701 10016756 CAMPBELL COMPANIES USJB CAMPBELL
6.17 | POLE; LIGHTING; STREET; 9.1 M (30 FT) | POLE LIGHTING; STREET TYPE;9.1 M (30 FT) MTG HT;152.4 MM (6 IN) TOP DIA;152.4 MM (6 IN) BTM DIA;BLACK BAKED ENAMEL;(4) 25.4 MM (1 IN) DIA X 914.4 MM (36 IN) LG ANCHOR BOLTS;ALUM;SQUARE (4) BOLT FLANGE BASE;SQUARE NON-TAPERED SHAFT;6.4 MM (1/4 IN) SHAFT WALL WITH BASE COVER; 304.8 MM (12 IN) DIA BOLT CIRCLE; 76.2 MM (3 IN) X 127.0 MM (5 IN) HAND HOLE | No |  | USD | each | 1000057931 |  |  | 10 |  |  |  | 2023-03-06 02:55 | 5000004373 SSA6X30WDV COOPER LIGHTING DIVISION ( US - VICKSBURG ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831407 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000004373 10017269 COOPER LIGHTING DIVISION USCOOPER INDUSTRIES INCORPORATEDNUMBER SSA6X30WDV5000004374 10017282 COOPER POWER SYSTEMS USCOOPER INDUSTRIES INCORPOATEDNUMBER PA3006-BK WITH HANDHOLD
6.18 | BOX; BACK; | BOX ELECTRICAL; RECEPTACLE TYPE;SIZE 85.7 MM (3-3/8 IN WD X 85.7 MM (3-3/8 IN) LG X 85.7 MM (3-3/8 IN DP OUTSIDE;SQUARE SHAPE;1 IN CONNECTN;THREADED HUBS TANDEM NPT COONECTN;FOR WEATHERPROOF;NON-HAZARDOUS;CAST ALUM;NATURAL FINISH;4.8 MM (3/16 IN) THK;UL-514;BACK TYPE; FOR 20 A OR 30 A CIRCUIT BREAKING RECEPTACLE; 15 DEG FACE OPENING; (2) HUBS; WITH (2) MOUNTING LUGS; AR SERIES | No |  | USD | each | 1000431063 |  |  | 10 |  |  |  | 2022-11-20 02:55 | 5000423185 ARD33 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000423185 10017271 CROUSE HINDS ECM / EATON USNUMBER ARD335000423186 10019094 HUBBELL USKILLARKNUMBER AJC-3
6.19 | ELBOW; CONDUIT; 2 IN NOM; FEMALE NPT | ELBOW CONDUIT; 2 IN NPS;FEMALE NPT TERMINAL;90 DEG;MALLEABLE IRON;RIGID CONDUIT;7 IN RADIUS;6 MM;GALV;STYLE CORNER PULLING ENTRANCE GASKETED;ASTM A47;CLASS 1; II; GROUP D;E;F&G SUPPLY;UL LISTED;WITH FLANGE; GASKET AND 6 BOLTS TOP COVER ATTACHED; FOR HAZARDOUS ENVIRONMENT APPLICATION | No |  | USD | each | 1000438369 |  |  | 20 |  |  |  | 2023-02-19 02:55 | 5000441767 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000441767 10017271 CROUSE HINDS ECM / EATON US5001189025 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYMAT TYPE ELBD-200-2 IN
6.20 | ELBOW; CONDUIT; 1/2 IN NOM; FEMALE | ELBOW CONDUIT; 1/2 IN NPS;FEMALE NPT TERMINAL;90 DEG;STEEL;RIGID CONDUIT;SCH 40;GALV;STYLE CORNER PULLING;CLASS 150 SUPPLY;HOT DIP GALVANIZED STEEL USED ON ELECTRICAL INSTALLATION | No |  | USD | each | 1000440867 |  |  | 15 |  |  |  | 2022-11-21 02:55 | 5000444266 EL19 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A007-C321 A007-C321 | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001189039 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANY5000444266 10017271 CROUSE HINDS ECM / EATON USNUMBER EL 19
6.21 | LAMP; INCAND; 40W; 120VAC; SIGHT GLASS | LAMP INCANDESCENT; 40 W W;120 VAC;MEDIUM SCREW BASE;A-15 BULB;88.9 MM (3-1/2 IN) LG;APPLIANCE TYPE;INSIDE FROSTED;1500 HRS AVG LIFE;ANSI; SASO SSA 33;455 INIT LUMENS; FILAMEMENT C.C-9; LAMP ORDERING CODE 40A15 | No |  | USD | each | 1000060952 |  |  | 10 |  |  |  | 2023-02-28 02:55 | 5000021164 10119PC OSRAM SYLVANIA INCORPORATED ( US - DANVERS ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000021164 10021537 OSRAM SYLVANIA INCORPORATED USNUMBER 10119 P/C40A155002298515 10018479 GE LIGHTING SYSTEMS USGENERAL ELECTRIC COMPANYPART NUMBER 40A15/ F120PK
6.22 | BATTERY; LEAD CALCIUM; 6 VDC | BATTERY; LEAD CALCIUM TYPE;6 VDC SPARE PART FOR; LIGHT EMERGENCY/SAFETY; EXIT TYPE;WALL MTG;50 W W;12 VDC;HALOGEN LAMP;12 VDC RECHARGABLE BATTERY;ORIGINAL.EQUIPMENT.REFS... MANF HUBBELL LIGHTING DIVISION HUBBELL REF# PO-021-02 TYPE EL MODEL# IMF 12-50-2P12H-TDR-ELMS-1 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME HUBBELL LIGHTING INCORPORATED MODEL NUMBER IMF 12-50-2P12H-TDR-ELMS-1 REFERENCE NUMBER PO-021-02 TYPE NUMBER EL | No |  | USD | each | 1000677455 |  |  | 4 |  |  |  | 2023-03-06 02:55 | 5001376022 120800 HUBBELL LIGHTING INCORPORATED ( US - CHRISTIANBURG ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001376022 10019088 HUBBELL LIGHTING INCORPORATED USHUBBELL INCORPORATEDPART NUMBER 0120800SUPERSEDED NUMBER 1MF-12
6.23 | COUPLER; BUS | COUPLER; BUS TYPE;BUS BETWEEN 7KV & 16KV WHICH INCLUDES 3 EPOXY-MICA CAPACITORS (80UF; 16 KV); FOR VFD APPLICATIONS; ADDITIONAL EQUIPMENT AND SERVICES SPARE PART FOR; MONITOR; MOTOR MONITORING SYSTEM TYPE;100/240 VAC; 50/60 HZ SUPPLY;DIMENSION; 480 MM LG X 480 MM WD X 205 MM DP; INRUSH CURRENT; 40 A MAX; 230 VAC COLD START; RATED POWER; 100 W MAX; OPERATING TEMPERATURE; 0 TO 40 DEG C; DEGREE OF PROTECTION; IP66; MATERIAL; STAINLESS STEEL 316L (HAZARDOUS LOCATION); CONSTRUCTION; FRONT DOOR (NO WINDOW) ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME IRIS POWER LP MODEL NUMBER PD TRAC II SERIAL NUMBER 50177043-20 PART NUMBER ZAX3005 TAG NUMBER J20-KM-0710 J20-KM-0720 J20-KM-0730 J20-KM-0740 J23-KM-0201 J23-KM-0202 J23-KM-0203 | No |  | USD | each | 1001068895 |  |  | 1 |  |  |  | 2023-02-12 02:55 | 5002753807 B0702 IRIS POWER LP ( CA - MISSISSAUGA ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | A008-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002753807 10019384 IRIS POWER LP CAQUALITROL COMPANY LLCPART NUMBER B0702
6.24 | CLAMP GALVANIZE W/ BOLT AND NUT | CLAMP; E OR TUBING E OR TUBING TYPE;SIZE 5 MM (1.163 IN) PIPE OD 5 MM (1.163 IN) PIPE OD;EL EL;A VE-1;SAES-P-104 A VE-1;SAES-P-104;METAL FRAMING PARTS; GALV; METAL FRAMING PARTS; GALV; WITH BOLT & NUT; 25.4 MM WITH BOLT & NUT; 25.4 MM (1 IN) OD (1 IN) OD TRAY; E OR TUBING E OR TUBING TYPE;SIZE 5 MM (1.163 IN) PIPE OD 5 MM (1.163 IN) PIPE OD;EL EL;A VE-1;SAES-P-104 A VE-1;SAES-P-104;METAL FRAMING PARTS; GALV; METAL FRAMING PARTS; GALV; WITH BOLT & NUT; 25.4 MM WITH BOLT & NUT; 25.4 MM (1 IN) OD (1 IN) OD | No |  | USD | each | 1000427124 |  |  | 500 |  |  |  | 2023-03-05 02:55 | 5002656475 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002612405 10005799 WAHAH ELECTRIC SUPPLY CO. OF SAUDI SAARABIA LTD.NUMBER -5002612407 10042327 MP HUSKY LLC USNUMBER -5002612410 10057693 FACTORY OF MODERN METAL INDUSTRIES SACONUMBER -5002612406 1 | SAESP1045019925114000101.pdf
6.25 | LAMP; INCANDESCENT; | LAMP INCANDESCENT; 75 W W;120 VAC;MEDIUM SCREW BASE;A-19 BULB;112.7 MM (4-7/16 IN) LG;APPLIANCE TYPE;CLEAR;750 HRS AVG LIFE;ANSI;1190 INIT LUMENS | No |  | USD | each | 1000059106 |  |  | 100 |  |  |  | 2023-02-19 02:55 | 5000009126 12500 OSRAM SYLVANIA INCORPORATED ( US - DANVERS ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000009126 10021537 OSRAM SYLVANIA INCORPORATED USNUMBER 1250075A/CL
6.26 | NUT; CAGE; CS; BLACK FINISH; 3/8 IN | NUT; CAGE TYPE;CS;BLACK FINISH;3/8 IN DIA;16 TPI THD;100/CASE | No |  | USD | Case | 1000386076 |  |  | 12 |  |  |  | 2022-11-17 02:55 | 5000331537 30131 TIFCO INDUSTRIES ( US - CYPRESS ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000331537 10022144 TIFCO INDUSTRIES US PART NUMBER 30131
6.27 | STARTER; FLUORESCENT LAMP; 36 W; IEC | STARTER FLUORESCENT LAMP; 36 W W;110 VAC;(2) TERMINALS TERMINAL;IEC;FG-4P SPARE PART FOR; FIXTURE FLUORESCENT LIGHTING; 110 VAC; 60 HZ;40 W W;2 LAMP;1302 MM LG;FLUSH CEILING MTG;1302 MM LG X 264 MM WD X 100 MM DP;RAL7032 FINISH;STEEL HOUSING;HIGH POWER FACTOR BALLAST;FOR GENERAL PURPOSE;IP 20;NWT FLUSH TYPE ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME DAEYANG ELECTRIC CO; LTD. MODEL NUMBER FL240NT-0106GIS DRAWING NUMBER L11980007 TAG NUMBER 3088062 | No |  | USD | each | 1000708013 |  |  | 6 |  |  |  | 2022-11-03 03:55 | 5001461598 22350025 DAEYANG ELECTRIC CO LTD ( KR - BUSAN ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | K03C-C322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5001461598 10029379 DAEYANG ELECTRIC CO LTD KR ELECTRICAL DIVISION PART NUMBER 22350025 SUPERSEDED NUMBER 22350001
6.28 | HOLDER; FLUORESCENT LAMP; 110 V; 60 HZ | HOLDER FLUORESCENT LAMP; 110 V; 60 HZ;POLYCARBONATE;NOM DIMENSIONS; 25 MM WD X 27 MM HT X 12 MM DP SPARE PART FOR; FIXTURE FLUORESCENT LIGHTING; 110 VAC; 60 HZ;20 W W;2 LAMP;2 FT LG;CEILING MTG;181 MM WD X 200 MM DP X 781 MM LG;RAL7032 FINISH;ALUMINUM HOUSING;HIGH POWER FACTOR BALLAST;EXP-PROOF;FOR GENERAL PURPOSE;IP67;FLAME-PROFF CYLINDER TYPE ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME DAEYANG ELECTRIC CO; LTD. MODEL NUMBER FX-220DC106G1 DRAWING NUMBER L71740003 REFERENCE NUMBER 3088062 TAG NUMBER K003-(SHEET #10) | No |  | USD | each | 1000708124 |  |  | 58 |  |  |  | 2022-11-03 03:55 | 5001461801 15100054 DAEYANG ELECTRIC CO LTD ( KR - BUSAN ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | K03C-C322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5001461801 10029379 DAEYANG ELECTRIC CO LTD KR ELECTRICAL DIVISION PART NUMBER 15100054 SUPERSEDED NUMBER 15100016
6.29 | LAMP; INCANDESCENT; 21 W; 24 V; | LAMP INCANDESCENT; 21 W W;24 V;BAYONET DC BASE;46.5 MM LG;INDICATOR TYPE;CLEAR;2000 HRS AVG LIFE;BA15D; SINGLE FILAMENT; TYPE P21W; SIZE 24.5 MM X 46.5 MM | No |  | USD | each | 1000573873 |  |  | 30 |  |  |  | 2023-01-11 02:55 | 5002552023 AD4524021 BAILEY ELECTRIC ELECTRONICS BV ( NL - OOSTERHOUT ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002552023 10033260 BAILEY ELECTRIC ELECTRONICS BV NL CATALOG NUMBER AD4524021 CODE NUMBER 85392998
6.30 | MOTOR INDUCTION INTEGRAL; 5 HP; 1160 RPM | MOTOR INDUCTION INTEGRAL; 5 HP POWER;1160 RPM SYNCH (R;FRAME 213/5T;480 V;3 PH PHASE;60 HZ;6.54 AMPS FL;1 SF;TEFC IP66 ENCLOSUR;INSUL CL F;65 DEG C MAX AMB;89.5 % NEMA EFF;17-SAMSS-503;CONTINIOUS DUTY; CODE J; NEMA DESIGN B; MODEL NUMBER ; TE1BF0X0NI | No |  | USD | each | 1001064111 |  |  | 2 |  |  |  | 2023-01-01 02:55 | [6 empty] | Urgent | X | No | IR170200 501 MOTORS; ELECTRIC; Severe Duty Totally E 10/31/2016 | Yes | 831410 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | A001-C321 JUAYMAH B-321; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002743318 10039596 WEG EQUIPAMENTOS ELECTRICOS S.A. BR PART NUMBER 12605912
6.31 | CABLE TRAY COVER; 18"WIDE;12FT LG;1 1/4F | COVER CABLE TRAY; 457.2 MM (18 IN) WD;STYLE FLAT; LOUVERED;ALUM;STRAIGHT;3.7 M (12 FT) LG;NEMA VE-1;SAES-P-104;31.8 MM (1-1/4 IN) FLANGE; LADDER | No |  | USD | each | 1000371858 |  |  | 20 |  |  |  | 2023-02-26 02:55 | 5002643302 LEGRAND SAUDI ELECTRIC INDUSTR ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831404 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002643302 30000881 LEGRAND SAUDI ELECTRIC INDUSTRIES SA LTD.COMPANY LTD. FACTORY 5002643307 30005041 ADHWA ALRAWAFID ELECTRIC INDUSTRIES SA PART NUMBER AL-ST-CVL-DA33-A 5002643308 30005404 BRANCH OF EATON | SAESP1045019927163000101.pdf
6.32 | MODULE; PROTECTION DIODE | MODULE; PROTECTION DIODE TYPE SPARE PART FOR; SWITCHRACK; LOW VOLTAGE; 480 V;3 PH; 3 WIRE PHASE;600 A MAIN BUS;60 HZ;16-SAMSS-512; 16-SAMSS-518;DEGREE OF PROTECTION; NEMA 4X; NEMA-7 (EEXD AND EEXE); ENCLOSURE; COPPER FREE CAST ALUMINUM; CONTROL VOLTAGE; 120 VAC; CABLE ENTRY; BOTTOM; CLASSIFICATION; EXPLOSION PROOF; CLASS I; DIVISION 2; GROUP IIA T3; OUTDOOR INSTALLATION; FINISH; CORROSION RESISTANT GRAY EPOXY POWDER; DIMENSION; 6000 MM WD X 3150 MM HT X 1220 MM DP ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME RAWABI ELECTRIC COMPANY SERIAL NUMBER SASL/13-002/1 DRAWING NUMBER GA-13-3002SASL H1-EC-E-V42770 H1-ED-E-V42751 SC-13-3002SASL TAG NUMBER Q62-013-SR-001 | No |  | USD | each | 1000919108 |  |  | 20 |  |  |  | 2023-02-18 02:55 | 5002380644 70BSMD250 SCHNEIDER ELECTRIC ( US - SENECA ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | C001-C300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002380644 10046212 SCHNEIDER ELECTRIC US SQUARE D COMPANY PART NUMBER 70-BSMD-250
6.33 | METER; ELECTRICAL; AMP; 0-300 A; | METER ELECTRICAL; AMP TYPE;0-300 A RANGE;ANALOG READOUT;RECTANGULAR SHAPE;FLUSH PANEL MTG;TR 60 DEG C;PIVOT AND JEWEL SUSPENSN;+/- 2% ACCURACY;ANSI C39.1;INDICATING DC; OPEN FACE 90 DEG SCALE; VIBRATION RESISTANT KNIFE EDGE POINTER; FOR USE WITH 50 MV SHUNT; 89 MM SQ BEZEL X 71 MM DIA CUTOUT | No |  | USD | each | 1000012759 |  |  | 20 |  |  |  | 2023-02-26 02:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M008-S104 YANBU STORES | 04 BOAT
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N36: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R36: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T36: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK36: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N37: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R37: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T37: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK37: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf