## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000387110 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382037 761403C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002216975 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000386586 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382149 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000366104 ENLB55A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387981 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001277334 HC1LU01BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000388525 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386461 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000365983 CNL406A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381948 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000390265 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5001304145 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000369047 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002814139 TM140230024 ELCA SRL ( IT - MUSSOLENTE ) | 5000386467 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386374 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000366103 ENLB54A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002613084 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AE Utd.Arab Emir. | 5000363311 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386253 611101C10AWGU0YL5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001893791 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000381213 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000385832 611101C12AWGU0YL5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001346360 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | 5002322147 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000386683 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000387112 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382038 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002367780 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000386588 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001274386 DB2LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001301464 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000387982 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001893709 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000388526 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386463 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001304028 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000381949 761403C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000390266 711101C01600U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001327910 2371901G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000369048 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  | 5000386469 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386376 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001304029 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | AF Afghanistan | 5001327886 DA7DU01E JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000386254 GENERAL CABLE ( US - YORK ) |  | 5000381214 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385834 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5002322148 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386685 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000387113 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001327955 DA8LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002367781 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386589 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001416336 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001327915 DD1LA3ABG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387983 25006 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002143855 C350XA10100SBK52CMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000388527 25002 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386464 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001327908 DA6LA04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382030 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000390267 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001893574 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000369049 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | 5000386580 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386377 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001327914 DC9LA3ABG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | AG Antigua/Barbuda | 5001893524 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000386255 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5000381215 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000385835 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5002322149 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386686 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | We are currently at full capacity
|  | POE - Port of Export | 5000387114 116671106 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893725 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002367782 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) | 5000386680 116671075 THE OKONITE COMPANY ( US - HOUSTON ) | 5001416337 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001893580 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000387984 THE OKONITE COMPANY ( US - HOUSTON ) | 5002157854 14515020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000388528 M2817 MANHATTAN-CDT ( US - HOUSTON ) | 5000386465 116671078 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893572 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000382031 THE OKONITE COMPANY ( US - HOUSTON ) | 5000390268 THE OKONITE COMPANY ( US - HOUSTON ) | 5002143825 C489XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000369130 RS COMPONENTS LTD ( GB - CORBY ) |  | 5000386581 116671074 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386379 116671071 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893579 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | AI Anguilla | 5002143804 C213HB101000YG000C1 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000386257 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5000381216 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000385836 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5002322150 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000386687 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | Missing information / not enough information provided
|  |  | 5000387115 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002143914 C314XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002367783 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000386681 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893728 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002143829 C435XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000387985 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002332592 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5000388529 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386466 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002143823 C212XA1040WMBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001274382 DA6LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001277359 DA9DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002157797 14535274 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001775599 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5000386582 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000386460 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002143828 C334XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | AB Abu Dhabi | 5002332515 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001429824 DW3WU01Y JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5000381217 THE OKONITE COMPANY ( US - HOUSTON ) | 5000385838 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5002322151 10006077280001 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001429830 DW1WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | Other
|  |  | 5001429835 DW2WU01L JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002157869 14515208 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001429829 DW1WU01O JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002332608 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002157801 14530282 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000387986 SUPERIOR ESSEX COMMUNICATIONS ( US - ATLANTA ) |  | 5000388640 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001429827 DW1WU01N JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002157795 14530302 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001893723 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001775649 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002332533 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002157840 19900831 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001429828 DW1WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429825 DW1WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002157800 14535251 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | AL Albania | 5002612646 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437360 0D06551006 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5001893706 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001429821 DW2WU01Y JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5002613074 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437365 0D06551405 SAUDI MODERN COMPANY FOR ( SA - RIYADH )
|  |  | 5001437370 0D06551202 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002332606 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5001437364 0D06551409 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002612720 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002332538 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001775629 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002612725 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437362 0D06551407 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002332531 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002143912 C212XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002158112 12153180 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  | 5001437363 0D06551404 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437361 0D06551403 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002332537 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | AM Armenia |  | 5001775609 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002143853 C346XA10100SBK52CMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001437357 0D06551206 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  |  | 5001775614 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | 5001775619 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | 5001775613 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | 5002412975 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) |  |  | 5001775611 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002157867 14515205 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  |  | 5001775612 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775610 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | AN Dutch Antilles |  |  |  | 5002157852 14515016 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001775606 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | 5002158062 11190020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | 5002158060 11140020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002332604 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  |  |  |  | 5002158061 11150020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157639 11130020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2022-12-18 02:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS & Note.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | Quotation 10205473.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | CABLE; ELECTRICAL; LOW VOLTAGE; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;4 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;14.6 MM (0.575 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;270 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417737 |  | 8.46 | 1,040 | N/A | 84 |  | 2022-11-17 02:55 | 5002157867 14515205 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381948 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000382030 10013724 SAUDI CABLE COMPANY SA5000382031 10020512 THE OKONITE COMPANY US5001893723 10037887 EGYTECH CABLES EL SEWEDY EG5002332604
6.2 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;6 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 6 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | Yes |  | SAR | Meter | 1000893716 |  | 12.82 | 500 | N/A | 84 |  | 2023-02-05 02:55 | 5002613074 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002322147 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002322148 10013724 SAUDI CABLE COMPANY SA5002322149 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5002322150 10013002 JED | MS8314004SHTS050120055019888376000101.pdf
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; ISD; |  | CABLE ELECTRICAL LOW VOLTAGE; ISD TYPE;STRANDED CONDUCTO;POWER AND CONTROL TYPE;6 SQ MM CONDUCTO;450 TO 750 V SUPPLY;1 CONDUCTO;5 MM CABLE OD;FOR CONDUIT;`CARTON;TR 85 DEG C;COPPER STRANDS CONDUCTO;COLOR YELLOW/GREEN; 1 ROLL = 1000 METERS | Yes |  | SAR | Role | 1000411255 |  | 186.24 | 2 | N/A | 84 |  | 2022-12-06 02:55 | 5002612646 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000363311 10013724 SAUDI CABLE COMPANY SA5001893524 10037887 EGYTECH CABLES EL SEWEDY EG5002332515 10046468 ELSEWEDY CABLES COMPANY SA5002612646 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUM
6.4 | WIRE; BUILDING; 600V; (14 AWG) ORANGE |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;ORANGE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419055 |  | 0.27 | 1,000 | N/A | 84 |  | 2022-11-21 02:55 | 5002158062 11190020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386586 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386588 10016871 GENERAL CABLE USBICC GENERAL5000386681 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775613 10012569 ALFANAR ELECTRICAL
6.5 | WIRE; ELECTRICAL; 6 MM2; 4 CONDUCTOR |  | WIRE ELECTRICAL; 6 MM2 CONDUCTO;4 CONDUCTO;WHITE SHEATH;600 V SUPPLY;PVC WIRE;15 MM OD;TR 75 DEG C;STRANDED;PVC INSUL;COPPER CONDUCTO;POWER TYPE;PER BS 6500;FLEXIBLE; CONDUCTOR INSULATION COLORS; YELLOW; BROWN; BLUE; BLACK | Yes |  | SAR | Meter | 1000413367 |  | 9.07 | 1,000 | N/A | 84 |  | 2022-11-16 02:55 | 5002157840 19900831 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000369047 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000369048 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000369049 10013724 SAUDI CABLE COMPANY SA5000369130 10001382 RS COMPONENTS LTD G
6.6 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;YELLOW;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418961 |  | 0.38 | 4,000 | N/A | 84 |  | 2022-12-06 02:55 | 5000385832 611101C12AWGU0YL5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | Bahra Advanced Cable Manufacture |  | 11111235 |  |  | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385834 10016871 GENERAL CABLE USBICC GENERAL5000385836 10020512 THE OKONITE COMPANY US5000385838 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775606 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.7 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;35/16 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 35 MM2 + 16 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000412636 |  | 49.17 | 500 | N/A | 84 |  | 2022-11-10 02:55 | 5002157801 14530282 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | OY-Open yard | A006-C532 UTHMANIYAH WAREHOUSE 532; STOR | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893580 10037887 EGYTECH CABLES EL SEWEDY EG5002332538 10046468 ELSEWEDY CABLES COMPANY SA5001301464 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000366104 10013724 SAUDI CABLE CO
6.8 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419050 |  | 0.27 | 1,000 | N/A | 84 |  | 2022-11-15 02:55 | 5002158061 11150020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | Quoted as per our minimum order quantity (2000 Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000386467 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386469 10016871 GENERAL CABLE USBICC GENERAL5001775612 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000386580 100168
6.9 | WIRE; ELECTRICAL; 2.08 MM2 (14 AWG); 1 |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419059 |  | 0.27 | 2,000 | N/A | 84 |  | 2023-03-05 02:55 | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | Quoted as per our minimum order quantity( 25,000 Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000386683 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386685 10016871 GENERAL CABLE USBICC GENERAL5000386687 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775614 10012569 ALFANAR ELECTRICAL
6.10 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;17 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000419037 |  | 0.26 | 1,000 | N/A | 84 |  | 2023-02-28 02:55 | 5002158060 11140020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386461 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386463 10016871 GENERAL CABLE USBICC GENERAL5000386466 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775611 10012569 ALFANAR ELECTRICAL
6.11 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000419033 |  | 0.26 | 1,500 | N/A | 84 |  | 2022-11-16 02:55 | 5002157639 11130020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386374 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386376 10016871 GENERAL CABLE USBICC GENERAL5000386460 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775610 10012569 ALFANAR ELECTRICAL
6.12 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG);BLUE |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419171 |  | 0.4 | 11,000 | N/A | 84 |  | 2022-11-16 02:55 | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387110 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387112 10016871 GENERAL CABLE USBICC GENERAL5000387115 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775619 10012569 ALFANAR ELECTRICAL
6.13 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;4 MM2 CONDUCTO;0.6/1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 4 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000412525 |  | 12.09 | 1,000 | N/A | 84 |  | 2023-02-26 02:55 | 5002157795 14530302 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893572 10037887 EGYTECH CABLES EL SEWEDY EG5002332531 10046468 ELSEWEDY CABLES COMPANY SA5001304028 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000365983 10013724 SAUDI CABLE CO
6.14 | WIRE; ELEC; 10 AWG; 1 CONDUCTOR; |  | WIRE ELECTRICAL; 10 AWG CONDUCTO;1 CONDUCTO;YELLOW;600 V SUPPLY;THHN-THWN WIRE;3.81 MM (0.150 IN) OD;55.1 KG/KM (37 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418984 |  | 0.54 | 1,500 | N/A | 84 |  | 2023-02-19 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture |  | 11111245 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | Quoted as per our minimum order quantity (25,000 Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000386254 10016868 GENERAL CABLE US5000386255 10020512 THE OKONITE COMPANY US5000386257 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775609 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMP
6.15 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;17.2 MM (0.677 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFAC TURE MARKINGS;506 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417764 |  | 15.16 | 500 | N/A | 84 |  | 2023-02-19 02:55 | 5002157869 14515208 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT | Quoted as per our minimum order quantity (500 m) |  | <Strong>Manufacturer Part Number Text :</Strong>5000382038 10013724 SAUDI CABLE COMPANY SA5001893725 10037887 EGYTECH CABLES EL SEWEDY EG5002332606 10046468 ELSEWEDY CABLES COMPANY SA5000382037 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFER
6.16 | WIRE; 750V NYA 1/C 16MM2 (6 AWG) STR CU |  | WIRE ELECTRICAL; 16 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;7.5 MM OD;171 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419939 |  | 5.56 | 2,500 | N/A | 84 |  | 2023-02-28 02:55 | 5002158112 12153180 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390265 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390267 10013724 SAUDI CABLE COMPANY SA5000390268 10020512 THE OKONITE COMPANY US5001775649 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.17 | CABLE; 1KV XLPE/PVC 1/C 120MM2 (4/0 AWG) |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE/PVC TYPE;37 STRANDS CONDUCTO;POWER & CONTROL TYPE;120 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;20.1 MM (0.790 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;BS 6746 TYPE 5;IEC-228;FOR DIRECT BURIAL; DUCT; CONDIT; CABLE TRAY;IEC 60502-1;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332.3 REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 60502-1; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417528 |  | 43.59 | 500 | N/A | 84 |  | 2023-01-22 02:55 | 5002157852 14515016 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT | Quoted as per our minimum order quantity (1000 m) |  | <Strong>Manufacturer Part Number Text :</Strong>5000381213 10013002 JEDDAH CABLES COMPANY LTD SA5000381214 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000381215 10013724 SAUDI CABLE COMPANY SA5000381216 10013827 SAUDI MODERN COMPANY FOR SASPE
6.18 | WIRE; 600V THHN/THWN 1/C 6 AWG (16MM2) N |  | WIRE ELECTRICAL; 13.3 MM2 (6 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;6.60 MM (0.260 IN) OD;145.8 KG/KM (98 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419283 |  | 0.6 | 1,000 | N/A | 84 |  | 2023-03-05 02:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Advanced Cable Manufacture |  | 11151245 |  |  | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | Quoted as per our minimum order quantity (25,000 Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5000387982 10016871 GENERAL CABLE USBICC GENERAL5000387984 10020512 THE OKONITE COMPANY US5000387985 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387986 10021880 SUPERIOR ESSEX COMMUNICATIONS GROUP US
6.19 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;70/25 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 70 MM2 + 25 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; MARKINGS;PVC JACKET;IEC-60502;1.1 MM FOR 70 MM2 & 0.9 MM FOR 25 MM2 INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000412550 |  | 91.77 | 2,050 | N/A | 84 |  | 2023-02-26 02:55 | 5002157797 14535274 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893574 10037887 EGYTECH CABLES EL SEWEDY EG5002332533 10046468 ELSEWEDY CABLES COMPANY SA5001304145 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001327910 10013002 JEDDAH CABLES
6.20 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;17.2 MM (0.677 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFAC TURE MARKINGS;506 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417764 |  | 15.16 | 1,000 | N/A | 84 |  | 2023-02-26 02:55 | 5002157869 14515208 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382038 10013724 SAUDI CABLE COMPANY SA5001893725 10037887 EGYTECH CABLES EL SEWEDY EG5002332606 10046468 ELSEWEDY CABLES COMPANY SA5000382037 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFER
6.21 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;61 STRANDED CONDUCTO;POWER & CONTROL TYPE;300 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;31.3 MM (1.232 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;3120 KG/KM LG;PVC JACKET;ST2 TO IEC 502;1.8 MM (0.070 IN) INSUL TH;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; MOISTURE; ACID; OIL & SUNLGHT RESISTANT; FLAME RETARDANT PER IEC 332.3; REELMARKE WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING | Yes |  | SAR | Meter | 1000417567 |  | 101.03 | 150 | N/A | 84 |  | 2023-02-28 02:55 | 5002157854 14515020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT | Quoted as per our minimum order quantity( 1000 M) |  | <Strong>Manufacturer Part Number Text :</Strong>5001893709 10037887 EGYTECH CABLES EL SEWEDY EG5002332592 10046468 ELSEWEDY CABLES COMPANY SA5002157854 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 14515020SUPERSEDED NUMBER 1451002
6.22 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;25/16 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 25 MM2 + 16 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000412630 |  | 41.02 | 400 | N/A | 84 |  | 2023-03-05 02:55 | 5002157800 14535251 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT | Quoted as per our minimum order quantity(1000 M) |  | <Strong>Manufacturer Part Number Text :</Strong>5001893579 10037887 EGYTECH CABLES EL SEWEDY EG5002332537 10046468 ELSEWEDY CABLES COMPANY SA5001304029 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000366103 10013724 SAUDI CABLE CO
6.23 | WIRE; MAGNET; 2.08 MM2 (14 AWG); 1 |  | WIRE MAGNET; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; NET 18.8 KG/KM (12.6 LBS PER 1000 FT); 36.3 KG (80 LBS) PER SPOOL MIN WEIGHT MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No | We don't carry a compatible part/material | SAR | US pound | 1000420635 |  |  | 20 |  |  |  | 2022-11-15 02:55 | 5001346360 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | H01E-C104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001346360 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
6.24 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 33.63 MM2 (2 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;9.91 MM (0.390 IN) OD;357.2 KG/KM (240 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | No | We don't carry a compatible part/material | SAR | Feet | 1000419470 |  |  | 1,000 |  |  |  | 2022-11-17 02:55 | 5000388525 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388525 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000388526 10016871 GENERAL CABLE USBICC GENERAL5000388640 10021675 SOUTHWIRE COMPANY INCORPORATED US5000388529 10020512 THE OKONITE COMPANY
6.25 | CABLE ELECTRICAL; 300/500V; 3; STRANDED; |  | CABLE ELECTRICAL; 300/500V SUPPLY;3 CONDUCTO;STRANDED CONDUCTO;9.7 MM CABLE OD;POWER TYPE;FLEXIBLE COPPER CONDUCTO;PVC INSUL;TR 70 DEG C;SHORT CIRCUIT TEMPRATURE 160 DEG C. (100 METER PER COIL) | No | We don't carry a compatible part/material | SAR | Meter | 1001001835 |  |  | 7 |  |  |  | 2023-02-19 02:55 | 5002613084 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | AC-A/C 48 D.F - 79 D.F | K003-C300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002613084 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -
6.26 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) |  | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;RED;600 VAC SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL 83;LOW VOLTAGE;NYLON JACKET;MOISTURE;HEAT AND OIL RESISTANT;FLAME RETARDANT;REEL MARKED WITH ARAMCO PURCHASE ORDER;SHIPPING LENGTH SIZE OF CONDUCTORS;THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING;REEL LENGTH SHALL BE 152.4 METER (500 FT.). | Yes |  | SAR | Feet | 1000834002 |  | 0.63 | 665 | N/A | 84 |  | 2023-02-26 02:55 | 5002367783 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | Quoted as per our minimum order quantity (25,000 Feet) |  | <Strong>Manufacturer Part Number Text :</Strong>5002367780 10013002 JEDDAH CABLES COMPANY LTD SA5002367781 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5002367782 10035589 OMAN CABLES INDUSTRY (SAOG) OM5002367783 10044083 BAHRA ADVANCED CABLE MA
6.27 | CORD; ELECTRICAL; 3 CONDUCTOR; 35 SQ |  | CORD ELECTRICAL; 3 CONDUCTO;35 SQ MM CONDUCTO;7 STRANDS CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;21.0 MM (0.826 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C;1215 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT MARKED WITH; ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER MARKINGS; VOTAGE; TYPE SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; ST2 IEC 502; INSULATION THICKNESS; 0.9 MM (0.035 IN); CONDUCTOR MATERIAL SPEC; IEC 228; CLASS 2; INSULATION MATERIAL SPEC; ICEA 502; PACKAGING; CARTON OR FULLY PROTECTED REEL | Yes |  | SAR | Meter | 1000417862 |  | 38.73 | 300 | N/A | 84 |  | 2023-02-26 02:55 | 5002612720 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT | Quoted as per our minimum order quantity (1000 M) |  | <Strong>Manufacturer Part Number Text :</Strong>5000382149 10013724 SAUDI CABLE COMPANY SA5001893728 10037887 EGYTECH CABLES EL SEWEDY EG5002332608 10046468 ELSEWEDY CABLES COMPANY SA5001416337 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AN
6.28 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 33.63 MM2 (2 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;9.91 MM (0.390 IN) OD;357.2 KG/KM (240 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; 152.4 M (500 FT) PER COIL CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | No | We don't carry a compatible part/material | SAR | Feet | 1000419470 |  |  | 1,000 |  |  |  | 2023-03-05 02:55 | 5000388525 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388525 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000388526 10016871 GENERAL CABLE USBICC GENERAL5000388640 10021675 SOUTHWIRE COMPANY INCORPORATED US5000388529 10020512 THE OKONITE COMPANY
6.29 | CORD; ELECTRICAL; 3 CONDUCTOR; 35 SQ |  | CORD ELECTRICAL; 3 CONDUCTO;35 SQ MM CONDUCTO;7 STRANDS CONDUCTO;600-1000 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;21.0 MM (0.826 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C;1215 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION; ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT MARKED WITH; ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; OUTER MARKINGS; VOTAGE; TYPE SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; BS 6746 TYPE 5; ST2 IEC 502; INSULATION THICKNESS; 0.9 MM (0.035 IN); CONDUCTOR MATERIAL SPEC; IEC 228; CLASS 2; INSULATION MATERIAL SPEC; ICEA 502; PACKAGING; CARTON OR FULLY PROTECTED REEL | Yes |  | SAR | Meter | 1000417862 |  | 38.73 | 30 | N/A | 84 |  | 2023-03-05 02:55 | 5002612720 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT | Quoted as per our minimum order quantity (1000 M) |  | <Strong>Manufacturer Part Number Text :</Strong>5000382149 10013724 SAUDI CABLE COMPANY SA5001893728 10037887 EGYTECH CABLES EL SEWEDY EG5002332608 10046468 ELSEWEDY CABLES COMPANY SA5001416337 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AN
6.30 | TRANSFORMER CONTROL POWER; 400 VA; 230 T |  | TRANSFORMER CONTROL POWER; 400 VA POWER;230 TO 400 VAC (PRIMARY); 12 TO 24 VDC (SECONDARY);1 PH PHASE;DRY TYPE;PANEL MTG;TR 40 DEG C;50/60 HZ;EN 61558-2-1 CEI 14-8 IEC 726;INSULATION THERMIC CLASS B; OPEN TYPE PROTECTION INDEX IP00; ELECTRICAL PROTECTION CLASS I. | No | We don't carry a compatible part/material | SAR | each | 1001094965 |  |  | 1 |  |  |  | 2023-03-07 02:55 | 5002814139 TM140230024 ELCA SRL ( IT - MUSSOLENTE ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 05 AIR |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002814139 10033397 ELCA SRL ITPART NUMBER TM 140.230.024
6.31 | CORD; ELECTRICAL; 4 CONDUCTOR; 35 SQ |  | CORD ELECTRICAL; 4 CONDUCTO;35 SQ MM (1 AWG) CONDUCTO;SOLID STRAND CONDUCTO;COPPER CONDUCTO;NMC; POWER;33.8 MM (1.330 IN) OD;BLACK;PVC JACKET;PVC INSUL;TR 75 DEG C;1860 KG/KM (1250 LBS PER 1000 FT) LG;FOR CABLE TRAY/ CONDUIT UL;JACKET MATERIAL SPECIFICATION; ASTM D1047; INSULATION THICKNESS; 1.4 MM (0.055 IN); CONDUCTOR MATERIAL SPEC.; ASTM B8; SHIELDING MATERIAL; UNSHIELDED; INSULATION MATERIAL SPEC.; ASTM D1047 PACKING; REEL; ARMOR MATERIAL; UNARMOURED | No | We don't carry a compatible part/material | SAR | Meter | 1000438661 |  |  | 30 |  |  |  | 2023-02-12 02:55 | 5001893791 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893791 10037887 EGYTECH CABLES EL SEWEDY EG
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL35: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf
8 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf