## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000380900 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000381334 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000387332 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AE Utd.Arab Emir. | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000365987 CNL705A3146 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000389957 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000386683 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000444615 THHNMTW8 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382033 761403C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000384815 GENERAL CABLE ( US - MARION ) | 5000386374 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000388215 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000382141 761403C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000377222 761403C14AWGUOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000365981 CNL306A3152 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000383021 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387338 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000383403 761412C00250UOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001117300 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000390065 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000380901 761401C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000381335 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387334 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AF Afghanistan | 5000377320 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5001327912 DA5LA07BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000389958 711101C00600U0BK1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386685 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001429857 DW4WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000382034 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000384816 MANHATTAN-CDT ( US - HOUSTON ) | 5000386376 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388216 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382142 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000377224 3625 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5001304027 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000383022 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000387430 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383404 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001418070 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000390066 711101C00600U0WT1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000380902 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001277333 HB9LU01BG4 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387335 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | AG Antigua/Barbuda | 5000377321 THE OKONITE COMPANY ( US - HOUSTON ) | 5001755891 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000389959 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386686 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001775663 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001274383 DA7LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001288395 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) | 5000386377 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000388217 25004 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000382143 ** NEXANS HELLAS S.A. ( GR - ATHENS ) | 5000377225 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893571 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001277349 CB6LU04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387431 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000383405 THE OKONITE COMPANY ( US - HOUSTON ) | 5001418071 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5000390067 SAUDI CABLE COMPANY ( SA - JEDDAH ) | We are currently at full capacity
|  | POE - Port of Export | 5000380903 THE OKONITE COMPANY ( US - HOUSTON ) | 5001893708 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000387336 116671105 THE OKONITE COMPANY ( US - HOUSTON ) | AI Anguilla | 5001427180 DA6LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001893576 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000390060 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386687 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002612740 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001893724 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002426595 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5000386379 116671071 THE OKONITE COMPANY ( US - HOUSTON ) | 5000388218 M2816 MANHATTAN-CDT ( US - HOUSTON ) | 5000382144 THE OKONITE COMPANY ( US - HOUSTON ) | 5001427179 DA5LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002143822 C212XA1030WMBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893742 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000387432 116671103 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277352 DA5LU12BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001434507 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5000390068 THE OKONITE COMPANY ( US - HOUSTON ) | Missing information / not enough information provided
|  |  | 5001893700 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002143854 C349XA10100SBK52CMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000387337 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | AB Abu Dhabi | 5001437334 0102R10306 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002143827 C210XA1070WSBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001301520 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001429830 DW1WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5002143913 C213XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5000386460 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000388219 116671254 THE OKONITE COMPANY ( US - HOUSTON ) | 5001274384 DA9LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001437333 0102R10305 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002157794 14530132 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002143923 C446XA10400SBK08CMF ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000387433 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001592373 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001434508 OKONITE CO. INC. ( US - RICHMOND ) | 5001301521 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | Other
|  |  | 5002157846 14015010 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157853 14515019 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001429837 DW2WU01O JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AL Albania | 5001893657 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002157799 13533207 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001775642 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001437365 0D06551405 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002157868 14515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001429825 DW1WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000388320 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001893726 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001893656 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5002157884 14515315 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001429838 DW2WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001893752 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001434509 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5001775644 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | 5002332585 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5001437372 0D06551209 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | AM Armenia | 5002243981 GENERAL CABLE ( US - MARION ) |  | 5002158095 12133160 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001775614 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002332605 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5001437361 0D06551403 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002359639 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002143915 C315XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002243980 GENERAL CABLE ( US - MARION ) |  |  | 5001437373 0D06551205 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002332623 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001606604 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) | 5002158097 12173160 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
[5 empty] | 5001775621 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AN Dutch Antilles | 5002332554 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  |  | 5002158063 11100020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  | 5001775610 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002157870 14515209 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002332553 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  |  | 5001775622 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002612722 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001894077 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN )
[5 empty] | 5002158070 11190030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AO Angola | [7 empty] | 5002157639 11130020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002921187 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  |  |  | 5002158071 11100030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002205982 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT )
[6 empty] | AQ Antarctica | [15 empty] | 5002332741 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
[6 empty] | AR Argentina | [15 empty] | 5002364366 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
[6 empty] | AS Samoa,American | [15 empty] | 5002364367 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
[6 empty] | AT Austria | [15 empty] | 5002364368 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
[6 empty] | AU Australia | [15 empty] | 5002527067 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
[6 empty] | AW Aruba | [15 empty] | 5002589260 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
[6 empty] | AZ Azerbaijan | [15 empty] | 5002983460 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2023-01-02 02:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS & Note.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | Quotation 10206605.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000419033 |  | 0.3 | 3,000 | N/A | 98 |  | 2023-04-02 03:55 | 5002157639 11130020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386374 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386376 10016871 GENERAL CABLE USBICC GENERAL5000386460 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775610 10012569 ALFANAR ELECTRICAL
6.2 | WIRE; 750V NYA 1/C 6MM2 (10 AWG) STR CU |  | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;BLACK;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No | We don't supply at the requested quantity | SAR | Meter | 1000419736 |  |  | 184 |  |  |  | 2023-03-20 03:55 | 5000389957 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389957 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000389959 10013724 SAUDI CABLE COMPANY SA5000390060 10020512 THE OKONITE COMPANY US5001301520 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED
6.3 | WIRE; ELEC; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;ORANGE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419179 |  | 0.47 | 500 | N/A | 98 |  | 2023-04-09 03:55 | 5002158070 11190030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387332 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387334 10016871 GENERAL CABLE USBICC GENERAL5000387337 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775621 10012569 ALFANAR ELECTRICAL
6.4 | m5BLE; ELECTRICAL; LOW VOLTAGE; XLPE; |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;37 STRANDS CONDUCTO;POWER & CONTROL TYPE;120 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;49.2 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION.\ ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No | We don't supply at the requested quantity | SAR | Meter | 1000417987 |  |  | 100 |  |  |  | 2023-03-19 03:55 | 5000383021 SAUDI CABLE COMPANY ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000383021 10013724 SAUDI CABLE COMPANY SA5000383022 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001893742 10037887 EGYTECH CABLES EL SEWEDY EG5002157884 10044083 BAHRA ADVANCED CAB
6.5 | WIRE; ELECTRICAL; 8.36 SQ MM (8 AWG) |  | WIRE ELECTRICAL; 8.36 SQ MM (8 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-MTW WIRE;5.6 MM (0.220 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C (DRY LOCATION) & 75 DEG C (WET LOCATION) MAX;19/STRANDED COPPER;PVC (THERMOPLASTIC); INSULATION WITH NYLON JACKET INSUL;CLASS C AS PER ASTM B8 CONDUCTO;BUILDING TYPE;UL LISTED (E 33401);CONDUIT OR RACEWAY; APPLICATION; HEAT; MOISTURE; GASOLINE AND OIL RESISTANT; 150 M PER COIL (500 FT/COIL) | No | We don't supply at the requested quantity | SAR | Role | 1000441144 |  |  | 2 |  |  |  | 2023-06-18 03:55 | 5000444615 THHNMTW8 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001775663 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5002612740 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -5000444615 10016871 GENERAL CABLE USBICC GENERALMAT TY
6.6 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;2.5 MM2 CONDUCTO;0.6/1 KV SUPPLY;7 CONDUCTO;BLACK;7 X 2.5 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000412558 |  | 15.77 | 1,000 | N/A | 98 |  | 2023-03-20 03:55 | 5002157799 13533207 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Quoted as per our minimum order quantity(2000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5001893576 10037887 EGYTECH CABLES EL SEWEDY EG5001755891 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000365987 10013724 SAUDI CABLE COMPANY SANUMBER CNL7-05A-31465001327912 100130
6.7 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;107.2 SQ MM (4/0 AWG) CONDUCTO;19 STRANDS CONDUCTO;50.0 MM (1.970 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;2.92 MM (0.115 IN) INSUL TH;133% INSUL LV;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;PVC JACKET;4680 KG/KM (3145 LBS PER 1000 FT) LG;TR 90 DEG C MAX;REEL;MV TYPE;FOR DIRECT BURIAL; CONDUIT DUCT 15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 2.8 MM (0.11 IN) JKT TH | No | We don't supply at the requested quantity | SAR | Feet | 1000414930 |  |  | 1,120 |  |  |  | 2023-03-20 03:55 | 5001117300 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | [5 empty] | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001117300 30000598 JEDDAH CABLE COMPANY LIMITED SA5001418070 30000865 SAUDI CABLE COMPANY SA5001418071 30000926 SAUDI MODERN COMPANY FOR CABLE SAINDUSTRY LIMITED (RIYADH CABLES)5000372448 10013002 JEDD | 15SAMSS502052020205019972736000101.pdf
6.8 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419193 |  | 0.45 | 5,000 | N/A | 98 |  | 2023-04-02 03:55 | 5002158071 11100030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387430 10016871 GENERAL CABLE USBICC GENERAL5000387433 10021675 SOUTHWIRE COMPANY INCORPORATED US5000387338 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001775622 10012569 ALFANAR ELECTRICAL
6.9 | CABLE; 1KV XLPE/PVC 3/C 6MM2 (10 AWG) PV |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;15.8 MM (0.622 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFAC TURE MARKINGS;350 KG/KM (235 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0276 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No | We don't supply at the requested quantity | SAR | Meter | 1000417760 |  |  | 305 |  |  |  | 2023-03-26 03:55 | 5000382033 761403C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382034 10013724 SAUDI CABLE COMPANY SA5001893724 10037887 EGYTECH CABLES EL SEWEDY EG5002332605 10046468 ELSEWEDY CABLES COMPANY SA5000382033 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFER
6.10 | WIRE; 750V NYA 1/C 6MM2 (10 AWG) STR CU |  | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;BLACK;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No | We don't supply at the requested quantity | SAR | Meter | 1000419736 |  |  | 682 |  |  |  | 2023-04-02 03:55 | 5000389957 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389957 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000389959 10013724 SAUDI CABLE COMPANY SA5000390060 10020512 THE OKONITE COMPANY US5001301520 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED
6.11 | WIRE; ELECTRICAL; 6 MM2; 1 CONDUCTOR; |  | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;WHITE;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419802 |  | 2.31 | 1,012 | N/A | 98 |  | 2023-04-02 03:55 | 5002158097 12173160 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390065 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390067 10013724 SAUDI CABLE COMPANY SA5000390068 10020512 THE OKONITE COMPANY US5001301521 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED
6.12 | WIRE; ELEC; 3.31 MM2 (12 AWG); 1 |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;ORANGE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419179 |  |  | 500 |  |  |  | 2023-04-09 03:55 | 5000387332 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387332 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387334 10016871 GENERAL CABLE USBICC GENERAL5000387337 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775621 10012569 ALFANAR ELECTRICAL
6.13 | WIRE; ELECTRICAL; 2.08 MM2 (14 AWG); 1 |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419059 |  |  | 500 |  |  |  | 2023-05-21 03:55 | 5000386683 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386683 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386685 10016871 GENERAL CABLE USBICC GENERAL5000386687 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775614 10012569 ALFANAR ELECTRICAL
6.14 | CABLE; ELEC; MV; POWER & CONTROL; |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;61 STRANDED CONDUCTO;POWER & CONTROL TYPE;240 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;28.3 MM (1.120 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;2510 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.7 MM (0.067 IN) INSUL TH;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; MOISTURE; ACID; OIL & SUNLGHT RESISTANT; FLAME RETARDANT PER IEC 332.3; REELMARKE WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTRS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING | No | We don't supply at the requested quantity | SAR | Meter | 1000417564 |  |  | 100 |  |  |  | 2023-04-02 03:55 | 5000381334 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381334 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000381335 10020512 THE OKONITE COMPANY US5001893708 10037887 EGYTECH CABLES EL SEWEDY EG5002157853 10044083 BAHRA ADVANCED CAB
6.15 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;4 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 4 MM2; CU/XLPE/SWA/PVC 0.6/1 KV MARKINGS;PVC JACKET;IEC-60502;0.7 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000412459 |  | 11.05 | 1,000 | N/A | 98 |  | 2023-04-03 03:55 | 5002157794 14530132 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893571 10037887 EGYTECH CABLES EL SEWEDY EG5001304027 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5000365981 10013724 SAUDI CABLE COMPANY SANUMBER CNL3-06A-31525002157794 100440
6.16 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;19 MM (3/4 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;580 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417767 |  | 22.33 | 2,750 | N/A | 98 |  | 2023-04-03 03:55 | 5002157870 14515209 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382142 10013724 SAUDI CABLE COMPANY SA5000382143 10003546 ** NEXANS HELLAS S.A. GR5000382144 10020512 THE OKONITE COMPANY US5001893726 10037887 EGYTECH CABLES EL SEWEDY EG5000382141 10013206 MIDDLE
6.17 | CORD; ELECTRICAL; 3 CONDUCTOR; 3.31 |  | CORD ELECTRICAL; 3 CONDUCTO;3.31 SQ MM (12 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;9.9 MM (0.390 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;164 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;UL-1569;CLASS B; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; INSULATION THICKNESS; 0.80 MM(0.0315 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; INSULATION MATERIAL SPEC; ICEA S-66-524; PACKAGING; CARTON OR FULLY PROTECTED REEL | No | We don't carry a compatible part/material | SAR | Feet | 1000416479 |  |  | 450 |  |  |  | 2023-04-09 03:55 | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000377320 10017431 ROME CABLE CORPORATION US5000377321 10020512 THE OKONITE COMPANY US5001893657 10037887 EGYTECH CABLES EL SEWEDY EG5002332554 10046468 ELSEWEDY CABLES COMPANY SA5002243981 10016865 GE
6.18 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER & CONTROL TYPE;0.6/1.0KV SUPPLY;12 CONDUCTO;2.5 SQ MM CONDUCTO;7 STRANDS CONDUCTO;18.8 MM (0.740 IN) CABLE OD;COPPER CONDUCTO;IEC 228 CLASS 2;XLPE INSUL;*******;PVC JACKET;TR 90 DEG C;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;CARTON OR FULLY PROTECTED REEL;XLPE TYPE;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 12; ABRASION; MOISTURE ACID; OIL & SUNLGHT RESISTANT; FLAME RETARDANT PER IEC 332.3; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000418077 |  | 18.93 | 1,820 | N/A | 98 |  | 2023-04-02 03:55 | 5002612722 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT | Quoted as per our minimum order quantity(2000m) |  | <Strong>Manufacturer Part Number Text :</Strong>5000383404 10013724 SAUDI CABLE COMPANY SA5000383405 10020512 THE OKONITE COMPANY US5001893752 10037887 EGYTECH CABLES EL SEWEDY EG5002332623 10046468 ELSEWEDY CABLES COMPANY SA5001592373 10013827 SAUDI
6.19 | CABLE; 600V TC 3/C 14 AWG (2.5MM2) PVC X |  | CORD ELECTRICAL; 3 CONDUCTO;2.08 SQ MM (14 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;UL-44; UL-1277;MOISTURE; HEAT OIL GASOLINE; ACID ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; REEL MARKED WITH; ARAMCO PURCHASE ORDER STOCK NUMBER SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD 44 & 1277; UL OR EQUIVALENT APROVED LABELED OR LISTED REQUIRED; OUTER MARKINGS; VOTAGE; TYPE SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; CONDUCTOR MATERIAL SPEC; ASTM B8 CLASS B; PACKAGING; CARTON OR FULLY PROTECTED REEL | No | We don't carry a compatible part/material | SAR | Feet | 1000416470 |  |  | 22,965 |  |  |  | 2023-04-09 03:55 | 5000377222 761403C14AWGUOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000377225 10020512 THE OKONITE COMPANY US5001893656 10037887 EGYTECH CABLES EL SEWEDY EG5002332553 10046468 ELSEWEDY CABLES COMPANY SA5002243980 10016865 GENERAL CABLE USBICC CABLES CORPORATION5000377
6.20 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;233.6 KG/KM (157 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL OR CARTON TO BE TAGGED OR MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't carry a compatible part/material | SAR | Feet | 1000419341 |  |  | 6,000 |  |  |  | 2023-04-02 03:55 | 5000388215 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388216 10016871 GENERAL CABLE USBICC GENERAL5000388320 10021675 SOUTHWIRE COMPANY INCORPORATED US5000388215 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002359639 10013206 MIDDL
6.21 | CABLE; ELECTRICAL; MEDIUM VOLTAGE |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;8.9 MM (0.3503 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;146 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC-228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;PVC INSUL;COPPER CONDUCTO;15-SAMSS-502; IEC 502; UL;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | We don't supply at the requested quantity | SAR | Meter | 1000417459 |  |  | 200 |  |  |  | 2023-04-30 03:55 | 5000380900 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | F001-C321 JUAYMAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000380900 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000380902 10013724 SAUDI CABLE COMPANY SA5000380903 10020512 THE OKONITE COMPANY US5001893700 10037887 EGYTECH CABLES EL SEWEDY EG5002332585 | 15SAMSS502052020205019967670000101.pdf
6.22 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 21.15 MM2 (4 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;8.38 MM (0.330 IN) OD;233.6 KG/KM (157 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL OR CARTON TO BE TAGGED OR MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't carry a compatible part/material | SAR | Feet | 1000419341 |  |  | 2,000 |  |  |  | 2023-04-02 03:55 | 5000388215 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000388216 10016871 GENERAL CABLE USBICC GENERAL5000388320 10021675 SOUTHWIRE COMPANY INCORPORATED US5000388215 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002359639 10013206 MIDDL
6.23 | CABLE; ELECTRICAL; MEDIUM VOLTAGE |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;8.9 MM (0.3503 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;146 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC-228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;PVC INSUL;COPPER CONDUCTO;15-SAMSS-502; IEC 502; UL;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | We don't supply at the requested quantity | SAR | Meter | 1000417459 |  |  | 50 |  |  |  | 2023-05-02 03:55 | 5000380900 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | B09A-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000380900 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000380902 10013724 SAUDI CABLE COMPANY SA5000380903 10020512 THE OKONITE COMPANY US5001893700 10037887 EGYTECH CABLES EL SEWEDY EG5002332585 | 15SAMSS502052020205019986063000101.pdf
6.24 | CORD; ELECTRICAL; 600V; |  | CORD ELECTRICAL; 3 CONDUCTO;1.31 MM2 (16 AWG) CONDUCTO;7 STRANDS CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC;10.5 MM OD;BLACK; WHITE; GREEN;PVC JACKET;THERMOPLASTIC OR TFN INSUL;TR 90 DEG C;150 KG/KM (101 LBS/1000 FT) LG;FOR PENDANT OR PORTABLE;UL-62;STRANDED PER ASTM B174; FOR EXTRA HARD USE IN DAMP LOCATIONS;ARTON OR FULLY PROTECTED REEL; MIN 26 MAX 104 STRANDS; HARD SERVICE CORD; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER; AND PACKAGING TO CONFORM TO UL-62; 0.8 MM (0.030 IN) THK INSULATION; 1.5 MM (0.062 IN) TH COVER; ORIGINAL CABLE WAS SUPPLIED BY FURUKAWA CABLE PART# 2CY-912013 REV 1; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 62; UL OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't carry a compatible part/material | SAR | Feet | 1000418808 |  |  | 3,541 |  |  |  | 2023-03-26 03:55 | 5000384815 GENERAL CABLE ( US - MARION ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002426595 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.5000384815 10016865 GENERAL CABLE USBICC CABLES CORPORATION5000384816 10017556 MANHATTAN-CDT USCABLE DESIGN TECHNOLOGIES5001288395 100197
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL28: Answer Type: Text (multiple lines) Acceptable Values: Any Value