## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000829165 THORN LIGHTING LTD ( GB - ROMFORD ) | 5002785440 10167941 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | 5000487692 FD3020V CUTLER HAMMER ( US - MILWAUKEE ) | 5001838484 WEG EQUIPAMENTOS ELETRICOS S.A ( BR - JARAGUA DO SUL, SANTA CATARINA ) | 5001643858 0P6278B GUTOR ELECTRONIC LLC ( CH - WETTINGEN ) | 5000979328 SIEMENS S.A. DE C.V. ( MX - MORELIA, JALISCO C.P. ) | 5000039976 K253 GE ENERGY ( US - HOUSTON ) |  | 5002600660 223020 HAMMOND POWER SOLUTIONS INCORP ( CA - GUELPH ) | 5002627561 RNDT8A3120050 RAND TECH FACTORY FOR ELECTRON ( SA - RIYADH ) | 5002504779 10050278 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | 5002815700 547299COA BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | 5000400710 LT100 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | 5001917546 3AFP9876862 ABB AB ( SE - VASTERAS ) | 5002585018 10146318 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | 5001613488 ATB TAMEL SA ( PL - TARNOW ) | 5001860612 TECO ELECTRIC & MACHINERY CO L ( TW - ZHONGLI DIST, TAOYUAN CITY ) | 5002219996 UNC1X95000077 GUTOR ELECTRONIC LLC ( CH - WETTINGEN ) | 5001896327 PB089 STATRON AG ( CH - MAGENWIL ) | 5001259472 HDA15NNFF RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | 5002735260 10076563 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | 5000887419 15T6145VAC GE LIGHTING ( US - CLEVELAND ) | 5000371894 14511715405 GENERAL CABLE ( US - MARION ) | 5001846985 SIEMENS S.A. DE C.V. ( MX - MORELIA, JALISCO C.P. ) | 5001701628 SAFT AB ( SE - OSKARSHAMN ) | 5002785465 10006702 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | AE Utd.Arab Emir. | 5001613502 ATB TAMEL SA ( PL - TARNOW ) | 5001559477 5159043 GUTOR ELECTRONIC LLC ( CH - WETTINGEN ) | 5000005566 LQMSW3R120277ELNM6 LITHONIA LIGHTING GROUP ( US - CONYERS ) | 5002854593 AF09301011 ABB STOTZ KONTAKT GMBH ( DE - HEIDELBERG ) | 5002591415 A9S4P080 SCHNEIDER ELECTRIC SYSTEMS SAU ( SA - DAMMAM ) | 5002793093 0P6288B GUTOR ELECTRONIC LLC ( CH - WETTINGEN ) | 5002681456 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | 5002735257 10161542 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | 5002300924 SIEMENS S.A. DE C.V. ( MX - MORELIA, JALISCO C.P. ) | 5000331832 THOMAS & BETTS POWER SOLUTIONS ( US - RICHMOND ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub |  |  | 5000487696 FD3020V APPLETON GROUP LLC ( US - HOUSTON ) | 5002059198 GE Industrial Motors a WOLONG ( MX - Garcia ) |  | 5000979433 TOSHIBA INTERNATIONAL INC ( US - HOUSTON ) |  |  | 5002600661 RAWABI ELECTRIC COMPANY ( SA - DAMMAM ) |  |  |  | 5000400711 ST100 EGS APPLETON ELECTRIC COMPANY ( US - ROSEMONT ) | 5001917547 ZLLEL142B RENK AG ( DE - HANNOVER ) |  | 5001860593 TECO ELECTRIC & MACHINERY CO L ( TW - ZHONGLI DIST, TAOYUAN CITY ) | 5002489325 TECO MIDDLE EAST ELECTRICAL AN ( SA - DAMMAM ) |  |  |  |  | 5000887530 110051 DUAL-LITE-HUBBELL ( US - CHESHIRE ) | 5000371895 THE OKONITE COMPANY ( US - HOUSTON ) | 5002489485 TECO MIDDLE EAST ELECTRICAL AN ( SA - DAMMAM ) |  |  | AF Afghanistan | 5002489243 TECO MIDDLE EAST ELECTRICAL AN ( SA - DAMMAM ) | 5001559478 60K07CB BUSSMANN MANUFACTURING / EATON ( US - ELLISVILLE ) | 5000005568 LXURWE DUAL-LITE-HUBBELL ( US - CHESHIRE ) | 5002854594 10027797 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) |  |  |  |  | 5002489254 TECO MIDDLE EAST ELECTRICAL AN ( SA - DAMMAM ) | 5000331833 88330 ENERSYS INCORPORATED ( US - READING ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation |  |  | 5001391218 CHFD3020LV ARABIAN POINT EIGHT POWER CO. ( SA - DAMMAM ) | 5002489124 TECO MIDDLE EAST ELECTRICAL AN ( SA - DAMMAM ) |  | 5002588459 TECO ELECTRIC & MACHINERY CO L ( TW - ZHONGLI DIST, TAOYUAN CITY ) | [6 empty] | 5000400712 5234TB THOMAS AND BETTS INTERNATIONAL ( US - MEMPHIS ) |  |  | 5002489161 TECO MIDDLE EAST ELECTRICAL AN ( SA - DAMMAM ) | 5002588573 ATB SCHORCH GMBH ( DE - MONCHENGLADBACH ) | [9 empty] | AG Antigua/Barbuda | 5002588380 TECO ELECTRIC & MACHINERY CO L ( TW - ZHONGLI DIST, TAOYUAN CITY ) | [7 empty] | 5002588406 TECO ELECTRIC & MACHINERY CO L ( TW - ZHONGLI DIST, TAOYUAN CITY ) |  | We are currently at full capacity
|  | POE - Port of Export | [5 empty] | 5002588460 ATB SCHORCH GMBH ( DE - MONCHENGLADBACH ) | [6 empty] | 5000400713 3404 RACO HUBBELL ELECTRICAL PRODUC ( US - SOUTH BEND ) |  |  | 5002588263 ATB SCHORCH GMBH ( DE - MONCHENGLADBACH ) | [10 empty] | AI Anguilla | 5002588381 BALDOR ELECTRIC COMPANY ( US - ATHENS ) | [7 empty] | 5002588409 BALDOR ELECTRIC COMPANY ( US - ATHENS ) |  | Missing information / not enough information provided
[8 empty] | 5002588462 ATB TAMEL SA ( PL - TARNOW ) | [6 empty] | 5000400714 4Q100 EGS-OZ GEDNEY/EMERSON ( US - SKOKI ) | [13 empty] | AB Abu Dhabi | 5002588383 ATB SCHORCH GMBH ( DE - MONCHENGLADBACH ) | [7 empty] | 5002588410 ATB SCHORCH GMBH ( DE - MONCHENGLADBACH ) |  | Other
[8 empty] | 5002588463 TECO MIDDLE EAST ELECTRICAL AN ( SA - DAMMAM ) | [20 empty] | AL Albania | 5002588385 ABB Motors and Mechanical Inc. ( US - FORT SMITH ) | [7 empty] | 5002588411 GE Industrial Motors a WOLONG ( MX - Garcia )
[29 empty] | AM Armenia | 5002588386 BALDOR ELECTRIC COMPANY ( US - COLUMBUS ) | [7 empty] | 5002588413 ATB TAMEL SA ( PL - TARNOW )
[29 empty] | AN Dutch Antilles | [8 empty] | 5002588414 WEG EQUIPAMENTOS ELETRICOS S.A ( BR - JARAGUA DO SUL, SANTA CATARINA )
[29 empty] | AO Angola | [8 empty] | 5002588415 ABB Motors and Mechanical Inc. ( US - FORT SMITH )
[29 empty] | AQ Antarctica | [8 empty] | 5002588416 BALDOR ELECTRIC COMPANY ( US - COLUMBUS )
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | CIRCUIT BREAKER; MOLDED CASE; 20 A; 3 | CIRCUIT BREAKER MOLDED CASE; 20 A;3 POLE;FRAME 150 A SPARE PART FOR; ASSEMBLY; LV SWITCHRACK TYPE;16-SAMSS-512;480 V; 60 HZ; OUTDOOR ORIGINAL.EQUIPMENT.REFS... MANF CURLEE MANUFACTURING COMPANY/APPLETON TAG# X15-SR-001; X15-SR-002 TYPE LV SWITCHRACK ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME AA EGS CURLEE MANUFACTURING AB COMPANY TYPE NUMBER LV SWITCHRACK TAG NUMBER X15-SR-001 X15-SR-002 | No |  | USD | each | 1000447597 |  |  | 25 |  |  |  | 2023-01-19 02:55 | 5000487692 FD3020V CUTLER HAMMER ( US - MILWAUKEE ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | B012-C322 B012-C322 | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000487692 10017874 CUTLER HAMMER USEATON CORPORATIONCATALOG NUMBER FD3020V5000487696 10018064 APPLETON GROUP LLC USPART NUMBER FD3020V5001391218 10012120 ARABIAN POINT EIGHT POWER CO. LTD.; SAPART NU
6.2 | ARRESTER; ELECTRICAL; SURGE; 15 KV; | ARRESTER ELECTRICAL; SURGE TYPE;15 KV SUPPLY;METAL OXIDE SPARE PART FOR; ASSEMBLY; MEDIUM VOLTAGE FRAME TYPE;17.5 KV; 3000 A; 40 KVA/1 SEC; FOR GAS TURBINE GENRATORS; M58-P-0700/0800/0900 ORIGINAL.EQUIPMENT.REFS... DWG# 54-700552; 6102.B24.660 (G ENERGY); 6102.B24.781 (GE ENERGY); A54N1500AAIY MANF ALSTOM POWER CONVERSION GMBH REF# PO# 2025A0001 (TECHNIP) MODEL# A3/A300 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME ALSTOM POWER CONVERSION GMBH MODEL NUMBER A3/A300 DRAWING NUMBER 54-700552 6102.B24.660 (GE ENERGY) 6102.B24.781 (GE ENERGY) A54N1500AAIY REFERENCE NUMBER PO# 2025A0001 (TECHNIP) | No |  | USD | each | 1000641004 |  |  | 1 |  |  |  | 2023-03-12 03:55 | 5001259472 HDA15NNFF RAYCHEM SAUDI ARABIA COMPANY ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S531 SHEDGUM STORES UNIT | 05 AIR |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001259472 10013565 RAYCHEM SAUDI ARABIA COMPANY SALIMITEDPART NUMBER HDA-15N-NFF
6.3 | TRANSFORMER DISTRIBUTION; 9 KVA; 480 V; | TRANSFORMER DISTRIBUTION; 9 KVA POWER;480 V;DELTA/WYE TERMINAL;3 PH PHASE;60 HZ;BRACKET MTG;50 DEG C MAX AMB;CLASS ANC;115 DEG C RISE;IEC EN60076-11 C US UL LISTED;DIMENSION; 16.50 IN LG X 9.80 IN WD X 16.99 IN HT WINDING; COPPER HZQT CLASSIFICATION; CLASS 1; DIVISION 2; GROUPS A; B; C & D A OF P. CLASS; 180 E; SPARE PART FOR; SWITCHRACK; LOW VOLTAGE; 480 VAC;3PH; 3W PHASE;100 A; 14 KAIC MAIN BUS;60 HZ;16-SAMSS-518 16-SAMSS-512 12-SAMSS-008;COMPLIANCE WITH 16-SAMSS-512; 16-SAMSS-518; 12-SAMSS-008; NEMA-4; AMBIENT TEMPERATURE; 50 DEG C CONTROL VOLTAGE; 120 VAC OUTDOOR; NON-HAZARDOUS; SUN SHADED; HOT-DIP GALVANIZED; FABRICATED FROM STANDARD STRUCTURAL SHAPES RESULTING IN A SELF-SUPPORTING RIGID STRUCTURE. THE MOUNTING RACK STRUCTURE SHALL NOT BE COATED OR PAINTED AFTER GALVANIZING. ISH; RAL7035 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME RAWABI ELECTRIC COMPANY DRAWING NUMBER BM-17-7591SAOC REFERENCE NUMBER 110534 TAG NUMBER D85-SR-001 | No |  | USD | each | 1001015119 |  |  | 2 |  |  |  | 2023-03-06 02:55 | 5002600660 223020 HAMMOND POWER SOLUTIONS INCORP ( CA - GUELPH ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 12- | WH-Warehouse (Non-A/C) | B010-C953 | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002600661 10013570 RAWABI ELECTRIC COMPANY SA5002600660 10047119 HAMMOND POWER SOLUTIONS INCORPORTED CASERIAL NUMBER CB00855061PART NUMBER 223020REFERENCE NUMBER 110534
6.4 | CIRCUIT BREAKER; ISOLATOR | CIRCUIT BREAKER; ISOLATOR TYPE;80 AMP; 4 POLE ; 240 - 415 VAC ; INTERRUPTING CAPACITY 2.5 KA ; TEMP. -20 TO 50 C | No |  | USD | each | 1000996421 |  |  | 1 |  |  |  | 2023-03-12 03:55 | 5002591415 A9S4P080 SCHNEIDER ELECTRIC SYSTEMS SAU ( SA - DAMMAM ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002591415 10037995 SCHNEIDER ELECTRIC SYSTEMS SAUDI SAARABIA CO. LTDPART NUMBER A9S4P080
6.5 | MOTOR; INDUCTION; INTEGRAL; 25 HP | MOTOR INDUCTION INTEGRAL; 18.6 KW OR 25 HP POWER;1800 SYNCH (R;FRAME 284T;460 V;3 PHASE;60 HZ;34 A MAX FL;1.0 MIN SF;TEFC/IP54 MINIMUM ENCLOSUR;INSUL CL F;B NEMA DES;50 DEG C MAX AMB;70 DEG C RISE;92.4% MIN NEMA EFF;UNIVERSAL MTG;RIGID BASE;17-SAMSS-503;PREMIUM EFFICIENCY; SEVERE AND CONTINUOUS DUTY TYPE; FULL VOLTAGE STARTING; BALL BEARINGS; FRAME; ENDSHIELDS; FAN COVER AND TERMINAL BOX SHALL BE OF CAST IRON CONSTRUCTION; BI-DIRECTIONAL FAN; DRIVER FOR FIN-FAN COOLER; SHAFT UP; FOOTPRINT DIMENSIONS; 7.00 IN. CL. OF SHAFT TO BASE (D); 11.00 IN. CL. OF FIXING HOLES (END) 9.50 IN. CL. OF FIXING HOLES (SIDE) 1.875 IN. MIN SHAFT DIAMETER (U) 4.38 IN. AVAILABLE SHAFT LENGTH (V) 28.00 IN. MAXIMUM ACCEPTABLE OVERALL LENGTH (NEMA C DIMENSION). | No |  | USD | each | 1000066817 |  |  | 1 |  |  |  | 2023-03-12 03:55 | 5001860612 TECO ELECTRIC & MACHINERY CO L ( TW - ZHONGLI DIST, TAOYUAN CITY ) | [5 empty] | Urgent | X | No | IR170200 501 MOTORS; ELECTRIC; Severe Duty Totally E 10/31/2016 | Yes | 831402 | 831403 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002588573 30003471 ATB SCHORCH GMBH DENUMBER -5002586835 10015359 ATB SCHORCH GMBH DENUMBER -5002488463 10055095 FACTORY OF TECO MIDDLE EAST SAELECTRIC & MACHINERY CO. LTDNUMBER -5002489325 30006593 | MS831403080620115019919309000101.pdf
6.6 | MOTOR; INDUCTION; INTEGRAL; 40 HP | MOTOR INDUCTION INTEGRAL; 30 KW OR 40 HP POWER;1800 RPM SYNCH (R;FRAME 324TS;460 V;3 PH PHASE;60 HZ;47 A MAX FL;1 SF;TEFC ENCLOSUR;INSUL CL F;B NEMA DES;50 DEG C MAX AMB;70 DEG C RISE;94.1 % NEMA EFF;HORIZONTAL MTG;RIGID BASE;17-SAMSS-503;DE/ODE BEARING SIZE; 6312; AFBMA NO.; 60BC03JP3 | No |  | USD | each | 1000776701 |  |  | 1 |  |  |  | 2023-03-06 02:55 | 5001846985 SIEMENS S.A. DE C.V. ( MX - MORELIA, JALISCO C.P. ) | [5 empty] | Urgent | X | No | IR170200 501 MOTORS; ELECTRIC; Severe Duty Totally E 10/31/2016 | Yes | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002488623 10055095 FACTORY OF TECO MIDDLE EAST SAELECTRIC & MACHINERY CO. LTDNUMBER -5002489485 30006593 TECO MIDDLE EAST ELECTRICAL AND SAMACHINERY CO. LTD.NUMBER -5001846985 30001929 SIEMENS S.A. D | MS8314004SHTS050120055019932557000101.pdf
6.7 | MOTOR; INDUCTION; INTEGRAL; 4 HP | MOTOR INDUCTION INTEGRAL; 3 KW OR 4 HP POWER;3600 SYNCH (R;FRAME WA-DF213TD;230/460 V;3 PHASE;60 HZ;11.6/5.8 A MAX FL;1.0 SF;TEFC/IP54 ENCLOSUR;INSUL CL F;B NEMA DES;50 DEG C MAX AMB;70 DEG C RISE;NON-HAZARDOUS;VERTICAL (V1) MTG;FOOTLESS BASE;17-SAMSS-503;HIGH EFFICIENCY; SEVERE & CONTINUOUS DUTY TYPE; FULL VOLTAGE STARTING; BALL BEARINGS; FRAME; ENDSHIELDS; FAN COVER AND TERMINAL BOX SHALL BE OF CAST IRON CONSTRUCTION; BI-DIRECTIONAL FAN; FLANGE MOUNTED; DIMENSIONS BASED ON DWG #H70GD001/1; LUB. OIL PUMP SERVICE; REPLACEMENT FOR NEWMAN ELECTRIC'S MODEL#; SPECIAL FLANGE & SHAFT DIMENSIONS; 10.378 IN BOLT CIRCLE DIAMETER (AJ) 3.125 IN AVAILABLE SHAFT LENGTH (AH) 1.500 IN SHAFT DIAMETER (U) | No |  | USD | each | 1000065824 |  |  | 1 |  |  |  | 2023-09-26 03:55 | 5001613502 ATB TAMEL SA ( PL - TARNOW ) | [5 empty] | Urgent | X | No | IR170200 501 MOTORS; ELECTRIC; Severe Duty Totally E 10/31/2016 | Yes | 831402 | 831403 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B001-C500 ABQAIQ B-1061; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002588380 30001456 TECO ELECTRIC & MACHINERY CO LTD TWCHUNG-LI PLANTNUMBER -5002588383 30003471 ATB SCHORCH GMBH DENUMBER -5002586674 10004790 TECO ELECTRIC & MACHINERY CO LTD TWNANGANG OFFICENUMBER | MS831403080620115019942767000101.pdf
6.8 | MOTOR; INDUCTION; INTEGRAL; 1 HP | MOTOR INDUCTION INTEGRAL; 0.746 KW OR 1 HP POWER;1200 SYNCH (R;FRAME 145TC;208-230/460 V;3 PHASE;60 HZ;4.0-3.6/1.8 A MAX FL;1.0 MIN SF;TEFC/IP54 MIN ENCLOSUR;INSUL CL F;B NEMA DES;50 DEG C MAX AMB;70 DEG C RISE;80% MIN NEMA EFF;NON-HAZARDOUS;UNIVERSAL MTG;RIGID BASE;17-SAMSS-503;HIGH/PREMIUM EFFICIENCY; SEVERE AND CONTINUOUS DUTY TYPE; FULL VOLTAGE STARTING; BALL BEARINGS; FRAME; ENDSHIELDS; FAN COVER AND TERMINAL BOX SHALL BE OF CAST IRON CONSTRUCTION; BI-DIRECTIONAL FAN; C-TYPE FLANGE & SHAFT DIMENSIONS; 5.875 IN. BOLT CIRCLE DIAMETER (AJ) 2.12 IN. FACE TO SHAFT END (AH) 0.8750 IN. SHAFT DIAMETER (U); | No |  | USD | each | 1000065972 |  |  | 3 |  |  |  | 2023-03-12 03:55 | 5002300924 SIEMENS S.A. DE C.V. ( MX - MORELIA, JALISCO C.P. ) | [5 empty] | Urgent | X | No | IR170200 501 MOTORS; ELECTRIC; Severe Duty Totally E 10/31/2016 | Yes | 831402 | 831403 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B010-C953 | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002588406 30001456 TECO ELECTRIC & MACHINERY CO LTD TWCHUNG-LI PLANTNUMBER -5002588410 30003471 ATB SCHORCH GMBH DENUMBER -5002588411 30003708 GE Industrial Motors a WOLONG Co MXGeneral Electric Indu | MS831403080620115019942809000101.pdf
6.9 | MOTOR; INDUCTION; INTEGRAL; 10 HP; | MOTOR INDUCTION INTEGRAL; 7.5 KW (10 HP) POWER;1800 RPM SYNCH (R;FRAME 215TZ;230/460 VAC;3 PH PHASE;60 HZ;1.0 SF;TEFC-SD ENCLOSUR;INSUL CL F;B NEMA DES;40 DEG C MAX AMB;17-SAMSS-503 | No |  | USD | each | 1000050238 |  |  | 2 |  |  |  | 2023-03-06 02:55 | 5001838484 WEG EQUIPAMENTOS ELETRICOS S.A ( BR - JARAGUA DO SUL, SANTA CATARINA ) | [5 empty] | Urgent | X | No | IR170200 501 MOTORS; ELECTRIC; Severe Duty Totally E 10/31/2016 | Yes | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001838484 30004091 WEG EQUIPAMENTOS ELETRICOS S.A. BR5001837533 10023223 WEG ELECTRIC CORPORATION USWEB EQUIPAMENTOS ELETRICOS S.A.5002488262 10055095 FACTORY OF TECO MIDDLE EAST SAELECTRIC & MACHINERY | MS8314004SHTS050120055019946111000101.pdf
6.10 | LAMP; 18W; AC90-265V; 4FT; LED; LED; STY | LAMP; 18W W;AC90-265V;4FT LG;LED TYPE;LED; STYLE; 4-PACK ; SHAPE; TUBE BULB;RND-T8-A3-1200 ; RANDTECH T8 LED LIGHT TUBE 4FT; DUAL-END POWERED; FROSTED; F; 50/60HZ ; COLOR; 5000K WHITE ; LED; STYLE; 4-PACK ; SHAPE; TUBE | No |  | USD | each | 1001025048 |  |  | 100 |  |  |  | 2023-03-20 03:55 | 5002627561 RNDT8A3120050 RAND TECH FACTORY FOR ELECTRON ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 36- | WH-Warehouse (Non-A/C) | C004-C104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002627561 10061396 RAND TECH FACTORY FOR ELECTRONICS SAMANUFACTURINGMODEL NUMBERPART NUMBER RND/T8-A3-1200.50SUPERSEDED NUMBER T8-1 2M
6.11 | TRANSFORMER INSTRUMENT; 409 ADC; CURRENT | TRANSFORMER INSTRUMENT; 409 ADC;CURRENT TYPE;CT DC 409A<IDC=<467A 613A<IDISCH=<700A SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 160 KVA POWER;480 VAC (INPUT); 400 VAC (OUTPUT);270.6 A (AC INPUT); 231 A (AC OUTPUT);60 HZ;3 PH PHASE;IP 22 ENCLOSUR;17-SAMSS-516;DUAL STANDALONE UPS INTERRUPT CURRENT; 65 KA BATTERY TYPE; LEAD ACID NUMBER OF BATTERIES; 192 BATTERY VOLTAGE; 400 VDC CAPACITY; 400 AH / 8 HRS AMBIENT TEMPERATURE; -10 TO 40 DEG 2300 MM HT X 7804 MM LG X 804 MM DP ENSIONS; ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME GUTOR ELECTRONIC LLC MODEL NUMBER PDW 3160-400/400-EAN-D SERIAL NUMBER 1180190005 1180190006 1180190008 DRAWING NUMBER 1180190005 TAG NUMBER 521-123-UPS-001A 521-123-UPS-001B 521-123-UPS-001C 526-203-UPS-001A 526-203-UPS-001B 526-203-UPS-001C 528-303-UPS-001A 528-303-UPS-001B 528-303-UPS-001C | No |  | USD | each | 1001086189 |  |  | 5 |  |  |  | 2023-03-12 03:55 | 5002793093 0P6288B GUTOR ELECTRONIC LLC ( CH - WETTINGEN ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002793093 10000722 GUTOR ELECTRONIC LLC CHPART NUMBER 0P6288B
6.12 | CAPACITOR; 3UF RD; 400 V; 5 % | CAPACITOR; 3UF RD;400 V;5 % TOLERANC SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 17.1 KVA INPUT (RECTIFIER); 10 KVA OUTPUT (INVERTER) POWER;480 VAC; 3 PH INPUT( RECTIFIER) ; 125 VDC INPUT; 120 VAC ; 1 PH OUTPUT (INVERTER);20.6 A AC INPUT (RECTIFIER); 96 A DC INPUT (INVERTER);60 HZ;3 PH PHASE;IP 21 ENCLOSUR ORIGINAL EQUIPMENT REFERENCES; MODEL NUMBER PEW 1010-125/120-EN SERIAL NUMBER G1090341001S-01 DRAWING NUMBER 3A 1090341001/01 3A 1090341001/03 | No |  | USD | each | 1000835401 |  |  | 9 |  |  |  | 2023-03-06 02:55 | 5002219996 UNC1X95000077 GUTOR ELECTRONIC LLC ( CH - WETTINGEN ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002219996 10000722 GUTOR ELECTRONIC LLC CHPART NUMBER UNC1X-950-00077SUPERSEDED NUMBER 234-0335
6.13 | TRANSFORMER; INSTRUMENT; CURRENT | TRANSFORMER INSTRUMENT; CURRENT TYPE SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 20 KVA POWER;3 X 480 VAC INPUT; 1 X 120 VAC OUTPUT;52.1 A INPUT; 167 A OUTPUT;60 HZ;1 PH PHASE;IP21 ENCLOSUR;ORIGINAL.EQUIPMENT.REFS... MANF GUTOR ELECTRONICS LTD. SERIAL# 120715-01; 120715-03; 120716-01; 120716-03; 120717-01; 120717-03; 120718-01; 120718-03 TAG# V84-170-UPS-001M; V84-170-UPS-001S; V85-710-UPS-001M; V85-710-UPS-001S; V92-230-UPS-001M; V92-230-UPS-001S; V92-260-UPS-001M; V92-260-UPS-001S MODEL# PEW 1020-220/120-EAN-R ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME GUTOR ELECTRONIC LTD MODEL NUMBER PEW 1020-220/120-EAN-R SERIAL NUMBER 120715-01 120715-03 120716-01 120716-03 120717-01 120717-03 120718-01 120718-03 TAG NUMBER V84-170-UPS-001M V84-170-UPS-001S V85-710-UPS-001M V85-710-UPS-001S V92-230-UPS-001M V92-230-UPS-001S V92-260-UPS-001M V92-260-UPS-001S | No |  | USD | each | 1000735692 |  |  | 2 |  |  |  | 2023-06-11 03:55 | 5001643858 0P6278B GUTOR ELECTRONIC LLC ( CH - WETTINGEN ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001643858 10000722 GUTOR ELECTRONIC LLC CHPART NUMBER 0P6278BSUPERSEDED NUMBER 04008690P6278A
6.14 | FUSE; LOW VOLTAGE; 60 A; 660 VAC; BLADE | FUSE LOW VOLTAGE; 60 A;660 VAC;SIZE 87 MM X 22 MM X 22 MM;BLADE TERMINAL;TUBULAR BODY;CL C;200 KA TYPE;CERAMIC BODY;BS-88;HRC FUSE 60A 660V SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 30 KVA POWER;480 VAC INPUT; 208 VAC OUTPUT;114.9 A INPUT; 83.3 A OUTPUT;60 HZ;3 PHASE;NEMA 1 ENCLOSUR;17-SAMSS-516;NOM DIMENSIONS; 1900 MM HT X 800 MM DP X 3925 MM LG ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME GUTOR ELECTRONIC LTD MODEL NUMBER PDW 3030-220/208 SERIAL NUMBER G1040122S-1 G1040122S-3 DRAWING NUMBER 3A 1040122/03 REFERENCE NUMBER SA-49-4380 TAG NUMBER F18-009-UPS1-001 F18-009-UPS2-0001 | No |  | USD | each | 1000716886 |  |  | 1 |  |  |  | 2023-03-07 02:55 | 5001559477 5159043 GUTOR ELECTRONIC LLC ( CH - WETTINGEN ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | D001-C100 DHAHRAN CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001559477 10000722 GUTOR ELECTRONIC LLC CHFIGURE NUMBER CB03-FUSEPART NUMBER 515-9043SUPERSEDED NUMBER 51590435001559478 10017281 BUSSMANN MANUFACTURING / EATON USPART NUMBER 60K07CB
6.15 | RING; LOOSE OIL; END | RING; LOOSE OIL TYPE;FOR DRIVE END AND NON DRIVE END SPARE PART FOR; MOTOR INDUCTION INTEGRAL; 3090 HP (2306 KW) POWER;1781 RPM SYNCH (R;FRAME 560L4A;4000 V;3 PH PHASE;60 HZ;379 A FL;1.0 SF;TEAAC ENCLOSUR;INSUL CL F;50 DEG C MAX AMB;70 DEG C RISE;CLASS I; ZONE 2; GROUP IIB;ASSOCIATED WITH LP COMPRESSOR (REFERENCE TAG # B32/33/34/35-K-0002) ORIGINAL EQUIPMENT REFERENCES; MODEL NUMBER AMI 560L4A BSNH SERIAL NUMBER 4588119 4588120 4588121 4588122 DRAWING NUMBER 3AF 5239992 REFERENCE NUMBER PRL014718 | No |  | USD | each | 1000796900 |  |  | 2 |  |  |  | 2023-03-05 02:55 | 5001917546 3AFP9876862 ABB AB ( SE - VASTERAS ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B010-C953 | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001917546 10004457 ABB AB SEPART NUMBER 3AFP9876862SUPERSEDED NUMBER 98768625001917547 10003529 RENK AG DEWERK HANNOVERPART NUMBER ZLL EL14-2BREFERENCE NUMBER 699794
6.16 | BLOCK; TERMINAL; 500 V; 4 MM2 MAX | BLOCK TERMINAL; 500 V;4 MM2 MAX WIRE;RAIL MOUNTING; LEGRAND NO 37061 SPARE PART FOR; FIXTURE HID LIGHTING; LIGHTING FIXTURES HIGH PRESSURE SODIUM TYPE 400 SON-TD; ORIGINAL EQUIPMENT REFERENCES; | No |  | USD | each | 1000117443 |  |  | 100 |  |  |  | 2023-03-12 03:55 | 5000829165 THORN LIGHTING LTD ( GB - ROMFORD ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000829165 10003651 THORN LIGHTING LTD GBINTERNATIONAL DIVISION
6.17 | BATTERY; NICAD; 1.2 V/CELL; IEC 529; | BATTERY; NICAD TYPE;1.2 V/CELL;17-SAMSS-511;VENTED; BLOCK TYPE; 4 CELLS PER BATTERY SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 7.5 KVA POWER;400 VAC;3 PH/230 VAC; 1 PH/60 HZ INPUT; 230 VAC;1 PH/60 HZ OUTPUT;20/33 A INPUT; 33 A OUTPUT;60 HZ;3 PH PHASE;IP 215 ENCLOSUR;IEC - 529;FREE STANDING; 90 MINUTE BATTERY BACK-UP TIME; SINGLE UNIT WITH STATIC BYPASS/MAINT SWITCH; 680 MM LG X 1125 MM WD X 1085 MM HT ORIGINAL.EQUIPMENT.REFS... DWG# 1-S-MG-DE-EDO-258-07001 MANF MERLIN GERIN - FRANCE SERIAL# 212735647; 212735648; 212735649; 212735650; 212735651; 212735652; 212735653 TAG# 1S-258-ED-ERR-7001; 1S-258-ED-ERR-7002; 1S-258-ED-ERR-7003; 1S-258-ED-ERR-7004; 1S-258-ED-ERR-7005; 1S-258-ED-ERR-7007; 1S-258-ED-ERR-7008 MODEL# COMET S31 7.5 KVA ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME SCHNEIDER ELECTRIC SA MODEL NUMBER COMET S31 7.5 KVA SERIAL NUMBER 212735647 212735648 212735649 212735650 212735651 212735652 212735653 DRAWING NUMBER 1-S-MG-DE-EDO-258-07001 TAG NUMBER 1S-258-ED-ERR-7001 1S-258-ED-ERR-7002 1S-258-ED-ERR-7003 1S-258-ED-ERR-7004 1S-258-ED-ERR-7005 1S-258-ED-ERR-7007 1S-258-ED-ERR-7008 | No |  | USD | each | 1000477767 |  |  | 6 |  |  |  | 2023-03-07 02:55 | 5001701628 SAFT AB ( SE - OSKARSHAMN ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001701628 30000237 SAFT AB SEDRAWING NUMBER SAFT NIFE # 90-62840PART NUMBER 310546074SUPERSEDED NUMBER SBL59-2SBLE62-45000542359 10004241 ## SCHNEIDER ELECTRIC SA FRPART NUMBER SBL 59-25000542411 10 | MS831410SPAREPARTSPR4809120420105019948447000101.pdf
6.18 | CONTACTOR MOTOR; 3; 690 V; 25 A AT 690 V | CONTACTOR MOTOR; 3 POLE;690 V LINE;25 A AT 690 V; 60 DEG C;3 NO FOR MAIN CONTACTS; 1 NO FOR AUXILIARY CONTACTS;UL/CSA LISTED SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 5 KVA POWER;480 VAC INPUT; 400 VAC OUTPUT; 120 VDC OUTPUT;10.1A INPUT AC CURRENT; 7A OUTPUT AC CURRENT;60 HZ;3 PH PHASE;17-SAMSS-516;DUAL STAND ALONE; DIMENSION; 2100 MM HT X 2400 MM WD X 800 MM DP; IP21 DEGREE OF PROTECTION; RAL 7035 FINISH; NICKEL CADMIUM BATTERY MODEL SBLE ; 96 CELLS; 140 AH CAPACITY ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME BENNING CONVERSION D ENERGIE SERIAL NUMBER 5288001001(106000828642) 5288001002(106000828643) 5288002001(106000828645) 5288002002(106000828646) DRAWING NUMBER 61300002301.00E054 61300002303.00E054 61300002304.00E131 U5288-01 REFERENCE NUMBER U5288-01 TYPE NUMBER D480D400/7 3RFG-UDG TAG NUMBER 508-1-6-27-UPS-001 508-UPS-2X1 508-UPS-2X2 | No |  | USD | each | 1001115571 |  |  | 3 |  |  |  | 2023-03-06 02:55 | 5002854593 AF09301011 ABB STOTZ KONTAKT GMBH ( DE - HEIDELBERG ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002854593 10004275 ABB STOTZ KONTAKT GMBH DEPART NUMBER AF09-30-10-115002854594 10027669 BENNING CONVERSION D ENERGIE FRPART NUMBER 10027797
6.19 | MOTOR; INDUCTION; INTEGRAL; 40 HP; | MOTOR INDUCTION INTEGRAL; 30 KW OR 40 HP POWER;1800 SYNCH (R;FRAME 326T MIN;460 V;3 PH PHASE;60 HZ;47 A MAX FL;1.0 SF;TEFC/IP54 MIN ENCLOSUR;INSUL CL F;B NEMA DES;50 DEG C MAX AMB;70 DEG C RISE;93.0% MIN NEMA EFF;NON-HAZARDOUS;VERTICAL (V6) MTG;RIGID BASE;17-SAMSS-503;HIGH/PREMIUM EFFICIENCY; SEVERE & CONT. DUTY TYPE; FULL VOLTAGE STARTING; BALL BEARINGS; FRAME; ENDSHIELDS; FAN COVER AND TERMINAL BOX SHALL BE OF CAST IRON CONSTRUCTION; BI-DIRECTIONAL FAN; SHAFT END UP; FIN FAN COOLER APPLICATION; FOOTPRINT DIMENSIONS; 8.00 IN CL OF SHAFT TO BASE (D); 12.50 IN CL OF FIXING HOLES (END); 12.00 IN CL OF FIXING HOLES (SIDE); 2.125 IN SHAFT DIAMETER (U); 5.00 IN AVAILABLE SHAFT LENGTH (V); FRAME TYPE 326/T | No |  | USD | each | 1000064487 |  |  | 1 |  |  |  | 2023-03-26 03:55 | 5001613488 ATB TAMEL SA ( PL - TARNOW ) | [5 empty] | Urgent | X | No | IR170200 501 MOTORS; ELECTRIC; Severe Duty Totally E 10/31/2016 | Yes | 831402 | 831403 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002588263 30003471 ATB SCHORCH GMBH DENUMBER -5002586569 10015359 ATB SCHORCH GMBH DENUMBER -5002488299 10055095 FACTORY OF TECO MIDDLE EAST SAELECTRIC & MACHINERY CO. LTDNUMBER -5002489161 30006593 | MS831403080620115019969933000101.pdf
6.20 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; RHH/RHW/USE OR RHH/RHW-2/USE-2 TYPE;19 STRANDS CONDUCTO;POWER TYPE;107.20 SQ MM (4/0 AWG) CONDUCTO;600 V SUPPLY;3 CONDUCTO;45.5 MM (1.790 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;NEOPRENE OR CHLOROSULFONATED POLYETHYLENE JACKET;UL;1.98 MM (5/64 IN) INSUL TH;ASTM B8 CLASS B;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;ICEA S-66-524;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C DRY; 75 DEG C WET;EPR OR XLPE INSUL;COPPER CONDUCTO;UL-44; UL-854;MOISTURE HEAT AND SUNLIGHT RESISTANT; FLAME RETARDANT; 2.8 MM (0.110 IN) JACKET TH; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD 44 AND 854; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; SINGLE CORE. | No |  | USD | Feet | 1000414815 |  |  | 1,000 |  |  |  | 2023-03-12 03:55 | 5000371894 14511715405 GENERAL CABLE ( US - MARION ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000371895 10020512 THE OKONITE COMPANY US5000371894 10016865 GENERAL CABLE USBICC CABLES CORPORATIONPART NUMBER 14511.715405REFERENCE NUMBER SPEC 5050SUPERSEDED NUMBER 14511.715400
6.21 | CONNECTOR; CONDUIT; FLEXIBLE | CONNECTOR CONDUIT; FLEXIBLE LIQUIDTIGHT TYPE;SIZE 1 IN;1 IN HUB;180 DEG SHAPE;COMPRESSION/MALE THREAD TERMINAL;GALV MALLEABLE IRON;UL-514;GLAND & SEALING RING; STRAIGHT; MALE THREAD & LOCKNUT; WATERTIGHT; CONNECTION TO THREADED HUB OR KNOCKOUT | No |  | USD | each | 1000423472 |  |  | 20 |  |  |  | 2022-12-20 02:55 | 5000400710 LT100 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | D001-C100 DHAHRAN CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000400710 10017271 CROUSE HINDS ECM / EATON USNUMBER LT1005000400711 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYNUMBER ST-1005000400712 10018185 THOMAS AND BETTS INTERNATIONAL US
6.22 | CONNECTOR; CONDUIT; FLEXIBLE | CONNECTOR CONDUIT; FLEXIBLE LIQUIDTIGHT TYPE;SIZE 1 IN;1 IN HUB;180 DEG SHAPE;COMPRESSION/MALE THREAD TERMINAL;GALV MALLEABLE IRON;UL-514;GLAND & SEALING RING; STRAIGHT; MALE THREAD & LOCKNUT; WATERTIGHT; CONNECTION TO THREADED HUB OR KNOCKOUT | No |  | USD | each | 1000423472 |  |  | 10 |  |  |  | 2022-12-28 02:55 | 5000400710 LT100 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B09A-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000400710 10017271 CROUSE HINDS ECM / EATON USNUMBER LT1005000400711 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYNUMBER ST-1005000400712 10018185 THOMAS AND BETTS INTERNATIONAL US
6.23 | CONNECTOR; CONDUIT; FLEXIBLE | CONNECTOR CONDUIT; FLEXIBLE LIQUIDTIGHT TYPE;SIZE 1 IN;1 IN HUB;180 DEG SHAPE;COMPRESSION/MALE THREAD TERMINAL;GALV MALLEABLE IRON;UL-514;GLAND & SEALING RING; STRAIGHT; MALE THREAD & LOCKNUT; WATERTIGHT; CONNECTION TO THREADED HUB OR KNOCKOUT | No |  | USD | each | 1000423472 |  |  | 10 |  |  |  | 2022-12-28 02:55 | 5000400710 LT100 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B09A-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000400710 10017271 CROUSE HINDS ECM / EATON USNUMBER LT1005000400711 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYNUMBER ST-1005000400712 10018185 THOMAS AND BETTS INTERNATIONAL US
6.24 | CONNECTOR; CONDUIT; FLEXIBLE | CONNECTOR CONDUIT; FLEXIBLE LIQUIDTIGHT TYPE;SIZE 1 IN;1 IN HUB;180 DEG SHAPE;COMPRESSION/MALE THREAD TERMINAL;GALV MALLEABLE IRON;UL-514;GLAND & SEALING RING; STRAIGHT; MALE THREAD & LOCKNUT; WATERTIGHT; CONNECTION TO THREADED HUB OR KNOCKOUT | No |  | USD | each | 1000423472 |  |  | 10 |  |  |  | 2022-12-28 02:55 | 5000400710 LT100 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B09A-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000400710 10017271 CROUSE HINDS ECM / EATON USNUMBER LT1005000400711 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYNUMBER ST-1005000400712 10018185 THOMAS AND BETTS INTERNATIONAL US
6.25 | CONNECTOR; CONDUIT; FLEXIBLE | CONNECTOR CONDUIT; FLEXIBLE LIQUIDTIGHT TYPE;SIZE 1 IN;1 IN HUB;180 DEG SHAPE;COMPRESSION/MALE THREAD TERMINAL;GALV MALLEABLE IRON;UL-514;GLAND & SEALING RING; STRAIGHT; MALE THREAD & LOCKNUT; WATERTIGHT; CONNECTION TO THREADED HUB OR KNOCKOUT | No |  | USD | each | 1000423472 |  |  | 10 |  |  |  | 2022-12-28 02:55 | 5000400710 LT100 CROUSE HINDS ECM / EATON ( US - SYRACUSE ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B09A-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000400710 10017271 CROUSE HINDS ECM / EATON USNUMBER LT1005000400711 10018020 EGS APPLETON ELECTRIC COMPANY USEMERSON ELECTRIC COMPANYNUMBER ST-1005000400712 10018185 THOMAS AND BETTS INTERNATIONAL US
6.26 | THERMOMETER; EXIDE NO 88330 | THERMOMETER; EXIDE NO 88330 SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; POWER SUPPLY SYSTEM; INCLUDING BATTERIES & DISTR. PANELS KVA SERIAL# ORIGINAL EQUIPMENT REFERENCES; | No |  | USD | each | 1000384454 |  |  | 3 |  |  |  | 2023-03-12 03:55 | 5000331832 THOMAS & BETTS POWER SOLUTIONS ( US - RICHMOND ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000331832 10017500 THOMAS & BETTS POWER SOLUTIONS/ABB US ABB POWER PROTECTION 5000331833 10018153 ENERSYS INCORPORATED US PART NUMBER 88330
6.27 | EXIT LIGHTING FIXTURE PARTS; | LAMP INCANDESCENT; 15 W W;145 VAC;CANDELABRA BASE;T-6 BULB;77.8 MM (3-1/16 IN) LG;EXIT TYPE;CLEAR;20000 HRS AVG LIFE;ANSI;102 INIT LUMENS; FOR EXIT LIGHTING FIXTURE; FILAMENT C-7A | No |  | USD | each | 1000054735 |  |  | 10 |  |  |  | 2023-03-20 03:55 | 5000887419 15T6145VAC GE LIGHTING ( US - CLEVELAND ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000887419 10018463 GE LIGHTING US GENERAL ELECTRIC COMPANY NUMBER 15T6/145 VAC CODE NUMBER 13402 5000887530 10020354 DUAL-LITE-HUBBELL US HUBBELL INCORPORATED PART NUMBER 0110051 SUPERSEDED NUMBER 11-51
6.28 | MOTOR; INDUCTION; FRACTIONAL; 1/3 HP; | MOTOR INDUCTION FRACTIONAL; 1/3 HP POWER;1800 RPM;FRAME 56C;230/460 V;3 PHASE;60 HZ;1.4/0.7 A FL;1.0 SF;TEFC ENCLOSUR;INSUL CL F OR B;40 DEG C MAX AMB;UNIVERSAL MTG;RIGID BASE;NEMA MG-1;CONTINUOUS DUTY TYPE; FULL VOLTAGE STARTING; BALL BEARINGS; FRAME SHALL BE OF CAST IRON OR STEEL CONSTRUCTION; 9.1/4.6 AMP LOCKED ROTOR CURRENT; 5.875 IN BOLT CIRCLE DIAMETER (AJ) 2.06 IN FACE TO SHAFT END; 0.6250 IN SHAFT DIAMETER (U) | No |  | USD | each | 1000064561 |  |  | 2 |  |  |  | 2023-03-05 02:55 | 5000039976 K253 GE ENERGY ( US - HOUSTON ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000039976 10018481 GE ENERGY US POWER CONVERSION NUMBER K253 MAT TYPE A
6.29 | FIXTURE; INCANDESCENT LIGHTING; 15 W | FIXTURE INCANDESCENT LIGHTING; 15 W & 5 W W;120 VAC; 60 HZ & 6 VDC;2 AC & 2 DC LAMP;(2) CANDLEBRA SCREW & (2) BI-PIN LAMP BAS;3/8 IN HUB;12 IN WD X 12-1/8 IN LG X 4-3/4 IN DP;END OR CEILING MTG;INJECTION MOLDED THERMOPLASTIC FRAME HOUSING;WHITE FINISH;NON-HAZARDOUS;FOR EXIT;UL;ENGLISH; RED LETTERS ON WHITE BKGRD; DOUBLE FACE; METAL STENCIL FACE PLATE; SELF CONTAINED EMERGENCY UNIT CONSISTING OF GELL TYPE RECHARGEABLE BATTERY CHARGER AND TRANSFORMER; UNIVERSAL SNAP-IN ARROWS; LAMP NO 15T6; EXQUISITE SERIES WE HAVE THE STOCK THIS NEW NUBBER;4517249380-00001 | No |  | USD | each | 1000058410 |  |  | 70 |  |  |  | 2023-04-02 03:55 | 5000005566 LQMSW3R120277ELNM6 LITHONIA LIGHTING GROUP ( US - CONYERS ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000005566 10019778 LITHONIA LIGHTING GROUP US A UNIT OF NATIONAL SERVICE NUMBER LQM-S-W-3-R-120/277-EL-N-M6 SUPERSEDED NUMBER MSW2R-120/277-EL QM-S-W-3-R-120/227-EL 5000005568 10020354 DUAL-LITE-HUBBELL US
6.30 | CIRCUIT BREAKER MOLDED CASE; 50 A; 3 P; | CIRCUIT BREAKER MOLDED CASE; 50 A;3 P POLE;480 V;25 KAIC TYPE;FRAME 63 A SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 25 KVA POWER;480 VAC (INPUT); 230 VAC (OUTPUT);34 A (INPUT); 109 A (OUTPUT);60 HZ;3 PH; 3 WIRE (INPUT) / 1 PH; 2 WIRE (OUTPUT) PHASE;IP21 (FREE STANDING) ENCLOSUR;17-SAMSS-516;EFFICIENCY; 88 %; POWER FACTOR; 0.8; NOMINAL BATTERY VOLTAGE; 120 VDC; BACKUP TIME; 240 MINUTES; MAXIMUM AMBIENT TEMPERATURE; 40 DEG C; BATTERY CURRENT LIMIT; 105 A; BATTERY TYPE; 60 CELLS VENTED LEAD ACID; DIMENSIONS; 2500 MM WD X 2200 MM HT X 800 MM DP ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME BENNING CONVERSION D ENERGIE MODEL NUMBER D480G120E230/109 2RFG-UDG DRAWING NUMBER P4192-03 ORDER NUMBER P4192-03 REFERENCE NUMBER ENERTRONIC I TAG NUMBER X37-204-UPS-003 | No |  | USD | each | 1001011782 |  |  | 2 |  |  |  | 2023-03-12 03:55 | 5002585018 10146318 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | [5 empty] | Urgent | X | No |  | No | 831410 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002585018 10027669 BENNING CONVERSION D ENERGIE FR PART NUMBER 10146318
6.31 | BOARD PRINTED CIRCUIT; BYPASS BOARD | BOARD PRINTED CIRCUIT; BYPASS BOARD SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 20 KVA POWER;480 VAC (INPUT); 230 VAC (OUTPUT);27 A (AC INPUT); 87 A (AC OUTPUT);60 HZ;3 PH PHASE;IP 21 ENCLOSUR;17-SAMSS-516;AC-AC EFFICIENCY; >80 % POWER FACTOR; 0.8 TYPE; LEAD ACID BATTERIES; 60 VOLTAGE; 120 VDC CAPACITY; 266 AH 1 HR HRS 40 DEG C MAX. 7035 HT X 1000 MM WD X 800 MM DP IENT TEMPERATURE; KUP; TERY ENSIONS; 2100 MM ISH; RAL BER OF HARGE TIME; 10 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME BENNING CONVERSION D ENERGIE MODEL NUMBER D480E230/86.95 2RFG-UEG SERIAL NUMBER 00100101094 (4790001001) 00100101096 (4790001003) 00100101100 (4790001002) DRAWING NUMBER R4790-01 REFERENCE NUMBER R4790-01 TAG NUMBER H44-105-UPS-001 H44-105-UPS-001 / 002 H44-105-UPS-002 | No |  | USD | each | 1001083354 |  |  | 2 |  |  |  | 2023-03-05 02:55 | 5002785440 10167941 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002785440 10027669 BENNING CONVERSION D ENERGIE FR PART NUMBER 10167941 REFERENCE NUMBER 10149109.01E0
6.32 | BOARD PRINTED CIRCUIT; FILTER BOARD | BOARD PRINTED CIRCUIT; FILTER BOARD SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 20 KVA POWER;480 VAC (INPUT); 230 VAC (OUTPUT);27 A (AC INPUT); 87 A (AC OUTPUT);60 HZ;3 PH PHASE;IP 21 ENCLOSUR;17-SAMSS-516;AC-AC EFFICIENCY; >80 % POWER FACTOR; 0.8 TYPE; LEAD ACID BATTERIES; 60 VOLTAGE; 120 VDC CAPACITY; 266 AH 1 HR HRS 40 DEG C MAX. 7035 HT X 1000 MM WD X 800 MM DP IENT TEMPERATURE; KUP; TERY ENSIONS; 2100 MM ISH; RAL BER OF HARGE TIME; 10 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME BENNING CONVERSION D ENERGIE MODEL NUMBER D480E230/86.95 2RFG-UEG SERIAL NUMBER 00100101094 (4790001001) 00100101096 (4790001003) 00100101100 (4790001002) DRAWING NUMBER R4790-01 REFERENCE NUMBER R4790-01 TAG NUMBER H44-105-UPS-001 H44-105-UPS-001 / 002 H44-105-UPS-002 | No |  | USD | each | 1001083379 |  |  | 2 |  |  |  | 2023-03-05 02:55 | 5002785465 10006702 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002785465 10027669 BENNING CONVERSION D ENERGIE FR PART NUMBER 10006702 REFERENCE NUMBER 62324.00E00 A4
6.33 | BOARD PRINTED CIRCUIT; MEASURING | BOARD PRINTED CIRCUIT; MEASURING SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 50 KVA POWER;480 VAC (INPUT); 208 VAC (OUTPUT);68 A (INPUT); 138 A (OUTPUT);60 HZ;3 PH PHASE;IP 21 ENCLOSUR;17-SAMSS-516;NUMBER OF WIRES; 3 W (INPUT); 4 W (OUTPUT) NOMINAL BATTERY VOLTAGE; 124 VDC MIN. DIMENSIONS; 2100 MM HT X 3600 MM LG X 800 MM DP KUP TIME; 15 ISH; RAL 7035 ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME BENNING CONVERSION D ENERGIE MODEL NUMBER D480G124D208/138;7 3RFG-UDG SERIAL NUMBER 106000710964 (4620031002) 106000710966 (4620031001) 106000710967 (4620031004) 106000721785 (4620031005) DRAWING NUMBER R4620-04 R4620-05 REFERENCE NUMBER R4620 TAG NUMBER D29-001-UPS-001-A D29-001-UPS-001-B U62-001-UPS-001-A U62-001-UPS-001-B | No |  | USD | each | 1001096215 |  |  | 2 |  |  |  | 2023-03-12 03:55 | 5002815700 547299COA BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002815700 10027669 BENNING CONVERSION D ENERGIE FR PART NUMBER 547299COA
6.34 | BOARD; MEASUREMENT | BOARD; MEASUREMENT TYPE;UL SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 45 KVA POWER;INPUT; 480 VAC ±10%; OUTPUT; 400 VAC ±1%;INPUT; 84.9 A; OUTPUT; 65 A AT PF=0.8;INPUT; 60 HZ ±5% ; OUTPUT; 60 HZ ±0.1%;3 PH PHASE;IP 21 ENCLOSUR;17-SAMSS-516;EFFICIENCY; > 80 %; BACKUP TIME; 4 HOURS; NOMINAL BATTERY VOLTAGE; 125 VDC; DIMENSION; 1800 MM WD X 800 MM DP X 2100 MM HT; COLOUR; RAL7035; MAXIMUM AMBIENT TEMPERATURE; +40 DEG C ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME BENNING CONVERSION D ENERGIE SERIAL NUMBER 4672001001 (106000715583) 4672001002 (106000715584) DRAWING NUMBER 00100094852.00E054 00100094852.00R000 00100094860.00E054 00100094862.00E131 R4672-01/0 R4672-01/1 R4672-01/2 R4672-01/3 R4672-01/5 REFERENCE NUMBER R4672-01 TYPE NUMBER D480G124D400/64.95 3RFG-UDG TAG NUMBER 084-204-UPS-001B 084-217-UPS-001A | No |  | USD | each | 1001060347 |  |  | 2 |  |  |  | 2023-03-12 03:55 | 5002735257 10161542 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002735257 10027669 BENNING CONVERSION D ENERGIE FR PART NUMBER 10161542
6.35 | BOARD; CUSTOMER CONNECTION | BOARD; CUSTOMER CONNECTION TYPE SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 45 KVA POWER;INPUT; 480 VAC ±10%; OUTPUT; 400 VAC ±1%;INPUT; 84.9 A; OUTPUT; 65 A AT PF=0.8;INPUT; 60 HZ ±5% ; OUTPUT; 60 HZ ±0.1%;3 PH PHASE;IP 21 ENCLOSUR;17-SAMSS-516;EFFICIENCY; > 80 %; BACKUP TIME; 4 HOURS; NOMINAL BATTERY VOLTAGE; 125 VDC; DIMENSION; 1800 MM WD X 800 MM DP X 2100 MM HT; COLOUR; RAL7035; MAXIMUM AMBIENT TEMPERATURE; +40 DEG C ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME BENNING CONVERSION D ENERGIE SERIAL NUMBER 4672001001 (106000715583) 4672001002 (106000715584) DRAWING NUMBER 00100094852.00E054 00100094852.00R000 00100094860.00E054 00100094862.00E131 R4672-01/0 R4672-01/1 R4672-01/2 R4672-01/3 R4672-01/5 REFERENCE NUMBER R4672-01 TYPE NUMBER D480G124D400/64.95 3RFG-UDG TAG NUMBER 084-204-UPS-001B 084-217-UPS-001A | No |  | USD | each | 1001060350 |  |  | 3 |  |  |  | 2023-03-12 03:55 | 5002735260 10076563 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | E - Exempt | 0- | AC-A/C 48 D.F - 79 D.F | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002735260 10027669 BENNING CONVERSION D ENERGIE FR PART NUMBER 10076563
6.36 | BLOCK FUSE; FUSE SWITCH; 2 POLE; 10 MM D | BLOCK FUSE; FUSE SWITCH TYPE;2 POLE POLE;10 MM DIAMETER X 38 MM LENGTH FUSE SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 80 KVA POWER;480 VAC INPUT; 208 / 120 VAC OUTPUT;140 A AC INPUT CURRENT / 220 A AC OUTPUT CURRENT;60 HZ;3 PH; 3 WIRE INPUT / 3 PH; 4 WIRE OUTPUT PHASE;IP21 (FREE STANDING); DIMENSION; 800 MM DP X 4600 MM WD X 2100 MM HT; FINISH; RAL7035 ENCLOSUR;17-SAMSS-516;EFFICIENCY; 88%; POWER FACTOR; 0.8; NOMINAL BATTERY VOLTAGE; 216 VDC; BACKUP TIME; 30 MINUTES; MAXIMUM AMBIENT TEMPERATURE; 40 DEG. C; BATTERY CURRENT LIMIT; 25 A; BATTERY TYPE; 108 CELLS VENTED LEAD ACID; BATTERY CAPACITY; 270 AH ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME BENNING CONVERSION D ENERGIE MODEL NUMBER D480G216D208-120 / 220WPD SERIAL NUMBER 3948011001 3948011002 DRAWING NUMBER O3948-02 TAG NUMBER Z36-031-UPS-001A Z36-031-UPS-001B | No |  | USD | each | 1000979937 |  |  | 5 |  |  |  | 2023-03-12 03:55 | 5002504779 10050278 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | D003-C104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002504779 10027669 BENNING CONVERSION D ENERGIE FR PART NUMBER 10050278
6.37 | MONITOR TEMPERATURE; TEMPERATURE | MONITOR TEMPERATURE; TEMPERATURE TYPE SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 40 KVA POWER;480 VAC;UT; 47.6 A PUT; 36.1 A;60 HZ;3 PH PHASE;BACKUP TIME; 120 MINUTES PROTECTION CLASS; IP20 FINISH; RAL7035 MOUNTED CABINET DIMENSION; 2000 MM HT X 24000 MM HT X 800 MM DP. OR ORIGINAL EQUIPMENT REFERENCES; MANUFACTURER NAME BENNING CONVERSION D ENERGIE MODEL NUMBER ENERTRONIC P SERIAL NUMBER 106000532360 106000532361 DRAWING NUMBER L3291-05 TYPE NUMBER D480G384D480/48.1 2RFG-UDG TAG NUMBER A-P-UPS-001 T-P-UPS-0201 | No |  | USD | each | 1001037868 |  |  | 1 |  |  |  | 2023-03-12 03:55 | 5002681456 BENNING CONVERSION D ENERGIE ( FR - LOUVIERS ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | D003-C104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5002681456 10027669 BENNING CONVERSION D ENERGIE FR PART NUMBER OPTION95
6.38 | BOARD; PRINTED CIRCUIT; ELECTRONICS | BOARD PRINTED CIRCUIT; ELECTRONICS SPARE PART FOR; POWER SUPPLY UNINTERRUPTIBLE; 150 KVA POWER;480 VAC (INPUT); 208/120 VAC (OUTPUT);246.7 A INPUT;60 HZ;3 PH PHASE;IP21 ENCLOSUR;PARALLEL/REDUNDANT; WITH FLOAT VOLTAGE; 441.5 V; BOOST VOLTAGE; 475.2 V; IS2 TYPE CABINET ORIGINAL EQUIPMENT REFERENCES; MODEL NUMBER S2300 SERIAL NUMBER 311688-111 DRAWING NUMBER A311688-111 TYPE NUMBER S2300-150 | No |  | USD | each | 1000791003 |  |  | 3 |  |  |  | 2023-03-06 02:55 | 5001896327 PB089 STATRON AG ( CH - MAGENWIL ) | [5 empty] | Urgent | X | No |  | No |  |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5001896327 10035031 STATRON AG CH PART NUMBER PB089
6.39 | MOTOR; INDUCTION; INTEGRAL; 2 HP | MOTOR INDUCTION INTEGRAL; 2 HP OR 1.5 KW POWER;1800 SYNCH (R;FRAME 145T;208-230/460 V;3 PHASE;60 HZ;7.5-6.8/3.4 A MAX FL;1.0 SF;TEFC/IP54 MIN ENCLOSUR;INSUL CL F;B NEMA DES;50 DEG C MAX AMB;70 DEG C RISE;84.0% MIN NEMA EFF;NON-HAZARDOUS;UNIVERSAL MTG;RIGID BASE;17-SAMSS-503;HIGH/PREMIUM EFFECIENCY SEVERE & CONT. DUTY; VOLTAGE STARTING; BALL BEARINGS; FRAME; ENDSHIELDS; FAN COVER AND TERMINAL BOX SHALL BE OF CAST IRON CONSTRUCTION; BI-DIRECTIONAL FAN; FOOT PRINT DIMENSIONS; 3.50 IN. CL. OF SHAFT TO BASE (D) 5.50 IN. CL. OF FIXING TO BASE (END) 5.00 IN. CL. OF FIXING TO BASE (SIDE) 0.8750 IN SHAFT DIAMETER (U) 2.00 IN. MIN. AVAILABLE SHAFT LENGTH (V); 460 V SINGLE VOLTAGE CAN BE OFFERED IF ACCEPTED BY THE END USER; | No |  | USD | each | 1000066263 |  |  | 4 |  |  |  | 2023-10-09 03:55 | 5000979328 SIEMENS S.A. DE C.V. ( MX - MORELIA, JALISCO C.P. ) | [5 empty] | Urgent | X | No | IR170200 501 MOTORS; ELECTRIC; Severe Duty Totally E 10/31/2016 | Yes | 831402 | 831403 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong> 5000979433 30001965 TOSHIBA INTERNATIONAL INC US NUMBER - 5002588459 30001456 TECO ELECTRIC & MACHINERY CO LTD TW CHUNG-LI PLANT NUMBER - 5002588460 30003471 ATB SCHORCH GMBH DE NUMBER - 5002588462 30003729 | MS831403080620115019954467000101.pdf
6.40 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG); 1 | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419197 |  |  | 5,000 |  |  |  | 2023-02-12 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J03A-C742 UDHAILIYAH MATERIAL YARD | 04 BOAT
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK29: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK30: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK31: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK32: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK33: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK34: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK35: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N36: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R36: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T36: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK36: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N37: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R37: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T37: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK37: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N38: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R38: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T38: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK38: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N39: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R39: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T39: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK39: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N40: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R40: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T40: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK40: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N41: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R41: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T41: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK41: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N42: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R42: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T42: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK42: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N43: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R43: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T43: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK43: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N44: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R44: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T44: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK44: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Other Content
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
7 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf