## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386165 611101C10AWGU0WT5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000389728 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382033 761403C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386790 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000383026 THE OKONITE COMPANY ( US - HOUSTON ) | 5000381943 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382507 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000387110 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385940 611101C10AWGU0BK5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | AE Utd.Arab Emir. | 5000383511 761412C00600UOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386167 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000389729 711101C00400U0BK1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382034 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386792 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001304142 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000381944 761403C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000382508 761404C01000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387112 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385943 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390368 711101C02500U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AF Afghanistan | 5000383512 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386168 23010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000389840 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001274383 DA7LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000386793 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001893743 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000381945 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382509 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387113 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000385944 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390369 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AG Antigua/Barbuda | 5001301507 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | We are currently at full capacity
|  | POE - Port of Export | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386169 THE OKONITE COMPANY ( US - HOUSTON ) | 5001299957 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001893724 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000386794 116671072 THE OKONITE COMPANY ( US - HOUSTON ) | 5002143924 C448XA10400SBK08CMF ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000381946 THE OKONITE COMPANY ( US - HOUSTON ) | 5000382710 THE OKONITE COMPANY ( US - HOUSTON ) | 5000387114 116671106 THE OKONITE COMPANY ( US - HOUSTON ) | 5000385946 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277360 DB1DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AI Anguilla | 5001327958 DA7LU12BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | Missing information / not enough information provided
|  |  | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000386251 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001775637 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002143913 C213XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5000386795 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002157885 19900836 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001274381 DA5LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001277343 DA8LU04BGMO JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387115 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000385948 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001775652 C316HB101000YG000MR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AB Abu Dhabi | 5001893754 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | Other
|  |  | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429823 DW3WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002158090 12133150 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157868 14515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001429831 DW1WU01W JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002332619 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001893722 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001893736 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001429835 DW2WU01L JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001429822 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002158115 12154190 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AL Albania | 5002332625 ELSEWEDY CABLES COMPANY ( SA - YANBU )
|  |  | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437359 0D06551010 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002332605 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001437366 0D06551410 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002143911 C210XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002157878 14515308 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437370 0D06551202 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001437358 0D06551003 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | AM Armenia
|  |  | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775608 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | 5001775615 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002157866 14515203 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002332614 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001775619 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001775607 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | AN Dutch Antilles
|  |  | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  | 5002158064 11170020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5002332603 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002700290 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  | AO Angola
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
2.1 | Do you accept the bidding instructions & conditions in this section? |  |  |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  |  |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  |  |  | 2023-01-15 02:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  |  |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  |  |  | TDS & Note.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  |  |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  |  |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  |  |  | Quotation 10207521.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
6.1 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  |  |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419212 |  |  | 2,000 |  |  |  | 2023-04-09 03:55 | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387555 10016871 GENERAL CABLE USBICC GENERAL5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000387556 100168
6.2 | WIRE; 750V NYA 1/C 25MM2 (4 AWG) STR CU |  |  |  | WIRE ELECTRICAL; 25 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;9.3 MM OD;270 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | No | We don't supply at the requested quantity | SAR | Meter | 1000419988 |  |  | 300 |  |  |  | 2023-03-12 03:55 | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390367 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000390369 10013724 SAUDI CABLE COMPANY SA5000390368 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 02500 - U
6.3 | WIRE; ELECTRICAL; 4 MM2; 1 CONDUCTOR; B |  |  |  | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;BLACK;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;48 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419701 |  | 1.48 | 460 | N/A | 84 |  | 2023-03-06 02:55 | 5002158090 12133150 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389728 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000389840 10013724 SAUDI CABLE COMPANY SA5001299957 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001775637 10012569 ALFAN
6.4 | CABLE; ELEC; MV; POWER; |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;37 STRANDS CONDUCTO;POWER TYPE;185 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;59.6 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHTRESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417990 |  | 264.28 | 1,000 | N/A | 84 |  | 2023-03-06 02:55 | 5002157885 19900836 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000383026 10020512 THE OKONITE COMPANY US5001893743 10037887 EGYTECH CABLES EL SEWEDY EG5002332619 10046468 ELSEWEDY CABLES COMPANY SA5001304142 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AN
6.5 | WIRE; ELECTRICAL; 3.31 MM2 (12 AWG);BLUE |  |  |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;3.30 MM (0.130 IN) OD;37.2 KG/KM (25 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419171 |  | 0.43 | 50,000 | N/A | 84 |  | 2023-03-12 03:55 | 5002158068 11121030 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J001-C153 DHAHRAN CMD MATERIALS OPERATIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387110 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387112 10016871 GENERAL CABLE USBICC GENERAL5000387115 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775619 10012569 ALFANAR ELECTRICAL
6.6 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  |  |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.81 MM (0.150 IN) OD;55.1 KG/KM (37 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | We don't supply at the requested quantity | SAR | Feet | 1000418962 |  |  | 3,000 |  |  |  | 2023-03-13 03:55 | 5000385940 611101C10AWGU0BK5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385943 10016871 GENERAL CABLE USBICC GENERAL5000385946 10020512 THE OKONITE COMPANY US5000385948 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775607 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.7 | WIRE; ELECTRICAL; 5.26 MM2 (10 AWG); 1 |  |  |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419212 |  |  | 3,000 |  |  |  | 2023-04-16 03:55 | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000387555 10016871 GENERAL CABLE USBICC GENERAL5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000387556 100168
6.8 | CABLE; 1KV XLPE/PVC 3/C 6MM2 (10 AWG) PV |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;15.8 MM (0.622 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFAC TURE MARKINGS;350 KG/KM (235 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0276 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No | We don't supply at the requested quantity | SAR | Meter | 1000417760 |  |  | 700 |  |  |  | 2023-03-13 03:55 | 5000382033 761403C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382034 10013724 SAUDI CABLE COMPANY SA5001893724 10037887 EGYTECH CABLES EL SEWEDY EG5002332605 10046468 ELSEWEDY CABLES COMPANY SA5000382033 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFER
6.9 | CABLE; 600V TC 3/C 2.5MM2 (14 AWG) PVC X |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;175 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No | We don't supply at the requested quantity | SAR | Meter | 1000417735 |  |  | 900 |  |  |  | 2023-04-30 03:55 | 5000381943 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381943 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5000381945 10013724 SAUDI CABLE COMPANY SA5000381946 10020512 THE OKONITE COMPANY US5001893722 10037887 EGYTECH CABLES EL SEWEDY EG5002332603
6.10 | WIRE; BUILDING; 600V; |  |  |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.81 MM (0.150 IN) OD;55.1 KG/KM (37 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No | We don't supply at the requested quantity | SAR | Feet | 1000418981 |  |  | 3,000 |  |  |  | 2023-03-13 03:55 | 5000386165 611101C10AWGU0WT5 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386167 10016871 GENERAL CABLE USBICC GENERAL5000386169 10020512 THE OKONITE COMPANY US5000386251 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775608 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF
6.11 | WIRE; 600V THHN/THWN 1/C 14 AWG (2.5MM2) |  |  |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;WHITE;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No | We don't supply at the requested quantity | SAR | Feet | 1000419083 |  |  | 5,000 |  |  |  | 2023-03-19 03:55 | 5000386790 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J03A-C742 UDHAILIYAH MATERIAL YARD | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386790 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5000386792 10016871 GENERAL CABLE USBICC GENERAL5000386795 10021675 SOUTHWIRE COMPANY INCORPORATED US5001775615 10012569 ALFANAR ELECTRICAL
6.12 | CABLE; LOW VOL; 7 STR; 600-1000 V |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;10 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;19.2 MM (0.756 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;623 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.028 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No | We don't supply at the requested quantity | SAR | Meter | 1000417918 |  |  | 100 |  |  |  | 2023-03-12 03:55 | 5000382507 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | B013-C532 B013-C532 | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382509 10013724 SAUDI CABLE COMPANY SA5000382710 10020512 THE OKONITE COMPANY US5000382507 10012487 DUBAI CABLE COMPANY (PRIVATE) AELIMITED5001893736 10037887 EGYTECH CABLES EL SEWEDY EG5002332614
6.13 | CABLE; ELECTRICAL; LOW VOLTAGE; |  |  |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER & CONTROL TYPE;5 (6/10) KV SUPPLY;12 CONDUCTO;6 SQ MM CONDUCTO;7 STRANDS CONDUCTO;25.2 MM (0.990 IN) CABLE OD;COPPER CONDUCTO;IEC 228 CLASS 2;XLPE INSUL;BLACK;PVC JACKET;TR 90 DEG C;VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;CARTON OR FULLY PROTECTED REEL;XLPE TYPE;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 12; ABRASION; MOISTURE ACID; OIL & SUNLGHT RESISTANT; FLAME RETARDANT PER IEC 332.3; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | No | We don't supply at the requested quantity | SAR | Meter | 1000418116 |  |  | 1,000 |  |  |  | 2023-03-14 03:55 | 5000383511 761412C00600UOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | E002-C104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000383512 10013724 SAUDI CABLE COMPANY SA5001893754 10037887 EGYTECH CABLES EL SEWEDY EG5002332625 10046468 ELSEWEDY CABLES COMPANY SA5001301507 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AN
Note on Q5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN17: Answer Type: Text (multiple lines) Acceptable Values: Any Value