## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5002322162 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000386461 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001463467 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001301460 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000389846 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000387766 61A601C08AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002322157 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000385635 61A601C12AWGU0RD500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002322147 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | AE Utd.Arab Emir. | 5001121009 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381112 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000383325 761407C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5002322163 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386463 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001463468 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001327911 2338201CC JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000389847 711101C00400U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000387769 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002322158 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000385637 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002322148 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AF Afghanistan | 5001308898 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5000381113 761401C05000U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000383326 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5002322164 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000386464 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001463469 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001893575 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000389848 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387870 35008 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002322159 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000385638 23012332 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002322149 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AG Antigua/Barbuda | 5001328134 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000381114 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000383327 THE OKONITE COMPANY ( US - HOUSTON ) | We are currently at full capacity
|  | POE - Port of Export | 5002322165 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000386465 116671078 THE OKONITE COMPANY ( US - HOUSTON ) | 5001775665 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002143826 C490XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001339232 DA6DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387871 116671191 THE OKONITE COMPANY ( US - HOUSTON ) | 5002322160 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000385639 THE OKONITE COMPANY ( US - HOUSTON ) | 5002322150 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AI Anguilla | 5001894122 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5000381115 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277351 DA6LU07BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | Missing information / not enough information provided
|  |  | 5002322166 10006077280005 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000386466 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002612742 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002157798 14530295 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001775639 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001429855 DW4WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002322161 10006077280002 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000385721 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002322151 10006077280001 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | AB Abu Dhabi | 5002206298 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5001301500 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001893750 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | Other
|  |  | 5002613077 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001429827 DW1WU01N JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5002332534 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002158092 12153150 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001437378 0D06550803 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002613076 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5001429799 DW2WU01R JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002613074 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | AL Albania | 5002206299 THE OKONITE COMPANY ( US - RICHMOND ) | 5001893704 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002143816 C212XA10700SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh )
|  |  |  | 5001437362 0D06551407 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  |  | 5002700293 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001775627 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5001437355 0D06551205 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | AM Armenia | 5002206300 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5002143814 C318XA10100SBK52IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002157887 13515407 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH )
|  |  |  | 5001775611 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  |  | 5002158077 11130050 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  | 5001775604 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | AN Dutch Antilles | 5002206302 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) | 5002157850 14515013 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) | 5002332621 ELSEWEDY CABLES COMPANY ( SA - YANBU )
|  |  |  | 5002158060 11140020 BAHRA ADVANCED CABLE MANUFACTU ( SA - JEDDAH ) |  |  |  | 5002523544 CPTN01UG82900 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  |  |  | AO Angola | 5002206303 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) | 5002332589 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002700292 SAUDI MODERN COMPANY FOR ( SA - RIYADH )
[12 empty] | AQ Antarctica | 5002332767 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
[12 empty] | AR Argentina | 5002364520 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
[12 empty] | AS Samoa,American | 5002364521 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
[12 empty] | AT Austria | 5002364522 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
[12 empty] | AU Australia | 5002527086 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
[12 empty] | AW Aruba | 5002589272 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
[12 empty] | AZ Azerbaijan | 5002983526 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer | Description
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer | Item or lot description
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf
2.4 | NOTE |  | 1-Please participate with the correct part number or updated part number with providing FFF if the part number requested is obsolete otherwise PO will placed based on the PN requested 2- No guarantee all items will be awarded

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET MOISTURE; HEAT & OIL RESISTANT; FLAME RETARDANT REEL MARKED WITH ARAMCO PURCHASE ORDER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSTALLATION AND VOLTAGE RATING; REEL LENGTH SHALL BE 152.4 MT (500 FT) | No |  | USD | Feet | 1000708617 |  |  | 1,500 |  |  |  | 2024-06-12 03:55 | 5001463467 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001463467 10013002 JEDDAH CABLES COMPANY LTD SA5001463468 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )5001463469 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002612742 100440
6.2 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;10 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 10 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893719 |  |  | 600 |  |  |  | 2023-11-21 02:55 | 5002322162 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002322166 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYORDER NUMBER 1000607728-00055002613077 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002322163 10013724 SAUDI | MS8314004SHTS050120055020431246000101.pdf
6.3 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;6 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 6 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893716 |  |  | 600 |  |  |  | 2024-01-28 02:55 | 5002322147 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002322151 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYORDER NUMBER 1000607728-00015002613074 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002322148 10013724 SAUDI | MS8314004SHTS050120055020488762000101.pdf
6.4 | WIRE;ELEC; 2.08MM2 (14 AWG) BROWN - 600V | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;17 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000419037 |  |  | 2,000 |  |  |  | 2024-01-28 02:55 | 5000386461 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386464 10016872 GENERAL CABLE USNUMBER 24014SUPERSEDED NUMBER TP AP-062015000386465 10020512 THE OKONITE COMPANY USNUMBER 116-67-10785002158060 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.
6.5 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;240/50 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 240 MM2 + 50 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412554 |  |  | 100 |  |  |  | 2024-01-01 02:55 | 5001301460 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001327911 10013002 JEDDAH CABLES COMPANY LTD SAPART NUMBER 23382/01-CC5001893575 10037887 EGYTECH CABLES EL SEWEDY EG5002157798 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 14530295
6.6 | CABLE; 1KV XLPE/PVC 1/C 50MM2 (1/0 AWG) | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;POWER & CONTROL TYPE;50 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;14.5 MM (0.571 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;525 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.0 MM (0.0393 IN) INSUL TH;IEC-228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417520 |  |  | 100 |  |  |  | 2024-01-15 02:55 | 5000381112 JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381113 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-01C-05000-U0 BK85001893704 10037887 EGYTECH CABLES EL SEWEDY EG5001301500 10013827 SAUDI MODERN COMPANY FOR SASPECIALI
6.7 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;10 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 10 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893718 |  |  | 30 |  |  |  | 2023-12-06 02:55 | 5002322157 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002322161 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYORDER NUMBER 1000607728-00025002613076 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002322158 10013724 SAUDI | MS8314004SHTS050120055020546935000101.pdf
6.8 | WIRE; BUILDING; 450-750V; | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;48 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332 CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CABLE PACKAGING IN CARTON OR FULLY PROTECTED REEL DURABLY MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER SIZE OF CONDUCTORS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; SUPPLIED IN 100 METER REELS | No |  | USD | Meter | 1000419708 |  |  | 92 |  |  |  | 2024-02-11 02:55 | 5000389846 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389847 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00400 - U0 GN-15002158092 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 12153150SUPERSEDED
6.9 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; 7 | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;4 SQ MM CONDUCTO;600-1000 V SUPPLY;7 CONDUCTO;17.9 MM (0.7047 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 7. ORIGINAL EQPT REFS ABRASION; MOISTURE ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC 332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000418074 |  |  | 2,000 |  |  |  | 2024-02-21 02:55 | 5000383325 761407C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000383325 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )MAT TYPE 7614 - 07C - 00400 - U0 BK85001893750 10037887 EGYTECH CABLES EL SEWEDY EG5002157887 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO
6.10 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; 7 | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;4 SQ MM CONDUCTO;600-1000 V SUPPLY;7 CONDUCTO;17.9 MM (0.7047 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 7. ORIGINAL EQPT REFS ABRASION; MOISTURE ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC 332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000418074 |  |  | 500 |  |  |  | 2024-01-21 02:55 | 5000383325 761407C00400U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000383325 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )MAT TYPE 7614 - 07C - 00400 - U0 BK85001893750 10037887 EGYTECH CABLES EL SEWEDY EG5002157887 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO
6.11 | WIRE; BUILDING; 600V; | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;RED;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR 152.4 M (500 FT) PER COIL; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418917 |  |  | 500 |  |  |  | 2024-05-02 03:55 | 5000385635 61A601C12AWGU0RD500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000385635 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 61A6-01C12AWG-U0RD5-00SUPERSEDED NUMBER 6111-01C-12AWG-U0 RD55000385638 10016872 GENERAL CABLE USNUMBER 23012-332500143735
6.12 | WIRE;ELEC; 8.34MM2 (8 AWG) BLACK- 600V | WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419275 |  |  | 5,099.999 |  |  |  | 2024-02-11 02:55 | 5000387766 61A601C08AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387766 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61A6-01C08AWG-U0BK5-005000387870 10016872 GENERAL CABLE USNUMBER 35008SUPERSEDED NUMBER TP AP-062015000387871 10020512 THE OKON
6.13 | WIRE;ELEC; 8.34MM2 (8 AWG) BLACK- 600V | WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419275 |  |  | 2,000 |  |  |  | 2024-02-11 02:55 | 5000387766 61A601C08AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387766 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61A6-01C08AWG-U0BK5-005000387870 10016872 GENERAL CABLE USNUMBER 35008SUPERSEDED NUMBER TP AP-062015000387871 10020512 THE OKON
6.14 | WIRE;ELEC; 8.34MM2 (8 AWG) BLACK- 600V | WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419275 |  |  | 4,000 |  |  |  | 2024-02-11 02:55 | 5000387766 61A601C08AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387766 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61A6-01C08AWG-U0BK5-005000387870 10016872 GENERAL CABLE USNUMBER 35008SUPERSEDED NUMBER TP AP-062015000387871 10020512 THE OKON
6.15 | WIRE;ELEC; 2.08MM2 (14 AWG) BROWN - 600V | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;17 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000419037 |  |  | 1,000 |  |  |  | 2024-02-04 02:55 | 5000386461 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386464 10016872 GENERAL CABLE USNUMBER 24014SUPERSEDED NUMBER TP AP-062015000386465 10020512 THE OKONITE COMPANY USNUMBER 116-67-10785002158060 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.
6.16 | WIRE;ELEC; 2.08MM2 (14 AWG) BROWN - 600V | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;17 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000419037 |  |  | 6,000 |  |  |  | 2024-02-04 02:55 | 5000386461 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386464 10016872 GENERAL CABLE USNUMBER 24014SUPERSEDED NUMBER TP AP-062015000386465 10020512 THE OKONITE COMPANY USNUMBER 116-67-10785002158060 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.
6.17 | WIRE;ELEC; 2.08MM2 (14 AWG) BROWN - 600V | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;17 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000419037 |  |  | 2,000 |  |  |  | 2024-02-04 02:55 | 5000386461 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000386464 10016872 GENERAL CABLE USNUMBER 24014SUPERSEDED NUMBER TP AP-062015000386465 10020512 THE OKONITE COMPANY USNUMBER 116-67-10785002158060 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.
6.18 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;15 (12/20) KV SUPPLY;3 CONDUCTO;185 SQ MM (365 MCM) CONDUCTO;30 STRANDS CONDUCTO;87.0 MM (3.4252 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;5.5 MM (0.216 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;GALVANIZED STEEL DOUBLE TAPE ARMOR;BLACK;PVC JACKET;11190 KG/KM LG;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV; ARMORED TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT; EXPOSED;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; FLAME RETARDANT. | No |  | USD | Meter | 1000417341 |  |  | 500 |  |  |  | 2024-03-28 03:55 | 5001121009 SAUDI CABLE COMPANY ( SA - JEDDAH ) | [5 empty] | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001121009 30000865 SAUDI CABLE COMPANY SA5002364520 30004750 BAOSHENG SCIENCE & TECHNOLOGY CNINNOVATION CO. LTDNUMBER -5002364521 30005137 QINGDAO HANHE CABLE CO LTD CNNUMBER -5002364522 30006546 BAH | 15SAMSS502032720235020562341000101.pdf
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK22: Answer Type: Text (multiple lines) Acceptable Values: Any Value