## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000366762 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000391021 711101C07000U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000389516 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002743704 1020605000353 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382033 761403C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5001304145 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000390261 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382502 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000363217 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000366103 ENLB54A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000368582 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382141 761403C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000383321 761407C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5001346007 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | 5000382793 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000386253 611101C10AWGU0YL5 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | AE Utd.Arab Emir. | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000366763 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000391022 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000389517 711101C00250U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) |  | 5000382034 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001327910 2371901G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390262 711101C01000U0BK1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000382503 761404C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5001327881 DA5LU03BE JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001304029 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000368584 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382142 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000383322 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | 5000382794 761404C03500UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000386254 GENERAL CABLE ( US - YORK ) | AF Afghanistan | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000366764 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000391023 RS COMPONENTS LTD ( GB - CORBY ) | 5000389518 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | 5001274383 DA7LU03BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5001893574 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390263 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382504 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002696970 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001327914 DC9LA3ABG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000368585 RS COMPONENTS LTD ( GB - CORBY ) | 5000382143 ** NEXANS HELLAS S.A. ( GR - ATHENS ) | 5000383323 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5000382795 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000386255 THE OKONITE COMPANY ( US - HOUSTON ) | AG Antigua/Barbuda | We are currently at full capacity
|  | POE - Port of Export | 5000366765 RS COMPONENTS LTD ( GB - CORBY ) | 5001277364 HB4DU01GG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5000389519 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5001893724 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) | 5002143825 C489XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | 5000390264 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277342 DA7LU04BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5001893579 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001303955 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000382144 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277350 DA5LU07BEG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) |  | 5000382796 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5000386257 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | AI Anguilla | Missing information / not enough information provided
|  |  | 5001775576 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001775661 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001301519 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002143913 C213XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002157797 14535274 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001301525 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001893735 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5002143828 C334XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001304140 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5001274384 DA9LU03BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001893749 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5000382797 THE OKONITE COMPANY ( US - HOUSTON ) | 5001429824 DW3WU01Y JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | AB Abu Dhabi | Other
|  |  | 5002157808 12160140 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002158124 12154220 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001775634 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5002157868 14515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5002332533 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001775648 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002143877 C213XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5002157800 14535251 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001775593 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001893726 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002143925 C210XA10700SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5001277346 DB2LU04BG JEDDAH CABLES COMPANY LTD ( SA - JEDDAH ) | 5001437360 0D06551006 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | AL Albania
|  |  | 5002785810 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002158087 12153140 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002332605 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002158111 12130180 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002157877 14515307 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002332537 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5002157830 12160060 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002143915 C315XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002157886 13515207 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5001893739 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001775609 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | AM Armenia
[8 empty] | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5002332613 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  |  |  | 5002157870 14515209 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002332620 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5002143920 C417XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | AN Dutch Antilles
[8 empty] | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | [5 empty] | 5002921187 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | 5002700291 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) |  | 5002157881 14515311 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | AO Angola
[19 empty] | 5002332616 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | WIRE; ELECTRICAL; 2.5 MM2; 1 | WIRE ELECTRICAL; 2.5 MM2 CONDUCTO;1 CONDUCTO;GREEN/YELLOW;2.5 MM2 OD;STRANDED;BR TYPE;BS-6231;PVC COVERED; SUPPLIED IN 100 M REELS | No |  | USD | Role | 1000412788 |  |  | 1 |  |  |  | 2023-11-03 03:55 | 5000366762 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E002-113/IP1 YANBU K32 (IPSA II) ADMIN B | 04 BOAT |  |  | Manufacturer Part Number Text : 5002157808 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12160140 5001775576 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000366764 10013724 SAUDI CABLE COMPANY SA 5000366763 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002785810 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000366762 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000366765 10001382 RS COMPONENTS LTD GB
6.2 | WIRE;ELEC; 5.26MM2 (10 AWG) BLACK- 600V | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419217 |  |  | 4,000 |  |  |  | 2024-02-25 02:55 | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | Manufacturer Part Number Text : 5000387654 10016872 GENERAL CABLE US NUMBER 24010 SUPERSEDED NUMBER TP AP-06201 5000387655 10020512 THE OKONITE COMPANY US NUMBER 116-67-1131 5002158074 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11130040 SUPERSEDED NUMBER 11131040 5001437376 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551003 5001775625 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429851 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW3WU01B 5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387653 10016871 GENERAL CABLE US BICC GENERAL 5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.3 | WIRE;ELEC; 5.26MM2 (10 AWG) BLACK- 600V | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419217 |  |  | 10,500 |  |  |  | 2024-02-25 02:55 | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000387654 10016872 GENERAL CABLE US NUMBER 24010 SUPERSEDED NUMBER TP AP-06201 5000387655 10020512 THE OKONITE COMPANY US NUMBER 116-67-1131 5002158074 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11130040 SUPERSEDED NUMBER 11131040 5001437376 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551003 5001775625 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429851 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW3WU01B 5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387653 10016871 GENERAL CABLE US BICC GENERAL 5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.4 | WIRE; 750V NYA 1/C 70MM2 (2/0 AWG) STR C | WIRE ELECTRICAL; 70 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;14.5 MM OD;690 KG/KM LG;TR 85 DEG C MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332 CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CABLE PACKAGING IN CARTON OR FULLY PROTECTED REEL DURABLY MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER SIZE OF CONDUCTORS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING | No |  | USD | Meter | 1000420088 |  |  | 52 |  |  |  | 2024-03-21 03:55 | 5000391021 711101C07000U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | Manufacturer Part Number Text : 5000391021 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 07000 - U0 GN-8 5002158124 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12154220 SUPERSEDED NUMBER 12151220 5001775661 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001277364 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER HB4DU01GG 5000391022 10013724 SAUDI CABLE COMPANY SA 5000391023 10001382 RS COMPONENTS LTD GB
6.5 | WIRE;ELEC; 5.26MM2 (10 AWG) BLACK- 600V | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419217 |  |  | 3,500 |  |  |  | 2024-02-25 02:55 | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000387654 10016872 GENERAL CABLE US NUMBER 24010 SUPERSEDED NUMBER TP AP-06201 5000387655 10020512 THE OKONITE COMPANY US NUMBER 116-67-1131 5002158074 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11130040 SUPERSEDED NUMBER 11131040 5001437376 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551003 5001775625 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429851 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW3WU01B 5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387653 10016871 GENERAL CABLE US BICC GENERAL 5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.6 | WIRE; ELECTRICAL; 4 MM2; 1 CONDUCTOR; | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;GREEN/YELLOW;0.48 KV SUPPLY;4 MM OD;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;UNARMOURED; FOR LIGHTING | No |  | USD | Meter | 1000413291 |  |  | 184 |  |  |  | 2024-02-18 02:55 | 5000368582 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002157830 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12160060 5001775593 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000368584 10013724 SAUDI CABLE COMPANY SA 5001303955 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5001304140 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000368582 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000368585 10001382 RS COMPONENTS LTD GB
6.7 | WIRE; BUILDING; 450-750V; | WIRE ELECTRICAL; 2.5 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;3.5 MM OD;30.1 KG/KM LG;TR 85 DEG C MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419598 |  |  | 1,012 |  |  |  | 2024-02-18 02:55 | 5000389516 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000389517 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 00250 - U0 GN1 5001301519 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002158087 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12153140 SUPERSEDED NUMBER 12150140 5001775634 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000389518 10013724 SAUDI CABLE COMPANY SA 5000389519 10020512 THE OKONITE COMPANY US 5000389516 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED
6.8 | WIRE;ELEC; 5.26MM2 (10 AWG) GREEN- 600V | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419212 |  |  | 1,000 |  |  |  | 2024-05-05 03:55 | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | Manufacturer Part Number Text : 5000387556 10016872 GENERAL CABLE US NUMBER 24010 SUPERSEDED NUMBER TP AP-06201 5000387557 10020512 THE OKONITE COMPANY US NUMBER 116-67-1134 5000387558 10021675 SOUTHWIRE COMPANY INCORPORATED US MAT TYPE THHN 5001437375 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551004 5002158073 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11151040 SUPERSEDED NUMBER 11150040 5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429850 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01G 5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387555 10016871 GENERAL CABLE US BICC GENERAL
6.9 | WIRE;ELEC; 5.26MM2 (10 AWG) GREEN- 600V | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419212 |  |  | 11,500 |  |  |  | 2024-05-05 03:55 | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000387556 10016872 GENERAL CABLE US NUMBER 24010 SUPERSEDED NUMBER TP AP-06201 5000387557 10020512 THE OKONITE COMPANY US NUMBER 116-67-1134 5000387558 10021675 SOUTHWIRE COMPANY INCORPORATED US MAT TYPE THHN 5001437375 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551004 5002158073 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11151040 SUPERSEDED NUMBER 11150040 5001775624 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429850 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01G 5000387553 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387555 10016871 GENERAL CABLE US BICC GENERAL
6.10 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;17.1 MM (0.6732 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;425 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417914 |  |  | 2,598 |  |  |  | 2024-02-03 02:55 | 5000382502 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000382503 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-04C-00600-U0 BK8 5001893735 10037887 EGYTECH CABLES EL SEWEDY EG 5002157877 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515307 SUPERSEDED NUMBER 14510307 5002143877 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C213XA10400SBK08IMR 5001277342 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DA7LU04BEG 5000382504 10013724 SAUDI CABLE COMPANY SA 5002332613 10046468 ELSEWEDY CABLES COMPANY SA 5000382502 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED
6.11 | WIRE; BUILDING; 450-750V; | WIRE ELECTRICAL; 2.5 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;3.5 MM OD;30.1 KG/KM LG;TR 85 DEG C MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419598 |  |  | 460 |  |  |  | 2024-02-18 02:55 | 5000389516 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000389517 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 00250 - U0 GN1 5001301519 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002158087 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12153140 SUPERSEDED NUMBER 12150140 5001775634 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000389518 10013724 SAUDI CABLE COMPANY SA 5000389519 10020512 THE OKONITE COMPANY US 5000389516 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED
6.12 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;70/25 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 70 MM2 + 25 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; MARKINGS;PVC JACKET;IEC-60502;1.1 MM FOR 70 MM2 & 0.9 MM FOR 25 MM2 INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412550 |  |  | 250 |  |  |  | 2024-02-18 02:55 | 5001304145 SAUDI MODERN COMPANY FOR ( SA - RIYADH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001327910 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER 23719/01-G 5001893574 10037887 EGYTECH CABLES EL SEWEDY EG 5002157797 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14535274 SUPERSEDED NUMBER 14530265 5002143825 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C489XA1040WSBK08IMR 5002332533 10046468 ELSEWEDY CABLES COMPANY SA 5001304145 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.13 | WIRE; ELEC; 10 AWG; 1 CONDUCTOR; | WIRE ELECTRICAL; 10 AWG CONDUCTO;1 CONDUCTO;YELLOW;600 V SUPPLY;THHN-THWN WIRE;3.81 MM (0.150 IN) OD;55.1 KG/KM (37 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000418984 |  |  | 7,500 |  |  |  | 2024-02-25 02:55 | 5000386253 611101C10AWGU0YL5 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000386253 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 6111-01C-10AWG-U0 YL-5 5001437360 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551006 5001775609 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429824 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW3WU01Y 5000386255 10020512 THE OKONITE COMPANY US 5000386254 10016868 GENERAL CABLE US 5000386257 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.14 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;19 MM (3/4 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;580 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417767 |  |  | 1,250 |  |  |  | 2024-06-10 03:55 | 5000382141 761403C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M006-S953 RIYADH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000382141 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-03C-01600-U0 BK8 5001893726 10037887 EGYTECH CABLES EL SEWEDY EG 5002157870 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515209 SUPERSEDED NUMBER 14510209 5002143915 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C315XA10300SBK04IMR 5001274384 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA9LU03BG CODE NUMBER DA9LU03BG 5000382142 10013724 SAUDI CABLE COMPANY SA 5000382144 10020512 THE OKONITE COMPANY US 5000382143 10003546 ** NEXANS HELLAS S.A. GR 5002921187 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.15 | WIRE; 750V NYA 1/C 16MM2 (6 AWG) STR CU | WIRE ELECTRICAL; 16 MM2 CONDUCTO;1 CONDUCTO;BLACK;450-750 V SUPPLY;NYA WIRE;7.5 MM OD;171 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419936 |  |  | 276 |  |  |  | 2024-02-25 02:55 | 5000390261 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000390262 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 01000 - U0 BK-1 5001301525 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002158111 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12130180 5001775648 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000390263 10013724 SAUDI CABLE COMPANY SA 5000390264 10020512 THE OKONITE COMPANY US 5000390261 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED
6.16 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;25/16 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 25 MM2 + 16 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412630 |  |  | 500 |  |  |  | 2024-02-25 02:55 | 5000366103 ENLB54A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | Manufacturer Part Number Text : 5000366103 10013724 SAUDI CABLE COMPANY SA NUMBER ENLB-54A-3145 5001327914 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DC9LA3ABG 5001893579 10037887 EGYTECH CABLES EL SEWEDY EG 5002157800 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14535251 SUPERSEDED NUMBER 14530251 14530281 5002143828 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C334XA1040WSBK08IMR 5002332537 10046468 ELSEWEDY CABLES COMPANY SA 5001304029 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.17 | CABLE; 1KV XLPE/PVC 3/C 6MM2 (10 AWG) PV | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;15.8 MM (0.622 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; MANUFACTURER NAME; YEAR OF MANUFAC TURE MARKINGS;350 KG/KM (235 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0276 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417760 |  |  | 300 |  |  |  | 2024-02-26 02:55 | 5000382033 761403C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000382033 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-03C-00600-U0 BK8 5001893724 10037887 EGYTECH CABLES EL SEWEDY EG 5002157868 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515207 SUPERSEDED NUMBER 14510207 5002143913 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C213XA10300SBK04IMR 5001274383 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA7LU03BEG CODE NUMBER DA7LU03BEG 5000382034 10013724 SAUDI CABLE COMPANY SA 5002332605 10046468 ELSEWEDY CABLES COMPANY SA
6.18 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;35 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;25.2 MM (0.990 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;1590 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.9 MM (0.0354 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED; BLUE AND BLACK INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417938 |  |  | 500 |  |  |  | 2024-02-25 02:55 | 5000382793 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | J02A-C860 TANAJIB COMMUNITY MAINTENANCE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000382794 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) NUMBER 7614-04C03500-UOKB8 5001893739 10037887 EGYTECH CABLES EL SEWEDY EG 5002157881 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515311 5002143920 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C417XA10400SBK08IMR 5001277346 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DB2LU04BG 5000382795 10013724 SAUDI CABLE COMPANY SA 5000382797 10020512 THE OKONITE COMPANY US 5002332616 10046468 ELSEWEDY CABLES COMPANY SA 5000382796 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000382793 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED
6.19 | WIRE; ELECTRICAL; 4 MM2; 1 CONDUCTOR; | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;GREEN/YELLOW;0.48 KV SUPPLY;4 MM OD;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;UNARMOURED; FOR LIGHTING | No |  | USD | Meter | 1000413291 |  |  | 135.44 |  |  |  | 2024-02-25 02:55 | 5000368582 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M016-S960 JAZAN WAREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5002157830 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12160060 5001775593 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000368584 10013724 SAUDI CABLE COMPANY SA 5001303955 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5001304140 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000368582 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000368585 10001382 RS COMPONENTS LTD GB
6.20 | CABLE; 1KV XLPE/PVC 7/C 2.5MM2 (14 AWG) | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;7 CONDUCTO;15.6 MM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 332.3; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 7. ORIGINAL EQPT REFS ABRASION; MOISTURE ACID; OIL & SUNLGHT RESISTANT. FLAME RETARDANT PER IEC 332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALEN APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000418072 |  |  | 200 |  |  |  | 2024-04-28 03:55 | 5000383321 761407C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000383321 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) MAT TYPE 7614 - 07C - 00250 - U0 BK8 5001893749 10037887 EGYTECH CABLES EL SEWEDY EG 5002157886 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 13515207 SUPERSEDED NUMBER 13512124 5002143925 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C210XA10700SBK21IMR 5001277350 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA5LU07BEG CODE NUMBER DA5LU07BEG 5000383322 10013724 SAUDI CABLE COMPANY SA 5000383323 10020512 THE OKONITE COMPANY US 5002332620 10046468 ELSEWEDY CABLES COMPANY SA 5002700291 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.21 | CABLE; ELECTRICAL; LOW VOLTAGE; PVC | CABLE ELECTRICAL LOW VOLTAGE; PVC INSULATED TYPE;STRANDED CONDUCTO;POWER TYPE;2.5 SQ MM CONDUCTO;600 V TO 1000 V SUPPLY;3 CONDUCTO;11.4 MM CABLE OD;BLACK;190 KG/KM LG;0.7 MM INSUL TH;IEC-228; CLASS 2;FOR CONDUIT;CARTON/DRUM D8;TR 90 DEG C;PVC/XLPE INSUL;ANNEALED COPPER CONDUCTO;IEC-502 | No |  | USD | each | 1000411207 |  |  | 1 |  |  |  | 2024-01-03 02:55 | 5000363217 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001327881 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DA5LU03BE 5000363217 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002696970 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD.
6.22 | CABLE ELECTRICAL LOW VOLTAGE; GROUNDING; | CABLE ELECTRICAL LOW VOLTAGE; GROUNDING TYPE;CIRCULAR CONDUCTO;16 MM2 CONDUCTO;450/750V SUPPLY;1 CONDUCTO;7.8 CABLE OD;1 X 16 MM2; CU/PCV 450/750V MARKINGS;170 KG / KM LG;1 MM INSUL TH;WOODEN DRUM;TR 90 DEG C;HR-PVC T13 INSUL;COPPER CONDUCTO;BS EN 50525-2-31; IEC 60332-1;6 STRANDS; COLOR CODE (GREEN); MOISTURE; HEAT; OIL;GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT | No |  | USD | Meter | 1001055905 |  |  | 12 |  |  |  | 2024-01-07 02:55 | 5002743704 1020605000353 SAUDI CABLE COMPANY ( SA - JEDDAH ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | Manufacturer Part Number Text : 5002743704 10013724 SAUDI CABLE COMPANY SA PART NUMBER 0001020605-000353
6.23 | WIRE; MAGNET; 1.04 MM2 (17 AWG); 1 | WIRE MAGNET; 1.04 MM2 (17 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; SPOOL OR CARTON TO BE TAGGED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; NET 9.4 KG/KM (6.34 LBS PER 1000 FT); APPROX 36.3 KG (80 LBS) PER SPOOL MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No |  | USD | US pound | 1000420616 |  |  | 716 |  |  |  | 2024-02-19 02:55 | 5001346007 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001346007 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK27: Answer Type: Text (multiple lines) Acceptable Values: Any Value