## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | AE Utd.Arab Emir. | 5001118969 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5002322147 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002322152 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000372967 M1223 MANHATTAN-CDT ( US - HOUSTON ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | AF Afghanistan | 5001118991 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5002322148 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002322153 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000377320 ROME CABLE CORPORATION ( US - ARLINGTON ) | 5000372968 22TE19343SXE THERMAX ( US - WHITESTONE ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | AG Antigua/Barbuda | 5001118993 THE OKONITE COMPANY ( US - RICHMOND ) | 5002322149 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002322154 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000377321 THE OKONITE COMPANY ( US - HOUSTON ) | 5000372969 DEKORON WIRE AND CABLE ( US - MOUNT PLEASANT ) | We are currently at full capacity
|  | POE - Port of Export | AI Anguilla | 5001118997 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5002322150 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002322155 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001427180 DA6LU03BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001470695 OKAZAKI MANUFACTURING COMPANY ( JP - CHUO-KU, TOKYO ) | Missing information / not enough information provided
|  |  | AB Abu Dhabi | 5001569317 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002322151 10006077280001 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002322156 10006077280003 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001437334 0102R10306 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001470780 SUMITOMO ELECTRIC INDUSTRIES L ( JP - HITACHI-SHI, IBARAKI-KEN ) | Other
|  |  | AL Albania | 5001592582 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5002613074 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002613075 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001893657 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001470822 WATLOW ELECTRIC MANUFACTURING ( US - SAINT LOUIS )
|  |  | AM Armenia | 5001894090 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) |  |  | 5002243981 GENERAL CABLE ( US - MARION ) | 5001470896 THE OKONITE COMPANY ( US - HOUSTON )
|  |  | AN Dutch Antilles | 5002206037 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) |  |  | 5002332554 ELSEWEDY CABLES COMPANY ( SA - YANBU ) | 5001471050 HEXATRONIC CABLES AND INTERCON ( SE - HUDIKSVALL )
|  |  | AO Angola | 5002364472 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) |  |  |  | 5001471145 PRYSMIAN POWERLINK SRL ( IT - MILAN )
|  |  | AQ Antarctica | 5002983472 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) |  |  |  | 5001471181 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh )
|  |  | AR Argentina | 5002983473 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) |  |  |  | 5001893627 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
|  |  | AS Samoa,American | 5002983474 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5000 V SUPPLY;1 CONDUCTO;253.35 SQ MM (500 MCM) CONDUCTO;STRANDED CONDUCTO;34.5 MM (1.360 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;2.92 MM (0.115 IN) INSUL TH;133% INSUL LV;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;PVC JACKET;2899 (EPR); 2853 (XLPE) KG/KM LG;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL; (1000 FT/COIL);MV TYPE;FOR DIRECT BURIAL; CONDUIT DUCT 15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT | No |  | USD | Feet | 1000415765 |  |  | 1,100 |  |  |  | 2023-12-14 02:55 | 5001118969 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | [5 empty] | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5001569317 30000865 SAUDI CABLE COMPANY SA 5001118969 30000598 JEDDAH CABLE COMPANY LIMITED SA 5001118991 30001855 THE OKONITE CO. INC. US 5001118993 30001856 OKONITE CO. INC. US 5001118997 30001858 THE OKONITE COMPANY US 5002206037 30003406 SWCC SHOWA CABLE SYSTEMS CO LTD JP AICHI FACTORY 5001592582 30000926 SAUDI MODERN COMPANY FOR CABLE SA INDUSTRY LIMITED (RIYADH CABLES) 5001894090 30004522 EGYTECH CABLES EL SEWEDY EG 5002364472 30006546 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. 5000375082 10021675 SOUTHWIRE COMPANY INCORPORATED US CATALOG NUMBER 36-2 5000375080 10020512 THE OKONITE COMPANY US DRAWING NUMBER CS-20349 5001893646 10037887 EGYTECH CABLES EL SEWEDY EG 5002197739 10027767 SWCC SHOWA CABLE SYSTEMS CO LTD JP INTERNATIONAL TRADE DEPT 5001569060 10013724 SAUDI CABLE COMPANY SA 5001592357 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000374969 10013002 JEDDAH CABLES COMPANY LTD SA 5002364097 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. 5002979958 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002983472 30005611 AL-FANAR ELECTRICAL SYSTEMS SA 5002983474 30008237 BRANCH OF JEDDAH CABLES COMPANY SA 5002979960 10062253 BRANCH OF JEDDAH CABLES COMPANY SA 5002983473 30007746 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. 5002979959 10058298 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. | 15SAMSS502032720235020426124000101.pdf
6.2 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;6 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 6 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893716 |  |  | 3,000 |  |  |  | 2023-12-14 02:55 | 5002322147 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | Manufacturer Part Number Text : 5002322151 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY ORDER NUMBER 1000607728-0001 5002613074 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5002322148 10013724 SAUDI CABLE COMPANY SA 5002322149 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002322147 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002322150 10013002 JEDDAH CABLES COMPANY LTD SA | MS8314004SHTS050120055020511052000101.pdf
6.3 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;6 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 6 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893717 |  |  | 500 |  |  |  | 2024-04-02 03:55 | 5002322152 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002322156 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY ORDER NUMBER 1000607728-0003 5002613075 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5002322153 10013724 SAUDI CABLE COMPANY SA 5002322154 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002322152 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002322155 10013002 JEDDAH CABLES COMPANY LTD SA | MS8314004SHTS050120055020681757000101.pdf
6.4 | CORD; ELECTRICAL; 3 CONDUCTOR; 3.31 | CORD ELECTRICAL; 3 CONDUCTO;3.31 SQ MM (12 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;9.9 MM (0.390 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;164 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;UL-1569;CLASS B; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; INSULATION THICKNESS; 0.80 MM(0.0315 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; INSULATION MATERIAL SPEC; ICEA S-66-524; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Feet | 1000416479 |  |  | 1,945 |  |  |  | 2024-01-21 02:55 | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000377227 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7614-03C-12AWG UO BK7 SUPERSEDED NUMBER 7614-03C-12AWG UO BK8 5001893657 10037887 EGYTECH CABLES EL SEWEDY EG 5001437334 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0102R10306 5001427180 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DA6LU03BEG 5002243981 10016865 GENERAL CABLE US BICC CABLES CORPORATION 5000377321 10020512 THE OKONITE COMPANY US 5002332554 10046468 ELSEWEDY CABLES COMPANY SA 5000377320 10017431 ROME CABLE CORPORATION US
6.5 | CORD; ELECTRICAL; 3 CONDUCTOR; 0.33 | CORD ELECTRICAL; 3 CONDUCTO;0.33 SQ MM (22 AWG) CONDUCTO;19 X 34 STRANDS CONDUCTO;600 V SUPPLY;SILVER PLATE COPPER CONDUCTO;TFE OR PFA;3.2-4 MM (0.126-0.156 IN) OD;WHITE;TEF OR PFA TEFLON TAPE JACKET;TEFLON; SIVER BRAID PLATED COPPER SHIELD INSUL;TR -65 TO 200 DEG C;38 KG/KM (25.3 LBS PER 1000 FT) LG;FOR HIGH TEMPERATURE; CABLE TRAY; CONDUIT; DUCT; UL-83;MIL-W-16878/4 (TYPE-E;BLACK; WHITE; RED; 0.25 MM (0.010 IN) INSULATION TH; 2.5 MM (0.100 IN) OUTER JACKET TH; BLACK AND WHITE INSULATION; OIL; GASOLINE; ACID; ALKALI; MOISTURE FLAME AND SUNLIGHT RESISTANT; PASSES VW-1 VERTICAL WIRE FLAME TEST; MINIMUM OF 152 M (500 FT) UNCUT LENGTH PER REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO ICEA UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; OUTER MARKINGS; VOLTAGE; NUMBER; SIZE OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURED; INSULATION THICKNESS; 0.28 MM (0.011 IN); CONDUCTOR MATERIAL SPEC; ASTM B8 CLASS C; SHIELDING MATERIAL; SILVER PLATED COPPER BRAID; PACKAGING; CARTON OR FULLY PROTECTED REEL | No |  | USD | Feet | 1000415131 |  |  | 600 |  |  |  | 2023-12-31 02:55 | 5000372967 M1223 MANHATTAN-CDT ( US - HOUSTON ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000372968 10024109 THERMAX US CABLE DESIGN TECHNOLOGIES -CDT NUMBER 22-TE-1934(3)SXE 5000372967 10017556 MANHATTAN-CDT US CABLE DESIGN TECHNOLOGIES NUMBER M1223 5001470695 10001266 OKAZAKI MANUFACTURING COMPANY JP TOKYO BRANCH 5001470822 10023035 WATLOW ELECTRIC MANUFACTURING US 5001893627 10037887 EGYTECH CABLES EL SEWEDY EG 5001471181 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5001470780 10026424 SUMITOMO ELECTRIC INDUSTRIES LTD JP HITAKA/MINATO WORKS 5001470896 10020512 THE OKONITE COMPANY US 5001471050 10003885 HEXATRONIC CABLES AND INTERCONNE SE SYSTEMS AB 5001471145 10024590 PRYSMIAN POWERLINK SRL IT 5000372969 10019967 DEKORON WIRE AND CABLE US CABLE UNITED STATES OF AMERICA.
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value