## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000365981 CNL306A3152 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AE Utd.Arab Emir. | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000386461 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000368582 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382915 761404C07000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000391021 711101C07000U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000385292 61A601C12AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5001304027 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | AF Afghanistan | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386463 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000368584 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382916 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000391022 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000385294 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5001893571 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AG Antigua/Barbuda | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000386464 24014 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000368585 RS COMPONENTS LTD ( GB - CORBY ) | 5000382917 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000391023 RS COMPONENTS LTD ( GB - CORBY ) | 5000385295 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | We are currently at full capacity
|  | POE - Port of Export | 5002143822 C212XA1030WMBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | AI Anguilla | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) | 5000386465 116671078 THE OKONITE COMPANY ( US - HOUSTON ) | 5001303955 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000382918 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277364 HB4DU01GG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000385297 THE OKONITE COMPANY ( US - HOUSTON ) | Missing information / not enough information provided
|  |  | 5002157794 14530132 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | AB Abu Dhabi | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5000386466 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001304140 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001277348 CB4LU04BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001775661 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5000385299 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | Other
|  |  |  | AL Albania | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001429827 DW1WU01N JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001775593 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001893741 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002158124 12154220 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001429779 DW2WU01B JEDDAH CABLES COMPANY LTD ( SA - Jeddah )
|  |  |  | AM Armenia | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001437362 0D06551407 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002157830 12160060 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002143922 C419XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5001437350 0D06551203 SAUDI MODERN COMPANY FOR ( SA - KHOBAR )
|  |  |  | AN Dutch Antilles | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001775611 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5001775600 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh )
|  |  |  | AO Angola | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002158060 11140020 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002332618 ELSEWEDY CABLES COMPANY ( SA - YANBU )
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2024-02-02 02:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | 10232077.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | WIRE;ELEC; 2.08MM2 (14 AWG) BROWN - 600V |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;17 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000419037 |  | 1.38 | 100 | N/A | 98 |  | 2023-12-09 02:55 | 5002158060 11140020 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 11141025 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT | Quoted as per our minimum order quantity 1 spools. 1 spool=500 feet/152 meter each spool = 137.54 SAR |  | Manufacturer Part Number Text : 5000386464 10016872 GENERAL CABLE US NUMBER 24014 SUPERSEDED NUMBER TP AP-06201 5000386465 10020512 THE OKONITE COMPANY US NUMBER 116-67-1078 5002158060 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11140020 SUPERSEDED NUMBER 11141020 5001437362 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551407 5001775611 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429827 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW1WU01N 5000386461 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000386463 10016871 GENERAL CABLE US BICC GENERAL 5000386466 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.2 | WIRE;ELEC; 2.08MM2 (14 AWG) BROWN - 600V |  | WIRE ELECTRICAL; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;BROWN;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;25.3 KG/KM (17 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;17 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000419037 |  | 1.1 | 500 | N/A | 98 |  | 2023-12-09 02:55 | 5002158060 11140020 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 11141025 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT | Quoted as per our minimum order quantity 4 spools. 1 spool=500 feet each spool = 137.54 SAR |  | Manufacturer Part Number Text : 5000386464 10016872 GENERAL CABLE US NUMBER 24014 SUPERSEDED NUMBER TP AP-06201 5000386465 10020512 THE OKONITE COMPANY US NUMBER 116-67-1078 5002158060 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11140020 SUPERSEDED NUMBER 11141020 5001437362 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551407 5001775611 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429827 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW1WU01N 5000386461 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000386463 10016871 GENERAL CABLE US BICC GENERAL 5000386466 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;4 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 4 MM2; CU/XLPE/SWA/PVC 0.6/1 KV MARKINGS;PVC JACKET;IEC-60502;0.7 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000412459 |  | 11.37 | 2,560 | N/A | 98 |  | 2024-03-10 03:55 | 5002157794 14530132 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19917088 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | Manufacturer Part Number Text : 5000365981 10013724 SAUDI CABLE COMPANY SA NUMBER CNL3-06A-3152 5001893571 10037887 EGYTECH CABLES EL SEWEDY EG 5002157794 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14530132 SUPERSEDED NUMBER 14530102 5002143822 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY PART NUMBER C212XA1030WMBK04IMR SUPERSEDED NUMBER C212XA1030WSBK04IMR 5001304027 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.4 | WIRE; ELECTRICAL; 4 MM2; 1 CONDUCTOR; |  | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;GREEN/YELLOW;0.48 KV SUPPLY;4 MM OD;SOLID;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;UNARMOURED; FOR LIGHTING | Yes |  | SAR | Meter | 1000413291 |  | 1.6 | 920 | N/A | 98 |  | 2024-02-03 02:55 | 5002157830 12160060 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 12160060 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT | Quoted as per our minimum order quantity 10 coils = 92 meter per coil each coil = 143.11 SAR |  | Manufacturer Part Number Text : 5002157830 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12160060 5001775593 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5000368584 10013724 SAUDI CABLE COMPANY SA 5001303955 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5001304140 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000368582 10012487 DUBAI CABLE COMPANY (PRIVATE) AE LIMITED 5000368585 10001382 RS COMPONENTS LTD GB
6.5 | WIRE;ELEC; 3.31MM2 (12 AWG) BLACK - 600V |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 150 M/COIL (500 FT/COIL); NYLON JACKET; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418878 |  | 1.37 | 12,000 | N/A | 98 |  | 2024-04-09 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Cables |  | 11131035 |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J004-C921 DHAHRAN DUD MAINT. SUPPORT WAR | 04 BOAT | 1 spool=500 feet/ 152 meter each spool = 208.43 SAR |  | Manufacturer Part Number Text : 5000385292 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 61A6-01C12AWG-U0BK5-00 SUPERSEDED NUMBER 6111-01C-12AWG-U0 BK5 5000385295 10016872 GENERAL CABLE US NUMBER 24012 5001437350 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551203 5001775600 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429779 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW2WU01B 5000385297 10020512 THE OKONITE COMPANY US 5000385294 10016871 GENERAL CABLE US BICC GENERAL 5000385299 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.6 | WIRE;ELEC; 5.26MM2 (10 AWG) BLACK- 600V |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419217 |  | 2.15 | 5,000 | N/A | 98 |  | 2024-05-29 03:55 | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 11131045 |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J004-C921 DHAHRAN DUD MAINT. SUPPORT WAR | 04 BOAT | 1 spool=500 feet / 152 meter each spool = 325.60 SAR |  | Manufacturer Part Number Text : 5000387654 10016872 GENERAL CABLE US NUMBER 24010 SUPERSEDED NUMBER TP AP-06201 5000387655 10020512 THE OKONITE COMPANY US NUMBER 116-67-1131 5002158074 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 11130040 SUPERSEDED NUMBER 11131040 5001437376 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES CODE NUMBER 0D06551003 5001775625 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001429851 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER DW3WU01B 5000387650 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5000387653 10016871 GENERAL CABLE US BICC GENERAL 5000387656 10021675 SOUTHWIRE COMPANY INCORPORATED US
6.7 | CABLE; ELECTRICAL; LOW VOLTAGE; 19 S |  | CABLE ELECTRICAL LOW VOLTAGE; 19 STRANDS CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;29.7 MM MINIMUM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION. ORIGINAL EQPT REFS ABRASION;MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417984 |  | 108.14 | 10 | N/A | 98 |  | 2024-05-01 03:55 | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19923657 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT | Quoted as per our minimum order quantity 1000 meter |  | Manufacturer Part Number Text : 5000382915 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) NUMBER 7614-04C07000-UOKB8 5001893741 10037887 EGYTECH CABLES EL SEWEDY EG 5002157883 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 19900488 SUPERSEDED NUMBER 14510313 5002143922 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C419XA10400SBK08IMR 5001277348 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER CB4LU04BG 5000382916 10013724 SAUDI CABLE COMPANY SA 5000382918 10020512 THE OKONITE COMPANY US 5002332618 10046468 ELSEWEDY CABLES COMPANY SA 5000382917 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.8 | CABLE; ELECTRICAL; LOW VOLTAGE; 19 S |  | CABLE ELECTRICAL LOW VOLTAGE; 19 STRANDS CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;29.7 MM MINIMUM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION. ORIGINAL EQPT REFS ABRASION;MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417984 |  | 108.15 | 10 | N/A | 98 |  | 2024-01-14 02:55 | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19923657 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | J003-C513 ABQAIQ MATER IAL YARD UNIT; AC | 04 BOAT | Quoted as per our minimum order quantity 1000 meter |  | Manufacturer Part Number Text : 5000382915 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) NUMBER 7614-04C07000-UOKB8 5001893741 10037887 EGYTECH CABLES EL SEWEDY EG 5002157883 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 19900488 SUPERSEDED NUMBER 14510313 5002143922 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C419XA10400SBK08IMR 5001277348 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER CB4LU04BG 5000382916 10013724 SAUDI CABLE COMPANY SA 5000382918 10020512 THE OKONITE COMPANY US 5002332618 10046468 ELSEWEDY CABLES COMPANY SA 5000382917 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.9 | WIRE; 750V NYA 1/C 70MM2 (2/0 AWG) STR C |  | WIRE ELECTRICAL; 70 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;14.5 MM OD;690 KG/KM LG;TR 85 DEG C MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332 CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CABLE PACKAGING IN CARTON OR FULLY PROTECTED REEL DURABLY MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER SIZE OF CONDUCTORS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING | Yes |  | SAR | Meter | 1000420088 |  | 24.4 | 500 | N/A | 98 |  | 2024-04-14 03:55 | 5002158124 12154220 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 12154220 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | SS-Sun Shelter(covered) | M007-S532 UTHMANIYAH STORES | 04 BOAT | Quoted as per our minimum order quantity 1000 meter |  | Manufacturer Part Number Text : 5000391021 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 7111 - 01C - 07000 - U0 GN-8 5002158124 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 12154220 SUPERSEDED NUMBER 12151220 5001775661 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5001277364 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER HB4DU01GG 5000391022 10013724 SAUDI CABLE COMPANY SA 5000391023 10001382 RS COMPONENTS LTD GB
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value