## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000382915 761404C07000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002322152 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | AE Utd.Arab Emir. | 5002322142 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000382910 761404C05000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000390061 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002170053 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000385292 61A601C12AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000389957 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000382916 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002322153 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AF Afghanistan | 5002322143 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382911 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000390062 711101C00600U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002200050 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000385294 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390368 711101C02500U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000389958 711101C00600U0BK1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000382917 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002322154 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | AG Antigua/Barbuda | 5002322144 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000382912 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000390063 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002200051 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5000385295 24012 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390369 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000389959 SAUDI CABLE COMPANY ( SA - JEDDAH ) | We are currently at full capacity
|  | POE - Port of Export | 5000382918 THE OKONITE COMPANY ( US - HOUSTON ) | 5002322155 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | AI Anguilla | 5002322145 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001277347 CB3LU04BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000390064 THE OKONITE COMPANY ( US - HOUSTON ) | 5002200052 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5000385297 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277360 DB1DU01GG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000390060 THE OKONITE COMPANY ( US - HOUSTON ) | Missing information / not enough information provided
|  |  | 5001277348 CB4LU04BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002322156 10006077280003 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | AB Abu Dhabi | 5002322146 1000607728004 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001893740 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001437380 0C01010704 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002200053 THE OKONITE COMPANY ( US - RICHMOND ) | 5000385299 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001775652 C316HB101000YG000MR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001301520 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | Other
|  |  | 5001893741 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002613075 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | AL Albania | 5002613073 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002143921 C418XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001775643 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002200054 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5001429779 DW2WU01B JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002158115 12154190 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001775642 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh )
|  |  | 5002143922 C419XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | AM Armenia |  | 5002157882 14515312 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002158096 12153160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002200056 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) | 5001437350 0D06551203 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  | 5002158095 12133160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah )
|  |  | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | AN Dutch Antilles |  | 5002332617 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5002200057 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) | 5001775600 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh )
|  |  | 5002332618 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | AO Angola |  |  |  | 5002200058 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN )
[5 empty] | AQ Antarctica |  |  |  | 5002334327 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
[5 empty] | AR Argentina |  |  |  | 5002353791 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
[5 empty] | AS Samoa,American |  |  |  | 5002364555 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
[5 empty] | AT Austria |  |  |  | 5002364556 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
[5 empty] | AU Australia |  |  |  | 5002589490 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
[5 empty] | AW Aruba |  |  |  | 5002589491 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
[5 empty] | AZ Azerbaijan |  |  |  | 5002983548 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
2.1 | Do you accept the bidding instructions & conditions in this section? |  |  |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  |  |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  |  |  | 2024-04-21 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  |  |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  |  |  | TDS 10237113.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  |  |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Answer
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  |  |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  |  |  | 10237113.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Bundle or Tier Name | Tier Range | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Specify the bundle or tier name for items that are part of an bundle or tier. Leave it blank for items that are part of primary bid or Alternative Pricing bid. | Specify the tier range for specific tier, use ~ for the range value. Leave it blank for items that are NOT part of an Alternative Tier. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
|  | For example, My Alternative 1 | For example, My Bundle 1 | For example, 0~500
6.1 | CABLE; POWER; 600V-1000V; |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;POWER TYPE;50 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;27.3 MM (1.075 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;3162 KG/KM (2125 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.0 MM (0.040 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417981 |  | 73.77 | 1,000 | N/A | 112 |  | 2023-12-30 02:55 | 5002157882 14515312 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19916447 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382910 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )NUMBER 7614-04C05000-UOKB85001893740 10037887 EGYTECH CABLES EL SEWEDY EG5002157882 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PAR | SA8314021000986968000041.pdf
6.2 | CABLE; ELECTRICAL; LOW VOLTAGE; 19 S |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; 19 STRANDS CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;29.7 MM MINIMUM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION. ORIGINAL EQPT REFS ABRASION;MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417984 |  | 106.24 | 1,000 | N/A | 112 |  | 2023-12-30 02:55 | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19923657 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | D - Dutible | 0- | OY-Open yard | Z02A-D60 ABQAIQ POWER DISTRIBUTION | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382915 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )NUMBER 7614-04C07000-UOKB85001893741 10037887 EGYTECH CABLES EL SEWEDY EG5002157883 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PAR | SA8314021000986968000051.pdf
6.3 | WIRE;ELEC; 3.31MM2 (12 AWG) BLACK - 600V |  |  |  | WIRE ELECTRICAL; 3.31 MM2 (12 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;3.05 MM (0.120 IN) OD;35.7 KG/KM (24 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 150 M/COIL (500 FT/COIL); NYLON JACKET; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; DTOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Feet | 1000418878 |  | 207 | 2,500 | N/A | 112 |  | 2024-04-01 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | Bahra Cables company |  | 11131035 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT | 17 spools * 207= 3,519 SAR |  | <Strong>Manufacturer Part Number Text :</Strong>5000385292 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 61A6-01C12AWG-U0BK5-00SUPERSEDED NUMBER 6111-01C-12AWG-U0 BK55000385295 10016872 GENERAL CABLE USNUMBER 240125001437350 10
6.4 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;6 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 6 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | Yes |  | SAR | Meter | 1000893717 |  | 16.66 | 1,698 | N/A | 112 |  | 2024-04-02 03:55 | 5002613075 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19916753 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | Minimum order quantity = 3000m |  | <Strong>Manufacturer Part Number Text :</Strong>5002322156 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYORDER NUMBER 1000607728-00035002613075 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002322153 10013724 SAUDI | MS8314004SHTS050120055020662405000101.pdf
6.5 | WIRE; 750V NYA 1/C 6MM2 (10 AWG) STR CU |  |  |  | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;BLACK;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419736 |  | 215 | 368 | N/A | 112 |  | 2024-04-01 03:55 | 5002158095 12133160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 12133160 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT | 4 spools * 215 = 860 SAR |  | <Strong>Manufacturer Part Number Text :</Strong>5000389958 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00600 - U0 BK-15001301520 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002158095 10044083
6.6 | WIRE; 750V NYA 1/C 6MM2 (10 AWG) STR CU |  |  |  | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419769 |  | 220 | 460 | N/A | 112 |  | 2024-08-06 03:55 | 5002158096 12153160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 12153160 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | 5 Coils * 220 = 1100 SAR |  | <Strong>Manufacturer Part Number Text :</Strong>5000390062 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00600 - U0 GN-15002158096 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 12153160SUPERSEDED
6.7 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; |  |  |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;2.5 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 2.5 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED;XLPE;REEL;TR 90 DEG CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | Yes |  | SAR | Meter | 1000893715 |  | 10.4 | 374 |  | 112 |  | 2024-03-24 03:55 | 5002613073 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19921844 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT | Minimum order quantity 2000 m |  | <Strong>Manufacturer Part Number Text :</Strong>5002322146 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYORDER NUMBER 1000607728-0045002613073 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002322143 10013724 SAUDI C | MS8314004SHTS050120055020718592000101.pdf
6.8 | WIRE; 750V NYA 1/C 25MM2 (4 AWG) STR CU |  |  |  | WIRE ELECTRICAL; 25 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;9.3 MM OD;270 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | Yes |  | SAR | Meter | 1000419988 |  | 9.44 | 300 |  | 112 |  | 2024-04-08 03:55 | 5002158115 12154190 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 12154190 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT | Minimum order quantity 3000 m |  | <Strong>Manufacturer Part Number Text :</Strong>5000390368 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 02500 - U0 GN-85002158115 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 12154190SUPERSEDED
6.9 | CABLE; POWER; 50 SQ MM (1/0 AWG) |  |  |  | CABLE; POWER TYPE;50 SQ MM (1/0 AWG) DIA;COPPER;15-SAMSS-502;5000 VOLTS; ONE CONDUCTOR; XLPE INSULATION; 2.92 MM INSULATION THICKNESS; 133% INSULATION LEVEL; COPPER TAPE METAL SHIELDED PVC JACKET; 90 DEG C MAXIMUM RATED CONDUCTOR TEMPERATURE; DIRECT BURIAL; CONDUIT AND DUCT SERVICE; DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT. | Yes |  | SAR | Feet | 1000828565 |  | 28.59 | 1,148.294 |  | 112 |  | 2024-03-20 03:55 | 5002364556 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | BCC |  | 20000001 |  | SA Saudi Arabia | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT | minimum order quantity 3000m |  | <Strong>Manufacturer Part Number Text :</Strong>5002589491 30007746 SAUDI MODERN COMPANY FOR METALS SACABLES AND PLASTIC INDUSTRY LTD.NUMBER -5002334327 30005612 ELSEWEDY CABLES COMPANY LTD. SANUMBER -5002170053 30000865 SAUDI CABLE COMPANY SA50023 | 15SAMSS502032720235020722302000101.pdf
Note on Q5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on Q13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AN13: Answer Type: Text (multiple lines) Acceptable Values: Any Value