## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000367942 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000389950 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000369047 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5001346360 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | 5002743697 1040103022703 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000365981 CNL306A3152 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381006 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5001346046 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | 5000387766 61A601C08AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | AE Utd.Arab Emir. | 5000389846 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000381943 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5001346044 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | 5000382793 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000390163 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5001894141 CC3H25 ** TYCO THERMAL CONTROLS UK LT ( GB - WASHINGTON ) | 5002222133 61A601C10AWGU0BL800 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5001346007 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | 5002310174 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001346043 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5000387555 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000367943 761404C00600W0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000389951 711101C00400U0RD1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000369048 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) |  |  | 5001304027 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5000381007 761401C03500U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) |  | 5000387769 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390368 711101C02500U0GN8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | AF Afghanistan | 5000389847 711101C00400U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000381944 761403C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) |  | 5000382794 761404C03500UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000390164 711101C01000U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002310281 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002613071 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002310176 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) |  | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5000387556 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000367944 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000389952 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000369049 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  |  | 5001893571 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000381008 CNH111A0077 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | 5000387870 35008 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390369 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AG Antigua/Barbuda | 5000389848 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381945 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | 5000382795 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000390165 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002310282 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002921189 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  | 5002310177 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  | We are currently at full capacity
|  | POE - Port of Export | 5000387557 116671134 THE OKONITE COMPANY ( US - HOUSTON ) | 5000367945 RS COMPONENTS LTD ( GB - CORBY ) | 5000389953 THE OKONITE COMPANY ( US - HOUSTON ) | 5000369130 RS COMPONENTS LTD ( GB - CORBY ) |  |  | 5002143822 C212XA1030WMBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001327948 DB2LU01BG1 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5000387871 116671191 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277360 DB1DU01GG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | AI Anguilla | 5001339232 DA6DU01GG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000381946 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5000382796 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001277358 DA8DU01GG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002310284 SAUDI CABLE COMPANY ( SA - JEDDAH ) |  |  | 5002310179 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  | Missing information / not enough information provided
|  |  | 5000387558 THHN SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002157821 14033203 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001299959 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5001775599 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  | 5002157794 14530132 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001893703 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5001429855 DW4WU01B JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001775652 C316HB101000YG000MR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | AB Abu Dhabi | 5001775639 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001274381 DA5LU03BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5000382797 THE OKONITE COMPANY ( US - HOUSTON ) | 5001775646 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002310285 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  |  | 5002310181 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | Other
|  |  | 5001429850 DW2WU01G JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5001775640 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002157840 19900831 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  | 5002143813 C317XA10100SBKS2IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5001437378 0D06550803 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002158115 12154190 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | AL Albania | 5002158092 12153150 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001893722 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5001277346 DB2LU04BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002158099 12153170 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002310288 ELSEWEDY CABLES COMPANY ( SA - YANBU )
|  |  | 5001437375 0D06551004 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) |  | 5002158093 12103150 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | 5002157849 14515012 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5001775627 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | AM Armenia | 5002700293 SAUDI MODERN COMPANY FOR ( SA - KHOBAR ) | 5002143911 C210XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5001893739 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
|  |  | 5001775624 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | [6 empty] | 5002332588 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5002158077 11130050 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | AN Dutch Antilles |  | 5002157866 14515203 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002143920 C417XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh )
|  |  | 5002158073 11151040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | [8 empty] | 5002523544 CPTN01UG82900 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | AO Angola |  | 5002332603 ELSEWEDY CABLES COMPANY ( SA - YANBU ) |  | 5002157881 14515311 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah )
[14 empty] | AQ Antarctica |  |  |  | 5002332616 ELSEWEDY CABLES COMPANY ( SA - YANBU )
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | WIRE;ELEC; 8.34MM2 (8 AWG) BLACK- 600V | WIRE ELECTRICAL; 8.34 MM2 (8 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;5.59 MM (0.220 IN) OD;95.2 KG/KM (64 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419275 |  |  | 1,000 |  |  |  | 2024-05-27 03:55 | 5000387766 61A601C08AWGU0BK500 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387766 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61A6-01C08AWG-U0BK5-005000387870 10016872 GENERAL CABLE USNUMBER 35008SUPERSEDED NUMBER TP AP-062015000387871 10020512 THE OKON
6.2 | WIRE; 750V NYA 1/C 25MM2 (4 AWG) STR CU | WIRE ELECTRICAL; 25 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;9.3 MM OD;270 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING | No |  | USD | Meter | 1000419988 |  |  | 1,500 |  |  |  | 2024-09-08 03:55 | 5000390367 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390368 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 02500 - U0 GN-85002158115 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 12154190SUPERSEDED
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;35 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;25.2 MM (0.990 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;1590 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.9 MM (0.0354 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED; BLUE AND BLACK INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417938 |  |  | 500 |  |  |  | 2025-06-01 03:55 | 5000382793 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382794 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )NUMBER 7614-04C03500-UOKB85001893739 10037887 EGYTECH CABLES EL SEWEDY EG5002157881 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PAR
6.4 | WIRE; BUILDING; 450-750V; | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;48 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332 CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CABLE PACKAGING IN CARTON OR FULLY PROTECTED REEL DURABLY MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER SIZE OF CONDUCTORS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; SUPPLIED IN 100 METER REELS | No |  | USD | Meter | 1000419708 |  |  | 92 |  |  |  | 2025-08-19 03:55 | 5000389846 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389847 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00400 - U0 GN-15002158092 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 12153150SUPERSEDED
6.5 | WIRE; BUILDING; 450-750V; | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;RED;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;47 KG/KM LG;TR 85 DEG C MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227; IEC 332;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419731 |  |  | 368 |  |  |  | 2024-06-02 03:55 | 5000389950 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389951 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00400 - U0 RD-15001299959 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002158093 10044083
6.6 | CABLE; ELECTRICAL; LOW VOLTAGE; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;4 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 4 MM2; CU/XLPE/SWA/PVC 0.6/1 KV MARKINGS;PVC JACKET;IEC-60502;0.7 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | No |  | USD | Meter | 1000412459 |  |  | 400 |  |  |  | 2024-06-02 03:55 | 5000365981 CNL306A3152 SAUDI CABLE COMPANY ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000365981 10013724 SAUDI CABLE COMPANY SANUMBER CNL3-06A-31525001893571 10037887 EGYTECH CABLES EL SEWEDY EG5002157794 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 14530132SUPERSED
6.7 | WIRE; BUILDING; 450-750V; | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;48 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332 CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CABLE PACKAGING IN CARTON OR FULLY PROTECTED REEL DURABLY MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER SIZE OF CONDUCTORS; CABLE CONFIGURATION; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; SUPPLIED IN 100 METER REELS | No |  | USD | Meter | 1000419708 |  |  | 184 |  |  |  | 2025-08-20 03:55 | 5000389846 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389847 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00400 - U0 GN-15002158092 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 12153150SUPERSEDED
6.8 | CABLE; ELECTRICAL; LOW VOLTAGE; CCV; | CABLE ELECTRICAL LOW VOLTAGE; CCV TYPE;SOLID CONDUCTO;MINERAL HEAVY DUTY TYPE;2.5 SQ MM CONDUCTO;600 V MAX SUPPLY;3 CONDUCTO;11 MM (0.433 IN) CABLE OD;ORANGE;PYROTENAX MARKINGS;PVC JACKET;COPPER SHIELDIN;FOR CABLE TRAY;REEL;TR 90 DEG C MAX;MAGNESIUM OXIDE INSUL;COPPER CONDUCTO;UL LISTED; BS;MINERAL INSULATED COPPER SHEATHED H IGH CORROSION RESISTANCE. | No |  | USD | Meter | 1000439831 |  |  | 60 |  |  |  | 2024-04-04 03:55 | 5001894141 CC3H25 ** TYCO THERMAL CONTROLS UK LT ( GB - WASHINGTON ) | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001894141 10002394 ** TYCO THERMAL CONTROLS UK LTD GBPART NUMBER CC3H2.55002310284 10013724 SAUDI CABLE COMPANY SA5002310281 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5002310288 1
6.9 | WIRE;ELEC; 5.26MM2 (10 AWG) GREEN- 600V | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;GREEN;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | No |  | USD | Feet | 1000419212 |  |  | 2,000 |  |  |  | 2024-09-18 03:55 | 5000387553 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000387556 10016872 GENERAL CABLE USNUMBER 24010SUPERSEDED NUMBER TP AP-062015000387557 10020512 THE OKONITE COMPANY USNUMBER 116-67-11345000387558 10021675 SOUTHWIRE COMPANY INCORPORATED USMAT TYPE T
6.10 | WIRE; 750V NYA 1/C 10MM2 (8 AWG) STR CU | WIRE ELECTRICAL; 10 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;5.56 MM (0.21875 IN) OD;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | No |  | USD | Meter | 1000419808 |  |  | 1,000 |  |  |  | 2024-06-04 03:55 | 5000390163 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000390164 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 01000 - U0 GN-15002158099 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 12153170SUPERSEDED
6.11 | CABLE; ELECTRICAL; LOW VOLTAGE; TFE; | CABLE ELECTRICAL LOW VOLTAGE; TFE TYPE;420 STRANDS CONDUCTO;POWER TYPE;21.15 SQ MM (4 AWG) CONDUCTO;600 V SUPPLY;1 CONDUCTO;8.8 MM (0.346 IN) CABLE OD;238 KG/KM (160 LBS PER 1000 FT) LG;HEAVY GLASS BRAID SILICONE JACKET;0.63 MM (0.025 IN) INSUL TH;ASTM B160;FOR MOTOR & TRANSFORMER LEADS;CARTON OR FULLY PROTECTED REEL;TR 250 DEG C;WRAPPED TEFLON TAPE INSUL;HIGH TEMPERATURE NICKEL CLAD COPPER CONDUCTO;UL-83;APPARATUS; CLASS K STRANDED PER ASTM B172; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS; TYPE OF INSULATION AND VOLTAGE RATING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL 83; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Feet | 1000414117 |  |  | 72 |  |  |  | 2024-06-04 03:55 | 5002310174 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002310177 10013724 SAUDI CABLE COMPANY SA5002310174 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5002310181 10046468 ELSEWEDY CABLES COMPANY SA5002310176 10013206 MIDDLE EAST SPECIALI
6.12 | WIRE; ELECTRICAL; 6 MM2; 4 CONDUCTOR | WIRE ELECTRICAL; 6 MM2 CONDUCTO;4 CONDUCTO;WHITE SHEATH;600 V SUPPLY;PVC WIRE;15 MM OD;TR 75 DEG C;STRANDED;PVC INSUL;COPPER CONDUCTO;POWER TYPE;PER BS 6500;FLEXIBLE; CONDUCTOR INSULATION COLORS; YELLOW; BROWN; BLUE; BLACK | No |  | USD | Meter | 1000413367 |  |  | 1,000 |  |  |  | 2024-03-06 02:55 | 5000369047 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002157840 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 19900831SUPERSEDED NUMBER 130110125001775599 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5000369049 100137
6.13 | CABLE; 1KV XLPE/PVC 1/C 35MM2 (2 AWG) PV | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDED CONDUCTO;POWER & CONTROL TYPE;35 SQ MM CONDUCTO;600 V TO 1000 V SUPPLY;1 CONDUCTO;12.8 MM CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;405 KG/KM APPROX LG;PVC JACKET;BS 6746 TYPE 5;0.9 MM INSUL TH;IEC-228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 332;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417497 |  |  | 500 |  |  |  | 2025-02-10 02:55 | 5000381006 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381007 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-01C-03500-U0 BK85000381008 10013724 SAUDI CABLE COMPANY SAPART NUMBER CNH1-11A-00775001327948 10013002 JEDDAH CABLES C
6.14 | CABLE; 600V TC 3/C 2.5MM2 (14 AWG) PVC X | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;175 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | No |  | USD | Meter | 1000417735 |  |  | 1,000 |  |  |  | 2024-09-24 03:55 | 5000381943 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381944 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-03C-00250-U0 BK85001893722 10037887 EGYTECH CABLES EL SEWEDY EG5002157866 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA
6.15 | WIRE; ELECTRICAL; 5.26 SQ MM (10 AWG) | WIRE ELECTRICAL; 5.26 SQ MM (10 AWG) CONDUCTO;1 CONDUCTO;BLUE;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 INCH) OD;AA 59.5 KG/KM (40 LBS PER 1000 LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS / CONCENTRIC;PVC INSUL;SOLID COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET MOISTURE; HEAT AND OIL RESISTANT; FLAME RETARDANT. REEL MARKED WITH ARAMCO PURCHASE ORDER; CONDUCTOR SIZE; INSULATION TYPE; SHIPPING LENGTH AND VOLTAGE RATING. MANUFACTURED AND TESTING OF CABLE TO CONFIRM TO UL 83 OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. REEL LENGTH SHELL BE 152.4 MT (500 FT). (1-COIL IS EQUAL TO 500 FT) | No |  | USD | Meter | 1000836395 |  |  | 7,084.2 |  |  |  | 2025-06-19 03:55 | 5002222133 61A601C10AWGU0BL800 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002222133 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61A6-01C10AWG-U0BL8-005002613071 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002921189 10013827 SAUDI MODERN
6.16 | WIRE; ELECTRICAL; 6 MM2; 4 CONDUCTOR; | WIRE ELECTRICAL; 6 MM2 CONDUCTO;4 CONDUCTO;BLACK;1.0 KV SUPPLY;21 MM OD;STRANDED;PVC INSUL;COPPER CONDUCTO;CONTROL TYPE;ARMOURED; PVC/SWA/PVC; TO IEC-502 KM | No |  | USD | Meter | 1000413005 |  |  | 50 |  |  |  | 2024-05-05 03:55 | 5000367942 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000367943 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 7614-04C00600-W0BK85002157821 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 14033203SUPERSEDED NUMBER 1403020
6.17 | CABLE ELECTRICAL LOW VOLTAGE; POWER; ROU | CABLE ELECTRICAL LOW VOLTAGE; POWER TYPE;ROUND CONDUCTO;10 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 CONDUCTO;15.6 CABLE OD;BLACK;3 X 10 MM2; CU/XLPE/SWA/PVC 0.6/1 KV MARKINGS;880 KG PER KM LG;FR PVC-ST2;0.7 MM INSUL TH;WOODEN OR STEEL DRUMS;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO; STEEL WIRE AARMOR ARMOR;IEC 60502-1; IEC 60332-3;7 STRANDS; COLOR CODE (RED; GREY AND GREEN); MOISTURE; HEAT; OIL;GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT. | No |  | USD | Meter | 1001055898 |  |  | 1,000 |  |  |  | 2024-04-17 03:55 | 5002743697 1040103022703 SAUDI CABLE COMPANY ( SA - JEDDAH ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002743697 10013724 SAUDI CABLE COMPANY SAPART NUMBER 0001040103-022703
6.18 | WIRE; MAGNET; 0.200 MM2 (24 AWG); 1 | WIRE MAGNET; 0.200 MM2 (24 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; SPOOL OR CARTON TO BE TAGGED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; 1.2 KG/KM (0.793 LBS PER 1000 FT); APPROX 4.5 KG (10 LBS) SPOOL MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No |  | USD | US pound | 1000420529 |  |  | 10 |  |  |  | 2024-06-04 03:55 | 5001346043 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | H01C-C104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001346043 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
6.19 | WIRE; MAGNET; 2.08 MM2 (14 AWG); 1 | WIRE MAGNET; 2.08 MM2 (14 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; NET 18.8 KG/KM (12.6 LBS PER 1000 FT); 36.3 KG (80 LBS) PER SPOOL MIN WEIGHT MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No |  | USD | US pound | 1000420635 |  |  | 20 |  |  |  | 2024-05-05 03:55 | 5001346360 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | H01C-C104 YANBU STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001346360 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
6.20 | WIRE; MAGNET; 0.431 MM2 (21 AWG); 1 | WIRE MAGNET; 0.431 MM2 (21 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; SPOOL OR CARTON TO BE TAGGED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; NET 3.7 KG/KM (2.51 LBS PER 1000 FT); APPROX 36.3 KG (80 LBS) PER SPOOL MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No |  | USD | US pound | 1000420560 |  |  | 10 |  |  |  | 2024-06-04 03:55 | 5001346046 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001346046 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
6.21 | WIRE; MAGNET; 0.258 MM2 (23 AWG); 1 | WIRE MAGNET; 0.258 MM2 (23 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; SPOOL OR CARTON TO BE TAGGED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; 2.4 KG/KM (1.58 LBS PER 1000 FT); APPROX 4.5 KG (10 LBS) PER SPOOL MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No |  | USD | US pound | 1000420553 |  |  | 10 |  |  |  | 2024-06-04 03:55 | 5001346044 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001346044 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
6.22 | WIRE; MAGNET; 1.04 MM2 (17 AWG); 1 | WIRE MAGNET; 1.04 MM2 (17 AWG) CONDUCTO;1 CONDUCTO;COPPER CONDUCTO;INSUL CL 200;POLYESTER-POLYAMIDE INSUL;ROUND SHAPE;200 DEGREE C MAXIMUM OPERATIN;SOFT DRAWN;NEMA MW-1000;UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED; SPOOL OR CARTON TO BE TAGGED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; NET 9.4 KG/KM (6.34 LBS PER 1000 FT); APPROX 36.3 KG (80 LBS) PER SPOOL MATERIAL SIZE UPTO AND INCLUDING 13 AWG SHALL BE PACKED ON A STURDY SPOOL AND IN A BUCKET TO PRECLUDE WIRE DAMAGE DURING SHIPPING AND HANDLING | No |  | USD | US pound | 1000420616 |  |  | 15 |  |  |  | 2024-06-09 03:55 | 5001346007 ALFANAR TECHNICAL SERVICES COM ( SA - JUBAIL ) | [5 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001346007 10025557 ALFANAR TECHNICAL SERVICES COMPANY SA
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK26: Answer Type: Text (multiple lines) Acceptable Values: Any Value