## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Aramco packing, labeling and marking requirements | VTC - Vendor Delivery to Customer | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | SAC - Saudi Aramco Carrier | AE Utd.Arab Emir. | 5000927184 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | We don't supply at the requested quantity
|  | SAT - Transportation Truck | AF Afghanistan | 5000927185 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Discontinued Item
|  | VTD - Vendor Truck Delivery | AG Antigua/Barbuda | 5000927186 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | We are currently at full capacity
|  | FOB - Port of Export | AI Anguilla | 5000927190 THE OKONITE CO. INC. ( US - SANTA MARIA ) | Missing information / not enough information provided
|  | FCA - Kuehne+Nagel Houstn 77032 | AB Abu Dhabi | 5000927191 THE OKONITE COMPANY ( US - RICHMOND ) | Other
|  | FCA - Amsterdam, NL | AL Albania | 5000927192 THE OKONITE COMPANY ( US - ORANGEBURG )
|  | FCA - Segrate, Milan, Italy | AM Armenia | 5001692502 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN )
|  | FCA - Colnsbrook, Slough, UK | AN Dutch Antilles | 5001779380 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT )
|  | FCA - Swords, Co. Dublin, IE | AO Angola | 5001871781 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN )
|  | FCA - Supplier’s plant loaded in Containers | AQ Antarctica | 5001920977 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
|  |  | AR Argentina | 5002159181 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
|  |  | AS Samoa,American | 5002300525 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
|  |  | AT Austria | 5002332034 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
|  |  | AU Australia | 5002366569 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
|  |  | AW Aruba | 5002379188 DUBAI CABLE COMPANY (PVT) LTD ( AE - DUBAI )
|  |  | AZ Azerbaijan | 5002476711 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
|  |  | BA Bosnia-Herz. | 5002580007 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Terms and Conditions | RFP Clause Q011 - LOCAL DELIVERY AND POE PO (CONCURRENT).pdf
2.2 | Do you accept RFP Terms and Conditions? If “No”, please provide details in the RFP.

## 3 GENERAL REQUIREMENT
Number | Name | Description | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Answer
3.1 | Bid Validity
3.1.1 | What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | Packing and Labeling
3.2.1 | Are you complying with Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Description | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Answer
4.1 | Technical Documents
4.1.1 | Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required.
4.2 | Part Number Revision/Obsolescence
4.2.1 | Is Vendor's quotation for all items matching with the product, part or model number that Aramco has requested? Vendor shall advise in his quotation in accordance with the relevant section RFQ T&C’s regarding 'GOODS/Article Substitutions and Part Number Update'.

## 5 Incoterms Details
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Incoterms latest version Note: VTC, SAC, SAT & VTD are for Saudi Arabian Suppliers only.
5.2 | Please select the delivery incoterms:
5.4 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 7 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Quantity | Please Enter Unit Price Below Excluding VAT | * Price | Discount Percentage | China VAT Rate (%) | Requested Delivery Date | * Lead Time (Days) | * Lead Time (Days) Comments | * HS Code | Manufacturer Reference | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Hazardous Indicator | Handling Priority | Inspection Flag | Inspection Description | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Remarks | Remarks Comments | Delivery Priority | Transportation Mode | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
7.1 | CABLE POWER; 20KV;1C; CU 185MM2 | MEDIUM VOLTAGE CABLE; TYPE POWER RATING 12/20 KV NUMBER OF CONDUCTORS 1 CONDUCTOR SIZE 185 SQ MM (350 MCM) CONDUCTOR TYPE STRANDED SEMICON. WATER BLOCKING TAPE YES SUPPLEMENTARY REQUIREMENTS; CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;12/20 KV SUPPLY;1 CONDUCTOR; SIZE 185 SQ. MM (350 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER SEMICONDUCTOR WATER BLOCKING FEATURE COPPER WIRE SHIELD S/C SHIELD; ARMORD TYPE; BLACK;PVC JACKET;TR 90 DEG C MAX;REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.STANDARD LATEST REVISION 15-SAMSS-502; TOTAL LENGTH SHOULD BE 1;000 METERS. | No |  | USD | each | 6000000797 | 1,000 |  |  |  |  | 2024-02-28 02:55 |  |  |  |  | 5000927184 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | [5 empty] | No | X | Yes | IR150200 501 08/25/2021 |  |  |  | No | D - Dutible |  |  | Z002-B162 FADHILI POD-B162 |  |  | Urgent | 04 BOAT | 15SAMSS502138KV185SQMM1000984950000011.pdf
7.2 | CABLE POWER; 35KV;1C; CU 400MM2 | MEDIUM VOLTAGE CABLE; TYPE POWER RATING 34.5 KV NUMBER OF CONDUCTORS 1 CONDUCTOR SIZE 400 SQ MM CONDUCTOR TYPE STRANDED SEMICON. WATER BLOCKING TAPE YES SUPPLEMENTARY REQUIREMENTS; CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;34.5 KV SUPPLY;1 CONDUCTOR; SIZE 400 SQ. MM (750 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER SEMICONDUCTOR WATER BLOCKING FEATURE COPPER WIRE SHIELD S/C SHIELD; ARMORD TYPE; BLACK;PVC JACKET;TR 90 DEG C MAX;REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.STANDARD LATEST REVISION 15-SAMSS-502; TOTAL LENGTH SHOULD BE 1;000 METERS. | No |  | USD | each | 6000000797 | 1,000 |  |  |  |  | 2024-02-28 02:55 |  |  |  |  | 5000927184 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | [5 empty] | No | X | Yes | IR150200 501 08/25/2021 |  |  |  | No | D - Dutible |  |  | Z002-B162 FADHILI POD-B162 |  |  | Urgent | 04 BOAT | 15SAMSS502345KV400SQMM1000984950000021.pdf
7.3 | CABLE POWER; 35KV;1C; CU 500MM2 | MEDIUM VOLTAGE CABLE; TYPE POWER RATING 34.5 KV NUMBER OF CONDUCTORS 1 CONDUCTOR SIZE 500 SQ MM CONDUCTOR TYPE STRANDED SEMICON. WATER BLOCKING TAPE YES SUPPLEMENTARY REQUIREMENTS; CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;34.5 KV SUPPLY;1 CONDUCTOR; SIZE 500 SQ. MM (1000 MCM) CONDUCTOR; STRANDED CONDUCTOR; COPPER SEMICONDUCTOR WATER BLOCKING FEATURE COPPER WIRE SHIELD S/C SHIELD; ARMORD TYPE; BLACK;PVC JACKET;TR 90 DEG C MAX;REEL;UD TYPE; FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.STANDARD LATEST REVISION 15-SAMSS-502; TOTAL LENGTH SHOULD BE 7;000 METERS. | No |  | USD | each | 6000000797 | 7,000 |  |  |  |  | 2024-02-28 02:55 |  |  |  |  | 5000927184 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | [5 empty] | No | X | Yes | IR150200 501 08/25/2021 |  |  |  | No | D - Dutible |  |  | Z002-B162 FADHILI POD-B162 |  |  | Urgent | 04 BOAT | 15SAMSS502345KV500SQMM1000984950000031.pdf
Note on P5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on P6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on P7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on W7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value

## Currency Conversion
System Id | * Number | Item Name | * From Currency | * To Currency | * Rate
Help And Options. Click on the + sign on the left for more information to fill out the cells
370212371 |  |  | AED | USD | 0.27228
370212371 |  |  | ALL | USD | 0.0106
370212371 |  |  | AMD | USD | 0.00247
370212371 |  |  | ANG | USD | 0.41112
370212371 |  |  | ARS | USD | 0.00124
370212371 |  |  | AUD | USD | 0.67905
370212371 |  |  | AWG | USD | 0.55249
370212371 |  |  | AZN | USD | 0.58824
370212371 |  |  | BAM | USD | 0.56194
370212371 |  |  | BBD | USD | 0.49527
370212371 |  |  | BDT | USD | 0.00911
370212371 |  |  | BGN | USD | 0.56309
370212371 |  |  | BHD | USD | 2.6526
370212371 |  |  | BND | USD | 0.75492
370212371 |  |  | BOB | USD | 0.1442
370212371 |  |  | BRL | USD | 0.20572
370212371 |  |  | BSD | USD | 1
370212371 |  |  | BYR | USD | 0.05097
370212371 |  |  | BZD | USD | 0.49611
370212371 |  |  | CAD | USD | 0.75409
370212371 |  |  | CHF | USD | 1.1678
370212371 |  |  | CLP | USD | 0.00112
370212371 |  |  | CNY | USD | 0.14019
370212371 |  |  | COP | USD | 0.00026
370212371 |  |  | CRC | USD | 0.00192
370212371 |  |  | CYP | USD | 2.5141
370212371 |  |  | CZK | USD | 0.04479
370212371 |  |  | DKK | USD | 0.14776
370212371 |  |  | DOP | USD | 0.01733
370212371 |  |  | DZD | USD | 0.00744
370212371 |  |  | EGP | USD | 0.03236
370212371 |  |  | EUR | USD | 1.1018
370212371 |  |  | GBP | USD | 1.2727
370212371 |  |  | GEL | USD | 0.37306
370212371 |  |  | GTQ | USD | 0.12788
370212371 |  |  | GYD | USD | 0.00478
370212371 |  |  | HKD | USD | 0.128
370212371 |  |  | HNL | USD | 0.04053
370212371 |  |  | HRK | USD | 0.142
370212371 |  |  | HTG | USD | 0.00755
370212371 |  |  | HUF | USD | 0.00289
370212371 |  |  | IDR | USD | 0.06459
370212371 |  |  | INR | USD | 0.01202
370212371 |  |  | ISK | USD | 0.00732
370212371 |  |  | JMD | USD | 0.00647
370212371 |  |  | JOD | USD | 1.4092
370212371 |  |  | JPY | USD | 0.00702
370212371 |  |  | KRW | USD | 0.00077
370212371 |  |  | KWD | USD | 3.2547
370212371 |  |  | KZT | USD | 0.00218
370212371 |  |  | LBP | USD | 0.00066
370212371 |  |  | LKR | USD | 0.00307
370212371 |  |  | LTL | USD | 0.3504
370212371 |  |  | LVL | USD | 1.9675
370212371 |  |  | MAD | USD | 0.10393
370212371 |  |  | MKD | USD | 0.01791
370212371 |  |  | MXN | USD | 0.05891
370212371 |  |  | MYR | USD | 0.21589
370212371 |  |  | NGN | USD | 0.0011
370212371 |  |  | NIO | USD | 0.02732
370212371 |  |  | NOK | USD | 0.09815
370212371 |  |  | NZD | USD | 0.62965
370212371 |  |  | OMR | USD | 2.5975
370212371 |  |  | PAB | USD | 1
370212371 |  |  | PEN | USD | 0.2714
370212371 |  |  | PHP | USD | 0.01805
370212371 |  |  | PKR | USD | 0.00353
370212371 |  |  | PLN | USD | 0.25392
370212371 |  |  | PYG | USD | 0.13678
370212371 |  |  | QAR | USD | 0.27442
370212371 |  |  | RON | USD | 0.22154
370212371 |  |  | RSD | USD | 0.0094
370212371 |  |  | RUB | USD | 0.01085
370212371 |  |  | SAR | USD | 0.26667
370212371 |  |  | SDD | USD | 0.005
370212371 |  |  | SDG | USD | 0.00167
370212371 |  |  | SEK | USD | 0.09981
370212371 |  |  | SGD | USD | 0.75492
370212371 |  |  | SLL | USD | 0.04377
370212371 |  |  | SRD | USD | 0.02689
370212371 |  |  | SVC | USD | 0.11422
370212371 |  |  | SYP | USD | 0.0004
370212371 |  |  | THB | USD | 0.02891
370212371 |  |  | TND | USD | 0.32574
370212371 |  |  | TRY | USD | 0.03417
370212371 |  |  | TTD | USD | 0.14699
370212371 |  |  | TWD | USD | 0.03216
370212371 |  |  | UAH | USD | 0.02663
370212371 |  |  | UYU | USD | 0.02539
370212371 |  |  | VEF | USD | 0.10013
370212371 |  |  | VND | USD | 4.3e-05
370212371 |  |  | XAF | USD | 0.00168
370212371 |  |  | XCD | USD | 0.369
370212371 |  |  | YER | USD | 0.004
370212371 |  |  | ZAR | USD | 0.05412