## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5001120698 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381831 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000390265 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000389516 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002322162 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5000389724 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002545309 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000381000 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000366103 ENLB54A3145 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000390061 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000382712 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000377227 761403C12AWGUOBK7 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | AE Utd.Arab Emir. | 5001120606 THE OKONITE CO. INC. ( US - SANTA MARIA ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5001308739 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5000381832 THE OKONITE COMPANY ( US - HOUSTON ) | 5000390266 711101C01600U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000389517 711101C00250U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002322163 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000389725 711101C00250U0WT1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002547560 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381001 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001304029 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5000390062 711101C00600U0GN1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000382713 761404C01600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000377320 ROME CABLE CORPORATION ( US - ARLINGTON ) | AF Afghanistan | 5001120608 THE OKONITE COMPANY ( US - RICHMOND ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | 5001328122 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5001301504 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5000390267 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000389518 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002322164 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000389726 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002547561 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5000381002 761401C02500U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5001327914 DC9LA3ABG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000390063 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382714 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000377321 THE OKONITE COMPANY ( US - HOUSTON ) | AG Antigua/Barbuda | 5001120642 THE OKONITE COMPANY ( US - ORANGEBURG ) | We are currently at full capacity
|  | POE - Port of Export | 5001894106 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5001327953 DB2LU02BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000390268 THE OKONITE COMPANY ( US - HOUSTON ) | 5000389519 THE OKONITE COMPANY ( US - HOUSTON ) | 5002322165 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000389727 THE OKONITE COMPANY ( US - HOUSTON ) | 5002547562 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) | 5000381003 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001893579 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000390064 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277344 DA9LU04BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001427180 DA6LU03BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | AI Anguilla | 5001328120 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | Missing information / not enough information provided
|  |  | 5002206167 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5001893718 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001277359 DA9DU01GG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001301519 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5002322166 10006077280005 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001299956 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5002547563 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | 5000381004 THE OKONITE COMPANY ( US - HOUSTON ) | 5002143828 C334XA1040WSBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001437380 0C01010704 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5001893737 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001437334 0102R10306 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | AB Abu Dhabi | 5001409450 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | Other
|  |  | 5002206168 THE OKONITE COMPANY ( US - RICHMOND ) | 5002143847 C317XA10200SBK01IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001775649 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001775634 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002613077 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001775636 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002547564 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | 5001301497 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5002157800 14535251 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001775643 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002143878 C315XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5001893657 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AL Albania | 5001409966 SAUDI CABLE COMPANY ( SA - JEDDAH )
|  |  | 5002206169 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5002157862 14515111 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002158112 12153180 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002158087 12153140 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002158089 12173140 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002547565 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) | 5001893702 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002332537 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5002158096 12153160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002157879 14515309 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002243981 GENERAL CABLE ( US - MARION ) | AM Armenia | 5001894104 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN )
|  |  | 5002206170 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) | 5002332600 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  |  |  |  | 5002983550 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) | 5002143812 C316XA10100SBK52IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  |  | 5002332615 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5002332554 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | AN Dutch Antilles | 5002206156 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN )
|  |  | 5002206171 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) | [6 empty] | 5002157848 14515011 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  |  | AO Angola | 5002206157 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT )
|  |  | 5002332755 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | [6 empty] | 5002332587 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  |  |  |  | AQ Antarctica | 5002364412 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
|  |  | 5002364419 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) | [11 empty] | AR Argentina | 5002364413 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
|  |  | 5002364420 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) | [11 empty] | AS Samoa,American | 5002364414 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
|  |  | 5002364421 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | [11 empty] | AT Austria | 5002364415 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
|  |  | 5002527073 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) | [11 empty] | AU Australia | 5002527055 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
|  |  | 5002983507 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) | [11 empty] | AW Aruba | 5002983504 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
|  |  | 5002983508 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) | [11 empty] | AZ Azerbaijan | 5002983505 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2024-07-28 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS & Note.pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | Net_Offer_10238847_2_20240528171830.pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;35 SQ MM CONDUCTO;600-1000 V SUPPLY;2 CONDUCTO;24.6 MM (0.970 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;1130 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.9 MM (0.035 IN) INSUL TH;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK INSULA TION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT. ORIGINAL EQPT REFS FLAME RETARDANT PER IEC 332. REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417720 |  | 37.78 | 1,000 | N/A | 98 |  | 2024-06-02 03:55 | 5002157862 14515111 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19919589 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT | Prices have been changed due to the increase of the metal prices. |  | <Strong>Manufacturer Part Number Text :</Strong>5001327953 10013002 JEDDAH CABLES COMPANY LTD SAPART NUMBER DB2LU02BG5001893718 10037887 EGYTECH CABLES EL SEWEDY EG5001301504 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002157862
6.2 | WIRE; BUILDING; 450-750V; |  | WIRE ELECTRICAL; 2.5 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;3.5 MM OD;30.1 KG/KM LG;TR 85 DEG C MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419598 |  | 1.25 | 92 | N/A | 98 |  | 2024-05-27 03:55 | 5002158087 12153140 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 12153140 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ= 10 COIL * 92 METER = 920 METER 10 COILS*115 SAR = 1150 SAR 920M * 1.25 SAR = 1150 SAR Prices have been changed due to the increase of the metal prices. |  | <Strong>Manufacturer Part Number Text :</Strong>5000389517 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00250 - U0 GN15001301519 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002158087 10044083 B
6.3 | WIRE; BUILDING; 450-750V; |  | WIRE ELECTRICAL; 2.5 MM2 CONDUCTO;1 CONDUCTO;WHITE;450-750 V SUPPLY;NYA WIRE;3.5 MM OD;30.1 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419640 |  | 1.25 | 644 | N/A | 98 |  | 2024-05-27 03:55 | 5002158089 12173140 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ= 10 COIL * 92 METER = 920 METER 10 COILS*115 SAR = 1150 SAR 920M * 1.25 SAR = 1150 SAR Prices have been changed due to the increase of the metal prices. |  | <Strong>Manufacturer Part Number Text :</Strong>5000389725 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00250 - U0 WT-15001299956 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002158089 10044083
6.4 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER AND CONTROL TYPE;25 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;9.9 MM (0.39 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTUER MARKINGS;210 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; IEC 502;0.9 MM (0.0354 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417495 |  | 15.6 | 1,500 | N/A | 98 |  | 2024-05-28 03:55 | 5002157848 14515011 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M006-S953 RIYADH STORES | 04 BOAT | MOQ 2000m Prices have been changed due to the increase of the metal prices. |  | <Strong>Manufacturer Part Number Text :</Strong>5000381002 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-01C-02500-U0 BK85001893702 10037887 EGYTECH CABLES EL SEWEDY EG5002157848 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA
6.5 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; 7 |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;16 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;21.3 MM (0.840 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;995 KG/KM (669 LB PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.027 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417932 |  | 34.32 | 1,000 | N/A | 98 |  | 2024-06-02 03:55 | 5002157879 14515309 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M008-S104 YANBU STORES | 04 BOAT | Prices have been changed due to the increase of the metal prices. |  | <Strong>Manufacturer Part Number Text :</Strong>5000382713 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-04C-01600-U0 BK85001893737 10037887 EGYTECH CABLES EL SEWEDY EG5002157879 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA
6.6 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;107.2 SQ MM CONDUCTO;19 STRANDS CONDUCTO;54.4 MM (2.140 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;3.4 MM (0.134 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;BLACK;PVC JACKET;4590 KG/KM LG;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL; 500 M (1640.5 FT);MV TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; | No | We don't carry a compatible part/material | SAR | Meter | 1000417053 |  |  | 30 |  |  |  | 2024-06-04 03:55 | [6 empty] | Normal/staged | N | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | A002-C532 UTHMANIYAH B-2001; STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001120698 30000865 SAUDI CABLE COMPANY SA5002364421 30006546 BAHRA ADVANCED CABLES MANUFACTURER SACO. LTD.5001328122 30000598 JEDDAH CABLE COMPANY LIMITED SA5002364419 30004750 BAOSHENG SCIENCE & TECHN | 15SAMSS502032720235020753631000101.pdf
6.7 | CABLE ELECTRICAL MEDIUM VOLTAGE; 15 KV ( |  | CABLE ELECTRICAL MEDIUM VOLTAGE; 15 KV (12/20) KV SUPPLY;1 CONDUCTO;240 MM2 (474 MCM) CONDUCTO;44 MM CABLE OD;COPPER CONDUCTO;SEMICONDUCTOR WATER BLOCKING FEATURE;XLPE INSUL;5.5 MM INSUL TH;COPPER WIRE METAL SH;BLACK;PVC-FR-OR-SR JACKET;2151 KG LG;500 METER;POWER TYPE;15-SAMSS-502;61 STRANDS. | No | We don't carry a compatible part/material | SAR | Meter | 1000996721 |  |  | 500 |  |  |  | 2024-05-03 03:55 | [6 empty] | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | Z002-C100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5002547560 30000865 SAUDI CABLE COMPANY SA5002547544 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 240158185002545309 30000598 JEDDAH CABLE COMPANY LIMITED SA5002547561 30000926 SAUDI | 15SAMSS502032720235020753670000101.pdf
6.8 | WIRE; 750V NYA 1/C 6MM2 (10 AWG) STR CU |  | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419769 |  | 2.82 | 92 | N/A | 98 |  | 2024-09-17 03:55 | 5002158096 12153160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT | MOQ= 10 COIL * 92 METER = 920 METER 10 COILS*259 SAR = 2590 SAR 920M * 2.82 SAR = 2594 SAR Prices have been changed due to the increase of the metal prices. |  | <Strong>Manufacturer Part Number Text :</Strong>5000390062 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00600 - U0 GN-15002158096 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 12153160SUPERSEDED
6.9 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;5 (6/10) KV SUPPLY;3 CONDUCTO;25 SQ MM (49.3 MCM) CONDUCTO;6 STRANDS CONDUCTO;41.6 MM (1.638 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;3.4 MM (0.134 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;STEEL WIRE ARMOR;PVC JACKET;TR 90 DEG C MAX;REEL;MV TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; | No | We don't carry a compatible part/material | SAR | Meter | 1000417019 |  |  | 1,000 |  |  |  | 2024-05-03 03:55 | [6 empty] | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001409966 30000865 SAUDI CABLE COMPANY SA5002364414 30005612 ELSEWEDY CABLES COMPANY LTD. SA5002364415 30006546 BAHRA ADVANCED CABLES MANUFACTURER SACO. LTD.5001328120 30000598 JEDDAH CABLE COMPANY LIM | 15SAMSS502032720235020807692000101.pdf
6.10 | WIRE; 750V NYA 1/C 16MM2 (6 AWG) STR CU |  | WIRE ELECTRICAL; 16 MM2 CONDUCTO;1 CONDUCTO;GREEN;450-750 V SUPPLY;NYA WIRE;7.5 MM OD;171 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419939 |  | 7.66 | 92 |  | 98 |  | 2024-07-23 03:55 | 5002158112 12153180 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  |  |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT | MOQ = 1000 METER Prices have been changed due to the increase of the metal prices. |  | <Strong>Manufacturer Part Number Text :</Strong>5000390266 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 01600 - U0 GN-15002158112 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 12153180SUPERSEDED
6.11 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;10 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 10 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | Yes |  | SAR | Meter | 1000893719 |  | 27.44 | 1,000 |  | 98 |  | 2024-05-08 03:55 | 5002613077 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | Prices have been changed due to the increase of the metal prices. |  | <Strong>Manufacturer Part Number Text :</Strong>5002322166 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYORDER NUMBER 1000607728-00055002613077 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER - 5002322163 10013724 SAUDI | MS8314004SHTS050120055020812553000101.pdf
6.12 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER TYPE;25/16 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;BLACK;3 X 25 MM2 + 16 MM2; CU/XLPE/SWA/PVC 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;PVC;OPEN COIL ON PALLET;XLPE INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000412630 |  | 54.47 | 1,000 |  | 98 |  | 2024-05-02 03:55 | 5002157800 14535251 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  |  |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | D - Dutible | 0- | OY-Open yard | M006-S953 RIYADH STORES | 04 BOAT | Prices have been changed due to the increase of the metal prices. |  | <Strong>Manufacturer Part Number Text :</Strong>5000366103 10013724 SAUDI CABLE COMPANY SANUMBER ENLB-54A-31455001327914 10013002 JEDDAH CABLES COMPANY LTD SAPART NUMBER DC9LA3ABG5001893579 10037887 EGYTECH CABLES EL SEWEDY EG5002157800 10044083 BAH
6.13 | CORD; ELECTRICAL; 3 CONDUCTOR; 3.31 |  | CORD ELECTRICAL; 3 CONDUCTO;3.31 SQ MM (12 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER & CONTROL;9.9 MM (0.390 IN) OD;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;164 KG/KM LG;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;UL-1569;CLASS B; MOISTURE; HEAT; OIL; GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; REEL MARKED WITH ARAMCO PURCHASE ORDER AND STOCK NUMBER; SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE AND PACKAGING TO CONFORM TO UL STANDARDS 44 AND 1277; OUTER MARKINGS; VOLTAGE; TYPE; SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; JACKET MATERIAL SPEC; UL; INSULATION THICKNESS; 0.80 MM(0.0315 IN); CONDUCTOR MATERIAL SPEC; ASTM B8; INSULATION MATERIAL SPEC; ICEA S-66-524; PACKAGING; CARTON OR FULLY PROTECTED REEL | No | We don't carry a compatible part/material | SAR | Feet | 1000416479 |  |  | 563 |  |  |  | 2024-05-07 03:55 | [6 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000377227 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-03C-12AWG UO BK7SUPERSEDED NUMBER 7614-03C-12AWG UO BK85001893657 10037887 EGYTECH CABLES EL SEWEDY EG5001437334 10013
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value