## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5003096345 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | 5000369235 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5001120897 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000387650 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000390065 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5000381526 761402C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000382910 761404C05000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000383623 761419C00600U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000369538 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | AE Utd.Arab Emir. | 5000377222 761403C14AWGUOBK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5003022167 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | 5000365647 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002743700 1060103022710 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000389087 61AF01C20AWU0BK700 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002215073 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001121041 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002322157 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5001597457 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000381943 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5002983542 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) | 5000389950 DUBAI CABLE COMPANY (PRIVATE) ( AE - DUBAI ) | 5001120991 SAUDI CABLE COMPANY ( SA - JEDDAH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub |  | 5000369236 761404C01600W0BK800 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5001308845 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5000387653 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390066 711101C00600U0WT1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000381527 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000382911 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000383624 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000369539 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AF Afghanistan | 5000377224 3625 ROME CABLE CORPORATION ( US - ARLINGTON ) |  | 5001277330 DB6ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5000389088 75120 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5001308931 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5002322158 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001598994 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5000381944 761403C00250U0BK8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5002983543 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) | 5000389951 711101C00400U0RD1 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5001308849 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation |  | 5001635774 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5001328130 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5000387654 24010 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5000390067 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000381528 THE OKONITE COMPANY ( US - HOUSTON ) | 5000382912 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5000383625 THE OKONITE COMPANY ( US - HOUSTON ) | 5001301468 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | AG Antigua/Barbuda | 5000377225 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5001755890 SAUDI MODERN COMPANY FOR ( SA - Khobar ) |  | 5000389089 26210 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) |  | 5001595038 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5002322159 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) |  | 5000381945 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002983544 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) | 5000389952 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001328131 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | We are currently at full capacity
|  | POE - Port of Export |  | 5001893583 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001894116 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5000387655 116671131 THE OKONITE COMPANY ( US - HOUSTON ) | 5000390068 THE OKONITE COMPANY ( US - HOUSTON ) | 5001277336 DA5LU02BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001277347 CB3LU04BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001301511 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5001327916 CD6LA3ABG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | AI Anguilla | 5001427179 DA5LU03BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5001893565 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5000389190 M2820 MANHATTAN-CDT ( US - HOUSTON ) |  | 5001894123 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | 5002322160 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5000381946 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5000389953 THE OKONITE COMPANY ( US - HOUSTON ) | 5001894118 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN ) | Missing information / not enough information provided
|  |  |  | 5002332541 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5002206248 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5000387656 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5001301521 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5001893712 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001893740 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5001327960 DA7LU19BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001893586 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | AB Abu Dhabi | 5001437333 0102R10305 SAUDI MODERN COMPANY FOR ( SA - Khobar ) |  | 5002612716 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5000389191 AMERICAN INSULATED WIRE CORPOR ( US - PAWTUCKET ) |  | 5002206307 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5002322161 10006077280002 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5001274381 DA5LU03BEG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5001299959 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5002206263 THE OKONITE CO. INC. ( US - SANTA MARIA ) | Other
|  |  |  | 5002612717 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002206249 THE OKONITE COMPANY ( US - RICHMOND ) | 5001429851 DW3WU01B JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001775644 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002143858 C210XA10200SBK01IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002143921 C418XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5001893757 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002143830 C44XA1040WSBK08IMF ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | AL Albania | 5001893656 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  |  |  | 5000389192 116671371 THE OKONITE COMPANY ( US - HOUSTON ) |  | 5002206308 THE OKONITE COMPANY ( US - RICHMOND ) | 5002613076 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5001893722 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) |  | 5001775640 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002206264 THE OKONITE COMPANY ( US - RICHMOND )
[5 empty] | 5002206250 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5001437376 0D06551003 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5002158097 12173160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002157857 14515103 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002157882 14515312 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002144056 C213XA11900SBK21IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002157841 14530287 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | AM Armenia | 5002243980 GENERAL CABLE ( US - MARION ) |  |  |  | 5000389193 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) |  | 5002206309 THE OKONITE COMPANY ( US - ORANGEBURG ) |  |  | 5002143911 C210XA10300SBK04IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  | 5002158093 12103150 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002206265 THE OKONITE COMPANY ( US - ORANGEBURG )
[5 empty] | 5002206252 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) | 5001775625 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) |  |  | 5002332617 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) | 5002157892 13515619 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | AN Dutch Antilles | 5002332553 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  |  |  | 5002612730 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002206311 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN ) |  |  | 5002157866 14515203 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  | 5002206266 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN )
[5 empty] | 5002206253 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  |  | 5002332628 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  | AO Angola | [6 empty] | 5002206312 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT ) |  |  | 5002332603 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  |  | 5002206267 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT )
[5 empty] | 5002332762 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | [6 empty] | AQ Antarctica | [6 empty] | 5002364523 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) | [5 empty] | 5002332764 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
[5 empty] | 5002364507 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU ) | [6 empty] | AR Argentina | [6 empty] | 5002364524 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) | [5 empty] | 5002364437 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
[5 empty] | 5002364508 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO ) | [6 empty] | AS Samoa,American | [6 empty] | 5002364525 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU ) | [5 empty] | 5002364438 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
[5 empty] | 5002364509 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | [6 empty] | AT Austria | [6 empty] | 5002364526 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | [5 empty] | 5002364439 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
[5 empty] | 5002527080 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) | [6 empty] | AU Australia | [6 empty] | 5002527087 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH ) | [5 empty] | 5002527082 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
[5 empty] | 5002589267 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) | [6 empty] | AW Aruba | [6 empty] | 5002589273 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH ) | [5 empty] | 5002589269 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
[5 empty] | 5002983519 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) | [6 empty] | AZ Azerbaijan | [6 empty] | 5002983527 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH ) | [5 empty] | 5002983521 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
2.1 | Do you accept the bidding instructions & conditions in this section? |  | Yes
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf |  | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested. |  | 2024-06-16 03:55
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid. |  | Deliver using own packing standards

## 4 TECHNICAL ENVELOPE
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS |  | TDS & Note (1).pdf
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'. |  | Yes

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Alternative | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Answer
For example, My Alternative 1
5.1 | Delivery Incoterms: Please select the delivery incoterms: |  | SAC - Saudi Aramco Carrier
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used. |  | Quotation (1).pdf

## 6 Commercial Envelope
Number | Name | Alternative | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Specify the alternative name for items that are part of an alternative bid. Leave it blank for items that are part of a primary bid. | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
For example, My Alternative 1
6.1 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;15 (12/20) KV SUPPLY;3 CONDUCTO;300 SQ MM (592 MCM) CONDUCTO;34 STRANDS CONDUCTO;98.0 MM (3.8583 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;5.5 MM (0.216 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;STEEL WIRE ARMOR;BLACK;PVC JACKET;16650 KG/KM LG;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV; ARMORED TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT; EXPOSED;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 0.5 MM STEEL TAPE ARMOR; FLAME RETARDANT. | Yes |  | SAR | Meter | 1000417346 |  | 475.69 | 2,000 | N/A | 112 |  | 2024-04-21 03:55 | 5002364526 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | BCC |  | 20000561 |  | SA Saudi Arabia | Normal/staged | N | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | Z002-218 DHAHRAN DH CA POWER DISTRIBUTIO | 04 BOAT |  |  | MANUFACTURER REFERENCES;The following is/are the approved Manufacturer/s and References;-================================================================5001121041 30000865 SAUDI CABLE COMPANY SA5002364525 30005612 ELSEWEDY CABLES COMPANY LTD. SANUMB | 15SAMSS502032720231000990539000101.pdf
6.2 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;15 (12/20) KV SUPPLY;3 CONDUCTO;240 SQ MM (474 MCM) CONDUCTO;34 STRANDS CONDUCTO;81.0 MM CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;5.5 MM (0.216 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;BLACK;PVC JACKET;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 0.5 MM STEEL TAPE ARMOR; FLAME RETARDANT. | Yes |  | SAR | Meter | 1000417231 |  | 398.77 | 1,000 | N/A | 112 |  | 2024-04-21 03:55 | 5002364439 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | BCC |  | 20000560 |  | SA Saudi Arabia | Normal/staged | N | No | IR150200 501 08/25/2021 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | Z002-218 DHAHRAN DH CA POWER DISTRIBUTIO | 04 BOAT |  |  | MANUFACTURER REFERENCES;The following is/are the approved Manufacturer/s and References;-================================================================5001120991 30000865 SAUDI CABLE COMPANY SA5002364439 30006546 BAHRA ADVANCED CABLES MANUFACTURER S | 15SAMSS502032720231000990539000111.pdf
6.3 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; |  | MATERIAL DESCRIPTION CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;10 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 10 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 MANUFACTURER REFERENCES; 5002322157 SAUDI MODERN COMPANY FOR SA OK 10013827 5002322158 SAUDI CABLE COMPANY SA OK 10013724 5002322159 MIDDLE EAST SPECIALIZED CABLES ( SA OK 10013206 5002322160 JEDDAH CABLES COMPANY LTD SA OK 10013002 5002322161 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OK 10012569 ORDER NUMBER 1000607728-0002 5002613076 BAHRA ADVANCED CABLE MANUFACTURE SA OK 10044083 NUMBER -. CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;10 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 10 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | Yes |  | SAR | Meter | 1000893718 |  | 20.08 | 270 | N/A | 112 |  | 2024-04-21 03:55 | 5002613076 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19916744 |  | SA Saudi Arabia | Normal/staged | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E002-113/IP1 YANBU K32 (IPSA II) ADMIN B | 05 AIR | MOQ is 500 meter |  | MANUFACTURER REFERENCES;The following is/are the approved Manufacturer/s and References;-================================================================5002322161 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANYORDER NUMBER 1000607728 | MS8314004SHTS050120051000996183000011.pdf
6.4 | WIRE; ELECTRICAL; 6 MM2; 1 CONDUCTOR; |  | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;WHITE;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419802 |  | 3.09 | 184 | N/A | 112 |  | 2024-12-01 02:55 | 5002158097 12173160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 12173160 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M009-S322 TANAJIB STORE STOCK | 04 BOAT | 2 SPOOLS = 152 METER |  | <Strong>Manufacturer Part Number Text :</Strong>5000390066 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00600 - U0 WT-15001301521 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002158097 10044083
6.5 | CABLE; 600V TC 3/C 2.5MM2 (14 AWG) PVC X |  | CABLE ELECTRICAL LOW VOLTAGE; 7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;3 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR; M ANUFACTURER NAME; YEAR OF MANUFACTU RE MARKINGS;175 KG/KM LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;0.7 MM (0.0275 IN) INSUL TH;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417735 |  | 7.58 | 1,000 | N/A | 112 |  | 2024-10-07 03:55 | 5002157866 14515203 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19919392 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M016-S960 JAZAN WAREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000381944 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-03C-00250-U0 BK85001893722 10037887 EGYTECH CABLES EL SEWEDY EG5002157866 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA
6.6 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; |  | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;6 SQ MM CONDUCTO;600-1000 V SUPPLY;19 CONDUCTO;29.3 MM (1.154 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;PVC JACKET;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; CONSECUTIVE NUMBERED 1 THRU 19. | Yes |  | SAR | Meter | 1000418164 |  | 56.2 | 50 | N/A | 112 |  | 2024-07-14 03:55 | 5002157892 13515619 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19938730 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E003-C300 RASTANURA STORES | 04 BOAT | MOQ is 3000 meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000383623 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614 - 19C - 00600 - U0 BK85001327960 10013002 JEDDAH CABLES COMPANY LTD SAPART NUMBER DA7LU19BEG5001893757 10037887 EGYTEC
6.7 | CABLE; ELECTRICAL; MEDIUM VOLTAGE; |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;15 (12/20) KV SUPPLY;3 CONDUCTO;70 SQ MM (138 MCM) CONDUCTO;12 STRANDS CONDUCTO;60.0 MM (2.362 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;5.5 MM (0.216 IN) INSUL TH;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;COPPER TAPE METAL SH;BLACK;PVC JACKET;4420 KG/KM LG;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;MV TYPE;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT DUCT;15-SAMSS-502;DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT; 0.5 MM STEEL TAPE ARMOR; FLAME RETARDANT. | Yes |  | SAR | Meter | 1000417186 |  | 158.81 | 1,000 | N/A | 112 |  | 2024-07-16 03:55 | 5002364509 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | BCC |  | 20000555 |  | SA Saudi Arabia | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001120897 30000865 SAUDI CABLE COMPANY SA5002364509 30006546 BAHRA ADVANCED CABLES MANUFACTURER SACO. LTD.NUMBER -5001328130 30000598 JEDDAH CABLE COMPANY LIMITED SA5002364507 30004750 BAOSHENG SCIENC | 15SAMSS502032720235020799140000101.pdf
6.8 | CABLE; ELECTRICAL; LOW VOLTAGE; TC; 7 S |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;7 STRANDS CONDUCTO;POWER & CONTROL TYPE;2.5 SQ MM CONDUCTO;600-1000 V SUPPLY;2 CONDUCTO;13.0 MM (0.512 IN) CABLE OD;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;165 KG/KM LG;PVC JACKET;BS 6746 TYPE 5;0.7 MM (0.0275 IN) INSUL TH;IEC 228; CLASS 1 & 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC-502;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | Yes |  | SAR | Meter | 1000417609 |  | 6.37 | 340 | N/A | 112 |  | 2024-07-14 03:55 | 5002157857 14515103 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19917273 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ is 1000 meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000381526 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-02C-00250-U0 BK85001893712 10037887 EGYTECH CABLES EL SEWEDY EG5002157857 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA
6.9 | CABLE; 15KV MV 1/C 2/0 AWG (70MM2) PVC E |  | CABLE ELECTRICAL MEDIUM VOLTAGE; POWER TYPE;15000 V SUPPLY;1 CONDUCTO;70 SQ MM (2/0 AWG) CONDUCTO;STRANDED CONDUCTO;38 MM (1.49 IN) CABLE OD;COPPER CONDUCTO;EPR OR XLPE INSUL;5.59 MM (0.220 IN) INSUL TH;133% INSUL LV;EXTRUDED OVER CONDUCTOR & INSULATION S/C SHLD;BLACK;PVC JACKET;620 KG/KM LG;TR 90 DEG C MAX;PER 15-SAMSS-502 MARKINGS;REEL;UD TYPE;FOR DIRECT BURIAL; UNDERGROUND DUCT; ABOVE GRADE STEEL CONDUIT.;15-SAMSS-502;DRY AND WET LOCATIONS; COPPER 1/3 CONCENTRIC NEUTRAL; PVC OVERALL JACKET; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT | Yes |  | SAR | Feet | 1000418508 |  | 41.99 | 1,000 | N/A | 112 |  | 2024-08-15 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRA CABLES CO. |  | 20000016 |  | SA Saudi Arabia | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-U100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | MOQ is 500 meter PRICE IS PER METER= 41.99 SAR |  | <Strong>Manufacturer Part Number Text :</Strong>5002983542 30005611 AL-FANAR ELECTRICAL SYSTEMS SA5002980028 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SAOF ALFANAR COMPANY5002980029 10058298 SAUDI MODERN COMPANY FOR METALS SACABLES AND PLASTIC INDUS | 15SAMSS502032720235020801522000101.pdf
6.10 | WIRE;ELEC; 5.26MM2 (10 AWG) BLACK- 600V |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419217 |  | 0.73 | 1,000 | N/A | 112 |  | 2024-10-17 03:55 | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 11131045 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT | 2 SPOOLS = 304 METER |  | <Strong>Manufacturer Part Number Text :</Strong>5000387654 10016872 GENERAL CABLE USNUMBER 24010SUPERSEDED NUMBER TP AP-062015000387655 10020512 THE OKONITE COMPANY USNUMBER 116-67-11315002158074 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.
6.11 | WIRE; ELECTRICAL; 6 MM2; 1 CONDUCTOR; |  | WIRE ELECTRICAL; 6 MM2 CONDUCTO;1 CONDUCTO;WHITE;450-750 V SUPPLY;NYA WIRE;4.7 MM OD;66 KG/KM LG;TR 85 DEG C MAXIMUM;7 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227;CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419802 |  | 2.55 | 1,196 | N/A | 112 |  | 2024-12-08 02:55 | 5002158097 12173160 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 12173160 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | 13 COILS = 1196 METER |  | <Strong>Manufacturer Part Number Text :</Strong>5000390066 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00600 - U0 WT-15001301521 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002158097 10044083
6.12 | CABLE; POWER; 600V-1000V; |  | CABLE ELECTRICAL LOW VOLTAGE; TC TYPE;19 STRANDS CONDUCTO;POWER TYPE;50 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;27.3 MM (1.075 IN) CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;3162 KG/KM (2125 LBS PER 1000 FT) LG;PVC JACKET;BS 6746 TYPE 5; ST2 IEC 502;1.0 MM (0.040 IN) INSUL TH;IEC 228; CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;IEC 502;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; COLOR CODED YELLOW; RED AND BLUE INSULATION. ORIGINAL EQPT REFS ABRASION; MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTRS; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED. | Yes |  | SAR | Meter | 1000417981 |  | 80.51 | 1,000 | N/A | 112 |  | 2024-07-09 03:55 | 5002157882 14515312 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19916447 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000382910 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )NUMBER 7614-04C05000-UOKB85001893740 10037887 EGYTECH CABLES EL SEWEDY EG5002157882 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PAR
6.13 | WIRE; BUILDING; 450-750V; |  | WIRE ELECTRICAL; 4 MM2 CONDUCTO;1 CONDUCTO;RED;450-750 V SUPPLY;NYA WIRE;4.2 MM OD;47 KG/KM LG;TR 85 DEG C MAXIMUM;STRANDED;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;BS 6746 TYPE 5; SASO SSA 55; IEC 227; IEC 332;SUPPLIED IN 100 METER REELS; CONDUIT APPLICATION; STRANDED PER IEC228 CLASS 2; DRY AND WET LOCATIONS; HEAT MOISTURE FLAME AND OIL RESISTANT; FLAME RETARDANT PER IEC332; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE; NUMBER OF CONDUCTORS; MFG NAME AND YEAR OF MANUFACTURE; CARTON OR FULLY PROTECTED REEL; REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; | Yes |  | SAR | Meter | 1000419731 |  | 1.7 | 92 | N/A | 112 |  | 2024-08-19 03:55 | 5002158093 12103150 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 12103150 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT | 1 COIL=92 METER |  | <Strong>Manufacturer Part Number Text :</Strong>5000389951 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7111 - 01C - 00400 - U0 RD-15001299959 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002158093 10044083
6.14 | CABLE; ELECTRICAL; LOW VOLTAGE; |  | CABLE ELECTRICAL LOW VOLTAGE; STRANDED CONDUCTO;POWER TYPE;150/70 MM2 CONDUCTO;0.6/1 KV SUPPLY;3 + 1 CONDUCTO;49 MM CABLE OD;BLACK;3 X 150 MM2 + 70 MM2; CU/XLPE/SWA/PVC ACC TO 0.6/1 KV; IEC-502 MARKINGS;PVC JACKET;IEC-502;2 MM INSUL TH;OPEN COIL ON PALLET;PVC INSUL;COPPER CONDUCTO;STEEL ARMOR;ARMOURED SWA | Yes |  | SAR | Meter | 1000413676 |  | 234.66 | 100 | N/A | 112 |  | 2024-06-26 03:55 | 5002157841 14530287 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19931368 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M008-S104 YANBU STORES | 04 BOAT | MOQ is 500 meter |  | <Strong>Manufacturer Part Number Text :</Strong>5001327916 10013002 JEDDAH CABLES COMPANY LTD SAPART NUMBER CD6LA3ABG5001893586 10037887 EGYTECH CABLES EL SEWEDY EG5001301468 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5002157841
6.15 | WIRE;ELEC; 5.26MM2 (10 AWG) BLACK- 600V |  | WIRE ELECTRICAL; 5.26 MM2 (10 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;4.06 MM (0.160 IN) OD;59.5 KG/KM (40 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS/CONCENTRIC;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; 152.4 M (500 FT) PER COIL; REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTORS; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL 83; OR EQUIVALENT APPROVED LABELED OR LISTED EQUIRED; | Yes |  | SAR | Feet | 1000419217 |  | 0.73 | 20,000 | N/A | 112 |  | 2024-04-21 03:55 | 5002158074 11130040 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 11131045 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | J002-C309 RASTANURA NAJMAH COMMUNITY MAI | 04 BOAT | 40 SPOOLS * 152 METER= 6,080 METER |  | <Strong>Manufacturer Part Number Text :</Strong>5000387654 10016872 GENERAL CABLE USNUMBER 24010SUPERSEDED NUMBER TP AP-062015000387655 10020512 THE OKONITE COMPANY USNUMBER 116-67-11315002158074 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.
6.16 | CABLE; EARTHING; 120 SQ MM; 37 S |  | CABLE; EARTHING TYPE;120 SQ MM DIA;37 STRANDS;BARE COPPER;IEC 228 CLASS 2;SOFT-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED; CAT NO CXX1-19X | Yes |  | SAR | Meter | 1000412346 |  | 45.31 | 1,500 | N/A | 112 |  | 2024-06-02 03:55 | 5002612716 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 14110120 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001893565 10037887 EGYTECH CABLES EL SEWEDY EG5002612716 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.NUMBER -5001755890 10013827 SAUDI MODERN COMPANY FOR SASPECIALIZED WIRES AND CABLES5001277
6.17 | CABLE; 600V TC 3/C 14 AWG (2.5MM2) PVC X |  | CORD ELECTRICAL; 3 CONDUCTO;2.08 SQ MM (14 AWG) CONDUCTO;STRANDED CONDUCTO;600 V SUPPLY;COPPER CONDUCTO;TC; POWER AND CONTROL;PVC JACKET;XLPE INSUL;TR 90 DEG C DRY; 75 DEG C;FOR DIRECT BURIAL; CABLE TRAY; CONDUIT; DUCT; AERIAL;UL-44; UL-1277;MOISTURE; HEAT OIL GASOLINE; ACID ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT; REEL MARKED WITH; ARAMCO PURCHASE ORDER STOCK NUMBER SHIPPING LENGTH SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD 44 & 1277; UL OR EQUIVALENT APROVED LABELED OR LISTED REQUIRED; OUTER MARKINGS; VOTAGE; TYPE SIZE; NUMBER OF CONDUCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE; CONDUCTOR MATERIAL SPEC; ASTM B8 CLASS B; PACKAGING; CARTON OR FULLY PROTECTED REEL | Yes |  | SAR | Feet | 1000416470 |  | 2.32 | 360 | N/A | 112 |  | 2024-08-19 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRA CABLES COMPANY |  | 19919392 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M005-S300 RASTANURA STORES | 04 BOAT | MOQ is 9842 FEET |  | <Strong>Manufacturer Part Number Text :</Strong>5000377222 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )REFERENCE NUMBER 7614-03C-14AWG UO BK85000377224 10017431 ROME CABLE CORPORATION USNUMBER 36255001893656 10037887 EGYTECH CABLES EL SEWEDY E
6.18 | WIRE; ELECTRICAL; 13.3 MM2 (6 AWG)/7 |  | WIRE ELECTRICAL; 13.3 MM2 (6 AWG)/7 STRANDS CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THW WIRE;6.35 MM (1/4 IN) OD;137 KG/KM (92.8 LBS PER 1000 FT) LG;TR 85 DEG C MAXIMUM;CLASS B;PVC INSUL;COPPER CONDUCTO;IPCEA S-70-547; ANSI C8.35; UL;MEDIUM HARD-DRAWN; CONCENTRIC-LAY-STRANDED; 0.76 MM (0.030 IN) COVER THK | No | We don't carry a compatible part/material | SAR | Feet | 1000412349 |  |  | 1,000 |  |  |  | 2024-06-24 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5001597457 10013002 JEDDAH CABLES COMPANY LTD SA5001598994 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )
6.19 | WIRE; BUILDING; 600V; |  | WIRE ELECTRICAL; 67.44 MM2 (2/0 AWG) CONDUCTO;1 CONDUCTO;BLACK;600 V SUPPLY;THHN-THWN WIRE;13.72 MM (0.540 IN) OD;691.9 KG/KM (465 LBS PER 1000 FT) LG;TR 90 DEG C DRY; 75 DEG C WET MAXIMUM;19 STRANDS;PVC INSUL;COPPER CONDUCTO;BUILDING TYPE;ASTM B3; UL-83;CONDUIT OR RACEWAY APPLICATION; NYLON JACKET; MOISTURE HEAT AND OIL RESISTANT; FLAME RETARDANT; UL OR APPROVED EQUIVALENT LABELED; CABLE MARKING; VOLTAGE RATING; TYPE; SIZE AND NUMBER OF CONDUCTORS; MANUFACTURER NAME CABLE PACKAGING; IN CARTON OR FULLY PROTECTED REEL DURABLY ARAMCO PURCHASE ORDER AND STOCK NUMBER SHIPPING LENGTH; NUMBER AND SIZE OF CONDUCTORS; THICKNESS AND TYPE OF INSULATION; VOLTAGE RATING | No | We don't carry a compatible part/material | SAR | Feet | 1000419537 |  |  | 2,900 |  |  |  | 2024-05-19 03:55 | [6 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | SS-Sun Shelter(covered) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5000389087 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 61AF-01C2/0AW-U0BK7-005000389088 10016871 GENERAL CABLE USBICC GENERALNUMBER 751205000389089 10016872 GENERAL CABLE USNUMBER 2
6.20 | CORD; ELECTRICAL; 4 CONDUCTOR; 16 SQ |  | CORD ELECTRICAL; 4 CONDUCTO;16 SQ MM CONDUCTO;SOLID STRAND CONDUCTO;1.0 KV SUPPLY;COPPER CONDUCTO;POWER;25.1 MM OD;BLACK;PVC; GALVANIZED-STEEL WIRE ARMORED JACKET;XLPE INSUL;ARMORED SWA; KM; JACKET MATERIAL SPEC; IEC-502; INSULATION THICKNESS; 2 MM; PACKAGING; REE | Yes |  | SAR | Meter | 1000413456 |  | 35.93 | 100 | N/A | 112 |  | 2024-06-25 03:55 | 5002612717 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | BCC |  | 19916755 |  | SA Saudi Arabia | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M007-S532 UTHMANIYAH STORES | 04 BOAT | MOQ is 1000 meter |  | <Strong>Manufacturer Part Number Text :</Strong>5000369236 10013206 MIDDLE EAST SPECIALIZED CABLES ( SAMESC )PART NUMBER 7614-04C01600-W0BK8-005001893583 10037887 EGYTECH CABLES EL SEWEDY EG5002612717 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO.
6.21 | CABLE; ELECTRICAL; LOW VOLTAGE; 1000 V |  | CABLE ELECTRICAL LOW VOLTAGE; SOLID STRAND CONDUCTO;(3)-185 SQ MM; (1)-35 SQ MM CONDUCTO;1000 V SUPPLY;(3)-SECTORAL; (1)-ROUND CONDUCTO;BLACK;PVC JACKET;REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;DOUBLE GALVANIZED STEEL ARMOR;IEC 60502-1;COLOR CODED (R;Y;B AND 35 SQ MM-GRN); OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT TO IEC 60332-3 REEL MARKED WITH ARAMCO PURCHASE ORDER NUMBER; SHIPPING LENGTH NUMBER AND SIZE OF CONDUCTORS; THICKNESS ON INSULATION; VOLTAGE RATING; MANUFACTURING; TESTING AND MARKING OF CABLE TO CONFORM TO IEC AND OTHER REQUIREMENTS INDICATED IN THE LINE ITEM DESCRIPTION. TEST AND INSPECTION REQUIREMENTS AS PER A-175 SPECIAL-1. | Yes |  | SAR | Feet | 1000832838 |  | 81.93 | 50 | N/A | 112 |  | 2024-08-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRA CABLES CO. |  | 19933859 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B009-C500 ABQAIQ B-1061; STORES | 04 BOAT | MOQ is 1,640 meter |  | <Strong>Manufacturer Part Number Text :</Strong>5002215073 10013724 SAUDI CABLE COMPANY SA
6.22 | CABLE ELECTRICAL LOW VOLTAGE; POWER; SHA |  | CABLE ELECTRICAL LOW VOLTAGE; POWER TYPE;SHAPED CONDUCTO;35 MM2 CONDUCTO;0.6/1 KV SUPPLY;4 CONDUCTO;25.8 CABLE OD;BLACK;4 X 35 MM2; CU/XLPE/SWA/PVC 0.6/1 KV MARKINGS;2360 KG PER KM LG;FR PVC-ST2;0.9 MM INSUL TH;WOODEN OR STEEL DRUMS;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;STEEL WIRE AARMOR ARMOR;IEC 60502-1; IEC 60332-3;6 STRANDS; COLOR CODE (RED; YELLOW; BLUE AND GREEN); MOISTURE; HEAT; OIL;GASOLINE; ACID; ALKALI AND SUNLIGHT RESISTANT; FLAME RETARDANT. | Yes |  | SAR | Meter | 1001055901 |  | 60.16 | 15 | N/A | 112 |  | 2024-08-25 03:55 | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | BAHRA CABLES CO. |  | 19923550 |  | SA Saudi Arabia | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B009-C500 ABQAIQ B-1061; STORES | 04 BOAT | MOQ is 500 meter |  | <Strong>Manufacturer Part Number Text :</Strong>5002743700 10013724 SAUDI CABLE COMPANY SAPART NUMBER 0001060103-022710
6.23 | CABLE ELECTRICAL MEDIUM VOLTAGE ROUND AL |  | CABLE ELECTRICAL MEDIUM VOLTAGE; CU/XLPE/AWA/PVC-FR-OR-SR1X240 TYPE;520AMPS IN AIR @ 40DEGC SUPPLY;ONE CONDUCTO;240 SQ MM CONDUCTO;SINGLE CORE CONDUCTO;51.5MM CABLE OD;COPPER CONDUCTO;CU; COMPACTED ROUND CLASS 2;XLPE INSUL;5.5MM INSUL TH;20KV INSUL LV;EXTRUDER OUTER SEMI-CONDUCTOR S/C SHLD;COPPER WIRE METALLIC SCREEN METAL SH;ROUND ALUMINUM WIRE ARMOR;BLACK;PVC-ST2 JACKET;4979KG/KM LG;TR 90 DEG C;500M DRUM;CU/XLPE/AWA/PVC-FR-OR-SR 1X240 TYPE;IEC 60502-2; IEC 60228 | Yes |  | SAR | Meter | 1001553391 |  | 126.41 | 1,000 | N/A | 112 |  | 2024-04-21 03:55 | 5003096345 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | BCC |  | 20000061 |  | SA Saudi Arabia | Urgent | X | No | IR150200 501 08/25/2021 | Yes | 831400 |  |  | No | D - Dutible |  |  | Z02D-838 RASTANURA NA POWER DISTRIBUTIO | 04 BOAT |  |  | <Strong>Manufacturer Part Number Text :</Strong>5003096198 10044083 BAHRA ADVANCED CABLE MANUFACTURE SACO. LTD.PART NUMBER 200015175003096345 30006546 BAHRA ADVANCED CABLES MANUFACTURER SACO. LTD.PART NUMBER 20001517 | SA831400110120001000989770000021.pdf
6.24 | 1 x 400sq mm CU / XLPE /AWA / PVC |  | CABLE ELECTRICAL HIGH VOLTAGE; 12/20KV SUPPLY;1 CONDUCTO;1 X 400 CONDUCTO;COMPACTED ROUND CLASS 2 CONDUCTO;54.9 CABLE OD;CU CONDUCTO;COMPACTED ROUND CLASS 2;XLPE INSUL;5.5MM INSUL TH;ROUND ALUMINUM WIRE ARMOR;BLACK;PVC JACKET;6959KKG/KM LG;TR 90 DEGREE C;CU / XLPE / AWA / PVC-FR-OR-SR TYPE | Yes |  | SAR | Meter | 1001525603 |  | 187.48 | 6,000 | N/A | 112 |  | 2024-04-21 03:55 | 5003022167 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH ) | BCC |  | 20000063 |  | SA Saudi Arabia | Normal/staged | N | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831400 |  |  | No | E - Exempt | 0- | OY-Open yard | Z002-218 DHAHRAN DH CA POWER DISTRIBUTIO | 04 BOAT |  |  | MANUFACTURER REFERENCES;The following is/are the approved Manufacturer/s and References;-================================================================5003022167 30006546 BAHRA ADVANCED CABLES MANUFACTURER SACO. LTD.PART NUMBER CUXLPEAWAPVCFR-OR-SR
Note on O5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL15: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL16: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL17: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL18: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL19: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL20: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL21: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL22: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL23: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL24: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL25: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL26: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL27: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on O28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on S28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on U28: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AL28: Answer Type: Text (multiple lines) Acceptable Values: Any Value