## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | AE Utd.Arab Emir. | 5000382915 761404C07000UOKB8 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | 5001277335 HC2LU01BG1 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002214902 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | AF Afghanistan | 5000382916 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001893710 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002315192 MIDDLE EAST SPECIALIZED CABLES ( SA - Riyadh ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation | AG Antigua/Barbuda | 5000382917 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5002143856 C351XA10100SBK52CMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH ) | 5002315193 SAUDI CABLE COMPANY ( SA - JEDDAH ) | We are currently at full capacity
|  | POE - Port of Export | AI Anguilla | 5000382918 THE OKONITE COMPANY ( US - HOUSTON ) | 5002157855 14515021 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002613067 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | Missing information / not enough information provided
|  |  | AB Abu Dhabi | 5001277348 CB4LU04BG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002332593 ELSEWEDY CABLES COMPANY ( SA - Yanbu ) |  | Other
|  |  | AL Albania | 5001893741 EGYTECH CABLES EL SEWEDY ( EG - CAIRO )
|  |  | AM Armenia | 5002143922 C419XA10400SBK08IMR ALFANAR ELECTRICAL SYSTEMS BRA ( SA - RIYADH )
|  |  | AN Dutch Antilles | 5002157883 19900488 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah )
|  |  | AO Angola | 5002332618 ELSEWEDY CABLES COMPANY ( SA - Yanbu )
AQ Antarctica
AR Argentina
AS Samoa,American
AT Austria
AU Australia
AW Aruba
AZ Azerbaijan
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | CABLE; ELECTRICAL; LOW VOLTAGE; 19 S | CABLE ELECTRICAL LOW VOLTAGE; 19 STRANDS CONDUCTO;POWER & CONTROL TYPE;70 SQ MM CONDUCTO;600-1000 V SUPPLY;4 CONDUCTO;29.7 MM MINIMUM CABLE OD;VOLTAGE; TYPE; SIZE; NUMBER OF COND UCTORS; MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;IEC 228 CLASS 2;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;RATED AT 90 DEG C;CARTON OR FULLY PROTECTED REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK; RED;B LUE AND WHITE INSULATION. ORIGINAL EQPT REFS ABRASION;MOISTURE; ACID; OIL AND SUNLIGHT RESISTANT. FLAME RETARDANT PER IEC332.3. REEL MARKED WITH ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTR; THICKNESS; & TYPE OF INSULATION AND VOLTAGE RATING; MANUFACTURING AND TESTING OF CABLE TO CONFORM TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417984 |  |  | 250 |  |  |  | 2024-08-03 03:55 | [6 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M007-S532 UTHMANIYAH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5000382915 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) NUMBER 7614-04C07000-UOKB8 5001893741 10037887 EGYTECH CABLES EL SEWEDY EG 5002157883 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 19900488 SUPERSEDED NUMBER 14510313 5002143922 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C419XA10400SBK08IMR 5001277348 10013002 JEDDAH CABLES COMPANY LTD SA CODE NUMBER CB4LU04BG 5000382916 10013724 SAUDI CABLE COMPANY SA 5000382918 10020512 THE OKONITE COMPANY US 5002332618 10046468 ELSEWEDY CABLES COMPANY SA 5000382917 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES
6.2 | CABLE; ELECTRICAL; LOW VOLTAGE; XLPE; | CABLE ELECTRICAL LOW VOLTAGE; XLPE TYPE;61 STRANDED CONDUCTO;POWER & CONTROL TYPE;400 SQ MM CONDUCTO;600-1000 V SUPPLY;1 CONDUCTO;34.9 MM (1.374 IN) CABLE OD;BLACK;VOLTAGE; TYPE; SIZE OF CONDUCTOR MANUFACTURER NAME; YEAR OF MANUFACTURE MARKINGS;3960 KG/KM LG;PVC JACKET;2.0 MM (0.080 IN) INSUL TH;IEC 228;FOR DIRECT BURIAL; DUCT; CONDUIT; CABLE TRAY;REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;IEC 502; IEC 540;DRY AND WET LOCATIONS; BLACK INSULATION; ABRASION; WATER; ACID OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT PER IEC 332.3 REEL MARKED WITH; ARAMCO PURCHASE ORDER; STOCK NUMBER; SHIPPING LENGTH; SIZE OF CONDUCTOR; THICKNESS & TYPE OF INSULATION AND VOLTAGE RATING MANUFACTURING AND TESTING OF CABLE TO CONFORM TO UL STANDARD TO IEC 502/540; UL OR EQUIVALENT APPROVED LABELED OR LISTED REQUIRED | No |  | USD | Meter | 1000417603 |  |  | 28 |  |  |  | 2024-10-01 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | A001-C321 JUAYMAH B-321; STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001893710 10037887 EGYTECH CABLES EL SEWEDY EG 5002157855 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. PART NUMBER 14515021 SUPERSEDED NUMBER 14510021 5002143856 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY CODE NUMBER C351XA10100SBK52CMR 5001277335 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER HC2LU01BG1 CODE NUMBER HC2LU01BG 5002332593 10046468 ELSEWEDY CABLES COMPANY SA
6.3 | CABLE; ELECTRICAL; LOW VOLTAGE; 1000 V | CABLE ELECTRICAL LOW VOLTAGE; SOLID STRAND CONDUCTO;16 SQ MM CONDUCTO;1000 V SUPPLY;3 CONDUCTO;BLACK;PVC JACKET;REEL;TR 90 DEG C;XLPE INSUL;COPPER CONDUCTO;DOUBLE GALVANIZED STEEL ARMOR;IEC 60502-1;COLOR CODED (R;Y;B); OIL AND SUNLIGHT RESISTANT; FLAME RETARDANT TO IEC 60332-3 MANUFACTURED AND TESTED IN ACCORDANCE WITH IEC 60502-1. REEL MARKED WITH ARAMCO PURCHASE ORDER NUMBER; SHIPPING LENGTH NUMBER AND SIZE OF CONDUCTORS; INSULATION THICKNESS; VOLTAGE RATING. MANUFACTURING; TESTING AND MARKING OF CABLE TO CONFORM TO IEC AND OTHER REQUIREMENTS INDICATED IN THE ORDER DESCRIPTION. RIYADH CABLES 0102R14309. | No |  | USD | Feet | 1000832760 |  |  | 4 |  |  |  | 2024-10-01 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | K03C-C322 TANAJIB STORE STOCK | 04 BOAT |  |  | Manufacturer Part Number Text : 5002214902 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002613067 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5002315193 10013724 SAUDI CABLE COMPANY SA 5002315192 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC )
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value