## Intend To Respond Instructions
Required Action
Submit the list of items on which you intend to respond
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information: "Intend to Bid data" (color-coded cells, below) are required for Intend to Respond stage and "Bidding data" (color-coded cells, below) are required for Submit Response stage. When you have filled in all the information, save the file to your desktop and import it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are optional if you are selecting lots to which you intend to respond, otherwise they are required. Cells that you fill in are copied into the event when you import the spreadsheet. The column heading for these cells also has an asterisk (*) in it.
Intend to Bid data. These cells are required; specify Yes or No.
Optional data
Without the border, read only data

## Submit Response Instructions
Required Action
Submit the answers to the questions.
Instructions
Proceed through each worksheet using the tabs at the bottom of the window and fill out the required information. When complete, save the file to your computer desktop and upload it to the application.
General Guidelines and Cell Legend
Some of the cells in the following sheets require that you enter data, some can optionally be edited, and some are read-only. This is indicated by the color and border
Header and System ID Information: Do not modify this cell or the import may fail.
Help Information. Do not modify this cell or the import may fail.
Bidding data. These cells are required. The column heading for these cells also has an asterisk (*) in it.
Optional data
Without the border, read only data
Text Format Help: Please prefix an apostrophe (') if you want to format data in a cell as text rather than a number or a date. For example, if you want to enter 50000000 as text then you need to enter '50000000 in the cell. Another workaround is to first change the cell format type to 'Text' within Excel and then enter the values.

## DV_sheet_ (hidden)
Yes | Comply with Saudi Aramco packing, labeling and marking requirements | SAC - Saudi Aramco Carrier | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | AD Andorra | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | OTHERS – ENTER MANUFACTURER AND PART NUMBER DETAILS BELOW | We don't carry a compatible part/material
No | Deliver using own packing standards | VTC - Vendor Truck Delivery to Customer | 5000365003 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5002322177 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | AE Utd.Arab Emir. | 5002322182 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5001301558 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5002170053 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5002322152 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5000365644 92100IC07000U08 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5000370117 62002 GENERAL CABLE ( US - HIGHLAND HEIGHTS ) | 5002322142 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5000365642 92100IC05000U08 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | We don't supply at the requested quantity
|  | VTD -Vendor Truck Delivery to 3PL Distribution Hub | 5001893551 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002322178 SAUDI CABLE COMPANY ( SA - JEDDAH ) | AF Afghanistan | 5002322183 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5001893810 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5002200050 JEDDAH CABLE COMPANY LIMITED ( SA - JEDDAH ) | 5002322153 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000365645 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000370118 THE OKONITE COMPANY ( US - HOUSTON ) | 5002322143 SAUDI CABLE COMPANY ( SA - JEDDAH ) | 5000365643 SAUDI CABLE COMPANY ( SA - JEDDAH ) | Discontinued Item
|  | SAT - Saudi Aramco Transportation |  | 5002322179 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | AG Antigua/Barbuda | 5002322184 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5002613065 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5002200051 SAUDI MODERN COMPANY FOR CABLE ( SA - RIYADH ) | 5002322154 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001277329 DB4ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5000370119 10651801 SOUTHWIRE COMPANY INCORPORATED ( US - CARROLLTON ) | 5002322144 MIDDLE EAST SPECIALIZED CABLES ( SA - RIYADH ) | 5001277328 DB3ZU01ZG JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | We are currently at full capacity
|  | POE - Port of Export |  | 5002322180 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | AI Anguilla | 5002322185 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) |  | 5002200052 THE OKONITE CO. INC. ( US - SANTA MARIA ) | 5002322155 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001893564 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | 5000370220 LS CABLE & SYSTEM LTD ( KR - GUMI, GYEONGBUK ) | 5002322145 JEDDAH CABLES COMPANY LTD ( SA - Jeddah ) | 5001893563 EGYTECH CABLES EL SEWEDY ( EG - CAIRO ) | Missing information / not enough information provided
|  |  |  | 5002322181 10006077280010 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | AB Abu Dhabi | 5002322186 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) |  | 5002200053 THE OKONITE COMPANY ( US - RICHMOND ) | 5002322156 10006077280003 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002612715 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | 5001604261 SAUDI MODERN COMPANY FOR ( SA - Khobar ) | 5002322146 1000607728004 ALFANAR ELECTRICAL SYSTEMS BRA ( SA - Riyadh ) | 5002612714 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | Other
|  |  |  | 5002613080 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) | AL Albania | 5002613081 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  | 5002200054 THE OKONITE COMPANY ( US - ORANGEBURG ) | 5002613075 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah ) |  |  | 5002613073 BAHRA ADVANCED CABLE MANUFACTU ( SA - Jeddah )
[5 empty] | AM Armenia |  |  | 5002200056 SWCC SHOWA CABLE SYSTEMS CO LT ( JP - TOYOKAWA-SHI, AICHI-KEN )
[5 empty] | AN Dutch Antilles |  |  | 5002200057 OMAN CABLES INDUSTRY (SAOG) ( OM - RUSAYL, MUSCAT )
[5 empty] | AO Angola |  |  | 5002200058 EGYTECH CABLES EL SEWEDY ( EG - 10TH OF RAMADAN )
[5 empty] | AQ Antarctica |  |  | 5002334327 ELSEWEDY CABLES COMPANY LTD. ( SA - YANBU )
[5 empty] | AR Argentina |  |  | 5002353791 BAOSHENG SCIENCE & TECHNOLOGY ( CN - YANGZHOU )
[5 empty] | AS Samoa,American |  |  | 5002364555 QINGDAO HANHE CABLE CO LTD ( CN - QINGDAO )
[5 empty] | AT Austria |  |  | 5002364556 BAHRA ADVANCED CABLES MANUFACT ( SA - JEDDAH )
[5 empty] | AU Australia |  |  | 5002589490 AL-FANAR ELECTRICAL SYSTEMS ( SA - RIYADH )
[5 empty] | AW Aruba |  |  | 5002589491 SAUDI MODERN COMPANY FOR METAL ( SA - RIYADH )
[5 empty] | AZ Azerbaijan |  |  | 5002983548 BRANCH OF JEDDAH CABLES COMPAN ( SA - RABIGH )
BA Bosnia-Herz.
BB Barbados
BD Bangladesh
BE Belgium
BF Burkina-Faso
BG Bulgaria
BH Bahrain
BI Burundi
BJ Benin
BM Bermuda
BN Brunei Dar-es-S
BO Bolivia
BR Brazil
BS Bahamas
BT Bhutan
BU Burma
BV Bouvet Island
BW Botswana
BY White Russia
BZ Belize
CA Canada
CC Coconut Islands
CF Central Afr.Rep
CG Congo
CH Switzerland
CI Ivory Coast
CK Cook Islands
CL Chile
CM Cameroon
CN China
CO Columbia
CR Costa Rica
CS Serbia/Monten.
CU Cuba
CV Cape Verde
CW Curaçao
CX Christmas Islnd
CY Cyprus
CZ Czech Republic
DE Germany
DJ Djibouti
DK Denmark
DM Dominica
DO Dominican Rep.
DU Dubai
DZ Algeria
EC Ecuador
EE Estonia
EG Egypt
ER Eritrea
ES Spain
ET Ethiopia
FI Finland
FJ Fiji
FK Falkland Islnds
FM Micronesia
FO Faeroe
FR France
GA Gabon
GB United Kingdom
GD Grenada
GE Georgia
GF French Guayana
GH Ghana
GI Gibraltar
GL Greenland
GM Gambia
GN Guinea
GP Guadeloupe
GQ Equatorial Guin
GR Greece
GS Sth Sandwich Is
GT Guatemala
GU Guam
GW Guinea-Bissau
GY Guyana
HK Hong Kong
HM Heard/McDon.Isl
HN Honduras
HR Croatia
HT Haiti
HU Hungary
ID Indonesia
IE Ireland
IL Israel
IN India
IO Brit.Ind.Oc.Ter
IQ Iraq
IR Iran
IS Iceland
IT Italy
JM Jamaica
JO Jordan
JP Japan
KE Kenya
KG Kyrgyzstan
KH Cambodia
KI Kiribati
KM Comoros
KN St Kitts&Nevis
KP North Korea
KR South Korea
KW Kuwait
KY Cayman Islands
KZ Kazakhstan
LA Laos
LB Lebanon
LC St. Lucia
LG Lebanon Refugee
LI Liechtenstein
LK Sri Lanka
LM LTN America(OT)
LR Liberia
LS Lesotho
LT Lithuania
LU Luxembourg
LV Latvia
LY Libya
MA Morocco
MC Monaco
MD Moldavia
ME Montenegro
MG Madagascar
MH Marshall Islnds
MK Macedonia
ML Mali
MM Myanmar
MN Mongolia
MO Macau
MP N.Mariana Islnd
MQ Martinique
MR Mauretania
MS Montserrat
MT Malta
MU Mauritius
MV Maldives
MW Malawi
MX Mexico
MY Malaysia
MZ Mozambique
NA Namibia
NC New Caledonia
NE Niger
NF Norfolk Island
NG Nigeria
NI Nicaragua
NL Netherlands
NO Norway
NP Nepal
NR Nauru
NU Niue Islands
NZ New Zealand
OM Oman
PA Panama
PE Peru
PF Frenc.Polynesia
PG Pap. New Guinea
PH Philippines
PK Pakistan
PL Poland
PM St.Pier,Miquel.
PN Pitcairn Islnds
PR Puerto Rico
PS Palestine(ALL)
PT Portugal
PW Palau
PY Paraguay
QA Qatar
RE Reunion
RO Romania
RS Serbia
RU Russian Fed.
RW Rwanda
SA Saudi Arabia
SB Solomon Islands
SC Seychelles
SD Sudan
SE Sweden
SG Singapore
SH St. Helena
SI Slovenia
SJ Svalbard
SK Slovakia
SL Sierra Leone
SM San Marino
SN Senegal
SO Somalia
SR Suriname
ST S.Tome,Principe
SV El Salvador
SY Syria
SZ Swaziland
TC Turksh Caicosin
TD Chad
TG Togo
TH Thailand
TJ Tajikstan
TK Tokelau Islands
TM Turkmenistan
TN Tunisia
TO Tonga
TP East Timor
TR Turkey
TT Trinidad,Tobago
TV Tuvalu
TW Taiwan
TZ Tanzania
UA Ukraine
UG Uganda
UM Minor Outl.Isl.
US USA
UY Uruguay
UZ Uzbekistan
VA Vatican City
VC St. Vincent
VE Venezuela
VG Brit.Virgin Is.
VI Amer.Virgin Is.
VN Vietnam
VU Vanuatu
WF Wallis,Futuna
WS Western Samoa
YE Yemen
YT Mayotte
YU Yugoslavia
ZA South Africa
ZM Zambia
ZR Democ.Rep.Congo
ZW Zimbabwe

## 2 BIDDING INSTRUCTIONS AND C...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
2.1 | Do you accept the bidding instructions & conditions in this section?
2.3 | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf | RFP Clause Q010 - LOCAL DELIVERY PO (NON-CONCURRENT).pdf

## 3 GENERAL REQUIREMENTS
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
3.1 | BID VALIDITY What is the last date for bid validity? Ensure bid validity of at least sixty (60) days from the bid closing date, unless otherwise requested.
3.2 | PACKING AND LABELING Are you complying with Saudi Aramco's packing labeling and marking requirements as detailed in the bidding instructions, or do you wish to deliver using your own packing standards? You must provide details in your bid.

## 4 TECHNICAL ENVELOPE
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
4.1 | Technical Documents Please attach all relevant technical documents of the items quoted. This will be used for the purpose of technical evaluation as required. DO NOT ATTACH COMMERCIAL DETAILS YOUR BID WILL BE SUBJECT TO DISQUALIFICATION IF ATTACHMENTS CONTAIN COMMERCIAL DETAILS
4.2 | Part Number Revision/Obsolescence Is Vendor's quotation for all items matching with the product, part or model number that Saudi Aramco has requested? Vendor shall advise in his quotation in accordance with section 4.4 'GOODS/Article Substitutions and Part Number Update'.

## 5 INCOTERMS AND COMMERCIAL D...
Number | Name | Answer
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Answer
5.1 | Delivery Incoterms: Please select the delivery incoterms:
5.2 | Commercial Documents Please attach all relevant commercial documents of items quoted (if any). Note: If discrepancies arise between the electronic bid and the attachment(s), the electronic bid will be used.

## 6 Commercial Envelope
Number | Name | Description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure | Material Number | Please Enter Unit Price Below Excluding VAT | * Price | Quantity | HS Code | * Lead Time (Days) | * Lead Time (Days) Comments | Requested Delivery Date | * MPN | Manufacturer | Manufacturer Comments | Model / Part Number | Model / Part Number Comments | Country Of Origin | Delivery Priority | Handling Priority | Hazardous Indicator | Inspection Description | Inspection Flag | Packing Specs One | Packing Specs Two | Packing Specs Three | SASO Indicator | Saudi Customs | Shelf Life Code | Storage Conditions | Unloading Point | Transportation Mode | Remarks | Remarks Comments | Manufacturer Reference | Attachment
Help And Options. Click on the + sign on the left for more information to fill out the cells
Hierarchical, unique number of the section, lot, or question | Question, item, or lot name | Item or lot description | Intend To Respond | Reason for not bidding | Currency | Unit of Measure
6.1 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;16 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 16 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893722 |  |  | 900 |  |  |  | 2024-05-30 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | E002-113/PL1 YANBU AREA K01; ADMIN BUILD | 04 BOAT |  |  | Manufacturer Part Number Text : 5002322181 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY ORDER NUMBER 1000607728-0010 5002613080 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5002322178 10013724 SAUDI CABLE COMPANY SA 5002322179 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002322177 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002322180 10013002 JEDDAH CABLES COMPANY LTD SA
6.2 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;6 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 6 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893717 |  |  | 300 |  |  |  | 2024-05-30 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | B001-572 ABQAIQ B-1140; GOSP 6 | 04 BOAT |  |  | MANUFACTURER REFERENCES; The following is/are the approved Manufacturer/s and References;- ================================================================ 5002322156 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY ORDER NUMBER 1000607728-0003 5002613075 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER -. 5002322153 10013724 SAUDI CABLE COMPANY SA 5002322154 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002322152 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002322155 10013002 JEDDAH CABLES COMPANY LTD SA | MS8314004SHTS050120051001001081000011.pdf
6.3 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;2.5 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;4 CONDUCTO;BLACK;4 X 2.5 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED;XLPE;REEL;TR 90 DEG CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893715 |  |  | 500 |  |  |  | 2024-05-30 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | J02D-C307 SHAYBAH COMUNITY SERVICES UNIT | 04 BOAT |  |  | Manufacturer Part Number Text : 5002322146 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY ORDER NUMBER 1000607728-004 5002613073 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5002322143 10013724 SAUDI CABLE COMPANY SA 5002322144 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002322142 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002322145 10013002 JEDDAH CABLES COMPANY LTD SA | MS8314004SHTS050120055020891845000101.pdf
6.4 | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED; | CABLE ELECTRICAL LOW VOLTAGE; ARMOURED TYPE;STRANDED CONDUCTO;POWER & CONTROL TYPE;4 MM2 CONDUCTO;0.6 / 1 KV SUPPLY;3 CONDUCTO;BLACK;3 X 4 MM2;CU/XLPE/SWA/PVC MARKINGS;PVC JACKET;IEC-60502;IEC-60228;CLASS 2;FOR DIRECT BURIED INSTALLATION;XLPE;REEL;TR 90 DEG. CELCIUS;XLPE INSUL;COPPER CONDUCTO;GALV. STEEL WIRE ARMOR;IEC-60502 & IEC-60228;CLASS 2 | No |  | USD | Meter | 1000893723 |  |  | 320 |  |  |  | 2024-09-29 03:55 | [6 empty] | Normal/staged | N | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002613081 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5002322183 10013724 SAUDI CABLE COMPANY SA 5002322186 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY 5002322184 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) 5002322182 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002322185 10013002 JEDDAH CABLES COMPANY LTD SA | MS8314004SHTS050120055020893008000101.pdf
6.5 | CABLE; POWER; 50 SQ MM (1/0 AWG) | CABLE; POWER TYPE;50 SQ MM (1/0 AWG) DIA;COPPER;15-SAMSS-502;5000 VOLTS; ONE CONDUCTOR; XLPE INSULATION; 2.92 MM INSULATION THICKNESS; 133% INSULATION LEVEL; COPPER TAPE METAL SHIELDED PVC JACKET; 90 DEG C MAXIMUM RATED CONDUCTOR TEMPERATURE; DIRECT BURIAL; CONDUIT AND DUCT SERVICE; DRY AND WET LOCATIONS; OIL; GASOLINE; ACID; ALKALI; MOISTURE; FLAME AND SUNLIGHT RESISTANT. | No |  | USD | Feet | 1000828565 |  |  | 1,640.42 |  |  |  | 2024-07-11 03:55 | [6 empty] | Urgent | X | No | IR150200 501 Medium Voltage Power Cable; Solid Diele 12/31/2018 | Yes | 831400 |  |  | No | D - Dutible | 0- | WH-Warehouse (Non-A/C) | M006-S953 RIYADH STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5002589491 30007746 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. NUMBER - 5002334327 30005612 ELSEWEDY CABLES COMPANY LTD. SA NUMBER - 5002170053 30000865 SAUDI CABLE COMPANY SA 5002353791 30004750 BAOSHENG SCIENCE & TECHNOLOGY CN INNOVATION CO. LTD NUMBER - 5002364555 30005137 QINGDAO HANHE CABLE CO LTD CN NUMBER - 5002364556 30006546 BAHRA ADVANCED CABLES MANUFACTURER SA CO. LTD. NUMBER - 5002169982 10013724 SAUDI CABLE COMPANY SA 5002199704 10037887 EGYTECH CABLES EL SEWEDY EG 5002199710 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5002587724 10012569 ALFANAR ELECTRICAL SYSTEMS BRANCH SA OF ALFANAR COMPANY NUMBER - 5002199706 10013002 JEDDAH CABLES COMPANY LTD SA 5002200035 10037383 BAOSHENG SCIENCE & TECHNOLOGY CN INNOVATION CO LTD 5002200051 30000926 SAUDI MODERN COMPANY FOR CABLE SA INDUSTRY LIMITED (RIYADH CABLES) 5002200052 30001855 THE OKONITE CO. INC. US 5002200053 30001856 THE OKONITE COMPANY US 5002200054 30001858 THE OKONITE COMPANY US 5002200056 30003406 SWCC SHOWA CABLE SYSTEMS CO LTD JP AICHI FACTORY 5002200057 30004402 OMAN CABLES INDUSTRY (SAOG) OM 5002200058 30004522 EGYTECH CABLES EL SEWEDY EG 5002200050 30000598 JEDDAH CABLE COMPANY LIMITED SA 5002199705 10035589 OMAN CABLES INDUSTRY (SAOG) OM 5002199707 10027767 SWCC SHOWA CABLE SYSTEMS CO LTD JP INTERNATIONAL TRADE DEPT 5002199709 10020512 THE OKONITE COMPANY US 5002199715 10024590 PRYSMIAN POWERLINK SRL IT 5002587725 10058298 SAUDI MODERN COMPANY FOR METALS SA CABLES AND PLASTIC INDUSTRY LTD. NUMBER - 5002334290 10046468 ELSEWEDY CABLES COMPANY SA 5002364235 10040262 QINGDAO HANHE CABLE CO LTD CN 5002364236 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. 5002589490 30005611 AL-FANAR ELECTRICAL SYSTEMS SA NUMBER - 5002980308 10062253 BRANCH OF JEDDAH CABLES COMPANY SA 5002983548 30008237 BRANCH OF JEDDAH CABLES COMPANY SA | 15SAMSS502032720235020895267000101.pdf
6.6 | CABLE; GROUND; 70 SQ MM; 19 STRANDS | CABLE; GROUNDING TYPE;70 SQ MM DIA;19 STRANDS;BARE COPPER;IEC 228;SOFT-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED | No |  | USD | Meter | 1000412342 |  |  | 2,000 |  |  |  | 2024-09-08 03:55 | [6 empty] | Urgent | X | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000365644 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 9210-0IC-07000-U0-8 5001893564 10037887 EGYTECH CABLES EL SEWEDY EG 5002612715 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5001277329 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DB4ZU01ZG CODE NUMBER DB4ZU01ZG 5000365645 10013724 SAUDI CABLE COMPANY SA
6.7 | CABLE; GROUNDING; 50 SQ MM; 19 | CABLE; GROUNDING TYPE;50 SQ MM DIA;19 STRANDS;BARE COPPER;IEC 228 CLASS 2;SOFT-DRAWN; UNCOATED; CONCENTRIC-LAY-STRANDED; CAT NO CXX1-14X | No |  | USD | Meter | 1000412308 |  |  | 500 |  |  |  | 2024-12-19 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000365642 10013206 MIDDLE EAST SPECIALIZED CABLES ( SA MESC ) REFERENCE NUMBER 9210-0IC-05000-U0-8 5001893563 10037887 EGYTECH CABLES EL SEWEDY EG 5002612714 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5001277328 10013002 JEDDAH CABLES COMPANY LTD SA PART NUMBER DB3ZU01ZG CODE NUMBER DB3ZU01ZG 5000365643 10013724 SAUDI CABLE COMPANY SA
6.8 | CABLE; 33.63 MM2 (2 AWG); 7 STRANDS; | CABLE; 33.63 MM2 (2 AWG) DIA;7 STRANDS;BARE COPPER;ASTM B8;MEDIUM HARD-DRAWN; UNCOATED; 2.5 MM (0.0974 IN) DIA EACH STRAND; CLASS A CONCENTRIC-LAY-STRANDED; 7.4 MM (0.292 IN) 303 KG/KM (204.9 LBS PER 1000 FT) NET; REEL NO C-17; 220 LBS COIL | No |  | USD | Feet | 1000412145 |  |  | 3,000 |  |  |  | 2024-11-03 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | OY-Open yard | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001893551 10037887 EGYTECH CABLES EL SEWEDY EG 5000365003 10013002 JEDDAH CABLES COMPANY LTD SA
6.9 | CABLE; ELECTRICAL; 600/1000 V; 4 | CABLE ELECTRICAL; 600/1000 V SUPPLY;4 CONDUCTO;95 SQ MM (3/0 AWG) CONDUCTO;COPPER CONDUCTO;POWER & CONTROL TYPE;44.2 MM (1.740 IN) CABLE OD;ARMORED XLPE INSULATED/PVC SHEATHED TYPE;1.1 MM (0.043 IN) INSUL TH;133% INSUL LV;XLPE INSUL;DOUBLE STEEL TAPE METAL SH;EXTRUDED FILLING S/C SHLD;TR 90 DEG C;PVC JACKET;BLACK;IEC 228;BS 6746;IEC 502;MANUFACTURERS NAME; SIZE & NUMBER O F CONNECTORS MARKINGS;GALVANIZED STEEL TAPES ARMOR;REEL;FOR BURIAL; DUCTS; CONDUIT/CABLE TRAY;5800 KG/KM LG;15-SAMSS-502;COLOR CODED; 500 M/REEL. | No |  | USD | Meter | 1000441060 |  |  | 500 |  |  |  | 2024-08-07 03:55 | [6 empty] | Urgent | X | No |  | No | 831400 |  |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M001-S500 ABQAIQ STORES | 04 BOAT |  |  | Manufacturer Part Number Text : 5001893810 10037887 EGYTECH CABLES EL SEWEDY EG 5002613065 10044083 BAHRA ADVANCED CABLE MANUFACTURE SA CO. LTD. NUMBER - 5001301558 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES | 15SAMSS502032720235020920388000101.pdf
6.10 | CABLE; ELECTRICAL; 1 CONDUCTOR; 33.63 | CABLE ELECTRICAL; 1 CONDUCTO;33.63 SQ MM (2 AWG) CONDUCTO;SOLID CONDUCTO;6.5 MM (0.257 IN) CABLE OD;BARE TYPE;COPPER CONDUCTO;ASTM B2;299 KG/KM (200.9 LBS PER 1000 FT) LG;WIRE; MEDIUM HARD-DRAWN; 12.39 KN (3002 LBS) RATED STRENGTH | No |  | USD | Feet | 1000413911 |  |  | 1,000 |  |  |  | 2024-11-03 02:55 | [6 empty] | Normal/staged | N | No |  | No | 831402 | 831408 |  | No | E - Exempt | 0- | WH-Warehouse (Non-A/C) | M002-S100 DHAHRAN DH CENTRAL STOREHOUSE | 04 BOAT |  |  | Manufacturer Part Number Text : 5000370117 10016872 GENERAL CABLE US PART NUMBER 62002 SUPERSEDED NUMBER 63-002 5000370119 10021675 SOUTHWIRE COMPANY INCORPORATED US REFERENCE NUMBER 10-65-18-01 5001604261 10013827 SAUDI MODERN COMPANY FOR SA SPECIALIZED WIRES AND CABLES 5000370118 10020512 THE OKONITE COMPANY US 5000370220 10000723 LS CABLE & SYSTEM LTD KR GUMI PLANT
Note on N5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK5: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK6: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK7: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK8: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK9: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK10: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK11: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK12: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK13: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on N14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on R14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on T14: Answer Type: Text (multiple lines) Acceptable Values: Any Value
Note on AK14: Answer Type: Text (multiple lines) Acceptable Values: Any Value